## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary | This protocol describes the extraction and LC-MRM procedure for absolute quantification of Cer d18:1/16:0, Cer d18:1/18:0, Cer d18:1/24:0 and Cer d18:1/24:1 in human plasma according to Kauhanen et al, Anal Bioanal Chem (2016) 408:3475–3483.
A calibration curve is built by injecting several dilutions of the non-labelled standards mixed with a fixed concentration of labelled standards. Each calibration point is prepared and analysed in triplicates (n=3).
To establish the endogenous concentration of the four selected ceramides in the study samples (NIST SRM1950, NIST high TAG, NIST T1D, and NIST young A-A) each sample is extracted and analyzed in six replicates (n =6).
Prepare the pooled QC by mixing 100 mL each of NIST SRM1950, NIST high TAG, NIST T1D, and NIST young AA (total 400 mL).
We suggest proceeding first to measure the ceramides concentration in the four study samples and then continue with the intra-assay validation to avoid wasting material.

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Ethyl acetate (EtAc)
2-propanol (IPA)
5% Bovine Serum Albumin (BSA)
96-well plates/tubes
Sealing foil
2 mL DeepWell plates/tubes/LC vials
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled QC |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8 (v/v)
| Matrix Blank (MB) | 10 µL Matrix (pooled QC) only |  |  | - |  | 590 µL EtAc:IPA 2:8
| Study Samples (S) | 10 µL Human plasma (NIST SRM1950, high TAG, T1D, young AA) |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8
| Total Blank (TB) | 10 µL 5% BSA |  |  | - |  | 590 µL EtAc:IPA 2:8
| Calibration line standards (STD) | 10 µL 5% BSA + 20 µL non labelled STD mixture (Table 5) |  |  | 20 µL Labelled IS |  | 550 µL EtAc:IPA 2:8
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Extraction - Overview, Table 4) with EtAc:IPA 2:8 as suggested in table | Extraction - Overview'!B34
| 2 | Thaw plasma on ice (+4°C) and bring to room temperature prior to extraction. Mix by pipetting before use.
| 3 | Prepare samples in plates/tubes manually or with a robot, according to specifications in column C of table | Extraction - Overview'!C14
| 4 | Add 20 µL of labelled internal standard mixture to samples according to column F of table | Extraction - Overview'!F14
| 5 | For the calibration line, add 20 µL of different dilutions of the non-labelled mixture (STD1-6).
| 6 | Add 590 µL of ethyl acetate:isopropanol (2:8, vol/vol) to Total Blank (TB) and Matrix Blank (MB); 550 µL to calibration line (STD); 570 µL to study samples and QCs according to column H of table | Extraction - Overview'!H14
| 7 | Mix samples 10 min by pipetting or vortexing
| 8 | Centrifuge samples for 10 min at 3000 x gat room temperature
| 9 | Transfer 50 µL of the clear supernatant to MS-vials or MS plates, close/seal, store samples at -20 °C prior to LC-MRM analysis.

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Ammonium acetate
Formic acid
Ultra-pure water
Acetonitrile
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | SCIEX QTRAP 5500
| LC | nanoHPLC
| Injection volume (indicative) | 5 µL (5 µL of sample is loaded in 16 µL of mobile phase 1 and 2.5 µL of 100% EthOH)
| Weak wash | 0.1% Formic acid, 10 mM ammonium acetate
| Strong wash | N/A
| Pre-column | N/A
| Column | A 100 mm x 250 μm (i.d.) capillary column packed with ReproSil-Pur 120 C8 (particle size of 3 μm and pore size of 120 Å, Dr. A. Maisch, Ammerbruch, Germany)
| Column temperature | 21 °C
| Mobile phase A | 10 mM ammonium acetate in water with 0.1% formic acid
| Mobile phase B | 10 mM ammonium acetate in acetonitrile:2-propanol (5:2, vol/vol) with 0.1% formic acid
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0.00 | 70 | 30 |  | 0.01
| 5 | 0 | 100 |  | 0.01
| 30 | 70 | 30 |  | 0.01
| 50 | 70 | 30 |  | 0.01
Table 9 LC-MRM MS conditions (EXAMPLE: this only applies to Sciex QTRAP, please adapt)
| Polarity mode | Positive
| Ion spray | 5500 V
| Curtain gas | 20 psi
| Source temperature | 250 °C
| Gas 1 | 20 psi
| Gas 2 | 20 psi
| DP | 100 V
| EP | 10 V
| Collision cell exit potential | 19 V
| Collision energy (CE) | Cer d18:1/16:0, d7-Cer d18:1/16:0 40 eV, Cer d18:1/18:0, d7-Cer d18:1/18:0 41 eV, Cer d18:1/24:0, d7-Cer d18:1/24:0 46 eV, Cer d18:1/24:1, d7-Cer d18:1/24:1 46 eV
Table 10 LC-MRM Mass transitions used for absolute quantification. On different systems, RT and CE might be different!
| Analyte | Mass transitions | IS | Mass transitions | RT (min) | CE
| Cer d18:1/16:0 | 538.5 – 264.3 | D7- Cer d18:1/16:0 | 545.6 - 271.3 | 20.0-22.5 | 40
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.6 – 264.3 | D7- Cer d18:1/18:0 | 573.6 – 271.3 | 22.0-25.0 | 41
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.6 – 264.3 | D7- Cer d18:1/24:0 | 657.7 – 271.3 | 29.5-33.5 | 46
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.6 – 264.3 | D7- Cer d18:1/24:1 | 655.7 – 271.3 | 27.0-31.5 | 46
C42H82NO3 – C18H34N
Table 11 Data processing
| Processing software | MultiQuant 3.0.2

## LC-MRM - Sample Sequence
Sample Sequence (Example)
Sample Sequence (Example) | Sample Sequence 1
| Number | Sample Name | Remarks
| 1 | Total Blank 1
| 2 | Matrix blank
| 3 | Calibration line 1 from STD6 to 1 (n=3)
| 4 | […]
| 5 | Pooled QC
| 6 | Pooled QC
| 7 | SRM 1950-1
| 8 | SRM 1950-2
| 9 | SRM 1950-3
| 10 | SRM 1950-4
| 11 | SRM 1950-5
| 12 | SRM 1950-6
| 13 | Pooled QC
| 14 | Pooled QC
| 15 | T1D-1
| 16 | T1D-2
| 17 | T1D-3
| 18 | T1D-4
| 19 | T1D-5
| 20 | T1D-6
| 21 | Total Blank 2
| 22 | Pooled QC
| 23 | Pooled QC
| 24 | Young AA-1
| 25 | Young AA-2
| 26 | Young AA-3
| 27 | Young AA-4
| 28 | Young AA-5
| 29 | Young AA-6
| 30 | Pooled QC
| 31 | Pooled QC
| 32 | hTAG-1
| 33 | hTAG-2
| 34 | hTAG-3
| 35 | hTAG-4
| 36 | hTAG-5
| 37 | hTAG-6
| 38 | Pooled QC
| 39 | Pooled QC
| 40 | Calibration line 2 from STD1 to 6 (n=3)
| 41 | […]
| 42 | Matrix blank
| 43 | Total Blank 3

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
| 4 | Internal standards are added to all QC samples.
Intra-Assay Variation
| 6 | The precision and accuracy of the assay is determined for each of the four ceramides measured in LLOQ, LQC, MQC, HQC, and HLOQ.
| 7 | Intra-assay variation, precision, and accuracy is calculated for each of the ceramide in replicates of six (n = 6) at each QC concentration independently on three separate occasions.
| 8 | The intra-assay precision (percentage coefficient variance, %CV) and accuracy (percentage accuracy, %Accuracy) are calculated from the nominal concentrations according to the formulas reported in corresponding sheets and tables of this document.
| 9 | Recovery estimation is not necessary for the published method but only for different ones. Stability estimation is not necessary for the published method but only for different ones. Calibration line is prepared in 5% BSA.

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 5822404.7771 | 6550940.0481 | 8933270.1694 | 28763289.1929 | 29519607.5126 | 44427114.5152 | 211259975.9485 | 272242104.8209 | 299588438.6278 | 240313116.6476 | 316520283.3787 | 350882707.6638 | 1494266.3123 | 1445137.0486 | 1906662.9481 | 1307306.2799 | 1211261.4604 | 1936643.9523 | 26449014.8245 | 30017937.0728 | 34053776.2062 | 7694157.128 | 9372265.6198 | 10966178.3584
| STD 2 | 2453884.959 | 4067550.6785 | 4191756.1466 | 13143722.362 | 19876263.1585 | 20594301.6425 | 107367351.8682 | 180588886.9584 | 151160665.5944 | 118557780.4047 | 206652849.8269 | 167772146.3045 | 1373331.1764 | 1956925.9031 | 1708536.7004 | 1265323.9211 | 1768874.7417 | 1872501.8948 | 22141276.7014 | 38991458.2165 | 32047674.6195 | 7726087.3965 | 13488186.5925 | 10765736.4541
| STD 3 | 524604.4262 | 301530.0517 | 549545.273 | 2849234.2546 | 1810202.8757 | 2825757.6876 | 24140686.9268 | 14328868.6819 | 21973097.8049 | 27948339.816 | 15987704.9126 | 24164595.1751 | 2667505.9374 | 1462882.3304 | 2378795.6253 | 2655322.6485 | 1621944.81 | 2785479.5656 | 53236970.9844 | 30468320.795 | 44459051.1935 | 18218702.6713 | 11097720.9054 | 16898060.3307
| STD 4 | 80518.8095 | 97253.3494 | 100443.9699 | 458399.0582 | 417174.0129 | 479545.2208 | 3396469.1266 | 3449720.7857 | 3237899.0675 | 4671913.6385 | 4454997.1078 | 4266918.3988 | 1917259.1783 | 1713659.1486 | 1799087.3648 | 1887927.9074 | 1674734.2421 | 2028543.8498 | 43281169.7315 | 38474595.7671 | 38759014.2628 | 12090544.1584 | 12266445.5747 | 12453110.7811
| STD 5 | 42324.181 | 46066.5276 | 53527.5547 | 249509.8403 | 153187.5738 | 182818.7198 | 1466148.9896 | 1383314.892 | 1195404.4513 | 1878109.9928 | 1719611.7738 | 1495489.1332 | 1712368.5679 | 1619300.9621 | 1795618.5764 | 1813838.2981 | 1510027.1788 | 1401484.3024 | 35875554.5871 | 35533700.6361 | 29419690.7945 | 11171048.6091 | 11052204.6246 | 9720631.8936
| STD 6 | 32435.4584 | 32094.5147 | 36469.4562 | 135783.4127 | 106105.7992 | 158834.9026 | 868108.5207 | 789334.8043 | 735810.4951 | 1079759.6237 | 1084822.5155 | 1084933.6523 | 1411850.4447 | 1261674.993 | 1508155.3482 | 1362778.0102 | 1165296.1928 | 1297449.284 | 24355138.682 | 24427228.9954 | 24491159.106 | 8418704.0697 | 7073813.6698 | 6745105.5101
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 5037826.3473 | 5856594.4405 | 6673405.8258 | 26142135.8932 | 32133352.6184 | 30930444.2666 | 26142135.8932 | 32133352.6184 | 30930444.2666 | 167659868.0546 | 224752708.366 | 175404897.7385 | 1022496.6639 | 1398703.856 | 1391385.5354 | 1138933.5468 | 1458657.6241 | 1382344.2029 | 18931628.5805 | 22719117.3684 | 19321078.7516 | 6084739.5581 | 8310581.3685 | 6255410.709
| STD 2 | 4476834.1997 | 2086672.7228 | 2126419.4092 | 23291510.5057 | 12082577.8249 | 10997920.6438 | 23291510.5057 | 12082577.8249 | 10997920.6438 | 162551355.2405 | 82985084.2727 | 84449977.9658 | 1934269.2945 | 976254.3853 | 1084386.9338 | 2275901.2271 | 1157015.2704 | 1086358.444 | 36491667.2436 | 19003389.5344 | 18075437.913 | 11770172.772 | 6109659.1411 | 6091210.193
| STD 3 | 447581.6107 | 348447.2139 | 313161.4261 | 2002299.7221 | 1958150.9347 | 1600164.3526 | 2002299.7221 | 1958150.9347 | 1600164.3526 | 14821280.7859 | 14316323.8042 | 12712266.834 | 1903941.0829 | 1765984.8154 | 1505895.0742 | 1929382.3141 | 1994386.8738 | 1597764.7382 | 31409515.3956 | 32359547.6742 | 28270029.911 | 11148939.2437 | 11020763.4612 | 9611540.9923
| STD 4 | 30197.6612 | 40958.387 | 28374.9192 | 195715.1895 | 181995.4518 | 102732.937 | 195715.1895 | 181995.4518 | 102732.937 | 1490100.0651 | 1160109.7608 | 747085.9748 | 602246.4852 | 760688.4254 | 466312.401 | 773534.7302 | 814819.0856 | 408234.7019 | 17235247.3077 | 14017760.3264 | 8896397.1749 | 5447767.4586 | 4579152.6314 | 2588402.7517
| STD 5 | 32977.2001 | 34016.7944 | 50131.4653 | 160074.0757 | 144397.0957 | 190771.201 | 160074.0757 | 144397.0957 | 190771.201 | 1004035.4663 | 714523.5557 | 1329604.7371 | 1088084.1953 | 1117067.694 | 1794702.663 | 1239004.5175 | 1119230.9155 | 1845503.4153 | 22842337.4836 | 16987304.5578 | 32717800.2374 | 7670129.362 | 5738911.043 | 11471732.7779
| STD 6 | 29335.4218 | 23782.039 | 23440.2741 | 103706.8489 | 119691.0782 | 58898.1203 | 103706.8489 | 119691.0782 | 58898.1203 | 696408.7819 | 501456.7369 | 460170.8406 | 950078.3111 | 702590.5408 | 982097.2858 | 954470.8128 | 802390.1503 | 712536.3674 | 18951482.8767 | 14162302.3047 | 13151036.6078 | 6181918.3273 | 4763249.2498 | 4017113.5973
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard.
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 273033.3798 | 210159.2245 | 304312.808 | 610449.9485 | 478655.2768 | 703012.703 | 21309252.8087 | 17541900.4936 | 25585808.4601 | 6288011.7699 | 5117767.2093 | 6955740.9512 | 913005.0246 | 737672.8434 | 1026206.0563 | 1288061.0466 | 1038830.1254 | 1459606.7458 | 32104403.6323 | 27315893.571 | 39238827.0126 | 10645314.5645 | 8610884.14 | 11920665.6555
| SRM 2 | 266411.9315 | 253619.8995 | 308298.1904 | 683914.5207 | 486084.2166 | 717532.1779 | 17410281.7851 | 17500993.7556 | 21798236.0883 | 5300857.5529 | 4296171.9468 | 5389198.2896 | 1040095.6704 | 799112.0363 | 1082382.744 | 1374876.418 | 1105990.7883 | 1575499.6161 | 28877787.0913 | 29077054.9061 | 35600294.836 | 10273830.956 | 7828961.6663 | 10245608.3907
| SRM 3 | 237866.4361 | 249675.0244 | 226106.9734 | 637844.1918 | 498870.7304 | 446449.9007 | 19788715.0314 | 18010184.8392 | 13291215.5952 | 4972322.8728 | 4750083.6743 | 3909528.0176 | 931762.5706 | 834217.1823 | 689545.5328 | 1379518.2805 | 1177910.4933 | 873166.6371 | 32144397.1527 | 29530451.177 | 19923189.9588 | 9227447.3309 | 8991267.0323 | 6495431.4911
| SRM 4 | 278399.3898 | 274431.2121 | 272766.0443 | 698734.5468 | 600836.4493 | 610980.6512 | 21122934.8626 | 21808876.0725 | 21415256.4581 | 5489943.5327 | 5287157.0992 | 5101456.9693 | 1039749.8942 | 881736.7709 | 879934.5875 | 1421856.403 | 1281941.7037 | 1218481.689 | 30531534.3953 | 33104310.9729 | 34178194.6408 | 9870475.5574 | 9280668.3444 | 9114199.3493
| SRM 5 | 302813.7453 | 275930.9042 | 305712.3052 | 738725.7547 | 570412.9883 | 657710.0583 | 16331605.5502 | 17477984.8357 | 23114110.0496 | 5392317.7096 | 4667525.0743 | 5303334.5549 | 1069310.9096 | 787729.0278 | 893606.3378 | 1349169.2486 | 1059581.4488 | 1317336.9455 | 23353485.4375 | 25985315.4969 | 34435267.9128 | 8880587.9884 | 7569698.5219 | 8899538.3351
| SRM 6 | 234995.4181 | 241494.8385 | 283531.5006 | 650021.4007 | 578232.6743 | 671284.6033 | 18737989.4129 | 14636515.8457 | 22541517.7271 | 5151186.1296 | 4402476.6708 | 5395269.7175 | 852553.695 | 783217.5934 | 868660.4628 | 1230272.3315 | 1144085.9881 | 1305081.3753 | 27112847.0638 | 22385245.4246 | 33990249.6933 | 8169010.4177 | 7176652.6972 | 9148950.0775
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 402663.8261 | 252500.4416 | 247815.5039 | 1106270.9249 | 606942.4537 | 656432.5779 | 41113382.5425 | 23769423.294 | 26731795.3879 | 7566628.7191 | 7147566.7961 | 7707895.4507 | 1058460.9717 | 748477.3841 | 755747.4207 | 1653842.7455 | 1004410.1357 | 981124.0285 | 37348970.353 | 22510317.0665 | 24268028.5311 | 7931507.9636 | 8105334.3652 | 8529128.8829
| hTAG 2 | 412158.6275 | 277727.5839 | 338327.0651 | 1000400.8658 | 639514.8659 | 693209.9943 | 34614744.9965 | 22868221.014 | 20618746.7674 | 7378297.8434 | 6239697.4033 | 6939186.6032 | 1078456.7818 | 810020.7265 | 1017076.7562 | 1719270.0469 | 1163292.7738 | 1226113.9198 | 34688274.8167 | 23947163.184 | 20076013.6091 | 9078831.5059 | 7761988.7944 | 8398647.5008
| hTAG 3 | 337598.0574 | 290207.8013 | 405068.2051 | 899939.751 | 630812.4996 | 852723.6008 | 30263426.4722 | 21841651.9543 | 25651814.8127 | 6867918.0586 | 5792138.4932 | 8793618.9812 | 913427.4942 | 731208.7513 | 1109546.4243 | 1422812.8345 | 1002909.0744 | 1487887.7276 | 30343082.0124 | 21082648.2052 | 25556629.4506 | 8376212.1591 | 6531729.6394 | 10213942.3764
| hTAG 4 | 339791.3232 | 271353.8179 | 302089.6465 | 758402.2003 | 627153.9746 | 696906.4763 | 28773556.7559 | 22134140.1762 | 23820556.208 | 7599671.1248 | 5570151.8043 | 6471750.1395 | 904567.5923 | 829559.8825 | 875264.5058 | 1291425.3452 | 1054621.4321 | 1318675.1724 | 29017502.7033 | 23260023.3618 | 24388722.8635 | 9293934.2061 | 6713944.4137 | 7836692.6388
| hTAG 5 | 392457.6651 | 295179.1088 | 326308.231 | 940518.0117 | 721205.3626 | 662650.2435 | 36270458.2106 | 22459227.9662 | 20338646.5193 | 7411994.6984 | 6850421.8658 | 6927683.8408 | 1267129.0334 | 957527.3615 | 1000583.3433 | 1799350.5901 | 1374093.0728 | 1299888.6691 | 39712605.573 | 27054923.5471 | 24776096.1814 | 10149721.8261 | 8989249.8152 | 9143400.0765
| hTAG 6 | 259356.0898 | 287279.7884 | 292256.3493 | 629323.3025 | 637536.9049 | 706497.5724 | 16299157.6507 | 23480581.5803 | 25055772.8138 | 5273898.2912 | 5797639.7819 | 6593501.5558 | 748068.324 | 865710.535 | 824025.7853 | 1047859.2527 | 1147103.1093 | 1263962.9007 | 17550095.7041 | 25414013.3246 | 25320098.1925 | 6514207.3913 | 7263605.9374 | 8387466.8177
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 364749.9056 | 227866.6027 | 186050.1867 | 1047426.7167 | 747468.4585 | 600701.6693 | 28959601.4925 | 21898016.9852 | 16222703.1389 | 5493800.5908 | 5252671.403 | 4800477.9921 | 1136778.1964 | 957177.7685 | 705472.9312 | 1746838.0612 | 1338722.2065 | 1036787.2401 | 43216045.4891 | 33119228.5255 | 25417776.0878 | 9580665.597 | 9605846.629 | 8332531.8236
| T1D 2 | 392963.21 | 266994.6961 | 216809.1534 | 1022818.7136 | 867490.7535 | 631941.151 | 25732937.6855 | 25942239.4596 | 15118577.2002 | 5779565.2783 | 5991921.886 | 4186148.4356 | 1094086.5751 | 1132123.7319 | 802281.3905 | 1736734.8175 | 1674927.4067 | 1095255.1339 | 38098219.7323 | 41430430.0468 | 23615992.0323 | 9496520.9086 | 10793709.9135 | 7772279.9988
| T1D 3 | 422547.2671 | 255820.5623 | 232351.2623 | 1071621.7594 | 830708.6248 | 666788.2287 | 29560942.3204 | 24027673.396 | 16160903.391 | 6223519.6002 | 5578507.3445 | 4837278.3387 | 1253385.7819 | 1061739.4733 | 877708.9173 | 1980242.7446 | 1593456.4718 | 1297907.7471 | 46814759.9258 | 38104900.2888 | 26302690.7228 | 10649405.5019 | 9993361.7652 | 8767473.0802
| T1D 4 | 440362.5815 | 275454.1951 | 212605.2709 | 1117531.0735 | 893205.7942 | 611540.8719 | 30913586.8049 | 25724972.8855 | 15586266.3723 | 6111965.3701 | 5699098.5976 | 3866863.9314 | 1361305.5049 | 1271913.0511 | 856725.526 | 2045315.5435 | 1846347.5328 | 1147261.0348 | 47359764.1863 | 44752382.152 | 25975507.1485 | 11161143.6558 | 11275833.2631 | 7693894.2333
| T1D 5 | 387911.4145 | 294953.9481 | 199893.3546 | 1146573.2234 | 986458.4405 | 621037.6347 | 28282313.0373 | 26669913.8522 | 15191792.6972 | 6487001.0678 | 6520863.5854 | 4337017.8314 | 1077916.075 | 1118515.5296 | 714980.4172 | 1842999.152 | 1706281.0105 | 1009485.4276 | 38389134.2504 | 39701014.9189 | 21388184.2963 | 10023989.8537 | 11115462.4709 | 6798707.2521
| T1D 6 | 283104.0388 | 226211.3532 | 229188.4646 | 1005556.8197 | 745539.7313 | 598822.6682 | 23171332.5352 | 17534288.9826 | 13080446.8608 | 6194007.762 | 4126067.4968 | 4590989.7625 | 1199186.2577 | 974036.5216 | 884454.2653 | 1994150.3362 | 1404229.1681 | 1141569.5028 | 34446837.0865 | 29856107.178 | 21234960.6793 | 11002056.9685 | 8085521.9667 | 7888589.1406
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 288616.3191 | 276606.9252 | 251357.9664 | 942791.3156 | 847522.4981 | 739022.7856 | 17873390.8271 | 17106922.4834 | 14699837.4951 | 4013980.7325 | 3880610.5178 | 3340145.3584 | 1191565.4446 | 1202095.9897 | 1036521.873 | 1625507.6864 | 1547385.1184 | 1385098.2049 | 36611717.6489 | 34381333.375 | 29776719.4196 | 9178230.5892 | 9516691.4728 | 7782072.7204
| yA-A 2 | 206517.8196 | 176465.8349 | 195149.6822 | 559327.3076 | 385999.7721 | 375130.1544 | 15971681.7305 | 11621335.6797 | 9926779.9282 | 3425570.0516 | 2620177.6823 | 2559220.0264 | 1240584.2293 | 992833.957 | 1056221.7279 | 1770017.1497 | 1402230.4267 | 1344130.1798 | 35885409.9877 | 27292182.6544 | 22668795.5018 | 9341041.2967 | 7612284.1173 | 6898206.3482
| yA-A 3 | 212823.6056 | 206549.2631 | 218290.3853 | 532639.0908 | 465578.2771 | 433063.3075 | 17676077.5762 | 16579871.386 | 12264610.9175 | 3467130.3726 | 3545071.1212 | 2760698.3484 | 1290050.2687 | 1250881.4438 | 1086842.7651 | 1924720.4513 | 1721100.642 | 1400395.3919 | 40591002.1129 | 40183826.3158 | 28069214.817 | 10045565.8869 | 10629306.8803 | 7806768.5783
| yA-A 4 | 180150.6996 | 212930.6861 | 159446.4931 | 443256.1892 | 408280.4492 | 364935.9092 | 13987792.3346 | 12678151.4544 | 11120061.0644 | 2718144.9959 | 2708380.7853 | 2389481.4467 | 1123810.3288 | 1246655.5139 | 937594.3304 | 1488298.9312 | 1441784.505 | 1259368.208 | 33276120.6656 | 31136169.1046 | 25560474.4336 | 7999322.9391 | 8049880.4806 | 7077971.9362
| yA-A 5 | 207472.7344 | 215842.2294 | 187136.7502 | 475763.5304 | 519398.1842 | 344136.1443 | 15482063.3159 | 17758590.1218 | 9624245.116 | 2810806.5861 | 3482237.9281 | 2303593.6218 | 1255931.4286 | 1258460.3534 | 1026045.7185 | 1588829.5031 | 1757513.3777 | 1264277.1868 | 36940558.1724 | 42444750.7606 | 22314738.643 | 8891150.5316 | 10936598.0784 | 6820755.2484
| yA-A 6 | 196565.8705 | 239787.8061 | 152699.457 | 399174.554 | 433989.8861 | 280148.2486 | 11123290.0926 | 12181702.144 | 7590551.585 | 2524697.7353 | 2695786.9925 | 1852369.5367 | 942990.9603 | 1346845.9614 | 806101.0828 | 1194929.5934 | 1356932.5047 | 948694.3336 | 23964153.8015 | 27652421.4138 | 17055236.3929 | 6352446.529 | 7689651.0326 | 4887234.5236
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard.
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LLQC 1 | 110962.6593 | 146367.3121 | 133412.8548 | 265785.346 | 424973.2965 | 292241.808 | 10339924.2767 | 13635897.9086 | 9591874.4951 | 2479609.8835 | 3449237.1656 | 2849083.3274 | 1370272.0567 | 1717495.9732 | 1284802.9715 | 1804926.3212 | 2350900.9548 | 1806779.022 | 42601581.4933 | 57938815.6851 | 41754616.3781 | 12040507.0765 | 17577377.9895 | 13182113.7101
| LLQC 2 | 156189.2743 | 156359.8794 | 124483.7157 | 387651.3879 | 354403.3606 | 292037.6093 | 11142744.3486 | 12656724.7561 | 9585626.2965 | 3345606.4915 | 3423353.3847 | 2545586.6217 | 1736313.7131 | 1569534.0771 | 1320124.2743 | 2189118.8209 | 2062701.1282 | 1712453.245 | 46582882.6401 | 52111344.0437 | 38996797.9755 | 15247570.7742 | 16331275.7123 | 11913080.2356
| LLQC 3 | 150520.7864 | 138548.1089 | 149206.5048 | 375078.6338 | 297264.4604 | 207914.4501 | 10420194.1985 | 11754216.1128 | 6275859.0306 | 2439435.4233 | 3253355.6792 | 2339725.2377 | 1696930.5209 | 1727614.0072 | 1591650.871 | 2182620.2143 | 2247250.5506 | 1641969.4692 | 40208977.0384 | 45863078.1763 | 26025032.4938 | 11839452.951 | 16949697.401 | 11123418.3495
| LLQC 4 | 146402.171 | 139498.4585 | 108032.7891 | 317964.6077 | 289823.1687 | 249022.4795 | 11048163.0925 | 10301850.4728 | 7651698.8737 | 2725532.5136 | 2930317.6066 | 2095807.181 | 1785920.9172 | 1609468.8988 | 1252719.8757 | 2259240.8274 | 1977776.9779 | 1639949.6626 | 50233227.9976 | 49948479.1454 | 34903155.4507 | 15008532.1641 | 15707145.8667 | 11369225.7627
| LLQC 5 | 124239.3384 | 110120.8177 | 97567.7904 | 295199.1696 | 285191.7177 | 262937.5336 | 8452580.7496 | 8779598.6534 | 6996240.3614 | 2670536.7185 | 2193810.3713 | 2014585.6594 | 1473778.4678 | 1374830.1696 | 1047432.5663 | 1927801.4519 | 1737428.6838 | 1414798.8171 | 39621450.1566 | 34600006.983 | 30145365.8301 | 13525814.0699 | 11417380.4949 | 9663881.2476
| LLQC 6 | 121645.1056 | 98858.5195 | 119750.1549 | 257795.3577 | 259588.294 | 233083.7085 | 9080425.4064 | 8156487.5194 | 6943381.9429 | 2309409.4951 | 2171919.5026 | 2001037.7342 | 1573890.9089 | 1394228.8969 | 1468412.8534 | 1843344.6577 | 1708363.2914 | 1605853.1215 | 43425638.7045 | 40282467.9186 | 33228170.3803 | 13033511.4293 | 12347878.0169 | 10606340.9128
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LQC 1 | 139240.6881 | 184539.6831 | 178084.0417 | 447116.2079 | 484038.6068 | 365517.5266 | 15811013.352 | 18591529.4089 | 13393932.4207 | 3481357.1289 | 4400398.653 | 3302565.4523 | 1124619.9072 | 1438207.9044 | 1201469.2675 | 1692182.0129 | 1855694.4707 | 1541155.4016 | 41251461.6257 | 50058691.6068 | 36216888.8034 | 10662093.9774 | 13960449.5254 | 10518879.4701
| LQC 2 | 203987.6653 | 177010.6186 | 127689.0365 | 439399.9198 | 324236.8601 | 325957.6305 | 11689729.3077 | 11870933.9143 | 8853972.2264 | 3658111.6193 | 2711575.3027 | 2164699.5767 | 1576558.0227 | 1170788.0779 | 967690.4649 | 1866942.9706 | 1408501.0067 | 1248502.9194 | 33978582.2821 | 35183392.4984 | 25146845.3641 | 12175437.4935 | 9552329.865 | 7426948.0206
| LQC 3 | 205691.0363 | 204970.0653 | 168242.1595 | 513712.3739 | 406136.9003 | 389430.9138 | 16830496.4087 | 12718112.7298 | 12426807.4967 | 4280642.8831 | 3850953.9053 | 3421435.0792 | 1607171.0606 | 1612832.5265 | 1284392.3577 | 2234693.9758 | 2091266.535 | 1739314.5623 | 48408163.6376 | 38440909.6307 | 35721277.613 | 14652663.2301 | 13932566.3536 | 11805193.9138
| LQC 4 | 191344.3352 | 186937.5406 | 143429.925 | 453073.0731 | 346406.3343 | 323956.2614 | 14305418.4504 | 13023356.6337 | 10141400.5084 | 3331811.6019 | 4453998.9313 | 3170769.1389 | 1424794.3982 | 1641010.722 | 1316094.6254 | 1874973.0006 | 1988885.2089 | 1693050.5335 | 43752331.7398 | 41182148.6392 | 31874096.5704 | 12137942.3693 | 15817396.1327 | 11658928.3629
| LQC 5 | 185575.2759 | 98350.5361 | 136798.4419 | 360323.6342 | 255685.7528 | 248258.3341 | 9766678.2101 | 7486325.7641 | 8041191.601 | 3031408.3109 | 2062998.6375 | 2068984.8316 | 1310275.5708 | 857908.2212 | 869560.0876 | 1636083.0157 | 1137425.838 | 1128927.6211 | 26562279.1425 | 22668260.4738 | 22596661.714 | 10482066.8045 | 7240951.6531 | 6455426.684
| LQC 6 | 154825.0009 | 159738.174 | 183088.1153 | 427914.4697 | 374404.7121 | 307547.7773 | 13251772.5116 | 12988319.776 | 9212448.5259 | 3399998.9086 | 3398868.0093 | 2798448.1811 | 1290396.9256 | 1195528.2233 | 1232007.9039 | 1737738.1203 | 1647870.211 | 1509507.8657 | 39449679.053 | 38548025.183 | 25258101.2155 | 12055445.5607 | 12213499.7613 | 9011076.2634
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 194546.5557 | 214283.6911 | 259855.134 | 615417.0621 | 367966.6598 | 584942.2432 | 20547160.4903 | 13355023.3593 | 15655991.4573 | 4361903.9223 | 3584687.5211 | 4626360.1311 | 804639.3738 | 667860.5091 | 921482.5432 | 1209510.8323 | 813931.8666 | 1227494.7573 | 31303810.9635 | 18932821.4738 | 24209654.0847 | 7581719.0886 | 5890864.3282 | 8161172.2891
| MQC 2 | 222281.2818 | 216902.8776 | 198176.4362 | 593335.5292 | 554517.8568 | 460777.14 | 17539108.5043 | 19512641.0962 | 15148237.1191 | 4755768.3814 | 4544561.7733 | 3680984.2458 | 855529.0657 | 820739.869 | 691923.7629 | 1199824.3107 | 1151357.9862 | 962701.8795 | 25837675.9049 | 28808982.0834 | 21586721.5922 | 7720886.9054 | 7828852.0687 | 6056534.7989
| MQC 3 | 265668.9761 | 224769.363 | 242569.7377 | 655314.9167 | 528805.6694 | 551602.3939 | 20668350.8323 | 18676228.3116 | 16178823.8796 | 4550597.0853 | 4409302.1248 | 4740893.8725 | 792109.3112 | 744226.0184 | 766065.7959 | 1143800.6546 | 1004073.2124 | 1115513.277 | 25682207.184 | 24173504.8198 | 21023895.4033 | 6838980.2314 | 6823273.0813 | 7224596.5966
| MQC 4 | 209683.9357 | 203416.8415 | 224843.3805 | 493142.9747 | 427699.4933 | 570514.7036 | 16591889.9931 | 10204268.7737 | 15249692.617 | 3723769.7188 | 3795244.15 | 4635003.0771 | 732754.3815 | 687023.4712 | 813412.486 | 887423.7639 | 836807.1987 | 1115036.8436 | 22006668.2246 | 13866922.9995 | 19252881.8293 | 5525872.234 | 5938600.1789 | 7326155.2961
| MQC 5 | 247273.9508 | 161552.4176 | 188375.4916 | 587593.8904 | 400711.9991 | 397911.6469 | 17759251.7206 | 17971796.8754 | 9998759.0619 | 4346655.5944 | 3821540.3601 | 3115235.4144 | 755107.0133 | 534851.5023 | 642720.1221 | 1128850.1563 | 923119.2946 | 773849.3052 | 23419152.8227 | 23945469.5823 | 12483322.1118 | 6717525.4374 | 6052683.7156 | 4374120.8621
| MQC 6 | 284034.0273 | 196250.9448 | 229552.13 | 572962.2365 | 417480.7396 | 417116.9013 | 19142399.7448 | 15155953.9782 | 9730912.9461 | 4265000.5541 | 3937175.8695 | 3153442.9737 | 841248.3878 | 667856.7601 | 688624.2543 | 1172195.1883 | 895047.899 | 780776.5314 | 26838319.9285 | 21653648.1987 | 13318240.1748 | 7119872.3281 | 6311952.2591 | 4773748.937
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HQC 1 | 461641.9504 | 426506.7408 | 364713.9658 | 1846363.2281 | 1666023.7451 | 1273821.6394 | 43067796.216 | 40317579.2062 | 26294003.3623 | 16252229.3437 | 14467130.3468 | 11666540.1386 | 1203847.714 | 1083729.6955 | 868817.1518 | 1665774.2491 | 1601372.6072 | 1208528.9873 | 44580042.8851 | 42303757.2256 | 26338622.9899 | 12387179.415 | 11414595.5054 | 8641398.2992
| HQC 2 | 414614.2942 | 310237.7136 | 283654.8882 | 1569126.4666 | 1172763.3612 | 990400.4248 | 29956288.4687 | 26497435.0076 | 19560317.3133 | 10921557.0692 | 9601727.2772 | 7599619.1253 | 985966.2632 | 741579.2259 | 699127.5846 | 1397404.5825 | 1080050.3301 | 899945.1174 | 29321000.3013 | 26983310.7872 | 20048278.6256 | 8296776.7882 | 7560414.5418 | 5798587.7214
| HQC 3 | 451514.7983 | 371745.9548 | 351797.1405 | 1763151.4581 | 1465812.8657 | 1127881.2914 | 36851657.5359 | 31499331.2509 | 22008593.6887 | 14922724.1241 | 13196727.2728 | 9446007.9188 | 1189225.7865 | 1036072.2832 | 737470.2779 | 1736032.4121 | 1380449.818 | 975408.7824 | 38061773.825 | 33528647.5006 | 21380009.6668 | 11406138.854 | 10130919.6137 | 6874885.199
| HQC 4 | 340398.2793 | 314964.6064 | 379959.9114 | 1317622.879 | 934785.4848 | 1155926.5627 | 30196635.5463 | 17174127.8062 | 18459227.7342 | 9406439.5875 | 8373142.252 | 9701497.9737 | 858395.6039 | 670596.591 | 934385.3689 | 1258467.5904 | 970729.9374 | 1182299.6973 | 29858411.7171 | 17507225.0849 | 20005088.9783 | 7502246.2834 | 5609232.4095 | 7697193.7731
| HQC 5 | 320278.0189 | 259790.3157 | 299560.3073 | 1131253.8835 | 1133447.1122 | 640505.895 | 23898030.994 | 26289234.7245 | 9443867.6354 | 8335299.3804 | 8864950.3754 | 5013550.2886 | 848516.7568 | 675675.9151 | 655002.8954 | 1127811.1525 | 1081421.1692 | 608273.2118 | 24007189.3836 | 27577223.4925 | 9507570.3852 | 6489712.5409 | 6883943.6116 | 3519079.4605
| HQC 6 | 317901.4574 | 408474.4858 | 284779.5272 | 1066333.0071 | 1461495.4503 | 729824.2663 | 20637956.3939 | 33872858.4098 | 10569120.1613 | 8739121.7738 | 13931806.2537 | 5741390.5159 | 710849.8983 | 998944.7091 | 693198.3694 | 1063225.3193 | 1367267.533 | 679994.9522 | 22351998.2076 | 34337535.8871 | 10609373.3907 | 6570962.8536 | 10782309.3475 | 4161224.9851
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HLQC 1 | 435681.8485 | 464301.0625 | 476872.7393 | 2114107.0989 | 2249156.0635 | 1823236.8166 | 33998587.7464 | 38716045.2384 | 33494229.7426 | 15180132.4048 | 16113998.1877 | 15953845.6927 | 882829.9577 | 987862.2108 | 817050.7931 | 1363974.841 | 1340857.7413 | 1150281.7981 | 26396291.5532 | 31451793.7869 | 26953165.7047 | 7629968.3004 | 8680740.587 | 8231808.1355
| HLQC 2 | 561968.798 | 485009.3808 | 375414.5579 | 2029423.4847 | 2291462.8379 | 1659526.0991 | 32874902.1183 | 42238228.9403 | 27076473.3464 | 13766319.298 | 19524949.3775 | 12595404.8601 | 835556.0356 | 964948.8494 | 717155.6495 | 1152135.9026 | 1420802.9078 | 1031682.0843 | 25971280.1292 | 34762532.338 | 21650616.7781 | 7129772.3242 | 10309724.8539 | 6147517.7543
| HLQC 3 | 601803.3018 | 505398.4527 | 616994.5002 | 2663793.6337 | 2373756.0644 | 2551864.1505 | 35122678.5076 | 40801377.5257 | 35151995.365 | 19976528.5762 | 16960678.7651 | 20303617.4454 | 1195535.8103 | 994343.3628 | 1143492.7481 | 1688617.2435 | 1410296.1406 | 1517434.9256 | 27301324.7862 | 31686095.4873 | 27698974.8433 | 9589686.0316 | 8996413.2356 | 9893654.5566
| HLQC 4 | 352892.2484 | 337425.4405 | 308491.3508 | 1470715.3912 | 1012073.1258 | 1422639.1183 | 23621519.6257 | 15402040.3304 | 19819826.0447 | 10334922.267 | 6965650.8981 | 9248069.2559 | 566081.4899 | 626369.7815 | 552477.2894 | 752586.0335 | 573447.1102 | 791558.0267 | 17276530.0477 | 11421271.0012 | 14487839.5514 | 4726135.052 | 3113789.6573 | 4264362.1589
| HLQC 5 | 575931.0583 | 522683.3887 | 520787.8809 | 2591798.0835 | 2415827.986 | 1946749.7154 | 42638182.2706 | 44934001.5072 | 25663017.0212 | 18773840.2122 | 20458174.7101 | 14466624.758 | 1046367.1814 | 1004682.6696 | 919662.8016 | 1510228.9648 | 1525679.725 | 1121555.29 | 34509287.8338 | 36280846.5322 | 19402980.7988 | 9421944.0616 | 10204441.5356 | 6768844.4427
| HLQC 6 | 303725.1779 | 412036.9033 | 361736.959 | 1338750.4171 | 1808620.9347 | 1211278.473 | 24323348.1963 | 29443179.2645 | 15934045.7858 | 10864189.1064 | 12613482.6913 | 9706390.6892 | 619796.2682 | 762414.2844 | 679725.3391 | 869223.0526 | 1145529.2847 | 744937.9296 | 18858039.8987 | 23699519.2201 | 13279881.7093 | 5425278.79 | 6506920.5133 | 4716197.9121
| Matrix Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Blank | 187447.1076 | 261021.111 | 237356.3374 | 536820.4249 | 671481.4557 | 604942.3498 | 21572915.7461 | 25401528.6997 | 21078413.4931 | 4096986.9303 | 4512441.0984 | 4768660.2596 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Blank | 260759.8021 | 197093.9048 | 199685.7908 | 666094.3148 | 537330.4282 | 449643.5532 | 23499411.0615 | 19204115.1215 | 16986979.8167 | 5070514.114 | 3828096.4064 | 4415584.5674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Blank | 169782.1196 | 141145.1216 | 136614.4113 | 445956.2344 | 358831.1224 | 294836.9103 | 16805728.4467 | 11720570.7039 | 8429440.2274 | 3368298.4955 | 3117488.885 | 2378885.3813 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Blank | 10741.8474 | 6528.2663 | 11357.2652 | 22485.147 | 39051.9625 | 32283.9015 | 37629.6871 | 39263.0085 | 71414.6736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Blank | 10151.1815 | 9969.6957 | 13894.8048 | 26073.4435 | 36447.2241 | 43410.2992 | 44662.4956 | 68741.564 | 49900.7482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Blank | 12881.2619 | 10347.103 | 11331.0309 | 35256.4215 | 34035.6204 | 29159.1139 | 104090.4046 | 98576.6953 | 44756.2173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Raw Peak Areas
Sample_Name | Cer d18:1/16:0 [M>264] | Cer d18:1/16:0-d7 [M>264] | Cer d18:1/18:0 [M>264] | Cer d18:1/18:0-d7 [M>264] | Cer d18:1/24:0 [M>264] | Cer d18:1/24:0-d7 [M>264] | Cer d18:1/24:1 [M>264] | Cer d18:1/24:1-d7 [M>264]
RUN 1
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 1 | 10741.8474 | 0 | 22485.147 | 0 | 37629.6871 | 0 | 0 | 0
Matrix blank 1 | 187447.1076 | 0 | 536820.4249 | 0 | 21572915.7461 | 0 | 4096986.9303 | 0
Calibration line 1 STD6 | 32435.4584 | 1411850.4447 | 135783.4127 | 1362778.0102 | 868108.5207 | 24355138.682 | 1079759.6237 | 8418704.0697
Calibration line 1 STD5 | 42324.181 | 1712368.5679 | 249509.8403 | 1813838.2981 | 1466148.9896 | 35875554.5871 | 1878109.9928 | 11171048.6091
Calibration line 1 STD4 | 80518.8095 | 1917259.1783 | 458399.0582 | 1887927.9074 | 3396469.1266 | 43281169.7315 | 4671913.6385 | 12090544.1584
Calibration line 1 STD3 | 524604.4262 | 2667505.9374 | 2849234.2546 | 2655322.6485 | 24140686.9268 | 53236970.9844 | 27948339.816 | 18218702.6713
Calibration line 1 STD2 | 2453884.959 | 1373331.1764 | 13143722.362 | 1265323.9211 | 107367351.8682 | 22141276.7014 | 118557780.4047 | 7726087.3965
Calibration line 1 STD1 | 5822404.7771 | 1494266.3123 | 28763289.1929 | 1307306.2799 | 211259975.9485 | 26449014.8245 | 240313116.6476 | 7694157.128
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 1 | 110962.6593 | 1370272.0567 | 265785.346 | 1804926.3212 | 10339924.2767 | 42601581.4933 | 2479609.8835 | 12040507.0765
Pooled QC - LQC 1 | 139240.6881 | 1124619.9072 | 447116.2079 | 1692182.0129 | 15811013.352 | 41251461.6257 | 3481357.1289 | 10662093.9774
Pooled QC -MQC 1 | 194546.5557 | 804639.3738 | 615417.0621 | 1209510.8323 | 20547160.4903 | 31303810.9635 | 4361903.9223 | 7581719.0886
Pooled QC - HQC 1 | 461641.9504 | 1203847.714 | 1846363.2281 | 1665774.2491 | 43067796.216 | 44580042.8851 | 16252229.3437 | 12387179.415
Pooled QC - HLQC 1 | 435681.8485 | 882829.9577 | 2114107.0989 | 1363974.841 | 33998587.7464 | 26396291.5532 | 15180132.4048 | 7629968.3004
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SRM 1950-1 | 273033.3798 | 913005.0246 | 610449.9485 | 1288061.0466 | 21309252.8087 | 32104403.6323 | 6288011.7699 | 10645314.5645
SRM 1950-2 | 266411.9315 | 1040095.6704 | 683914.5207 | 1374876.418 | 17410281.7851 | 28877787.0913 | 5300857.5529 | 10273830.956
SRM 1950-3 | 237866.4361 | 931762.5706 | 637844.1918 | 1379518.2805 | 19788715.0314 | 32144397.1527 | 4972322.8728 | 9227447.3309
SRM 1950-4 | 278399.3898 | 1039749.8942 | 698734.5468 | 1421856.403 | 21122934.8626 | 30531534.3953 | 5489943.5327 | 9870475.5574
SRM 1950-5 | 302813.7453 | 1069310.9096 | 738725.7547 | 1349169.2486 | 16331605.5502 | 23353485.4375 | 5392317.7096 | 8880587.9884
SRM 1950-6 | 234995.4181 | 852553.695 | 650021.4007 | 1230272.3315 | 18737989.4129 | 27112847.0638 | 5151186.1296 | 8169010.4177
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 2 | 156189.2743 | 1736313.7131 | 387651.3879 | 2189118.8209 | 11142744.3486 | 46582882.6401 | 3345606.4915 | 15247570.7742
Pooled QC - LQC 2 | 203987.6653 | 1576558.0227 | 439399.9198 | 1866942.9706 | 11689729.3077 | 33978582.2821 | 3658111.6193 | 12175437.4935
Pooled QC -MQC 2 | 222281.2818 | 855529.0657 | 593335.5292 | 1199824.3107 | 17539108.5043 | 25837675.9049 | 4755768.3814 | 7720886.9054
Pooled QC - HQC 2 | 414614.2942 | 985966.2632 | 1569126.4666 | 1397404.5825 | 29956288.4687 | 29321000.3013 | 10921557.0692 | 8296776.7882
Pooled QC - HLQC 2 | 561968.798 | 835556.0356 | 2029423.4847 | 1152135.9026 | 32874902.1183 | 25971280.1292 | 13766319.298 | 7129772.3242
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T1D-1 | 364749.9056 | 1136778.1964 | 1047426.7167 | 1746838.0612 | 28959601.4925 | 43216045.4891 | 5493800.5908 | 9580665.597
T1D-2 | 392963.21 | 1094086.5751 | 1022818.7136 | 1736734.8175 | 25732937.6855 | 38098219.7323 | 5779565.2783 | 9496520.9086
T1D-3 | 422547.2671 | 1253385.7819 | 1071621.7594 | 1980242.7446 | 29560942.3204 | 46814759.9258 | 6223519.6002 | 10649405.5019
T1D-4 | 440362.5815 | 1361305.5049 | 1117531.0735 | 2045315.5435 | 30913586.8049 | 47359764.1863 | 6111965.3701 | 11161143.6558
T1D-5 | 387911.4145 | 1077916.075 | 1146573.2234 | 1842999.152 | 28282313.0373 | 38389134.2504 | 6487001.0678 | 10023989.8537
T1D-6 | 283104.0388 | 1199186.2577 | 1005556.8197 | 1994150.3362 | 23171332.5352 | 34446837.0865 | 6194007.762 | 11002056.9685
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 2 | 10741.8474 | 0 | 22485.147 | 0 | 37629.6871 | 0 | 0 | 0
Matrix Blank 2 | 260759.8021 | 0 | 666094.3148 | 0 | 23499411.0615 | 0 | 5070514.114 | 0
Pooled QC - LLQC 3 | 150520.7864 | 1696930.5209 | 375078.6338 | 2182620.2143 | 10420194.1985 | 40208977.0384 | 2439435.4233 | 11839452.951
Pooled QC - LQC 3 | 205691.0363 | 1607171.0606 | 513712.3739 | 2234693.9758 | 16830496.4087 | 48408163.6376 | 4280642.8831 | 14652663.2301
Pooled QC - MQC 3 | 265668.9761 | 792109.3112 | 655314.9167 | 1143800.6546 | 20668350.8323 | 25682207.184 | 4550597.0853 | 6838980.2314
Pooled QC - HQC 3 | 451514.7983 | 1189225.7865 | 1763151.4581 | 1736032.4121 | 36851657.5359 | 38061773.825 | 14922724.1241 | 11406138.854
Pooled QC - HLQC 3 | 601803.3018 | 1195535.8103 | 2663793.6337 | 1688617.2435 | 35122678.5076 | 27301324.7862 | 19976528.5762 | 9589686.0316
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Young AA-1 | 288616.3191 | 1191565.4446 | 942791.3156 | 1625507.6864 | 17873390.8271 | 36611717.6489 | 4013980.7325 | 9178230.5892
Young AA-2 | 206517.8196 | 1240584.2293 | 559327.3076 | 1770017.1497 | 15971681.7305 | 35885409.9877 | 3425570.0516 | 9341041.2967
Young AA-3 | 212823.6056 | 1290050.2687 | 532639.0908 | 1924720.4513 | 17676077.5762 | 40591002.1129 | 3467130.3726 | 10045565.8869
Young AA-4 | 180150.6996 | 1123810.3288 | 443256.1892 | 1488298.9312 | 13987792.3346 | 33276120.6656 | 2718144.9959 | 7999322.9391
Young AA-5 | 207472.7344 | 1255931.4286 | 475763.5304 | 1588829.5031 | 15482063.3159 | 36940558.1724 | 2810806.5861 | 8891150.5316
Young AA-6 | 196565.8705 | 942990.9603 | 399174.554 | 1194929.5934 | 11123290.0926 | 23964153.8015 | 2524697.7353 | 6352446.529
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 4 | 146402.171 | 1785920.9172 | 317964.6077 | 2259240.8274 | 11048163.0925 | 50233227.9976 | 2725532.5136 | 15008532.1641
Pooled QC - LQC 4 | 191344.3352 | 1424794.3982 | 453073.0731 | 1874973.0006 | 14305418.4504 | 43752331.7398 | 3331811.6019 | 12137942.3693
Pooled QC - MQC 4 | 209683.9357 | 732754.3815 | 493142.9747 | 887423.7639 | 16591889.9931 | 22006668.2246 | 3723769.7188 | 5525872.234
Pooled QC - HQC 4 | 340398.2793 | 858395.6039 | 1317622.879 | 1258467.5904 | 30196635.5463 | 29858411.7171 | 9406439.5875 | 7502246.2834
Pooled QC - HLQC 4 | 352892.2484 | 566081.4899 | 1470715.3912 | 752586.0335 | 23621519.6257 | 17276530.0477 | 10334922.267 | 4726135.052
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hTAG-1 | 402663.8261 | 1058460.9717 | 1106270.9249 | 1653842.7455 | 41113382.5425 | 37348970.353 | 7566628.7191 | 7931507.9636
hTAG-2 | 412158.6275 | 1078456.7818 | 1000400.8658 | 1719270.0469 | 34614744.9965 | 34688274.8167 | 7378297.8434 | 9078831.5059
hTAG-3 | 337598.0574 | 913427.4942 | 899939.751 | 1422812.8345 | 30263426.4722 | 30343082.0124 | 6867918.0586 | 8376212.1591
hTAG-4 | 339791.3232 | 904567.5923 | 758402.2003 | 1291425.3452 | 28773556.7559 | 29017502.7033 | 7599671.1248 | 9293934.2061
hTAG-5 | 392457.6651 | 1267129.0334 | 940518.0117 | 1799350.5901 | 36270458.2106 | 39712605.573 | 7411994.6984 | 10149721.8261
hTAG-6 | 259356.0898 | 748068.324 | 629323.3025 | 1047859.2527 | 16299157.6507 | 17550095.7041 | 5273898.2912 | 6514207.3913
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 5 | 124239.3384 | 1473778.4678 | 295199.1696 | 1927801.4519 | 8452580.7496 | 39621450.1566 | 2670536.7185 | 13525814.0699
Pooled QC - LQC 5 | 185575.2759 | 1310275.5708 | 360323.6342 | 1636083.0157 | 9766678.2101 | 26562279.1425 | 3031408.3109 | 10482066.8045
Pooled QC - MQC 5 | 247273.9508 | 755107.0133 | 587593.8904 | 1128850.1563 | 17759251.7206 | 23419152.8227 | 4346655.5944 | 6717525.4374
Pooled QC - HQC 5 | 320278.0189 | 848516.7568 | 1131253.8835 | 1127811.1525 | 23898030.994 | 24007189.3836 | 8335299.3804 | 6489712.5409
Pooled QC - HLQC 5 | 575931.0583 | 1046367.1814 | 2591798.0835 | 1510228.9648 | 42638182.2706 | 34509287.8338 | 18773840.2122 | 9421944.0616
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 6 | 121645.1056 | 1573890.9089 | 257795.3577 | 1843344.6577 | 9080425.4064 | 43425638.7045 | 2309409.4951 | 13033511.4293
Pooled QC - LQC 6 | 154825.0009 | 1290396.9256 | 427914.4697 | 1737738.1203 | 13251772.5116 | 39449679.053 | 3399998.9086 | 12055445.5607
Pooled QC - MQC 6 | 284034.0273 | 841248.3878 | 572962.2365 | 1172195.1883 | 19142399.7448 | 26838319.9285 | 4265000.5541 | 7119872.3281
Pooled QC - HQC 6 | 317901.4574 | 710849.8983 | 1066333.0071 | 1063225.3193 | 20637956.3939 | 22351998.2076 | 8739121.7738 | 6570962.8536
Pooled QC - HLQC 6 | 303725.1779 | 619796.2682 | 1338750.4171 | 869223.0526 | 24323348.1963 | 18858039.8987 | 10864189.1064 | 5425278.79
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Calibration line 2 STD6 | 29335.4218 | 950078.3111 | 103706.8489 | 954470.8128 | 835581.4871 | 18951482.8767 | 696408.7819 | 6181918.3273
Calibration line 2 STD5 | 30197.6612 | 602246.4852 | 195715.1895 | 773534.7302 | 1710992.0204 | 17235247.3077 | 1490100.0651 | 5447767.4586
Calibration line 2 STD4 | 32977.2001 | 1088084.1953 | 160074.0757 | 1239004.5175 | 1054619.0454 | 22842337.4836 | 1004035.4663 | 7670129.362
Calibration line 2 STD3 | 447581.6107 | 1903941.0829 | 2002299.7221 | 1929382.3141 | 16995151.5178 | 31409515.3956 | 14821280.7859 | 11148939.2437
Calibration line 2 STD2 | 4476834.1997 | 1934269.2945 | 23291510.5057 | 2275901.2271 | 191014624.8201 | 36491667.2436 | 162551355.2405 | 11770172.772
Calibration line 2 STD1 | 5037826.3473 | 1022496.6639 | 26142135.8932 | 1138933.5468 | 181553489.8702 | 18931628.5805 | 167659868.0546 | 6084739.5581
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Matrix blank 3 | 169782.1196 | 0 | 445956.2344 | 0 | 16805728.4467 | 0 | 3368298.4955 | 0
Total Blank 3 | 12881.2619 | 0 | 35256.4215 | 0 | 104090.4046 | 0 | 0 | 0
RUN 2
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 1 | 6528.2663 | 0 | 39051.9625 | 0 | 39263.0085 | 0 | 0 | 0
Matrix blank 1 | 261021.111 | 0 | 671481.4557 | 0 | 25401528.6997 | 0 | 4512441.0984 | 0
Calibration line 1 STD6 | 32094.5147 | 1261674.993 | 106105.7992 | 1165296.1928 | 1084822.5155 | 24427228.9954 | 789334.8043 | 7073813.6698
Calibration line 1 STD5 | 46066.5276 | 1619300.9621 | 153187.5738 | 1510027.1788 | 1719611.7738 | 35533700.6361 | 1383314.892 | 11052204.6246
Calibration line 1 STD4 | 97253.3494 | 1713659.1486 | 417174.0129 | 1674734.2421 | 4454997.1078 | 38474595.7671 | 3449720.7857 | 12266445.5747
Calibration line 1 STD3 | 301530.0517 | 1462882.3304 | 1810202.8757 | 1621944.81 | 15987704.9126 | 30468320.795 | 14328868.6819 | 11097720.9054
Calibration line 1 STD2 | 4067550.6785 | 1956925.9031 | 19876263.1585 | 1768874.7417 | 206652849.8269 | 38991458.2165 | 180588886.9584 | 13488186.5925
Calibration line 1 STD1 | 6550940.0481 | 1445137.0486 | 29519607.5126 | 1211261.4604 | 316520283.3787 | 30017937.0728 | 272242104.8209 | 9372265.6198
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 1 | 146367.3121 | 1717495.9732 | 424973.2965 | 2350900.9548 | 13635897.9086 | 57938815.6851 | 3449237.1656 | 17577377.9895
Pooled QC - LQC 1 | 184539.6831 | 1438207.9044 | 484038.6068 | 1855694.4707 | 18591529.4089 | 50058691.6068 | 4400398.653 | 13960449.5254
Pooled QC -MQC 1 | 214283.6911 | 667860.5091 | 367966.6598 | 813931.8666 | 13355023.3593 | 18932821.4738 | 3584687.5211 | 5890864.3282
Pooled QC - HQC 1 | 426506.7408 | 1083729.6955 | 1666023.7451 | 1601372.6072 | 40317579.2062 | 42303757.2256 | 14467130.3468 | 11414595.5054
Pooled QC - HLQC 1 | 464301.0625 | 987862.2108 | 2249156.0635 | 1340857.7413 | 38716045.2384 | 31451793.7869 | 16113998.1877 | 8680740.587
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SRM 1950-1 | 210159.2245 | 737672.8434 | 478655.2768 | 1038830.1254 | 17541900.4936 | 27315893.571 | 5117767.2093 | 8610884.14
SRM 1950-2 | 253619.8995 | 799112.0363 | 486084.2166 | 1105990.7883 | 17500993.7556 | 29077054.9061 | 4296171.9468 | 7828961.6663
SRM 1950-3 | 249675.0244 | 834217.1823 | 498870.7304 | 1177910.4933 | 18010184.8392 | 29530451.177 | 4750083.6743 | 8991267.0323
SRM 1950-4 | 274431.2121 | 881736.7709 | 600836.4493 | 1281941.7037 | 21808876.0725 | 33104310.9729 | 5287157.0992 | 9280668.3444
SRM 1950-5 | 275930.9042 | 787729.0278 | 570412.9883 | 1059581.4488 | 17477984.8357 | 25985315.4969 | 4667525.0743 | 7569698.5219
SRM 1950-6 | 241494.8385 | 783217.5934 | 578232.6743 | 1144085.9881 | 14636515.8457 | 22385245.4246 | 4402476.6708 | 7176652.6972
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 2 | 156359.8794 | 1569534.0771 | 354403.3606 | 2062701.1282 | 12656724.7561 | 52111344.0437 | 3423353.3847 | 16331275.7123
Pooled QC - LQC 2 | 177010.6186 | 1170788.0779 | 324236.8601 | 1408501.0067 | 11870933.9143 | 35183392.4984 | 2711575.3027 | 9552329.865
Pooled QC -MQC 2 | 216902.8776 | 820739.869 | 554517.8568 | 1151357.9862 | 19512641.0962 | 28808982.0834 | 4544561.7733 | 7828852.0687
Pooled QC - HQC 2 | 310237.7136 | 741579.2259 | 1172763.3612 | 1080050.3301 | 26497435.0076 | 26983310.7872 | 9601727.2772 | 7560414.5418
Pooled QC - HLQC 2 | 485009.3808 | 964948.8494 | 2291462.8379 | 1420802.9078 | 42238228.9403 | 34762532.338 | 19524949.3775 | 10309724.8539
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T1D-1 | 227866.6027 | 957177.7685 | 747468.4585 | 1338722.2065 | 21898016.9852 | 33119228.5255 | 5252671.403 | 9605846.629
T1D-2 | 266994.6961 | 1132123.7319 | 867490.7535 | 1674927.4067 | 25942239.4596 | 41430430.0468 | 5991921.886 | 10793709.9135
T1D-3 | 255820.5623 | 1061739.4733 | 830708.6248 | 1593456.4718 | 24027673.396 | 38104900.2888 | 5578507.3445 | 9993361.7652
T1D-4 | 275454.1951 | 1271913.0511 | 893205.7942 | 1846347.5328 | 25724972.8855 | 44752382.152 | 5699098.5976 | 11275833.2631
T1D-5 | 294953.9481 | 1118515.5296 | 986458.4405 | 1706281.0105 | 26669913.8522 | 39701014.9189 | 6520863.5854 | 11115462.4709
T1D-6 | 226211.3532 | 974036.5216 | 745539.7313 | 1404229.1681 | 17534288.9826 | 29856107.178 | 4126067.4968 | 8085521.9667
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 2 | 9969.6957 | 0 | 36447.2241 | 0 | 68741.564 | 0 | 0 | 0
Matrix Blank 2 | 197093.9048 | 0 | 537330.4282 | 0 | 19204115.1215 | 0 | 3828096.4064 | 0
Pooled QC - LLQC 3 | 138548.1089 | 1727614.0072 | 297264.4604 | 2247250.5506 | 11754216.1128 | 45863078.1763 | 3253355.6792 | 16949697.401
Pooled QC - LQC 3 | 204970.0653 | 1612832.5265 | 406136.9003 | 2091266.535 | 12718112.7298 | 38440909.6307 | 3850953.9053 | 13932566.3536
Pooled QC - MQC 3 | 224769.363 | 744226.0184 | 528805.6694 | 1004073.2124 | 18676228.3116 | 24173504.8198 | 4409302.1248 | 6823273.0813
Pooled QC - HQC 3 | 371745.9548 | 1036072.2832 | 1465812.8657 | 1380449.818 | 31499331.2509 | 33528647.5006 | 13196727.2728 | 10130919.6137
Pooled QC - HLQC 3 | 505398.4527 | 994343.3628 | 2373756.0644 | 1410296.1406 | 40801377.5257 | 31686095.4873 | 16960678.7651 | 8996413.2356
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Young AA-1 | 276606.9252 | 1202095.9897 | 847522.4981 | 1547385.1184 | 17106922.4834 | 34381333.375 | 3880610.5178 | 9516691.4728
Young AA-2 | 176465.8349 | 992833.957 | 385999.7721 | 1402230.4267 | 11621335.6797 | 27292182.6544 | 2620177.6823 | 7612284.1173
Young AA-3 | 206549.2631 | 1250881.4438 | 465578.2771 | 1721100.642 | 16579871.386 | 40183826.3158 | 3545071.1212 | 10629306.8803
Young AA-4 | 212930.6861 | 1246655.5139 | 408280.4492 | 1441784.505 | 12678151.4544 | 31136169.1046 | 2708380.7853 | 8049880.4806
Young AA-5 | 215842.2294 | 1258460.3534 | 519398.1842 | 1757513.3777 | 17758590.1218 | 42444750.7606 | 3482237.9281 | 10936598.0784
Young AA-6 | 239787.8061 | 1346845.9614 | 433989.8861 | 1356932.5047 | 12181702.144 | 27652421.4138 | 2695786.9925 | 7689651.0326
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 4 | 139498.4585 | 1609468.8988 | 289823.1687 | 1977776.9779 | 10301850.4728 | 49948479.1454 | 2930317.6066 | 15707145.8667
Pooled QC - LQC 4 | 186937.5406 | 1641010.722 | 346406.3343 | 1988885.2089 | 13023356.6337 | 41182148.6392 | 4453998.9313 | 15817396.1327
Pooled QC - MQC 4 | 203416.8415 | 687023.4712 | 427699.4933 | 836807.1987 | 10204268.7737 | 13866922.9995 | 3795244.15 | 5938600.1789
Pooled QC - HQC 4 | 314964.6064 | 670596.591 | 934785.4848 | 970729.9374 | 17174127.8062 | 17507225.0849 | 8373142.252 | 5609232.4095
Pooled QC - HLQC 4 | 337425.4405 | 626369.7815 | 1012073.1258 | 573447.1102 | 15402040.3304 | 11421271.0012 | 6965650.8981 | 3113789.6573
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hTAG-1 | 252500.4416 | 748477.3841 | 606942.4537 | 1004410.1357 | 23769423.294 | 22510317.0665 | 7147566.7961 | 8105334.3652
hTAG-2 | 277727.5839 | 810020.7265 | 639514.8659 | 1163292.7738 | 22868221.014 | 23947163.184 | 6239697.4033 | 7761988.7944
hTAG-3 | 290207.8013 | 731208.7513 | 630812.4996 | 1002909.0744 | 21841651.9543 | 21082648.2052 | 5792138.4932 | 6531729.6394
hTAG-4 | 271353.8179 | 829559.8825 | 627153.9746 | 1054621.4321 | 22134140.1762 | 23260023.3618 | 5570151.8043 | 6713944.4137
hTAG-5 | 295179.1088 | 957527.3615 | 721205.3626 | 1374093.0728 | 22459227.9662 | 27054923.5471 | 6850421.8658 | 8989249.8152
hTAG-6 | 287279.7884 | 865710.535 | 637536.9049 | 1147103.1093 | 23480581.5803 | 25414013.3246 | 5797639.7819 | 7263605.9374
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 5 | 110120.8177 | 1374830.1696 | 285191.7177 | 1737428.6838 | 8779598.6534 | 34600006.983 | 2193810.3713 | 11417380.4949
Pooled QC - LQC 5 | 98350.5361 | 857908.2212 | 255685.7528 | 1137425.838 | 7486325.7641 | 22668260.4738 | 2062998.6375 | 7240951.6531
Pooled QC - MQC 5 | 161552.4176 | 534851.5023 | 400711.9991 | 923119.2946 | 17971796.8754 | 23945469.5823 | 3821540.3601 | 6052683.7156
Pooled QC - HQC 5 | 259790.3157 | 675675.9151 | 1133447.1122 | 1081421.1692 | 26289234.7245 | 27577223.4925 | 8864950.3754 | 6883943.6116
Pooled QC - HLQC 5 | 522683.3887 | 1004682.6696 | 2415827.986 | 1525679.725 | 44934001.5072 | 36280846.5322 | 20458174.7101 | 10204441.5356
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 6 | 98858.5195 | 1394228.8969 | 259588.294 | 1708363.2914 | 8156487.5194 | 40282467.9186 | 2171919.5026 | 12347878.0169
Pooled QC - LQC 6 | 159738.174 | 1195528.2233 | 374404.7121 | 1647870.211 | 12988319.776 | 38548025.183 | 3398868.0093 | 12213499.7613
Pooled QC - MQC 6 | 196250.9448 | 667856.7601 | 417480.7396 | 895047.899 | 15155953.9782 | 21653648.1987 | 3937175.8695 | 6311952.2591
Pooled QC - HQC 6 | 408474.4858 | 998944.7091 | 1461495.4503 | 1367267.533 | 33872858.4098 | 34337535.8871 | 13931806.2537 | 10782309.3475
Pooled QC - HLQC 6 | 412036.9033 | 762414.2844 | 1808620.9347 | 1145529.2847 | 29443179.2645 | 23699519.2201 | 12613482.6913 | 6506920.5133
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Calibration line 2 STD6 | 23782.039 | 702590.5408 | 119691.0782 | 802390.1503 | 564796.9635 | 14162302.3047 | 501456.7369 | 4763249.2498
Calibration line 2 STD5 | 34016.7944 | 1117067.694 | 144397.0957 | 1119230.9155 | 812584.5443 | 16987304.5578 | 714523.5557 | 5738911.043
Calibration line 2 STD4 | 40958.387 | 760688.4254 | 181995.4518 | 814819.0856 | 1505326.869 | 14017760.3264 | 1160109.7608 | 4579152.6314
Calibration line 2 STD3 | 348447.2139 | 1765984.8154 | 1958150.9347 | 1994386.8738 | 16138443.5464 | 32359547.6742 | 14316323.8042 | 11020763.4612
Calibration line 2 STD2 | 2086672.7228 | 976254.3853 | 12082577.8249 | 1157015.2704 | 98326421.4495 | 19003389.5344 | 82985084.2727 | 6109659.1411
Calibration line 2 STD1 | 5856594.4405 | 1398703.856 | 32133352.6184 | 1458657.6241 | 259798017.9067 | 22719117.3684 | 224752708.366 | 8310581.3685
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Matrix blank 3 | 136614.4113 | 0 | 294836.9103 | 0 | 8429440.2274 | 0 | 2378885.3813 | 0
Total Blank 3 | 10347.103 | 0 | 34035.6204 | 0 | 98576.6953 | 0 | 0 | 0
RUN 3
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 1 | 11357.2652 | 0 | 32283.9015 | 0 | 71414.6736 | 0 | 0 | 0
Matrix blank 1 | 237356.3374 | 0 | 604942.3498 | 0 | 21078413.4931 | 0 | 4768660.2596 | 0
Calibration line 1 STD6 | 36469.4562 | 1508155.3482 | 158834.9026 | 1297449.284 | 1084933.6523 | 24491159.106 | 735810.4951 | 6745105.5101
Calibration line 1 STD5 | 53527.5547 | 1795618.5764 | 182818.7198 | 1401484.3024 | 1495489.1332 | 29419690.7945 | 1195404.4513 | 9720631.8936
Calibration line 1 STD4 | 100443.9699 | 1799087.3648 | 479545.2208 | 2028543.8498 | 4266918.3988 | 38759014.2628 | 3237899.0675 | 12453110.7811
Calibration line 1 STD3 | 549545.273 | 2378795.6253 | 2825757.6876 | 2785479.5656 | 24164595.1751 | 44459051.1935 | 21973097.8049 | 16898060.3307
Calibration line 1 STD2 | 4191756.1466 | 1708536.7004 | 20594301.6425 | 1872501.8948 | 167772146.3045 | 32047674.6195 | 151160665.5944 | 10765736.4541
Calibration line 1 STD1 | 8933270.1694 | 1906662.9481 | 44427114.5152 | 1936643.9523 | 350882707.6638 | 34053776.2062 | 299588438.6278 | 10966178.3584
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 1 | 133412.8548 | 1284802.9715 | 292241.808 | 1806779.022 | 9591874.4951 | 41754616.3781 | 2849083.3274 | 13182113.7101
Pooled QC - LQC 1 | 178084.0417 | 1201469.2675 | 365517.5266 | 1541155.4016 | 13393932.4207 | 36216888.8034 | 3302565.4523 | 10518879.4701
Pooled QC -MQC 1 | 259855.134 | 921482.5432 | 584942.2432 | 1227494.7573 | 15655991.4573 | 24209654.0847 | 4626360.1311 | 8161172.2891
Pooled QC - HQC 1 | 364713.9658 | 868817.1518 | 1273821.6394 | 1208528.9873 | 26294003.3623 | 26338622.9899 | 11666540.1386 | 8641398.2992
Pooled QC - HLQC 1 | 476872.7393 | 817050.7931 | 1823236.8166 | 1150281.7981 | 33494229.7426 | 26953165.7047 | 15953845.6927 | 8231808.1355
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SRM 1950-1 | 304312.808 | 1026206.0563 | 703012.703 | 1459606.7458 | 25585808.4601 | 39238827.0126 | 6955740.9512 | 11920665.6555
SRM 1950-2 | 308298.1904 | 1082382.744 | 717532.1779 | 1575499.6161 | 21798236.0883 | 35600294.836 | 5389198.2896 | 10245608.3907
SRM 1950-3 | 226106.9734 | 689545.5328 | 446449.9007 | 873166.6371 | 13291215.5952 | 19923189.9588 | 3909528.0176 | 6495431.4911
SRM 1950-4 | 272766.0443 | 879934.5875 | 610980.6512 | 1218481.689 | 21415256.4581 | 34178194.6408 | 5101456.9693 | 9114199.3493
SRM 1950-5 | 305712.3052 | 893606.3378 | 657710.0583 | 1317336.9455 | 23114110.0496 | 34435267.9128 | 5303334.5549 | 8899538.3351
SRM 1950-6 | 283531.5006 | 868660.4628 | 671284.6033 | 1305081.3753 | 22541517.7271 | 33990249.6933 | 5395269.7175 | 9148950.0775
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 2 | 124483.7157 | 1320124.2743 | 292037.6093 | 1712453.245 | 9585626.2965 | 38996797.9755 | 2545586.6217 | 11913080.2356
Pooled QC - LQC 2 | 127689.0365 | 967690.4649 | 325957.6305 | 1248502.9194 | 8853972.2264 | 25146845.3641 | 2164699.5767 | 7426948.0206
Pooled QC -MQC 2 | 198176.4362 | 691923.7629 | 460777.14 | 962701.8795 | 15148237.1191 | 21586721.5922 | 3680984.2458 | 6056534.7989
Pooled QC - HQC 2 | 283654.8882 | 699127.5846 | 990400.4248 | 899945.1174 | 19560317.3133 | 20048278.6256 | 7599619.1253 | 5798587.7214
Pooled QC - HLQC 2 | 375414.5579 | 717155.6495 | 1659526.0991 | 1031682.0843 | 27076473.3464 | 21650616.7781 | 12595404.8601 | 6147517.7543
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T1D-1 | 186050.1867 | 705472.9312 | 600701.6693 | 1036787.2401 | 16222703.1389 | 25417776.0878 | 4800477.9921 | 8332531.8236
T1D-2 | 216809.1534 | 802281.3905 | 631941.151 | 1095255.1339 | 15118577.2002 | 23615992.0323 | 4186148.4356 | 7772279.9988
T1D-3 | 232351.2623 | 877708.9173 | 666788.2287 | 1297907.7471 | 16160903.391 | 26302690.7228 | 4837278.3387 | 8767473.0802
T1D-4 | 212605.2709 | 856725.526 | 611540.8719 | 1147261.0348 | 15586266.3723 | 25975507.1485 | 3866863.9314 | 7693894.2333
T1D-5 | 199893.3546 | 714980.4172 | 621037.6347 | 1009485.4276 | 15191792.6972 | 21388184.2963 | 4337017.8314 | 6798707.2521
T1D-6 | 229188.4646 | 884454.2653 | 598822.6682 | 1141569.5028 | 13080446.8608 | 21234960.6793 | 4590989.7625 | 7888589.1406
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 2 | 13894.8048 | 0 | 43410.2992 | 0 | 49900.7482 | 0 | 0 | 0
Matrix Blank 2 | 199685.7908 | 0 | 449643.5532 | 0 | 16986979.8167 | 0 | 4415584.5674 | 0
Pooled QC - LLQC 3 | 149206.5048 | 1591650.871 | 207914.4501 | 1641969.4692 | 6275859.0306 | 26025032.4938 | 2339725.2377 | 11123418.3495
Pooled QC - LQC 3 | 168242.1595 | 1284392.3577 | 389430.9138 | 1739314.5623 | 12426807.4967 | 35721277.613 | 3421435.0792 | 11805193.9138
Pooled QC - MQC 3 | 242569.7377 | 766065.7959 | 551602.3939 | 1115513.277 | 16178823.8796 | 21023895.4033 | 4740893.8725 | 7224596.5966
Pooled QC - HQC 3 | 351797.1405 | 737470.2779 | 1127881.2914 | 975408.7824 | 22008593.6887 | 21380009.6668 | 9446007.9188 | 6874885.199
Pooled QC - HLQC 3 | 616994.5002 | 1143492.7481 | 2551864.1505 | 1517434.9256 | 35151995.365 | 27698974.8433 | 20303617.4454 | 9893654.5566
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Young AA-1 | 251357.9664 | 1036521.873 | 739022.7856 | 1385098.2049 | 14699837.4951 | 29776719.4196 | 3340145.3584 | 7782072.7204
Young AA-2 | 195149.6822 | 1056221.7279 | 375130.1544 | 1344130.1798 | 9926779.9282 | 22668795.5018 | 2559220.0264 | 6898206.3482
Young AA-3 | 218290.3853 | 1086842.7651 | 433063.3075 | 1400395.3919 | 12264610.9175 | 28069214.817 | 2760698.3484 | 7806768.5783
Young AA-4 | 159446.4931 | 937594.3304 | 364935.9092 | 1259368.208 | 11120061.0644 | 25560474.4336 | 2389481.4467 | 7077971.9362
Young AA-5 | 187136.7502 | 1026045.7185 | 344136.1443 | 1264277.1868 | 9624245.116 | 22314738.643 | 2303593.6218 | 6820755.2484
Young AA-6 | 152699.457 | 806101.0828 | 280148.2486 | 948694.3336 | 7590551.585 | 17055236.3929 | 1852369.5367 | 4887234.5236
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 4 | 108032.7891 | 1252719.8757 | 249022.4795 | 1639949.6626 | 7651698.8737 | 34903155.4507 | 2095807.181 | 11369225.7627
Pooled QC - LQC 4 | 143429.925 | 1316094.6254 | 323956.2614 | 1693050.5335 | 10141400.5084 | 31874096.5704 | 3170769.1389 | 11658928.3629
Pooled QC - MQC 4 | 224843.3805 | 813412.486 | 570514.7036 | 1115036.8436 | 15249692.617 | 19252881.8293 | 4635003.0771 | 7326155.2961
Pooled QC - HQC 4 | 379959.9114 | 934385.3689 | 1155926.5627 | 1182299.6973 | 18459227.7342 | 20005088.9783 | 9701497.9737 | 7697193.7731
Pooled QC - HLQC 4 | 308491.3508 | 552477.2894 | 1422639.1183 | 791558.0267 | 19819826.0447 | 14487839.5514 | 9248069.2559 | 4264362.1589
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hTAG-1 | 247815.5039 | 755747.4207 | 656432.5779 | 981124.0285 | 26731795.3879 | 24268028.5311 | 7707895.4507 | 8529128.8829
hTAG-2 | 338327.0651 | 1017076.7562 | 693209.9943 | 1226113.9198 | 20618746.7674 | 20076013.6091 | 6939186.6032 | 8398647.5008
hTAG-3 | 405068.2051 | 1109546.4243 | 852723.6008 | 1487887.7276 | 25651814.8127 | 25556629.4506 | 8793618.9812 | 10213942.3764
hTAG-4 | 302089.6465 | 875264.5058 | 696906.4763 | 1318675.1724 | 23820556.208 | 24388722.8635 | 6471750.1395 | 7836692.6388
hTAG-5 | 326308.231 | 1000583.3433 | 662650.2435 | 1299888.6691 | 20338646.5193 | 24776096.1814 | 6927683.8408 | 9143400.0765
hTAG-6 | 292256.3493 | 824025.7853 | 706497.5724 | 1263962.9007 | 25055772.8138 | 25320098.1925 | 6593501.5558 | 8387466.8177
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 5 | 97567.7904 | 1047432.5663 | 262937.5336 | 1414798.8171 | 6996240.3614 | 30145365.8301 | 2014585.6594 | 9663881.2476
Pooled QC - LQC 5 | 136798.4419 | 869560.0876 | 248258.3341 | 1128927.6211 | 8041191.601 | 22596661.714 | 2068984.8316 | 6455426.684
Pooled QC - MQC 5 | 188375.4916 | 642720.1221 | 397911.6469 | 773849.3052 | 9998759.0619 | 12483322.1118 | 3115235.4144 | 4374120.8621
Pooled QC - HQC 5 | 299560.3073 | 655002.8954 | 640505.895 | 608273.2118 | 9443867.6354 | 9507570.3852 | 5013550.2886 | 3519079.4605
Pooled QC - HLQC 5 | 520787.8809 | 919662.8016 | 1946749.7154 | 1121555.29 | 25663017.0212 | 19402980.7988 | 14466624.758 | 6768844.4427
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pooled QC - LLQC 6 | 119750.1549 | 1468412.8534 | 233083.7085 | 1605853.1215 | 6943381.9429 | 33228170.3803 | 2001037.7342 | 10606340.9128
Pooled QC - LQC 6 | 183088.1153 | 1232007.9039 | 307547.7773 | 1509507.8657 | 9212448.5259 | 25258101.2155 | 2798448.1811 | 9011076.2634
Pooled QC - MQC 6 | 229552.13 | 688624.2543 | 417116.9013 | 780776.5314 | 9730912.9461 | 13318240.1748 | 3153442.9737 | 4773748.937
Pooled QC - HQC 6 | 284779.5272 | 693198.3694 | 729824.2663 | 679994.9522 | 10569120.1613 | 10609373.3907 | 5741390.5159 | 4161224.9851
Pooled QC - HLQC 6 | 361736.959 | 679725.3391 | 1211278.473 | 744937.9296 | 15934045.7858 | 13279881.7093 | 9706390.6892 | 4716197.9121
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Calibration line 2 STD6 | 23440.2741 | 982097.2858 | 58898.1203 | 712536.3674 | 587169.4852 | 13151036.6078 | 460170.8406 | 4017113.5973
Calibration line 2 STD5 | 28374.9192 | 466312.401 | 102732.937 | 408234.7019 | 958007.1482 | 8896397.1749 | 747085.9748 | 2588402.7517
Calibration line 2 STD4 | 50131.4653 | 1794702.663 | 190771.201 | 1845503.4153 | 1451676.207 | 32717800.2374 | 1329604.7371 | 11471732.7779
Calibration line 2 STD3 | 313161.4261 | 1505895.0742 | 1600164.3526 | 1597764.7382 | 14981992.0439 | 28270029.911 | 12712266.834 | 9611540.9923
Calibration line 2 STD2 | 2126419.4092 | 1084386.9338 | 10997920.6438 | 1086358.444 | 95897619.379 | 18075437.913 | 84449977.9658 | 6091210.193
Calibration line 2 STD1 | 6673405.8258 | 1391385.5354 | 30930444.2666 | 1382344.2029 | 211637588.9369 | 19321078.7516 | 175404897.7385 | 6255410.709
MS BLANK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Matrix blank 3 | 136614.4113 | 0 | 294836.9103 | 0 | 8429440.2274 | 0 | 2378885.3813 | 0
Total Blank 3 | 11331.0309 | 0 | 29159.1139 | 0 | 44756.2173 | 0 | 0 | 0