## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary | This protocol describes the extraction and LC-MRM procedure for absolute quantification of Cer d18:1/16:0, Cer d18:1/18:0, Cer d18:1/24:0 and Cer d18:1/24:1 in human plasma according to Kauhanen et al, Anal Bioanal Chem (2016) 408:3475–3483.
A calibration curve is built by injecting several dilutions of the non-labelled standards mixed with a fixed concentration of labelled standards. Each calibration point is prepared and analysed in triplicates (n=3).
To establish the endogenous concentration of the four selected ceramides in the study samples (NIST SRM1950, NIST high TAG, NIST T1D, and NIST young A-A) each sample is extracted and analyzed in six replicates (n =6).
Prepare the pooled QC by mixing 100 mL each of NIST SRM1950, NIST high TAG, NIST T1D, and NIST young AA (total 400 mL).
We suggest proceeding first to measure the ceramides concentration in the four study samples and then continue with the intra-assay validation to avoid wasting material.

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Ethyl acetate (EtAc)
2-propanol (IPA)
5% Bovine Serum Albumin (BSA)
96-well plates/tubes
Sealing foil
2 mL DeepWell plates/tubes/LC vials
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled QC |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8 (v/v)
| Matrix Blank (MB) | 10 µL Matrix (pooled QC) only |  |  | - |  | 590 µL EtAc:IPA 2:8
| Study Samples (S) | 10 µL Human plasma (NIST SRM1950, high TAG, T1D, young AA) |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8
| Total Blank (TB) | 10 µL 5% BSA |  |  | - |  | 590 µL EtAc:IPA 2:8
| Calibration line standards (STD) | 10 µL 5% BSA + 20 µL non labelled STD mixture (Table 5) |  |  | 20 µL Labelled IS |  | 550 µL EtAc:IPA 2:8
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Extraction - Overview, Table 4) with EtAc:IPA 2:8 as suggested in table | Extraction - Overview'!B34
| 2 | Thaw plasma on ice (+4°C) and bring to room temperature prior to extraction. Mix by pipetting before use.
| 3 | Prepare samples in plates/tubes manually or with a robot, according to specifications in column C of table | Extraction - Overview'!C14
| 4 | Add 20 µL of labelled internal standard mixture to samples according to column F of table | Extraction - Overview'!F14
| 5 | For the calibration line, add 20 µL of different dilutions of the non-labelled mixture (STD1-6).
| 6 | Add 590 µL of ethyl acetate:isopropanol (2:8, vol/vol) to Total Blank (TB) and Matrix Blank (MB); 550 µL to calibration line (STD); 570 µL to study samples and QCs according to column H of table | Extraction - Overview'!H14
| 7 | Mix samples 10 min by pipetting or vortexing
| 8 | Centrifuge samples for 10 min at 3000 x gat room temperature
| 9 | Transfer 50 µL of the clear supernatant to MS-vials or MS plates, close/seal, store samples at -20 °C prior to LC-MRM analysis.

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Ammonium formate
Formic acid
Ultra-pure water
Acetonitrile
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | QQQ
| LC | UPLC
| Injection volume (indicative) | 5 µL
| Weak wash | Water
| Strong wash | Acetonitrile
| Pre-column | Waters Acquity BEH C18, 1.7 µm VanGuard Pre-Column
| Column | Waters Acquity BEH C18, 2.1 × 50 mm id. 1.7 µm
| Column temperature | 60 °C
| Mobile phase A | 10 mM ammonium acetate in water with 0.1% formic acid
| Mobile phase B | 10 mM ammonium acetate in acetonitrile:2-propanol (4:3, vol/vol) with 0.1% formic acid
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0.00 | 15 | 85 |  | 500
| 0.50 | 15 | 85 |  | 500
| 1.50 | 0 | 100 |  | 500
| 4.00 | 0 | 100 |  | 500
| 4.10 | 15 | 85 |  | 500
| 5.00 | 15 | 85 |  | 500
Table 9 LC-MRM MS conditions (EXAMPLE: this only applies to Sciex QTRAP, please adapt)
| Polarity mode | Positive
| Ion spray | 5000 V
| Curtain gas | 25 psi
| Source temperature | 300 °C
| Gas 1 | 50 psi
| Gas 2 | 35 psi
| DP | 30 V
| EP | 10 V
| Collision cell exit potential | 20 V
| Collision energy (CE) | 40 eV
Table 10 LC-MRM Mass transitions used for absolute quantification. On different systems, RT and CE might be different!
| Analyte | Mass transitions | IS | Mass transitions | RT (min) | CE
| Cer d18:1/16:0 | 538.5 – 264.3 | D7- Cer d18:1/16:0 | 545.6 - 271.3 | 1.9-2.0 | 40
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.6 – 264.3 | D7- Cer d18:1/18:0 | 573.6 – 271.3 | 2.1-2.2 | 40
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.6 – 264.3 | D7- Cer d18:1/24:0 | 657.7 – 271.3 | 2.4-2.5 | 40
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.6 – 264.3 | D7- Cer d18:1/24:1 | 655.7 – 271.3 | 2.3-2.4 | 40
C42H82NO3 – C18H34N
Table 11 Data processing
| Processing software | MassHunter QQQ Quantitative Analysis vers.10.1

## LC-MRM - Sample Sequence
Sample Sequence (Example)
Sample Sequence (Example) | Sample Sequence 1
| Number | Sample Name | Remarks
| 1 | Total Blank 1
| 2 | Matrix blank
| 3 | Calibration line 1 from STD6 to 1 (n=3)
| 4 | […]
| 5 | Pooled QC
| 6 | Pooled QC
| 7 | SRM 1950-1
| 8 | SRM 1950-2
| 9 | SRM 1950-3
| 10 | SRM 1950-4
| 11 | SRM 1950-5
| 12 | SRM 1950-6
| 13 | Pooled QC
| 14 | Pooled QC
| 15 | T1D-1
| 16 | T1D-2
| 17 | T1D-3
| 18 | T1D-4
| 19 | T1D-5
| 20 | T1D-6
| 21 | Total Blank 2
| 22 | Pooled QC
| 23 | Pooled QC
| 24 | Young AA-1
| 25 | Young AA-2
| 26 | Young AA-3
| 27 | Young AA-4
| 28 | Young AA-5
| 29 | Young AA-6
| 30 | Pooled QC
| 31 | Pooled QC
| 32 | hTAG-1
| 33 | hTAG-2
| 34 | hTAG-3
| 35 | hTAG-4
| 36 | hTAG-5
| 37 | hTAG-6
| 38 | Pooled QC
| 39 | Pooled QC
| 40 | Calibration line 2 from STD1 to 6 (n=3)
| 41 | […]
| 42 | Matrix blank
| 43 | Total Blank 3

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
| 4 | Internal standards are added to all QC samples.
Intra-Assay Variation
| 6 | The precision and accuracy of the assay is determined for each of the four ceramides measured in LLOQ, LQC, MQC, HQC, and HLOQ.
| 7 | Intra-assay variation, precision, and accuracy is calculated for each of the ceramide in replicates of six (n = 6) at each QC concentration independently on three separate occasions.
| 8 | The intra-assay precision (percentage coefficient variance, %CV) and accuracy (percentage accuracy, %Accuracy) are calculated from the nominal concentrations according to the formulas reported in corresponding sheets and tables of this document.
| 9 | Recovery estimation is not necessary for the published method but only for different ones. Stability estimation is not necessary for the published method but only for different ones. Calibration line is prepared in 5% BSA.

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 29909.315 | 30185.2841 | 30526.3442 | 30906.3474 | 33300.7501 | 32434.3551 | 650837.9136 | 672683.9141 | 633490.8861 | 515493.4952 | 509667.2109 | 541758.4705 | 1298.1257 | 1439.8144 | 1343.3499 | 1089.3965 | 1108.5038 | 1177.627 | 35877.6699 | 41689.6989 | 41722.4739 | 10430.3081 | 11103.2677 | 11342.9649
| STD 2 | 14708.5861 | 14378.9702 | 14800.4346 | 16054.4352 | 16054.8802 | 16464.1542 | 239114.383 | 242291.9675 | 237389.862 | 222234.6756 | 217380.2278 | 223327.4974 | 1313.521 | 1270.5692 | 1332.3855 | 1090.3458 | 1104.9068 | 1037.5217 | 29921.858 | 28910.0053 | 29464.9481 | 9702.2853 | 9937.5661 | 9568.4958
| STD 3 | 1631.1331 | 1636.9428 | 1589.6445 | 1730.3 | 1696.6673 | 1611.5656 | 20962.2166 | 22398.7553 | 21117.1053 | 20975.7014 | 21629.6805 | 20945.9513 | 1297.2534 | 1326.3774 | 1296.9275 | 1128.0527 | 1104.1111 | 1105.8043 | 26340.1487 | 28015.8718 | 26978.094 | 8886.1177 | 9221.3615 | 9266.9601
| STD 4 | 173.8738 | 160.1589 | 167.8239 | 171.4844 | 182.0371 | 173.2219 | 2422.5443 | 2259.4525 | 2209.1464 | 2094.6298 | 2057.0322 | 2090.7616 | 1330.5877 | 1259.8288 | 1238.2717 | 1016.8283 | 1064.4772 | 1087.0118 | 25053.1285 | 25707.0939 | 24931.2759 | 9436.4134 | 9466.9831 | 8941.6386
| STD 5 | 84.4661 | 81.5994 | 97.3141 | 125.2618 | 139.0769 | 76.8281 | 1211.3499 | 1265.5525 | 1225.2791 | 1108.9089 | 1123.4296 | 1097.7704 | 1364.1701 | 1389.9612 | 1349.0772 | 1126.0749 | 1168.9579 | 1072.3587 | 27211.2867 | 27377.0675 | 26080.7599 | 9017.4407 | 9074.7082 | 8956.1971
| STD 6 | 69.4755 | 82.369 | 80.9991 | 80.2659 | 49.6467 | 79.6311 | 971.9241 | 971.8875 | 954.3369 | 954.9625 | 917.1049 | 959.1046 | 1327.6934 | 1345.1679 | 1345.2204 | 1135.8184 | 1156.4226 | 1093.7035 | 27196.9541 | 27080.6283 | 27665.5954 | 9520.16 | 9370.3385 | 9675.1307
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 26717.7483 | 27227.7818 | 26651.1799 | 29789.8621 | 28196.2391 | 28579.0744 | 567853.1129 | 566565.4698 | 583072.3185 | 459085.0002 | 464716.394 | 437778.7509 | 1246.6686 | 1144.3022 | 1204.6774 | 1044.0481 | 996.2776 | 1045.8365 | 34492.3564 | 34262.8698 | 37045.6886 | 9262.0157 | 9565.2236 | 9703.6887
| STD 2 | 13622.9822 | 14056.4958 | 13491.9032 | 14138.0977 | 14191.9795 | 14129.4122 | 220820.0052 | 214702.2973 | 220777.3992 | 203846.808 | 210299.5883 | 211624.9391 | 1171.4612 | 1194.7479 | 1192.6188 | 958.3818 | 1044.7971 | 967.3357 | 26983.967 | 27437.7318 | 28113.6105 | 8856.3733 | 9366.7549 | 9160.4322
| STD 3 | 1503.7297 | 1479.5663 | 1399.9689 | 1540.5838 | 1596.6835 | 1665.9374 | 19925.3844 | 20762.142 | 20273.9586 | 21168.7964 | 20271.0247 | 20909.3113 | 1194.9501 | 1253.0427 | 1291.7602 | 953.7385 | 1077.2951 | 1044.9536 | 24935.9301 | 23920.5976 | 24529.6408 | 8910.4633 | 8452.9509 | 9084.9856
| STD 4 | 124.8023 | 148.0561 | 160.1539 | 166.6665 | 157.1574 | 125.6441 | 2090.7737 | 2065.8264 | 1986.4139 | 2134.9986 | 2016.0246 | 2017.8068 | 1224.1412 | 1306.2106 | 1253.2518 | 1111.227 | 1026.1405 | 1038.0285 | 24262.3748 | 24031.4986 | 23777.0914 | 8166.6723 | 8604.1737 | 8743.9812
| STD 5 | 94.9399 | 104.4453 | 92.5906 | 82.5781 | 81.7654 | 74.4816 | 1048.5988 | 1129.981 | 1132.1706 | 1014.8926 | 996.1019 | 1035.6671 | 1325.9703 | 1214.7216 | 1231.3197 | 992.8451 | 1119.9961 | 1113.1371 | 23253.2013 | 24715.5461 | 25464.448 | 8728.7227 | 8979.3156 | 8617.6125
| STD 6 | 65.3116 | 67.9948 | 76.076 | 68.8482 | 75.3136 | 76.2435 | 796.932 | 899.8816 | 871.487 | 827.4262 | 811.4572 | 880.9689 | 1239.6863 | 1267.0051 | 1249.0992 | 1099.9867 | 1016.2304 | 1001.8188 | 24952.887 | 25490.8591 | 25138.6674 | 8508.8244 | 8979.25 | 9168.4088
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard.
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 1952.115 |  |  | 808.4466 |  |  | 26534.7595 |  |  | 8924.7725 |  |  | 1320.2723 |  |  | 1299.034 |  |  | 28099.7767 |  |  | 9587.1944
| SRM 2 | 1873.9053 |  |  | 849.7643 |  |  | 29156.6545 |  |  | 9261.1357 |  |  | 1352.229 |  |  | 1341.7706 |  |  | 30174.4363 |  |  | 9450.6871
| SRM 3 | 1886.5773 |  |  | 907.5237 |  |  | 27847.7779 |  |  | 9090.2645 |  |  | 1357.1282 |  |  | 1409.9994 |  |  | 29039.3795 |  |  | 10283.9456
| SRM 4 | 1906.3883 |  |  | 824.3378 |  |  | 26490.0714 |  |  | 8991.4939 |  |  | 1320.0892 |  |  | 1332.3923 |  |  | 27977.8966 |  |  | 9781.4944
| SRM 5 | 1836.9315 |  |  | 827.5349 |  |  | 27441.9211 |  |  | 8765.9161 |  |  | 1374.7145 |  |  | 1396.0555 |  |  | 29079.6011 |  |  | 9376.7482
| SRM 6 | 1893.0976 |  |  | 780.7236 |  |  | 27866.673 |  |  | 9208.9745 |  |  | 1350.3706 |  |  | 1365.2854 |  |  | 27240.1419 |  |  | 9720.5838
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 2229.3754 |  |  | 1060.5653 |  |  | 51110.9972 |  |  | 12902.7454 |  |  | 1316.1838 |  |  | 1297.3702 |  |  | 32666.8806 |  |  | 9859.6964
| hTAG 2 | 2049.5821 |  |  | 1030.8246 |  |  | 53252.6919 |  |  | 13704.8507 |  |  | 1233.7252 |  |  | 1333.3175 |  |  | 32883.0013 |  |  | 10223.6698
| hTAG 3 | 2091.0815 |  |  | 1089.3522 |  |  | 50926.0966 |  |  | 13561.4735 |  |  | 1260.6422 |  |  | 1368.167 |  |  | 31563.9224 |  |  | 9590.5474
| hTAG 4 | 2110.3161 |  |  | 943.9899 |  |  | 49643.8014 |  |  | 13382.0995 |  |  | 1314.0873 |  |  | 1364.7001 |  |  | 31225.626 |  |  | 9464.1316
| hTAG 5 | 2268.234 |  |  | 1010.8186 |  |  | 49888.6491 |  |  | 14930.3312 |  |  | 1342.0577 |  |  | 1320.6684 |  |  | 31911.3771 |  |  | 9812.8093
| hTAG 6 | 2183.5363 |  |  | 1085.8257 |  |  | 51260.9872 |  |  | 13590.8973 |  |  | 1388.7038 |  |  | 1370.6545 |  |  | 33620.4868 |  |  | 9973.2744
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 1821.5709 |  |  | 1008.2345 |  |  | 27735.9571 |  |  | 10046.3576 |  |  | 1387.9978 |  |  | 1375.1261 |  |  | 28469.2901 |  |  | 8847.9678
| T1D 2 | 1675.4323 |  |  | 949.2086 |  |  | 27937.1229 |  |  | 9918.7357 |  |  | 1415.1814 |  |  | 1463.7811 |  |  | 30596.7366 |  |  | 8946.0338
| T1D 3 | 1841.8527 |  |  | 1045.8501 |  |  | 27579.4546 |  |  | 9852.6808 |  |  | 1414.3227 |  |  | 1368.2972 |  |  | 29625.4463 |  |  | 9631.5114
| T1D 4 | 1696.5371 |  |  | 1010.8076 |  |  | 32461.29 |  |  | 10559.2681 |  |  | 1385.8368 |  |  | 1404.4986 |  |  | 34139.6317 |  |  | 9941.8174
| T1D 5 | 1771.871 |  |  | 935.3399 |  |  | 29170.603 |  |  | 10199.9963 |  |  | 1419.4134 |  |  | 1348.7887 |  |  | 30592.4901 |  |  | 9600.4341
| T1D 6 | 1776.316 |  |  | 935.2862 |  |  | 28657.6602 |  |  | 9783.7432 |  |  | 1427.4015 |  |  | 1330.8948 |  |  | 29462.6263 |  |  | 9081.9823
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 1414.7465 |  |  | 443.896 |  |  | 17746.2347 |  |  | 6461.8104 |  |  | 1464.0174 |  |  | 1229.3232 |  |  | 27872.0736 |  |  | 9774.8022
| yA-A 2 | 1333.2729 |  |  | 459.6045 |  |  | 18459.9564 |  |  | 6010.0665 |  |  | 1547.1897 |  |  | 1277.4543 |  |  | 29176.455 |  |  | 10132.895
| yA-A 3 | 1358.2977 |  |  | 405.7601 |  |  | 18568.7015 |  |  | 5857.5286 |  |  | 1502.9199 |  |  | 1208.8179 |  |  | 27576.2872 |  |  | 9745.3742
| yA-A 4 | 1384.2882 |  |  | 483.2869 |  |  | 17767.2185 |  |  | 6076.1299 |  |  | 1458.9923 |  |  | 1187.7487 |  |  | 28139.9132 |  |  | 9496.9228
| yA-A 5 | 1333.6803 |  |  | 429.7968 |  |  | 17789.4335 |  |  | 5927.7748 |  |  | 1462.7039 |  |  | 1154.4044 |  |  | 27933.7765 |  |  | 10235.8385
| yA-A 6 | 1284.4351 |  |  | 484.3586 |  |  | 18377.8719 |  |  | 6081.5781 |  |  | 1596.6889 |  |  | 1183.1533 |  |  | 28425.5928 |  |  | 9907.0253
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard.
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LLQC 1 | 525.5274 | 853.1354 | 784.7142 | 205.5684 | 357.3973 | 275.701 | 8735.5512 | 15658.9068 | 11794.1704 | 2605.1909 | 4736.9296 | 3832.4188 | 1205.4266 | 1838.2412 | 1759.8875 | 1064.3205 | 1587.4968 | 1418.9794 | 25334.8806 | 47522.5203 | 35699.1011 | 8229.4028 | 15234.4717 | 11914.0377
| LLQC 2 | 576.425 | 908.038 | 792.241 | 195.119 | 282.8134 | 293.8591 | 8485.1245 | 14968.6063 | 11864.9236 | 2452.9846 | 4421.3917 | 3595.8202 | 1269.4355 | 1966.391 | 1825.1529 | 1097.3021 | 1546.8948 | 1464.551 | 27030.0405 | 45461.8833 | 36047.8654 | 8477.414 | 14655.8801 | 12286.7993
| LLQC 3 | 632.2644 | 982.6526 | 918.4906 | 210.2308 | 368.0152 | 351.4519 | 8266.5804 | 14587.6379 | 12492.0885 | 2457.8914 | 4254.2429 | 3765.1051 | 1284.0766 | 2008.5776 | 1812.3339 | 1095.6385 | 1587.8381 | 1443.2924 | 24936.0717 | 43436.6885 | 38816.3376 | 8387.1947 | 13442.4734 | 12071.8032
| LLQC 4 | 541.2311 | 848.2213 | 840.2153 | 204.6126 | 307.4021 | 298.8705 | 8051.0052 | 12719.6633 | 11797.2376 | 2652.157 | 4085.7481 | 3682.1986 | 1367.0386 | 1954.5047 | 1857.957 | 1158.0338 | 1520.935 | 1403.7901 | 26020.6504 | 40285.0464 | 36229.2778 | 8493.9191 | 12717.9813 | 12895.1428
| LLQC 5 | 550.7989 | 896.4044 | 812.6294 | 188.5883 | 279.6384 | 296.3015 | 8197.4173 | 11964.6242 | 10948.239 | 2546.1503 | 3945.2997 | 3624.3396 | 1259.9659 | 1892.5074 | 1736.5523 | 1078.5075 | 1465.4589 | 1397.948 | 25542.3839 | 37301.4629 | 36265.8373 | 8142.8103 | 12532.0232 | 11352.061
| LLQC 6 | 570.7571 | 862.2418 | 793.6496 | 193.4817 | 276.2409 | 249.7229 | 8231.7697 | 11354.8492 | 10933.4775 | 2667.6637 | 3756.8843 | 3635.7853 | 1278.2908 | 1947.3425 | 1780.2854 | 1126.7295 | 1494.8674 | 1457.8112 | 24865.7222 | 36947.7961 | 34695.33 | 8235.1824 | 13003.2575 | 12233.616
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LQC 1 | 891.3837 | 1296.5546 | 1185.2357 | 314.6255 | 398.4292 | 446.0019 | 12674.7833 | 18522.2383 | 17142.7353 | 3984.0953 | 5338.9864 | 5544.2886 | 1359.4378 | 1996.8291 | 1848.0196 | 1064.2504 | 1505.8351 | 1470.5616 | 26071.4669 | 38312.2854 | 35451.5655 | 8481.1708 | 12570.1815 | 11995.3896
| LQC 2 | 920.6383 | 1384.7881 | 1339.9724 | 341.6467 | 552.5503 | 498.9612 | 12625.7935 | 20329.8243 | 17992.9623 | 3820.6623 | 6437.2966 | 5899.2909 | 1395.4381 | 2117.5981 | 2040.8501 | 1101.7423 | 1609.1897 | 1529.6078 | 25666.9437 | 38962.5842 | 38030.0044 | 8468.7557 | 13989.3681 | 13395.551
| LQC 3 | 922.6384 | 1334.2442 | 1271.8259 | 287.1548 | 444.738 | 452.8281 | 12269.7801 | 18745.7592 | 17596.2251 | 3957.1014 | 6165.7293 | 5171.2636 | 1345.6002 | 1992.2948 | 1897.5758 | 1027.1003 | 1516.9627 | 1448.2807 | 25155.9524 | 37780.3809 | 35943.0223 | 8200.116 | 13542.9333 | 12115.8363
| LQC 4 | 854.3352 | 1249.5856 | 1223.796 | 318.7491 | 446.6736 | 418.8296 | 12550.4589 | 19483.2835 | 17360.3403 | 3940.0798 | 5774.7621 | 5808.8071 | 1451.9662 | 1942.4871 | 1827.6747 | 1082.2544 | 1528.8955 | 1505.2295 | 25540.7635 | 38833.8857 | 36015.6728 | 8251.9489 | 12794.0897 | 11684.443
| LQC 5 | 890.3501 | 1183.036 | 1192.6635 | 328.724 | 411.8289 | 394.6304 | 12734.3655 | 17475.1546 | 16436.2249 | 3874.7043 | 5648.8042 | 5158.3494 | 1441.8217 | 1893.9088 | 1832.5214 | 1084.0938 | 1471.5912 | 1370.6841 | 25824.3816 | 36563.3086 | 34666.9062 | 9282.3814 | 12697.0464 | 11346.9521
| LQC 6 | 809.3439 | 1131.797 | 1090.2172 | 295.4813 | 431.9616 | 387.3244 | 11322.3258 | 17192.6853 | 16285.3623 | 3681.3883 | 5651.6537 | 5325.5798 | 1395.4628 | 2051.9165 | 1914.1737 | 1034.3198 | 1523.1352 | 1427.4179 | 26572.1515 | 38887.8161 | 36314.2397 | 8929.5141 | 13168.4929 | 12009.1169
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 1736.4493 | 2318.0282 | 2443.9541 | 652.1041 | 909.3185 | 883.652 | 26127.8173 | 37599.2135 | 39685.9056 | 8173.0831 | 13050.3323 | 11854.6243 | 1363.5313 | 1888.2056 | 1852.9874 | 1180.3127 | 1578.1193 | 1598.2579 | 26155.8672 | 39691.9301 | 39789.4845 | 8802.7931 | 13312.5636 | 12917.1942
| MQC 2 | 1742.8813 | 2480.5459 | 2410.3239 | 732.3595 | 982.4866 | 969.0463 | 26661.573 | 40831.5498 | 40840.2425 | 8486.67 | 12877.5431 | 12637.7047 | 1307.0328 | 1890.8173 | 1955.6398 | 1152.033 | 1673.5921 | 1541.5127 | 27490.2994 | 38589.8457 | 40670.9379 | 9128.084 | 13908.2522 | 13724.2272
| MQC 3 | 1829.1505 | 2358.9838 | 2526.1635 | 678.9534 | 988.7356 | 976.6834 | 26095.3547 | 38656.7224 | 39675.4882 | 8072.061 | 13331.6442 | 12769.8292 | 1407.6666 | 1957.4376 | 1893.6251 | 1269.0246 | 1615.8869 | 1597.1848 | 26158.5122 | 39382.7391 | 39065.0971 | 8774.6227 | 13998.6856 | 12592.8382
| MQC 4 | 1794.0458 | 2420.5727 | 2568.7365 | 741.9279 | 970.6701 | 958.2093 | 26519.7638 | 40927.621 | 38844.8951 | 8327.6268 | 12843.7022 | 12393.144 | 1411.6465 | 1932.1563 | 1930.0326 | 1119.2356 | 1669.8393 | 1612.6062 | 26540.4232 | 41907.1888 | 38569.6506 | 9161.042 | 15539.4602 | 13688.0829
| MQC 5 | 1766.6669 | 2261.5585 | 2466.6064 | 754.6021 | 1005.332 | 959.4917 | 25284.3583 | 41997.755 | 40361.2946 | 8103.2237 | 14207.6148 | 12390.9415 | 1357.2789 | 1752.6338 | 1842.7799 | 1138.1007 | 1690.6887 | 1510.8531 | 26203.0858 | 43369.8034 | 39500.2029 | 8598.8404 | 14933.0046 | 13228.9367
| MQC 6 | 1727.0085 | 2265.7178 | 2521.5655 | 661.2449 | 967.4683 | 938.5682 | 24538.9515 | 41645.4963 | 40626.5708 | 8061.9454 | 13157.0207 | 13127.5742 | 1341.2578 | 2016.8641 | 1971.4649 | 1137.1943 | 1733.7252 | 1720.7914 | 27014.5914 | 43153.1272 | 40683.8404 | 8841.1356 | 14726.4166 | 14673.5923
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HQC 1 | 1376.1661 | 1936.5132 | 2015.3673 | 795.8312 | 1122.8711 | 981.4867 | 16098.8201 | 22912.3716 | 21841.3431 | 8757.8153 | 13609.1022 | 12838.0397 | 1363.5313 | 1900.2184 | 1908.7419 | 1180.3127 | 1540.6119 | 1519.3364 | 26155.8672 | 34237.28 | 32399.5405 | 8802.7931 | 12911.6306 | 11855.7207
| HQC 2 | 1427.0246 | 1862.9461 | 1953.4568 | 731.8723 | 977.914 | 982.4008 | 16722.0428 | 22215.4968 | 23164.6371 | 8850.937 | 12455.8013 | 12527.015 | 1307.0328 | 1848.1041 | 1887.9672 | 1152.033 | 1385.9889 | 1475.3562 | 27490.2994 | 34752.5942 | 35878.0368 | 9128.084 | 12309.5097 | 11463.9157
| HQC 3 | 1474.9023 | 2052.1567 | 2167.247 | 753.2111 | 1084.4907 | 1057.0625 | 17072.4053 | 25232.8111 | 23271.9952 | 8960.5391 | 13633.7133 | 12683.1551 | 1407.6666 | 1983.0795 | 2029.8729 | 1269.0246 | 1582.106 | 1543.4637 | 26158.5122 | 38003.5231 | 35563.754 | 8774.6227 | 13307.9276 | 11779.4747
| HQC 4 | 1450.4858 | 2012.8454 | 2038.3128 | 765.0048 | 1046.135 | 980.1756 | 17335.9842 | 23363.2983 | 23863.882 | 9043.7815 | 12867.74 | 12603.0528 | 1411.6465 | 1955.6016 | 2036.8532 | 1119.2356 | 1501.5943 | 1570.3798 | 26540.4232 | 37075.6085 | 37218.0535 | 9161.042 | 12632.1628 | 12987.0727
| HQC 5 | 1449.2178 | 1902.1534 | 1883.9368 | 746.1015 | 966.58 | 936.444 | 15444.1842 | 22373.4631 | 22878.516 | 8606.9417 | 11789.9823 | 11881.8589 | 1357.2789 | 1921.3535 | 1858.7173 | 1138.1007 | 1480.2161 | 1357.2464 | 26203.0858 | 33381.0523 | 34583.152 | 8598.8404 | 12108.729 | 12008.7424
| HQC 6 | 1477.8734 | 1920.3993 | 1921.2285 | 723.6926 | 998.0945 | 1025.2984 | 16915.1673 | 22186.6488 | 23626.2813 | 8187.3877 | 12134.353 | 11813.4346 | 1341.2578 | 1883.4107 | 1907.6754 | 1137.1943 | 1526.2772 | 1373.6633 | 27014.5914 | 35205.8772 | 36133.8849 | 8841.1356 | 11789.9118 | 12521.0906
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HLQC 1 | 1046.1338 | 1518.6353 | 1472.8816 | 620.2569 | 1001.8467 | 922.9925 | 13823.6759 | 19495.5437 | 19933.1902 | 8459.9946 | 12243.2551 | 12284.9235 | 1227.9492 | 1841.4732 | 1878.791 | 1025.941 | 1443.5384 | 1504.473 | 25187.4221 | 35146.7612 | 36423.845 | 8025.5542 | 11592.2793 | 11810.822
| HLQC 2 | 1067.7144 | 1600.8186 | 1560.1928 | 679.1364 | 967.0617 | 1070.0445 | 14607.001 | 22204.3578 | 20693.3847 | 8783.2619 | 12546.3328 | 12541.5754 | 1263.6288 | 1815.1823 | 1856.7064 | 1064.7518 | 1420.9225 | 1445.1384 | 23863.7462 | 36563.3357 | 35998.979 | 8314.4253 | 12204.6475 | 12052.6546
| HLQC 3 | 1092.3683 | 1642.9674 | 1627.5233 | 710.0687 | 1020.2611 | 1113.9183 | 15062.5913 | 21234.4624 | 22325.5408 | 9667.5707 | 12808.3454 | 13534.1983 | 1341.7471 | 1870.2992 | 1883.1806 | 1043.1044 | 1673.2707 | 1426.6704 | 26256.4887 | 36566.9747 | 37376.7729 | 8651.6501 | 12075.3612 | 12728.5841
| HLQC 4 | 1107.6287 | 1490.2934 | 1607.8651 | 743.4741 | 980.4804 | 1041.3543 | 13893.2335 | 21018.1658 | 21823.245 | 8763.3381 | 13060.5608 | 12143.1948 | 1311.492 | 1852.36 | 1851.9109 | 993.9106 | 1465.2476 | 1441.1065 | 25301.5803 | 34820.1153 | 34135.4035 | 8640.7923 | 11624.5456 | 11725.4349
| HLQC 5 | 1104.8534 | 1638.4888 | 1677.3574 | 702.3239 | 1078.16 | 1135.4124 | 15058.883 | 24199.2672 | 25743.5865 | 9537.6053 | 14220.2181 | 14077.8549 | 1396.5436 | 1998.7189 | 1965.1979 | 1007.8114 | 1662.4333 | 1417.0456 | 26112.589 | 43046.9541 | 46175.8114 | 8618.4294 | 13737.8339 | 12634.5532
| HLQC 6 | 1155.128 | 1795.3502 | 1818.2113 | 795.8585 | 1018.0238 | 1131.057 | 15514.7216 | 23526.494 | 23436.3915 | 9200.5739 | 14261.7103 | 14008.409 | 1401.5167 | 2096.3341 | 2043.4974 | 1108.0408 | 1559.7383 | 1523.409 | 25992.2907 | 38651.7478 | 38529.4578 | 8850.9968 | 13750.1836 | 12896.907
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Blank | 47.6862 |  |  | 29.4671 |  |  | 168.3191 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Blank | 40.0831 |  |  | 36.0101 |  |  | 119.8842 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Blank | 55.422 |  |  | 28.6201 |  |  | 144.1267 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0

## Raw Peak Areas
Sample_Name | Cer d18:1/16:0 [M>264] | Cer d18:1/16:0-d7 [M>264] | Cer d18:1/18:0 [M>264] | Cer d18:1/18:0-d7 [M>264] | Cer d18:1/24:0 [M>264] | Cer d18:1/24:0-d7 [M>264] | Cer d18:1/24:1 [M>264] | Cer d18:1/24:1-d7 [M>264]
Total Blank1 | 47.6862 | 0 | 29.4671 | 0 | 168.3191 | 0 | 0 | 0
Total Blank2 | 40.0831 | 0 | 36.0101 | 0 | 119.8842 | 0 | 0 | 0
Total Blank3 | 55.422 | 0 | 28.6201 | 0 | 144.1267 | 0 | 0 | 0
Total BlankISTD4 | 19.7162 | 1123.6619 | 8.2482 | 919.8544 | 54.8899 | 20560.6978 | 0 | 4077.5746
Matrix Blank1 | 1534.6901 | 0 | 680.7243 | 0 | 28477.7272 | 0 | 5400.6692 | 0
START_Calibration line STD6 r001 | 69.4755 | 1327.6934 | 80.2659 | 1135.8184 | 971.9241 | 27196.9541 | 954.9625 | 9520.16
START_Calibration line STD6 r002 | 82.369 | 1345.1679 | 49.6467 | 1156.4226 | 971.8875 | 27080.6283 | 917.1049 | 9370.3385
START_Calibration line STD6 r003 | 80.9991 | 1345.2204 | 79.6311 | 1093.7035 | 954.3369 | 27665.5954 | 959.1046 | 9675.1307
START_Calibration line STD5 r001 | 84.4661 | 1364.1701 | 125.2618 | 1126.0749 | 1211.3499 | 27211.2867 | 1108.9089 | 9017.4407
START_Calibration line STD5 r002 | 81.5994 | 1389.9612 | 139.0769 | 1168.9579 | 1265.5525 | 27377.0675 | 1123.4296 | 9074.7082
START_Calibration line STD5 r003 | 97.3141 | 1349.0772 | 76.8281 | 1072.3587 | 1225.2791 | 26080.7599 | 1097.7704 | 8956.1971
START_Calibration line STD4 r001 | 173.8738 | 1330.5877 | 171.4844 | 1016.8283 | 2422.5443 | 25053.1285 | 2094.6298 | 9436.4134
START_Calibration line STD4 r002 | 160.1589 | 1259.8288 | 182.0371 | 1064.4772 | 2259.4525 | 25707.0939 | 2057.0322 | 9466.9831
START_Calibration line STD4 r003 | 167.8239 | 1238.2717 | 173.2219 | 1087.0118 | 2209.1464 | 24931.2759 | 2090.7616 | 8941.6386
START_Calibration line STD3 r001 | 1631.1331 | 1297.2534 | 1730.3 | 1128.0527 | 20962.2166 | 26340.1487 | 20975.7014 | 8886.1177
START_Calibration line STD3 r002 | 1636.9428 | 1326.3774 | 1696.6673 | 1104.1111 | 22398.7553 | 28015.8718 | 21629.6805 | 9221.3615
START_Calibration line STD3 r003 | 1589.6445 | 1296.9275 | 1611.5656 | 1105.8043 | 21117.1053 | 26978.094 | 20945.9513 | 9266.9601
START_Calibration line STD2 r001 | 14708.5861 | 1313.521 | 16054.4352 | 1090.3458 | 239114.383 | 29921.858 | 222234.6756 | 9702.2853
START_Calibration line STD2 r002 | 14378.9702 | 1270.5692 | 16054.8802 | 1104.9068 | 242291.9675 | 28910.0053 | 217380.2278 | 9937.5661
START_Calibration line STD2 r003 | 14800.4346 | 1332.3855 | 16464.1542 | 1037.5217 | 237389.862 | 29464.9481 | 223327.4974 | 9568.4958
START_Calibration line STD1 r001 | 29909.315 | 1298.1257 | 30906.3474 | 1089.3965 | 650837.9136 | 35877.6699 | 515493.4952 | 10430.3081
START_Calibration line STD1 r002 | 30185.2841 | 1439.8144 | 33300.7501 | 1108.5038 | 672683.9141 | 41689.6989 | 509667.2109 | 11103.2677
START_Calibration line STD1 r003 | 30526.3442 | 1343.3499 | 32434.3551 | 1177.627 | 633490.8861 | 41722.4739 | 541758.4705 | 11342.9649
Total Blank4 | 42.0956 | 0 | 0 | 0 | 434.6239 | 0 | 0 | 0
Total Blank5 | 35.2723 | 0 | 0 | 0 | 166.4964 | 0 | 0 | 0
PooledQC1 | 1733.8997 | 1385.3231 | 865.105 | 1349.7922 | 29692.3453 | 28856.2804 | 9123.8921 | 10090.7717
PooledQC2 | 1693.3278 | 1437.7787 | 821.6236 | 1293.228 | 30294.8974 | 29593.5619 | 9322.9582 | 9817.103
SRM 1950-1 | 1952.115 | 1320.2723 | 808.4466 | 1299.034 | 26534.7595 | 28099.7767 | 8924.7725 | 9587.1944
SRM 1950-2 | 1873.9053 | 1352.229 | 849.7643 | 1341.7706 | 29156.6545 | 30174.4363 | 9261.1357 | 9450.6871
SRM 1950-3 | 1886.5773 | 1357.1282 | 907.5237 | 1409.9994 | 27847.7779 | 29039.3795 | 9090.2645 | 10283.9456
SRM 1950-4 | 1906.3883 | 1320.0892 | 824.3378 | 1332.3923 | 26490.0714 | 27977.8966 | 8991.4939 | 9781.4944
SRM 1950-5 | 1836.9315 | 1374.7145 | 827.5349 | 1396.0555 | 27441.9211 | 29079.6011 | 8765.9161 | 9376.7482
SRM 1950-6 | 1893.0976 | 1350.3706 | 780.7236 | 1365.2854 | 27866.673 | 27240.1419 | 9208.9745 | 9720.5838
PooledQC3 | 1736.7882 | 1392.5783 | 714.6021 | 1365.1094 | 29447.2827 | 29259.0737 | 9141.5486 | 9550.2693
PooledQC4 | 1666.413 | 1397.102 | 845.0818 | 1380.2783 | 28703.7491 | 28402.3125 | 9000.7786 | 9607.5878
T1D-1 | 1821.5709 | 1387.9978 | 1008.2345 | 1375.1261 | 27735.9571 | 28469.2901 | 8847.9678 | 10046.3576
T1D-2 | 1675.4323 | 1415.1814 | 949.2086 | 1463.7811 | 27937.1229 | 30596.7366 | 8946.0338 | 9918.7357
T1D-3 | 1841.8527 | 1414.3227 | 1045.8501 | 1368.2972 | 27579.4546 | 29625.4463 | 9631.5114 | 9852.6808
T1D-4 | 1696.5371 | 1385.8368 | 1010.8076 | 1404.4986 | 32461.29 | 34139.6317 | 9941.8174 | 10559.2681
T1D-5 | 1771.871 | 1419.4134 | 935.3399 | 1348.7887 | 29170.603 | 30592.4901 | 9600.4341 | 10199.9963
T1D-6 | 1776.316 | 1427.4015 | 935.2862 | 1330.8948 | 28657.6602 | 29462.6263 | 9081.9823 | 9783.7432
PooledQC5 | 1665.1173 | 1348.8007 | 807.7746 | 1289.8872 | 28079.4357 | 27811.4773 | 8976.6323 | 9695.8636
PooledQC6 | 1806.6634 | 1377.8509 | 772.8433 | 1216.8574 | 28905.2134 | 27759.1183 | 8206.7242 | 8864.6548
Total Blank6 | 23.1818 | 0 | 26.9423 | 0 | 96.4411 | 0 | 0 | 0
Total Blank7 | 41.9301 | 0 | 21.1883 | 0 | 76.4803 | 0 | 0 | 0
PooledQC7 | 1595.8358 | 1135.2635 | 632.7899 | 1144.035 | 20146.644 | 18783.9664 | 4053.3051 | 5482.8885
PooledQC8 | 1537.4032 | 1115.7091 | 712.4054 | 1059.8705 | 22230.8744 | 19965.3844 | 4229.3544 | 5571.3304
Young AA-1 | 1414.7465 | 1464.0174 | 443.896 | 1229.3232 | 17746.2347 | 27872.0736 | 6461.8104 | 9774.8022
Young AA-2 | 1333.2729 | 1547.1897 | 459.6045 | 1277.4543 | 18459.9564 | 29176.455 | 6010.0665 | 10132.895
Young AA-3 | 1358.2977 | 1502.9199 | 405.7601 | 1208.8179 | 18568.7015 | 27576.2872 | 5857.5286 | 9745.3742
Young AA-4 | 1384.2882 | 1458.9923 | 483.2869 | 1187.7487 | 17767.2185 | 28139.9132 | 6076.1299 | 9496.9228
Young AA-5 | 1333.6803 | 1462.7039 | 429.7968 | 1154.4044 | 17789.4335 | 27933.7765 | 5927.7748 | 10235.8385
Young AA-6 | 1284.4351 | 1596.6889 | 484.3586 | 1183.1533 | 18377.8719 | 28425.5928 | 6081.5781 | 9907.0253
PooledQC9 | 1422.4901 | 997.8031 | 585.9297 | 939.54 | 16971.2676 | 15789.4982 | 2937.2115 | 4297.5445
PooledQC10 | 1531.5658 | 1138.1974 | 567.8795 | 1030.4431 | 16955.3575 | 16703.8449 | 2753.5946 | 4376.5793
highTAG-1 | 2229.3754 | 1316.1838 | 1060.5653 | 1297.3702 | 51110.9972 | 32666.8806 | 12902.7454 | 9859.6964
highTAG-2 | 2049.5821 | 1233.7252 | 1030.8246 | 1333.3175 | 53252.6919 | 32883.0013 | 13704.8507 | 10223.6698
highTAG-3 | 2091.0815 | 1260.6422 | 1089.3522 | 1368.167 | 50926.0966 | 31563.9224 | 13561.4735 | 9590.5474
highTAG-4 | 2110.3161 | 1314.0873 | 943.9899 | 1364.7001 | 49643.8014 | 31225.626 | 13382.0995 | 9464.1316
highTAG-5 | 2268.234 | 1342.0577 | 1010.8186 | 1320.6684 | 49888.6491 | 31911.3771 | 14930.3312 | 9812.8093
highTAG-6 | 2183.5363 | 1388.7038 | 1085.8257 | 1370.6545 | 51260.9872 | 33620.4868 | 13590.8973 | 9973.2744
PooledQC9 | 1458.176 | 1110.2722 | 600.8264 | 980.8093 | 17676.6139 | 17167.1104 | 3032.0199 | 4696.6213
PooledQC10 | 1461.6594 | 1045.6331 | 596.3411 | 1000.0368 | 18445.4291 | 17113.4752 | 3080.1791 | 4444.3251
Total Blank9 | 42.9131 | 0 | 12.5331 | 0 | 73.2332 | 0 | 0 | 0
Total Blank10 | 31.9445 | 0.48546 | 16.7463 | 0 | 54.2805 | 0 | 0 | 0
END_Calibration line STD6 r001 | 65.3116 | 1239.6863 | 68.8482 | 1099.9867 | 796.932 | 24952.887 | 827.4262 | 8508.8244
END_Calibration line STD6 r002 | 67.9948 | 1267.0051 | 75.3136 | 1016.2304 | 899.8816 | 25490.8591 | 811.4572 | 8979.25
END_Calibration line STD6 r003 | 76.076 | 1249.0992 | 76.2435 | 1001.8188 | 871.487 | 25138.6674 | 880.9689 | 9168.4088
END_Calibration line STD5 r001 | 94.9399 | 1325.9703 | 82.5781 | 992.8451 | 1048.5988 | 23253.2013 | 1014.8926 | 8728.7227
END_Calibration line STD5 r002 | 104.4453 | 1214.7216 | 81.7654 | 1119.9961 | 1129.981 | 24715.5461 | 996.1019 | 8979.3156
END_Calibration line STD5 r003 | 92.5906 | 1231.3197 | 74.4816 | 1113.1371 | 1132.1706 | 25464.448 | 1035.6671 | 8617.6125
END_Calibration line STD4 r001 | 124.8023 | 1224.1412 | 166.6665 | 1111.227 | 2090.7737 | 24262.3748 | 2134.9986 | 8166.6723
END_Calibration line STD4 r002 | 148.0561 | 1306.2106 | 157.1574 | 1026.1405 | 2065.8264 | 24031.4986 | 2016.0246 | 8604.1737
END_Calibration line STD4 r003 | 160.1539 | 1253.2518 | 125.6441 | 1038.0285 | 1986.4139 | 23777.0914 | 2017.8068 | 8743.9812
END_Calibration line STD3 r001 | 1503.7297 | 1194.9501 | 1540.5838 | 953.7385 | 19925.3844 | 24935.9301 | 21168.7964 | 8910.4633
END_Calibration line STD3 r002 | 1479.5663 | 1253.0427 | 1596.6835 | 1077.2951 | 20762.142 | 23920.5976 | 20271.0247 | 8452.9509
END_Calibration line STD3 r003 | 1399.9689 | 1291.7602 | 1665.9374 | 1044.9536 | 20273.9586 | 24529.6408 | 20909.3113 | 9084.9856
END_Calibration line STD2 r001 | 13622.9822 | 1171.4612 | 14138.0977 | 958.3818 | 220820.0052 | 26983.967 | 203846.808 | 8856.3733
END_Calibration line STD2 r002 | 14056.4958 | 1194.7479 | 14191.9795 | 1044.7971 | 214702.2973 | 27437.7318 | 210299.5883 | 9366.7549
END_Calibration line STD2 r003 | 13491.9032 | 1192.6188 | 14129.4122 | 967.3357 | 220777.3992 | 28113.6105 | 211624.9391 | 9160.4322
END_Calibration line STD1 r001 | 26717.7483 | 1246.6686 | 29789.8621 | 1044.0481 | 567853.1129 | 34492.3564 | 459085.0002 | 9262.0157
END_Calibration line STD1 r002 | 27227.7818 | 1144.3022 | 28196.2391 | 996.2776 | 566565.4698 | 34262.8698 | 464716.394 | 9565.2236
END_Calibration line STD1 r003 | 26651.1799 | 1204.6774 | 28579.0744 | 1045.8365 | 583072.3185 | 37045.6886 | 437778.7509 | 9703.6887
Total Blank11 | 31.5954 | 0 | 0 | 0 | 145.7516 | 0 | 0 | 0
Total Blank12 | 8.6564 | 0 | 0 | 0 | 49.496 | 0 | 0 | 0
Matrix Blank2 | 1440.3739 | 0 | 740.9801 | 0 | 17004.6345 | 0 | 7777.0121 | 0
Total Blank13 | 18.939 | 0 | 22.0006 | 0 | 25.2639 | 0 | 0 | 0
LLQCRep1r001 | 525.5274 | 1205.4266 | 205.5684 | 1064.3205 | 8735.5512 | 25334.8806 | 2605.1909 | 8229.4028
LLQCRep1r002 | 576.425 | 1269.4355 | 195.119 | 1097.3021 | 8485.1245 | 27030.0405 | 2452.9846 | 8477.414
LLQCRep1r003 | 632.2644 | 1284.0766 | 210.2308 | 1095.6385 | 8266.5804 | 24936.0717 | 2457.8914 | 8387.1947
LLQCRep1r004 | 541.2311 | 1367.0386 | 204.6126 | 1158.0338 | 8051.0052 | 26020.6504 | 2652.157 | 8493.9191
LLQCRep1r005 | 550.7989 | 1259.9659 | 188.5883 | 1078.5075 | 8197.4173 | 25542.3839 | 2546.1503 | 8142.8103
LLQCRep1r006 | 570.7571 | 1278.2908 | 193.4817 | 1126.7295 | 8231.7697 | 24865.7222 | 2667.6637 | 8235.1824
LQCRep1r001 | 891.3837 | 1359.4378 | 314.6255 | 1064.2504 | 12674.7833 | 26071.4669 | 3984.0953 | 8481.1708
LQCRep1r002 | 920.6383 | 1395.4381 | 341.6467 | 1101.7423 | 12625.7935 | 25666.9437 | 3820.6623 | 8468.7557
LQCRep1r003 | 922.6384 | 1345.6002 | 287.1548 | 1027.1003 | 12269.7801 | 25155.9524 | 3957.1014 | 8200.116
LQCRep1r004 | 854.3352 | 1451.9662 | 318.7491 | 1082.2544 | 12550.4589 | 25540.7635 | 3940.0798 | 8251.9489
LQCRep1r005 | 890.3501 | 1441.8217 | 328.724 | 1084.0938 | 12734.3655 | 25824.3816 | 3874.7043 | 9282.3814
LQCRep1r006 | 809.3439 | 1395.4628 | 295.4813 | 1034.3198 | 11322.3258 | 26572.1515 | 3681.3883 | 8929.5141
MQCRep1r001 | 1736.4493 | 1363.5313 | 652.1041 | 1180.3127 | 26127.8173 | 26155.8672 | 8173.0831 | 8802.7931
MQCRep1r002 | 1742.8813 | 1307.0328 | 732.3595 | 1152.033 | 26661.573 | 27490.2994 | 8486.67 | 9128.084
MQCRep1r003 | 1829.1505 | 1407.6666 | 678.9534 | 1269.0246 | 26095.3547 | 26158.5122 | 8072.061 | 8774.6227
MQCRep1r004 | 1794.0458 | 1411.6465 | 741.9279 | 1119.2356 | 26519.7638 | 26540.4232 | 8327.6268 | 9161.042
MQCRep1r005 | 1766.6669 | 1357.2789 | 754.6021 | 1138.1007 | 25284.3583 | 26203.0858 | 8103.2237 | 8598.8404
MQCRep1r006 | 1727.0085 | 1341.2578 | 661.2449 | 1137.1943 | 24538.9515 | 27014.5914 | 8061.9454 | 8841.1356
HQCRep1r001 | 1376.1661 | 1341.2753 | 795.8312 | 1188.7093 | 16098.8201 | 23891.5947 | 8757.8153 | 8344.819
HQCRep1r002 | 1427.0246 | 1429.6832 | 731.8723 | 1015.7711 | 16722.0428 | 25442.1624 | 8850.937 | 8570.8497
HQCRep1r003 | 1474.9023 | 1387.0874 | 753.2111 | 1102.6093 | 17072.4053 | 25199.0781 | 8960.5391 | 8674.7433
HQCRep1r004 | 1450.4858 | 1425.3051 | 765.0048 | 1059.7344 | 17335.9842 | 25258.5219 | 9043.7815 | 8773.6724
HQCRep1r005 | 1449.2178 | 1397.0151 | 746.1015 | 980.9833 | 15444.1842 | 24016.9311 | 8606.9417 | 8622.609
HQCRep1r006 | 1477.8734 | 1379.8264 | 723.6926 | 1129.9971 | 16915.1673 | 25150.0412 | 8187.3877 | 8466.8864
HLQCRep1r001 | 1046.1338 | 1227.9492 | 620.2569 | 1025.941 | 13823.6759 | 25187.4221 | 8459.9946 | 8025.5542
HLQCRep1r002 | 1067.7144 | 1263.6288 | 679.1364 | 1064.7518 | 14607.001 | 23863.7462 | 8783.2619 | 8314.4253
HLQCRep1r003 | 1092.3683 | 1341.7471 | 710.0687 | 1043.1044 | 15062.5913 | 26256.4887 | 9667.5707 | 8651.6501
HLQCRep1r004 | 1107.6287 | 1311.492 | 743.4741 | 993.9106 | 13893.2335 | 25301.5803 | 8763.3381 | 8640.7923
HLQCRep1r005 | 1104.8534 | 1396.5436 | 702.3239 | 1007.8114 | 15058.883 | 26112.589 | 9537.6053 | 8618.4294
HLQCRep1r006 | 1155.128 | 1401.5167 | 795.8585 | 1108.0408 | 15514.7216 | 25992.2907 | 9200.5739 | 8850.9968
Matrix Blank2 | 2160.7448 | 0 | 2353.3562 | 0 | 64045.0306 | 0 | 33698.892 | 0
Total Blank13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LLQCRep2r001 | 853.1354 | 1838.2412 | 357.3973 | 1587.4968 | 15658.9068 | 47522.5203 | 4736.9296 | 15234.4717
LLQCRep2r002 | 908.038 | 1966.391 | 282.8134 | 1546.8948 | 14968.6063 | 45461.8833 | 4421.3917 | 14655.8801
LLQCRep2r003 | 982.6526 | 2008.5776 | 368.0152 | 1587.8381 | 14587.6379 | 43436.6885 | 4254.2429 | 13442.4734
LLQCRep2r004 | 848.2213 | 1954.5047 | 307.4021 | 1520.935 | 12719.6633 | 40285.0464 | 4085.7481 | 12717.9813
LLQCRep2r005 | 896.4044 | 1892.5074 | 279.6384 | 1465.4589 | 11964.6242 | 37301.4628 | 3945.2997 | 12532.0232
LLQCRep2r006 | 862.2418 | 1947.3425 | 276.2409 | 1494.8674 | 11354.8492 | 36947.7961 | 3756.8843 | 13003.2575
LQCRep2r001 | 1296.5546 | 1996.8291 | 398.4292 | 1505.8351 | 18522.2383 | 38312.2854 | 5338.9864 | 12570.1815
LQCRep2r002 | 1384.7881 | 2117.5981 | 552.5503 | 1609.1897 | 20329.8243 | 38962.5842 | 6437.2966 | 13989.3681
LQCRep2r003 | 1334.2442 | 1992.2948 | 444.738 | 1516.9627 | 18745.7592 | 37780.3809 | 6165.7293 | 13542.9333
LQCRep2r004 | 1249.5856 | 1942.4871 | 446.6736 | 1528.8955 | 19483.2835 | 38833.8857 | 5774.7621 | 12794.0897
LQCRep2r005 | 1183.036 | 1893.9088 | 411.8289 | 1471.5912 | 17475.1546 | 36563.3086 | 5648.8042 | 12697.0464
LQCRep2r006 | 1131.797 | 2051.9165 | 431.9616 | 1523.1352 | 17192.6853 | 38887.8161 | 5651.6537 | 13168.4929
MQCRep2r001 | 2318.0282 | 1888.2056 | 909.3185 | 1578.1193 | 37599.2135 | 39691.9301 | 13050.3323 | 13312.5636
MQCRep2r002 | 2480.5459 | 1890.8173 | 982.4866 | 1673.5921 | 40831.5498 | 38589.8457 | 12877.5431 | 13908.2522
MQCRep2r003 | 2358.9838 | 1957.4376 | 988.7356 | 1615.8869 | 38656.7224 | 39382.7391 | 13331.6442 | 13998.6856
MQCRep2r004 | 2420.5727 | 1932.1563 | 970.6701 | 1669.8393 | 40927.621 | 41907.1888 | 12843.7022 | 15539.4602
MQCRep2r005 | 2261.5585 | 1752.6338 | 1005.332 | 1690.6887 | 41997.755 | 43369.8034 | 14207.6148 | 14933.0046
MQCRep2r006 | 2265.7178 | 2016.8641 | 967.4683 | 1733.7252 | 41645.4963 | 43153.1272 | 13157.0207 | 14726.4166
HQCRep2r001 | 1936.5132 | 1900.2184 | 1122.8711 | 1540.6119 | 22912.3716 | 34237.28 | 13609.1022 | 12911.6306
HQCRep2r002 | 1862.9461 | 1848.1041 | 977.914 | 1385.9889 | 22215.4968 | 34752.5942 | 12455.8013 | 12309.5097
HQCRep2r003 | 2052.1567 | 1983.0795 | 1084.4907 | 1582.106 | 25232.8111 | 38003.5231 | 13633.7133 | 13307.9276
HQCRep2r004 | 2012.8454 | 1955.6016 | 1046.135 | 1501.5943 | 23363.2983 | 37075.6085 | 12867.74 | 12632.1628
HQCRep2r005 | 1902.1534 | 1921.3535 | 966.58 | 1480.2161 | 22373.4631 | 33381.0523 | 11789.9823 | 12108.729
HQCRep2r006 | 1920.3993 | 1883.4107 | 998.0945 | 1526.2772 | 22186.6488 | 35205.8772 | 12134.353 | 11789.9118
HLQCRep2r001 | 1518.6353 | 1841.4732 | 1001.8467 | 1443.5384 | 19495.5437 | 35146.7612 | 12243.2551 | 11592.2793
HLQCRep2r002 | 1600.8186 | 1815.1823 | 967.0617 | 1420.9225 | 22204.3578 | 36563.3357 | 12546.3328 | 12204.6475
HLQCRep2r003 | 1642.9674 | 1870.2992 | 1020.2611 | 1673.2707 | 21234.4624 | 36566.9747 | 12808.3454 | 12075.3612
HLQCRep2r004 | 1490.2934 | 1852.36 | 980.4804 | 1465.2476 | 21018.1658 | 34820.1153 | 13060.5608 | 11624.5456
HLQCRep2r005 | 1638.4888 | 1998.7189 | 1078.16 | 1662.4333 | 24199.2672 | 43046.9541 | 14220.2181 | 13737.8339
HLQCRep2r006 | 1795.3502 | 2096.3341 | 1018.0238 | 1559.7383 | 23526.494 | 38651.7478 | 14261.7103 | 13750.1836
TotalBlank14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TotalBlank15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LLQCRep3r001 | 784.7142 | 1759.8875 | 275.701 | 1418.9794 | 11794.1704 | 35699.1011 | 3832.4188 | 11914.0377
LLQCRep3r002 | 792.241 | 1825.1529 | 293.8591 | 1464.551 | 11864.9236 | 36047.8654 | 3595.8202 | 12286.7993
LLQCRep3r003 | 918.4906 | 1812.3339 | 351.4519 | 1443.2924 | 12492.0885 | 38816.3376 | 3765.1051 | 12071.8032
LLQCRep3r004 | 840.2153 | 1857.957 | 298.8705 | 1403.7901 | 11797.2376 | 36229.2778 | 3682.1986 | 12895.1428
LLQCRep3r005 | 812.6294 | 1736.5523 | 296.3015 | 1397.948 | 10948.239 | 36265.8373 | 3624.3396 | 11352.061
LLQCRep3r006 | 793.6496 | 1780.2854 | 249.7229 | 1457.8113 | 10933.4775 | 34695.33 | 3635.7853 | 12233.616
LQCRep3r001 | 1185.2357 | 1848.0196 | 446.0019 | 1470.5616 | 17142.7353 | 35451.5655 | 5544.2886 | 11995.3896
LQCRep3r002 | 1339.9724 | 2040.8501 | 498.9612 | 1529.6078 | 17992.9623 | 38030.0044 | 5899.2909 | 13395.551
LQCRep3r003 | 1271.8259 | 1897.5758 | 452.8281 | 1448.2807 | 17596.2251 | 35943.0223 | 5171.2636 | 12115.8363
LQCRep3r004 | 1223.796 | 1827.6747 | 418.8296 | 1505.2295 | 17360.3403 | 36015.6728 | 5808.8071 | 11684.443
LQCRep3r005 | 1192.6635 | 1832.5214 | 394.6304 | 1370.6841 | 16436.2249 | 34666.9062 | 5158.3494 | 11346.9521
LQCRep3r006 | 1090.2172 | 1914.1737 | 387.3244 | 1427.4179 | 16285.3623 | 36314.2397 | 5325.5798 | 12009.1169
MQCRep3r001 | 2443.9541 | 1852.9874 | 883.652 | 1598.2579 | 39685.9056 | 39789.4845 | 11854.6243 | 12917.1942
MQCRep3r002 | 2410.3239 | 1955.6398 | 969.0463 | 1541.5127 | 40840.2425 | 40670.9379 | 12637.7047 | 13724.2272
MQCRep3r003 | 2526.1635 | 1893.6251 | 976.6834 | 1597.1848 | 39675.4882 | 39065.0971 | 12769.8292 | 12592.8382
MQCRep3r004 | 2568.7365 | 1930.0326 | 958.2093 | 1612.6062 | 38844.8951 | 38569.6506 | 12393.144 | 13688.0829
MQCRep3r005 | 2466.6064 | 1842.7799 | 959.4917 | 1510.8531 | 40361.2946 | 39500.2029 | 12390.9415 | 13228.9367
MQCRep3r006 | 2521.5655 | 1971.4649 | 938.5682 | 1720.7914 | 40626.5708 | 40683.8404 | 13127.5742 | 14673.5923
HQCRep3r001 | 2015.3673 | 1908.7419 | 981.4867 | 1519.3364 | 21841.3431 | 32399.5405 | 12838.0397 | 11855.7207
HQCRep3r002 | 1953.4568 | 1887.9672 | 982.4008 | 1475.3562 | 23164.6371 | 35878.0368 | 12527.015 | 11463.9157
HQCRep3r003 | 2167.247 | 2029.8729 | 1057.0625 | 1543.4637 | 23271.9952 | 35563.754 | 12683.1551 | 11779.4747
HQCRep3r004 | 2038.3128 | 2036.8532 | 980.1756 | 1570.3798 | 23863.882 | 37218.0535 | 12603.0528 | 12987.0727
HQCRep3r005 | 1883.9368 | 1858.7173 | 936.444 | 1357.2464 | 22878.516 | 34583.152 | 11881.8589 | 12008.7424
HQCRep3r006 | 1921.2285 | 1907.6754 | 1025.2984 | 1373.6633 | 23626.2813 | 36133.8849 | 11813.4346 | 12521.0906
HLQCRep3r001 | 1472.8816 | 1878.791 | 922.9925 | 1504.473 | 19933.1902 | 36423.845 | 12284.9235 | 11810.822
HLQCRep3r002 | 1560.1928 | 1856.7064 | 1070.0445 | 1445.1384 | 20693.3847 | 35998.979 | 12541.5754 | 12052.6546
HLQCRep3r003 | 1627.5233 | 1883.1806 | 1113.9183 | 1426.6704 | 22325.5408 | 37376.7729 | 13534.1983 | 12728.5841
HLQCRep3r004 | 1607.8651 | 1851.9109 | 1041.3543 | 1441.1065 | 21823.245 | 34135.4035 | 12143.1948 | 11725.4349
HLQCRep3r005 | 1677.3574 | 1965.1979 | 1135.4124 | 1417.0456 | 25743.5865 | 46175.8114 | 14077.8549 | 12634.5532
HLQCRep3r006 | 1818.2113 | 2043.4974 | 1131.057 | 1523.409 | 23436.3915 | 38529.4578 | 14008.409 | 12896.907