## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary | This protocol describes the extraction and LC-MRM procedure for absolute quantification of Cer d18:1/16:0, Cer d18:1/18:0, Cer d18:1/24:0 and Cer d18:1/24:1 in human plasma according to Kauhanen et al, Anal Bioanal Chem (2016) 408:3475–3483.
A calibration curve is built by injecting several dilutions of the non-labelled standards mixed with a fixed concentration of labelled standards. Each calibration point is prepared and analysed in triplicates (n=3).
To establish the endogenous concentration of the four selected ceramides in the study samples (NIST SRM1950, NIST high TAG, NIST T1D, and NIST young A-A) each sample is extracted and analyzed in six replicates (n =6).
Prepare the pooled QC by mixing 100 mL each of NIST SRM1950, NIST high TAG, NIST T1D, and NIST young AA (total 400 mL).
We suggest proceeding first to measure the ceramides concentration in the four study samples and then continue with the intra-assay validation to avoid wasting material.

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Ethyl acetate (EtAc)
2-propanol (IPA)
5% Bovine Serum Albumin (BSA)
96-well plates/tubes
Sealing foil
2 mL DeepWell plates/tubes/LC vials
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled QC |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8 (v/v)
| Matrix Blank (MB) | 10 µL Matrix (pooled QC) only |  |  | - |  | 590 µL EtAc:IPA 2:8
| Study Samples (S) | 10 µL Human plasma (NIST SRM1950, high TAG, T1D, young AA) |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8
| Total Blank (TB) | 10 µL 5% BSA |  |  | - |  | 590 µL EtAc:IPA 2:8
| Calibration line standards (STD) | 10 µL 5% BSA + 20 µL non labelled STD mixture (Table 5) |  |  | 20 µL Labelled IS |  | 550 µL EtAc:IPA 2:8
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Extraction - Overview, Table 4) with EtAc:IPA 2:8 as suggested in table | Extraction - Overview'!B34
| 2 | Thaw plasma on ice (+4°C) and bring to room temperature prior to extraction. Mix by pipetting before use.
| 3 | Prepare samples in plates/tubes manually or with a robot, according to specifications in column C of table | Extraction - Overview'!C14
| 4 | Add 20 µL of labelled internal standard mixture to samples according to column F of table | Extraction - Overview'!F14
| 5 | For the calibration line, add 20 µL of different dilutions of the non-labelled mixture (STD1-6).
| 6 | Add 590 µL of ethyl acetate:isopropanol (2:8, vol/vol) to Total Blank (TB) and Matrix Blank (MB); 550 µL to calibration line (STD); 570 µL to study samples and QCs according to column H of table | Extraction - Overview'!H14
| 7 | Mix samples 10 min by pipetting or vortexing
| 8 | Centrifuge samples for 10 min at 3000 x gat room temperature
| 9 | Transfer 50 µL of the clear supernatant to MS-vials or MS plates, close/seal, store samples at -20 °C prior to LC-MRM analysis.

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Ammonium acetate
Formic acid
Ultra-pure water
Acetonitrile
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | QQQ (Qtrap6500+, Sciex)
| LC | ExionLC (Sciex)
| Injection volume (indicative) | 5 µL
| Wash | IPA:MeOH:AcN:Water (1:1:1:1, vol/vol/vol/vol)
| Pre-column | Waters Acquity BEH C18, 1.7 µm VanGuard Pre-Column
| Column | Waters Acquity BEH C18, 2.1 × 50 mm id. 1.7 µm
| Column temperature | 60 °C
| Mobile phase A | 10 mM ammonium acetate in water with 0.1% formic acid
| Mobile phase B | 10 mM ammonium acetate in acetonitrile:2-propanol (4:3, vol/vol) with 0.1% formic acid
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0.00 | 15 | 85 |  | 500
| 0.50 | 15 | 85 |  | 500
| 1.50 | 0 | 100 |  | 500
| 4.00 | 0 | 100 |  | 500
| 4.10 | 15 | 85 |  | 500
| 5.00 | 15 | 85 |  | 500
Table 9 LC-MRM MS conditions (EXAMPLE: this only applies to Sciex QTRAP, please adapt)
| Polarity mode | Positive
| Ion Spray | 5000 V
| Curtain gas | 25 psi
| Source temperature | 300 °C
| Gas 1 | 50 psi
| Gas 2 | 35 psi
| DP | 30 V
| EP | 10 V
| Collision cell exit potential | 20 V
| Collision energy (CE) | 40 eV
Table 10 LC-MRM Mass transitions used for absolute quantification. On different systems, RT and CE might be different!
| Analyte | Mass transitions | IS | Mass transitions | RT (min) | CE
| Cer d18:1/16:0 | 538.5 – 264.3 | D7- Cer d18:1/16:0 | 545.6 - 271.3 | 1.6 | 40
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.6 – 264.3 | D7- Cer d18:1/18:0 | 573.6 – 271.3 | 1.8 | 40
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.6 – 264.3 | D7- Cer d18:1/24:0 | 657.7 – 271.3 | 2.3 | 40
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.6 – 264.3 | D7- Cer d18:1/24:1 | 655.7 – 271.3 | 2.1 | 40
C42H82NO3 – C18H34N
Table 11 Data processing
| Processing software | Acquisition:Analyst 1.7.1, Peak Picking:Multiquant 3.0.3

## LC-MRM - Sample Sequence
Sample Sequence (10th, November, 2020)
Sample Sequence (Example) | Sample Sequence 1
| Number | File Name | Sample ID | Remarks
| 1 | 20201110_TB_001.wiff | Total Blank_001
| 2 | 20201110_TB_002.wiff | Total Blank_002
| 3 | 20201110_TB_003.wiff | Total Blank_003
| 4 | 20201110_MB_001.wiff | Matrix Blank_01
| 5 | 20201110_MB_002.wiff | Matrix Blank_02
| 6 | 20201110_MB_003.wiff | Matrix Blank_03
| 7 | 20201110_STD6_001.wiff | x250
| 8 | 20201110_STD6_002.wiff | x250
| 9 | 20201110_STD6_003.wiff | x250
| 10 | 20201110_STD5_001.wiff | x200
| 11 | 20201110_STD5_002.wiff | x200
| 12 | 20201110_STD5_003.wiff | x200
| 13 | 20201110_STD4_001.wiff | x100
| 14 | 20201110_STD4_002.wiff | x100
| 15 | 20201110_STD4_003.wiff | x100
| 16 | 20201110_STD3_001.wiff | x20
| 17 | 20201110_STD3_002.wiff | x20
| 18 | 20201110_STD3_003.wiff | x20
| 19 | 20201110_STD2_001.wiff | x2
| 20 | 20201110_STD2_002.wiff | x2
| 21 | 20201110_STD2_003.wiff | x2
| 22 | 20201110_STD1_001.wiff | x1
| 23 | 20201110_STD1_002.wiff | x1
| 24 | 20201110_STD1_003.wiff | x1
| 25 | 20201110_QC_1.wiff | Pooled QC_1
| 26 | 20201110_QC_2.wiff | Pooled QC_2
| 27 | 20201110_NIST1950_01_001.wiff | SRM1950, Plasma 4
| 28 | 20201110_NIST1950_01_002.wiff | SRM1950, Plasma 4
| 29 | 20201110_NIST1950_01_003.wiff | SRM1950, Plasma 4
| 30 | 20201110_NIST1950_02_001.wiff | SRM1950, Plasma 4
| 31 | 20201110_NIST1950_02_002.wiff | SRM1950, Plasma 4
| 32 | 20201110_NIST1950_02_003.wiff | SRM1950, Plasma 4
| 33 | 20201110_NIST1950_03_001.wiff | SRM1950, Plasma 4
| 34 | 20201110_NIST1950_03_002.wiff | SRM1950, Plasma 4
| 35 | 20201110_NIST1950_03_003.wiff | SRM1950, Plasma 4
| 36 | 20201110_NIST1950_04_001.wiff | SRM1950, Plasma 4
| 37 | 20201110_NIST1950_04_002.wiff | SRM1950, Plasma 4
| 38 | 20201110_NIST1950_04_003.wiff | SRM1950, Plasma 4
| 39 | 20201110_NIST1950_05_001.wiff | SRM1950, Plasma 4
| 40 | 20201110_NIST1950_05_002.wiff | SRM1950, Plasma 4
| 41 | 20201110_NIST1950_05_003.wiff | SRM1950, Plasma 4
| 42 | 20201110_NIST1950_06_001.wiff | SRM1950, Plasma 4
| 43 | 20201110_NIST1950_06_002.wiff | SRM1950, Plasma 4
| 44 | 20201110_NIST1950_06_003.wiff | SRM1950, Plasma 4
| 45 | 20201110_QC_3.wiff | Pooled QC_3
| 46 | 20201110_QC_4.wiff | Pooled QC_4
| 47 | 20201110_T1D_01_001.wiff | T1D, Plasma 1
| 48 | 20201110_T1D_01_002.wiff | T1D, Plasma 1
| 49 | 20201110_T1D_01_003.wiff | T1D, Plasma 1
| 50 | 20201110_T1D_02_001.wiff | T1D, Plasma 1
| 51 | 20201110_T1D_02_002.wiff | T1D, Plasma 1
| 52 | 20201110_T1D_02_003.wiff | T1D, Plasma 1
| 53 | 20201110_T1D_03_001.wiff | T1D, Plasma 1
| 54 | 20201110_T1D_03_002.wiff | T1D, Plasma 1
| 55 | 20201110_T1D_03_003.wiff | T1D, Plasma 1
| 56 | 20201110_T1D_04_001.wiff | T1D, Plasma 1
| 57 | 20201110_T1D_04_002.wiff | T1D, Plasma 1
| 58 | 20201110_T1D_04_003.wiff | T1D, Plasma 1
| 59 | 20201110_T1D_05_001.wiff | T1D, Plasma 1
| 60 | 20201110_T1D_05_002.wiff | T1D, Plasma 1
| 61 | 20201110_T1D_05_003.wiff | T1D, Plasma 1
| 62 | 20201110_T1D_06_001.wiff | T1D, Plasma 1
| 63 | 20201110_T1D_06_002.wiff | T1D, Plasma 1
| 64 | 20201110_T1D_06_003.wiff | T1D, Plasma 1
| 65 | 20201110_TB_101.wiff | Total Blank_101
| 66 | 20201110_QC_5.wiff | Pooled QC_5
| 67 | 20201110_QC_6.wiff | Pooled QC_6
| 68 | 20201110_YoungAA_01_001.wiff | Young AA, Plasma 3
| 69 | 20201110_YoungAA_01_002.wiff | Young AA, Plasma 3
| 70 | 20201110_YoungAA_01_003.wiff | Young AA, Plasma 3
| 71 | 20201110_YoungAA_02_001.wiff | Young AA, Plasma 3
| 72 | 20201110_YoungAA_02_002.wiff | Young AA, Plasma 3
| 73 | 20201110_YoungAA_02_003.wiff | Young AA, Plasma 3
| 74 | 20201110_YoungAA_03_001.wiff | Young AA, Plasma 3
| 75 | 20201110_YoungAA_03_002.wiff | Young AA, Plasma 3
| 76 | 20201110_YoungAA_03_003.wiff | Young AA, Plasma 3
| 77 | 20201110_YoungAA_04_001.wiff | Young AA, Plasma 3
| 78 | 20201110_YoungAA_04_002.wiff | Young AA, Plasma 3
| 79 | 20201110_YoungAA_04_003.wiff | Young AA, Plasma 3
| 80 | 20201110_YoungAA_05_001.wiff | Young AA, Plasma 3
| 81 | 20201110_YoungAA_05_002.wiff | Young AA, Plasma 3
| 82 | 20201110_YoungAA_05_003.wiff | Young AA, Plasma 3
| 83 | 20201110_YoungAA_06_001.wiff | Young AA, Plasma 3
| 84 | 20201110_YoungAA_06_002.wiff | Young AA, Plasma 3
| 85 | 20201110_YoungAA_06_003.wiff | Young AA, Plasma 3
| 86 | 20201110_QC_7.wiff | Pooled QC_7
| 87 | 20201110_QC_8.wiff | Pooled QC_8
| 88 | 20201110_HighTG_01_001.wiff | HighTG, Plasma 2
| 89 | 20201110_HighTG_01_002.wiff | HighTG, Plasma 2
| 90 | 20201110_HighTG_01_003.wiff | HighTG, Plasma 2
| 91 | 20201110_HighTG_02_001.wiff | HighTG, Plasma 2
| 92 | 20201110_HighTG_02_002.wiff | HighTG, Plasma 2
| 93 | 20201110_HighTG_02_003.wiff | HighTG, Plasma 2
| 94 | 20201110_HighTG_03_001.wiff | HighTG, Plasma 2
| 95 | 20201110_HighTG_03_002.wiff | HighTG, Plasma 2
| 96 | 20201110_HighTG_03_003.wiff | HighTG, Plasma 2
| 97 | 20201110_HighTG_04_001.wiff | HighTG, Plasma 2
| 98 | 20201110_HighTG_04_002.wiff | HighTG, Plasma 2
| 99 | 20201110_HighTG_04_003.wiff | HighTG, Plasma 2
| 100 | 20201110_HighTG_05_001.wiff | HighTG, Plasma 2
| 101 | 20201110_HighTG_05_002.wiff | HighTG, Plasma 2
| 102 | 20201110_HighTG_05_003.wiff | HighTG, Plasma 2
| 103 | 20201110_HighTG_06_001.wiff | HighTG, Plasma 2
| 104 | 20201110_HighTG_06_002.wiff | HighTG, Plasma 2
| 105 | 20201110_HighTG_06_003.wiff | HighTG, Plasma 2
| 106 | 20201110_QC_9.wiff | Pooled QC_9
| 107 | 20201110_QC_10.wiff | Pooled QC_10
| 108 | 20201110_STD6_101.wiff | x250
| 109 | 20201110_STD6_102.wiff | x250
| 110 | 20201110_STD6_103.wiff | x250
| 111 | 20201110_STD5_101.wiff | x200
| 112 | 20201110_STD5_102.wiff | x200
| 113 | 20201110_STD5_103.wiff | x200
| 114 | 20201110_STD4_101.wiff | x100
| 115 | 20201110_STD4_102.wiff | x100
| 116 | 20201110_STD4_103.wiff | x100
| 117 | 20201110_STD3_101.wiff | x20
| 118 | 20201110_STD3_102.wiff | x20
| 119 | 20201110_STD3_103.wiff | x20
| 120 | 20201110_STD2_101.wiff | x2
| 121 | 20201110_STD2_102.wiff | x2
| 122 | 20201110_STD2_103.wiff | x2
| 123 | 20201110_STD1_101.wiff | x1
| 124 | 20201110_STD1_102.wiff | x1
| 125 | 20201110_STD1_103.wiff | x1
| 126 | 20201110_MB_101.wiff | Matrix Blank_101
| 127 | 20201110_TB_201.wiff | Total Blank_102
| 128 | 20201110_LLQC_01_001.wiff | LLQC
| 129 | 20201110_LLQC_01_002.wiff | LLQC
| 130 | 20201110_LLQC_01_003.wiff | LLQC
| 131 | 20201110_LLQC_02_001.wiff | LLQC
| 132 | 20201110_LLQC_02_002.wiff | LLQC
| 133 | 20201110_LLQC_02_003.wiff | LLQC
| 134 | 20201110_LLQC_03_001.wiff | LLQC
| 135 | 20201110_LLQC_03_002.wiff | LLQC
| 136 | 20201110_LLQC_03_003.wiff | LLQC
| 137 | 20201110_LLQC_04_001.wiff | LLQC
| 138 | 20201110_LLQC_04_002.wiff | LLQC
| 139 | 20201110_LLQC_04_003.wiff | LLQC
| 140 | 20201110_LLQC_05_001.wiff | LLQC
| 141 | 20201110_LLQC_05_002.wiff | LLQC
| 142 | 20201110_LLQC_05_003.wiff | LLQC
| 143 | 20201110_LLQC_06_001.wiff | LLQC
| 144 | 20201110_LLQC_06_002.wiff | LLQC
| 145 | 20201110_LLQC_06_003.wiff | LLQC
| 146 | 20201110_LQC_01_001.wiff | LQC
| 147 | 20201110_LQC_01_002.wiff | LQC
| 148 | 20201110_LQC_01_003.wiff | LQC
| 149 | 20201110_LQC_02_001.wiff | LQC
| 150 | 20201110_LQC_02_002.wiff | LQC
| 151 | 20201110_LQC_02_003.wiff | LQC
| 152 | 20201110_LQC_03_001.wiff | LQC
| 153 | 20201110_LQC_03_002.wiff | LQC
| 154 | 20201110_LQC_03_003.wiff | LQC
| 155 | 20201110_LQC_04_001.wiff | LQC
| 156 | 20201110_LQC_04_002.wiff | LQC
| 157 | 20201110_LQC_04_003.wiff | LQC
| 158 | 20201110_LQC_05_001.wiff | LQC
| 159 | 20201110_LQC_05_002.wiff | LQC
| 160 | 20201110_LQC_05_003.wiff | LQC
| 161 | 20201110_LQC_06_001.wiff | LQC
| 162 | 20201110_LQC_06_002.wiff | LQC
| 163 | 20201110_LQC_06_003.wiff | LQC
| 164 | 20201110_MQC_01_001.wiff | MQC
| 165 | 20201110_MQC_01_002.wiff | MQC
| 166 | 20201110_MQC_01_003.wiff | MQC
| 167 | 20201110_MQC_02_001.wiff | MQC
| 168 | 20201110_MQC_02_002.wiff | MQC
| 169 | 20201110_MQC_02_003.wiff | MQC
| 170 | 20201110_MQC_03_001.wiff | MQC
| 171 | 20201110_MQC_03_002.wiff | MQC
| 172 | 20201110_MQC_03_003.wiff | MQC
| 173 | 20201110_MQC_04_001.wiff | MQC
| 174 | 20201110_MQC_04_002.wiff | MQC
| 175 | 20201110_MQC_04_003.wiff | MQC
| 176 | 20201110_MQC_05_001.wiff | MQC
| 177 | 20201110_MQC_05_002.wiff | MQC
| 178 | 20201110_MQC_05_003.wiff | MQC
| 179 | 20201110_MQC_06_001.wiff | MQC
| 180 | 20201110_MQC_06_002.wiff | MQC
| 181 | 20201110_MQC_06_003.wiff | MQC
| 182 | 20201110_HQC_01_001.wiff | HQC
| 183 | 20201110_HQC_01_002.wiff | HQC
| 184 | 20201110_HQC_01_003.wiff | HQC
| 185 | 20201110_HQC_02_001.wiff | HQC
| 186 | 20201110_HQC_02_002.wiff | HQC
| 187 | 20201110_HQC_02_003.wiff | HQC
| 188 | 20201110_HQC_03_001.wiff | HQC
| 189 | 20201110_HQC_03_002.wiff | HQC
| 190 | 20201110_HQC_03_003.wiff | HQC
| 191 | 20201110_HQC_04_001.wiff | HQC
| 192 | 20201110_HQC_04_002.wiff | HQC
| 193 | 20201110_HQC_04_003.wiff | HQC
| 194 | 20201110_HQC_05_001.wiff | HQC
| 195 | 20201110_HQC_05_002.wiff | HQC
| 196 | 20201110_HQC_05_003.wiff | HQC
| 197 | 20201110_HQC_06_001.wiff | HQC
| 198 | 20201110_HQC_06_002.wiff | HQC
| 199 | 20201110_HQC_06_003.wiff | HQC
| 200 | 20201110_HHQC_01_001.wiff | HHQC
| 201 | 20201110_HHQC_01_002.wiff | HHQC
| 202 | 20201110_HHQC_01_003.wiff | HHQC
| 203 | 20201110_HHQC_02_001.wiff | HHQC
| 204 | 20201110_HHQC_02_002.wiff | HHQC
| 205 | 20201110_HHQC_02_003.wiff | HHQC
| 206 | 20201110_HHQC_03_001.wiff | HHQC
| 207 | 20201110_HHQC_03_002.wiff | HHQC
| 208 | 20201110_HHQC_03_003.wiff | HHQC
| 209 | 20201110_HHQC_04_001.wiff | HHQC
| 210 | 20201110_HHQC_04_002.wiff | HHQC
| 211 | 20201110_HHQC_04_003.wiff | HHQC
| 212 | 20201110_HHQC_05_001.wiff | HHQC
| 213 | 20201110_HHQC_05_002.wiff | HHQC
| 214 | 20201110_HHQC_05_003.wiff | HHQC
| 215 | 20201110_HHQC_06_001.wiff | HHQC
| 216 | 20201110_HHQC_06_002.wiff | HHQC
| 217 | 20201110_HHQC_06_003.wiff | HHQC
| 218 | 20201110_QC_11.wiff | Pooled QC_11
| 219 | 20201110_QC_12.wiff | Pooled QC_12
| 220 | 20201110_MB_201.wiff | Matrix Blank
| 221 | 20201110_TB_301.wiff | Total Blank

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
| 4 | Internal standards are added to all QC samples.
Intra-Assay Variation
| 6 | The precision and accuracy of the assay is determined for each of the four ceramides measured in LLOQ, LQC, MQC, HQC, and HLOQ.
| 7 | Intra-assay variation, precision, and accuracy is calculated for each of the ceramide in replicates of six (n = 6) at each QC concentration.
| 8 | The intra-assay precision (percentage coefficient variance, %CV) and accuracy (percentage accuracy, %Accuracy) are calculated from the nominal concentrations according to the formulas reported in corresponding sheets and tables of this document.
| 9 | Recovery estimation is not necessary for the published method but only for different ones. Stability estimation is not necessary for the published method but only for different ones. Calibration line is prepared in 5% BSA.

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 30905900 | 30500400 | 31540900 | 32500200 | 31531800 | 32283600 | 345864000 | 337987000 | 339030000 | 325295000 | 328065000 | 324739000 | 1405440 | 1403790 | 1358740 | 1307600 | 1267580 | 1240080 | 45299500 | 43460600 | 41895600 | 13524100 | 13240200 | 13035400
| STD 2 | 16720600 | 16505700 | 16773100 | 16229000 | 16426300 | 16712500 | 216763000 | 225363000 | 229975000 | 201167000 | 200654000 | 204469000 | 1453190 | 1436750 | 1393390 | 1300500 | 1262370 | 1297510 | 39244700 | 39501600 | 40964800 | 12644100 | 12620400 | 12405300
| STD 3 | 2841840 | 2889180 | 2942980 | 1789200 | 1780730 | 1849610 | 23608600 | 24291500 | 24275200 | 21291200 | 21318300 | 21870000 | 1409360 | 1399650 | 1440590 | 1254540 | 1271800 | 1284310 | 30830500 | 32405700 | 31507700 | 10293100 | 10584600 | 10524800
| STD 4 | 1625300 | 1622030 | 1665130 | 497244 | 486589 | 494661 | 5204090 | 5340540 | 5302590 | 4486680 | 4635260 | 4533010 | 1411420 | 1425550 | 1429790 | 1246960 | 1287370 | 1300950 | 30889900 | 30893200 | 31504800 | 10606500 | 10681600 | 10778800
| STD 5 | 1462700 | 1448110 | 1443920 | 323826 | 318403 | 323573 | 2951340 | 2994750 | 2899720 | 2383610 | 2437410 | 2401680 | 1416820 | 1413560 | 1451920 | 1263160 | 1290240 | 1311280 | 30715700 | 31763700 | 31174100 | 10235200 | 10554900 | 10517100
| STD 6 | 1431970 | 1389950 | 1590280 | 286467 | 286285 | 300467 | 2571020 | 2572270 | 2565380 | 1961160 | 1982940 | 2014900 | 1429800 | 1361950 | 1434750 | 1289950 | 1276340 | 1301470 | 31578100 | 30582100 | 32272500 | 10677800 | 10230400 | 10772400
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 31865400 | 32026200 | 32884600 | 32500200 | 32005900 | 33745000 | 328283000 | 323700000 | 328727000 | 316974000 | 317637000 | 320890000 | 1449410 | 1437800 | 1454270 | 1304390 | 1290880 | 1319390 | 44442300 | 43968900 | 44411500 | 13621500 | 13718800 | 13502100
| STD 2 | 17543900 | 17518400 | 17387000 | 17043100 | 17337400 | 17054900 | 222611000 | 221848000 | 223084000 | 200737000 | 201405000 | 199705000 | 1533640 | 1514340 | 1461980 | 1318080 | 1349180 | 1308650 | 41288300 | 42200400 | 39697600 | 12722200 | 12872000 | 12430900
| STD 3 | 3012440 | 3102760 | 3115790 | 1861250 | 1892050 | 2016080 | 23336300 | 23935800 | 24005700 | 20798900 | 21436900 | 22195500 | 1463740 | 1495250 | 1520450 | 1304530 | 1334070 | 1365350 | 30300900 | 32516400 | 31427600 | 10389800 | 10773100 | 10672100
| STD 4 | 1767940 | 1764060 | 1783510 | 524838 | 525478 | 542508 | 5173600 | 5235960 | 5249000 | 4533740 | 4590510 | 4531340 | 1505530 | 1487790 | 1514010 | 1322420 | 1316960 | 1348860 | 30993600 | 29866100 | 31687700 | 10466500 | 10252500 | 10392700
| STD 5 | 1567930 | 1610650 | 1595760 | 352435 | 357561 | 363412 | 2930850 | 2929050 | 2969780 | 2474180 | 2506390 | 2542450 | 1471630 | 1511720 | 1492220 | 1316430 | 1349740 | 1358480 | 29796500 | 30552300 | 30375800 | 10295800 | 10559200 | 10534200
| STD 6 | 1530630 | 1523280 | 1710390 | 306810 | 316632 | 338199 | 2485360 | 2430520 | 2510470 | 1997500 | 2074430 | 2055800 | 1452410 | 1440850 | 1490710 | 1320410 | 1280380 | 1321810 | 30013200 | 29347400 | 30503000 | 10428400 | 9937030 | 10559000
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard. Each vial injected 3 times
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 1482434.7 | 1474089.7 | 1484228.3 | 679142.4 | 664317.2 | 667403.3 | 28085266 | 28750535.1 | 28005977.4 | 8631396.3 | 8450366.9 | 8503799.4 | 1061591.5 | 1077247.5 | 1073469.7 | 1253038.1 | 1248732.1 | 1254402.1 | 32876481.1 | 32713855.1 | 32507005.8 | 10322276.3 | 10075888.7 | 10274576.6
| SRM 2 | 1515460.3 | 1484761.8 | 1486880.7 | 703369.6 | 701353.1 | 677942.4 | 28751370.5 | 27392971.4 | 27038257 | 8775960.3 | 8592517.3 | 8774869.9 | 1052366.5 | 1051953.7 | 1061422 | 1248522.4 | 1222989 | 1225538 | 32413670.3 | 30491617.2 | 30138352.9 | 9901654.4 | 9978610.3 | 10297060.7
| SRM 3 | 1472753.6 | 1505010.9 | 1496416.7 | 682914.3 | 672569.1 | 664502.3 | 28086487.3 | 27937069.1 | 27126444.5 | 8534637.9 | 8605169.3 | 8529245.5 | 1016844 | 1007503.4 | 1012275.2 | 1180491.6 | 1187782.5 | 1172582.9 | 30760659.8 | 31063562.6 | 29956252.4 | 9796297.9 | 9834886 | 9767146.8
| SRM 4 | 1481177.3 | 1490597.7 | 1526364.3 | 669964.2 | 680488.9 | 678770 | 27898370.3 | 27478656.6 | 28348073.1 | 8506869 | 8442924.6 | 8494549.5 | 1076138.2 | 665505.3 | 1067298.2 | 1236543.1 | 1217213.5 | 1226966.3 | 31989212.7 | 31671888.4 | 31849476.3 | 10172056.4 | 10113913.6 | 10103055.2
| SRM 5 | 1546214.7 | 1519099.2 | 1538271 | 689703.7 | 690385.6 | 689625.2 | 27935116.6 | 28141982 | 27074867.6 | 8555485 | 8618755.6 | 8526589.7 | 1018241.8 | 696299.4 | 1032054.6 | 1183724.7 | 1212092.2 | 1195931.4 | 30343515.7 | 31047923.8 | 28577452.6 | 9780640.6 | 9706966.1 | 9673889.9
| SRM 6 | 1554114.9 | 1536777.3 | 1559033.4 | 699972.8 | 688458 | 702491.7 | 28488545.9 | 28700649.6 | 27994813.1 | 8618315.9 | 8727545.1 | 8667442 | 1076085.4 | 1069674.7 | 1050577.8 | 1238272.9 | 1228292.3 | 1247440.6 | 31549702.5 | 31611674 | 31807467.4 | 10013183.2 | 10071567 | 10223413.5
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 1692367.7 | 1696976.3 | 1725683.2 | 838974.8 | 841192.6 | 837203.7 | 47146865.2 | 48605300.6 | 47680712.2 | 13010850.7 | 12812182.3 | 13026665.7 | 1046416.3 | 1074044.9 | 1068263 | 1302239.8 | 1318616.5 | 1306557.7 | 36269363.5 | 36887196.4 | 37227650.1 | 11057343.9 | 11081553.7 | 11049808.7
| hTAG 2 | 1718231.9 | 1706613 | 1733621.7 | 864575.6 | 855364.8 | 850287.5 | 49255887.5 | 49775347 | 49646719.3 | 13437974.5 | 13213673.3 | 13473028.4 | 1042633.4 | 1062826.2 | 1042910.1 | 1301065.8 | 1282506.5 | 1288098.8 | 35703289 | 36729364 | 36906629.7 | 10852364.8 | 11082937.7 | 11033335.3
| hTAG 3 | 1692300.9 | 1710013.4 | 1724052.2 | 847604.7 | 853326.7 | 846721.1 | 48933078.3 | 48905369.3 | 49120537.1 | 13160710.8 | 13119774.9 | 13164145.3 | 1001361.6 | 684354.9 | 698268.9 | 1241156.8 | 1241301.5 | 1247931.8 | 35339253.3 | 34990988.6 | 35098792.5 | 10488998.5 | 10373944.9 | 10503650.6
| hTAG 4 | 1726296.7 | 1682927.4 | 1703171.5 | 862937 | 832947.5 | 849310.3 | 48617159.7 | 48851061.1 | 47798390.7 | 13177738.4 | 13080929.2 | 12995677.3 | 664884.5 | 1021885.1 | 1011307.3 | 1240087.5 | 1263530.2 | 1229903.6 | 34909639.8 | 34899905.5 | 34187122.3 | 10395579.6 | 10561245.6 | 10405331.6
| hTAG 5 | 1709884.9 | 1715176.7 | 1699693.3 | 854322.1 | 869930.3 | 868732.4 | 48574027.4 | 44501563.3 | 49161086.6 | 13054505.7 | 13250073.3 | 13512748.1 | 1021103.3 | 669670.2 | 1032253.8 | 1226772 | 1276249.4 | 1280639 | 34627511.2 | 31184960.7 | 35119400.4 | 10528669.3 | 10653503.7 | 10672790
| hTAG 6 | 1709884.9 | 1715176.7 | 1699693.3 | 854127.6 | 841096.4 | 850102.4 | 49099637.1 | 47911140 | 48337292.7 | 13248674.5 | 13380674.1 | 12944518.4 | 1025250 | 1017343.6 | 1005770 | 1253409.8 | 1252733.6 | 1256565.5 | 34747969.1 | 34829633.7 | 35074093.9 | 10499048.5 | 10488204.4 | 10537515.5
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 1420775.5 | 1444003.3 | 1459558.2 | 823717.6 | 828005.6 | 826741.8 | 29413738.6 | 28598138.8 | 28819128.5 | 8896824.5 | 8755586.2 | 8716956.8 | 1102065.4 | 1097185.5 | 1102821.9 | 1256934.6 | 1262532.3 | 1249128.2 | 33070438.2 | 32238532.3 | 32178145.9 | 10441824.4 | 10166281.8 | 10313150.7
| T1D 2 | 1438887.5 | 1444734 | 1425768.9 | 822821.4 | 826349.5 | 793964.2 | 28933642.1 | 28871363.1 | 28015927.8 | 8744088 | 8679107.3 | 8537608.9 | 1105248.1 | 1101617.1 | 1111715.7 | 1287118.8 | 1274893 | 1248706.4 | 32839129.4 | 32905702.8 | 33382786.5 | 10186380.7 | 10220804.5 | 10189535.1
| T1D 3 | 1440954.2 | 1415485.7 | 1417560.8 | 807373.1 | 815830 | 802688 | 28446660.2 | 28060727.8 | 28236735.7 | 8547321.8 | 8619978.1 | 8638751.9 | 749859.5 | 1115039.5 | 1140279.4 | 1291122.2 | 1261894.6 | 1273777 | 32816181.2 | 32240896.4 | 33027668.3 | 10260081.3 | 10323311.9 | 10215600
| T1D 4 | 1442193 | 1464548 | 1454978.2 | 823789.2 | 816915.6 | 812124.7 | 28832867.1 | 28240089.2 | 27916088.4 | 8792596.3 | 8750696.4 | 8825779.5 | 1100861.8 | 1098287.8 | 1129390.3 | 1253347.1 | 1243406.1 | 1246067.8 | 32969528.7 | 32150168.6 | 32413463.5 | 10193722.8 | 10070520.9 | 10256358.2
| T1D 5 | 1440435.8 | 1428668.1 | 1463052.4 | 818035.2 | 801171.7 | 817385.5 | 27996960 | 28131230.6 | 28296333.4 | 8691229 | 8585048 | 8491922.9 | 1128544.5 | 1109871.8 | 1103628 | 1271350.9 | 1255675.3 | 1229596.4 | 31949969.4 | 32743190.1 | 31957558.9 | 10295781.9 | 10211513.5 | 10159916.3
| T1D 6 | 1451842.9 | 1433030.8 | 1452542.2 | 809255.6 | 803417.1 | 795899.4 | 28462109.6 | 28711687.9 | 27963105.1 | 8602271.6 | 8557463.4 | 8763802.6 | 1076001.2 | 1065944.5 | 1096209.5 | 1222743.7 | 1208317.1 | 1210853.2 | 31922335.9 | 32075188.5 | 31684401.3 | 9871398.6 | 9983826.1 | 9863714.4
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 1120629.3 | 1135949.9 | 1116008.7 | 439679.9 | 422528.3 | 438542.3 | 18530247.3 | 18161655.8 | 18490009.1 | 6173578.9 | 6132988.4 | 6097854.2 | 1201901.5 | 1209800.7 | 1229587.5 | 1261961.6 | 1246760.8 | 1277031.9 | 31530987.3 | 30953900.8 | 31351559 | 11307565.6 | 11170658.2 | 11053392.5
| yA-A 2 | 1124128.3 | 1147295.9 | 1133812.9 | 431968.6 | 443780.9 | 441245.3 | 18140335.4 | 18107485.5 | 18267639.4 | 6048629.1 | 6102892.6 | 6156536.8 | 1208126.4 | 1218364.2 | 1210577.9 | 1257108 | 1274704.8 | 1279032.4 | 30580790.9 | 30884534.5 | 31128506.3 | 10968975.6 | 11226104.7 | 11084848.3
| yA-A 3 | 1138189.7 | 1132632.6 | 1150110.5 | 438393.1 | 429410.1 | 439828.3 | 18605576.8 | 18618653.9 | 18756911.6 | 6218860.7 | 6199351 | 6255952.5 | 684258.5 | 1233724.8 | 1206786 | 1288643.8 | 1283263.8 | 1283632.6 | 31160692.8 | 31016652.2 | 31124470.1 | 11273038.2 | 11044090 | 11425046.3
| yA-A 4 | 1159798 | 1151849.1 | 1141856.8 | 438960.8 | 426618.9 | 449242.2 | 18613924.6 | 18465105.8 | 18050880.8 | 6135901.5 | 6080223.4 | 6202509.8 | 1241065.9 | 1244466.8 | 1256417.5 | 1285477.9 | 1291835.1 | 1303673.3 | 31095682.7 | 31821322 | 30282347.6 | 11262610.8 | 11434032.9 | 11365673.2
| yA-A 5 | 1164466 | 1174945.9 | 1130030 | 450083.4 | 437572 | 448353 | 18603831.2 | 18681934.8 | 18068524.7 | 6234805.2 | 6326810.7 | 6336645.8 | 1292605.3 | 1264188.4 | 1266784.8 | 1343221 | 1337341.6 | 1319301.8 | 31841931.2 | 32514859 | 29859174.3 | 11741028 | 11883377.3 | 11556608.4
| yA-A 6 | 1149485.2 | 1138035.8 | 1131897.4 | 439728 | 451337 | 442696.1 | 18495697.1 | 18596386 | 18724703.6 | 6249560.7 | 6204542.1 | 6329022.4 | 1278118.2 | 1274143.4 | 1265449.7 | 1314965.1 | 1330584.6 | 1312876.4 | 32067263.4 | 31503468.2 | 31955413.1 | 11770806 | 11631740 | 11646150.7
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard. QCs have to be measured in one occasion only. The independent 6 replicates injected 3 times each
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LLQC 1 | 642447 | 640664.4 | 628577.2 | 248810.1 | 245035.8 | 241485.9 | 9060386.7 | 9265709.8 | 9185513.4 | 2862272.8 | 2853303.6 | 2819863.4 | 1445112.2 | 1465165.7 | 1474351.3 | 1305846.4 | 1332349.8 | 1319068.4 | 30906153.8 | 30786279.1 | 30723252.1 | 10013788.5 | 10055102.6 | 9953135
| LLQC 2 | 650301.5 | 632893.5 | 656425.5 | 248928.9 | 243967.1 | 243266.5 | 9189417.6 | 8586695.9 | 8809448.8 | 2845432.3 | 2876056.4 | 2827333.6 | 1470902.9 | 1495061.9 | 1450644 | 1344381.7 | 1333108.2 | 1364478.3 | 30671858.1 | 28634184 | 29568681.2 | 10076405.3 | 9850967.2 | 10067401.7
| LLQC 3 | 627221.3 | 629623.1 | 651433.9 | 242831.7 | 249546.5 | 250685.2 | 9121948.1 | 9114324.4 | 9052588.1 | 2791590.7 | 2842385.9 | 2792372.2 | 1427484.2 | 1433414.6 | 1449740.6 | 1322430.6 | 1309798 | 1323861.8 | 29906855.5 | 29773885.8 | 30077355.1 | 9730892.3 | 9783815.9 | 10003543.3
| LLQC 4 | 618369 | 627166 | 616259 | 242477.3 | 232096.2 | 230436.5 | 8840519.7 | 9006786 | 9085618.3 | 2756424.8 | 2775386 | 2713934.6 | 1458454.2 | 1438856.6 | 1429122.9 | 1304277.7 | 1301522.5 | 1292772.5 | 29512050.6 | 29821749.1 | 29922772.2 | 9727780.7 | 9742145.9 | 9609389.7
| LLQC 5 | 636231.9 | 633188.8 | 636479.8 | 236036.4 | 236536 | 243849.1 | 9057326.6 | 8658485.8 | 8670368.1 | 2768584.7 | 2771219.6 | 2789456.5 | 1410078.9 | 1396708.1 | 1423172 | 1279932.3 | 1308444.8 | 1284090.6 | 29384833.3 | 28366868.5 | 28264765.5 | 9780253.5 | 9611337.4 | 9514683.4
| LLQC 6 | 630812.6 | 624791.4 | 637330.8 | 245669.8 | 243318.2 | 233852.1 | 9049722.8 | 9011680.3 | 9084495 | 2765903.3 | 2787372.7 | 2754801.2 | 1416242.2 | 1455844.6 | 1449584.3 | 1291659.4 | 1305056.2 | 1299800.2 | 29933635.6 | 30062056.2 | 29895586.9 | 9879179.6 | 9764393.1 | 9926373.9
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LQC 1 | 880108.8 | 885600.1 | 881535.4 | 354095 | 355825.8 | 357778.2 | 14022009.5 | 13984720 | 14156312.9 | 4224677.7 | 4352108.5 | 4240554.3 | 1407034.1 | 1384609.1 | 1398242.1 | 1367340 | 1353515.4 | 1325990.4 | 31297743.5 | 31647569.8 | 31538978.1 | 10315792.4 | 10409776 | 10206689.2
| LQC 2 | 861172.8 | 885972.2 | 889692.5 | 369029.3 | 366766 | 364551.9 | 14166954.4 | 14170948.9 | 14456741.4 | 4258041.3 | 4327387.4 | 4293300.9 | 1381064.3 | 1388507.8 | 1415546.9 | 1348202.9 | 1389393.8 | 1363915.8 | 31255645.9 | 31641621.4 | 31508990.1 | 10092086.8 | 10091384 | 10081572.5
| LQC 3 | 905948 | 899945.2 | 895127.4 | 356845.8 | 359523.2 | 365130.1 | 14342268.1 | 14490419.1 | 14194479 | 4425323.2 | 4356913.9 | 4371932.3 | 946122 | 1424232.2 | 1386164.7 | 1346076.6 | 1358501.2 | 1386410.9 | 31817618.9 | 31396010.7 | 31164091.5 | 10256973.6 | 10424506.8 | 10497182.8
| LQC 4 | 881183.9 | 878491.8 | 871517.2 | 372474.5 | 363935.8 | 357161.8 | 14204060.9 | 14196514.2 | 14374859.4 | 4415662.5 | 4321398.8 | 4288755.2 | 1396837.7 | 1410015.3 | 1391934.8 | 1356272.7 | 1351969.1 | 1355558.8 | 31201362.7 | 30937434 | 31613675.8 | 10439457.8 | 10046126.1 | 10197826.4
| LQC 5 | 851332.5 | 832323.1 | 855298.2 | 352158.4 | 352627.3 | 344269.7 | 13620547.8 | 13594614.4 | 13157748.1 | 4044326.7 | 4142879.8 | 4067126.3 | 1412116.6 | 1410936.1 | 1410751.6 | 1349633.4 | 1350877.7 | 1366315.6 | 31197633.2 | 30719135.2 | 30134040.6 | 10228275.5 | 9987742.1 | 10116192.1
| LQC 6 | 881060.1 | 872309.6 | 900283.7 | 359265.4 | 369916.4 | 363047.7 | 14119143.3 | 14023381.9 | 14262255.8 | 4304157.6 | 4300863.6 | 4279350.5 | 1421645 | 1386345.8 | 1394507.8 | 1344330.8 | 1354074.5 | 1339215.9 | 31112593.5 | 30819812.8 | 30837057.4 | 10147031 | 10180993.6 | 10141159.8
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 1410618.9 | 1410458.1 | 1407573 | 691254.9 | 684381.9 | 688595.7 | 29623296.6 | 29467405.9 | 29712508.2 | 9082795 | 8974723.6 | 9095342.3 | 1100460.2 | 725673.5 | 1093488.2 | 1220321.9 | 1237690.6 | 1257759.5 | 31064740.7 | 30907194.2 | 30942682.2 | 9959850 | 10087044.2 | 10087218.4
| MQC 2 | 1436990.7 | 1457408.2 | 1454339 | 709754.5 | 715283.6 | 716713.2 | 30149305.7 | 29348682 | 28925194 | 9301717.2 | 9255682.5 | 9026112.6 | 729410.8 | 689153.5 | 1127490 | 1291383.1 | 1283045.7 | 1283495.4 | 32217715.4 | 31468852.7 | 30187391.1 | 10489039.7 | 10595754.7 | 10394609.7
| MQC 3 | 1436727.8 | 1450491.1 | 1462484.1 | 713824.8 | 705586.2 | 717819.1 | 30940135.9 | 30361900.8 | 30545869.7 | 9221567.7 | 9268163.8 | 9218743.5 | 1172301.8 | 771207.7 | 1188616.7 | 1358441.3 | 1329980.3 | 1340124.6 | 34584168.8 | 33756803.3 | 34139907.8 | 11109950.7 | 10963319.9 | 10834593.7
| MQC 4 | 1397425.8 | 1434610.7 | 1418946.5 | 656858.4 | 663208.7 | 680512.5 | 28552042.4 | 28581245.9 | 28528475.3 | 8643282.5 | 8641257.6 | 8625651.4 | 1134123.2 | 1164628.8 | 1160633.9 | 1294660.3 | 1296312.4 | 1295737.6 | 31457457.2 | 31216368.6 | 31858949.9 | 10532657.3 | 10048401.1 | 9985410.2
| MQC 5 | 1442888.1 | 1450989.8 | 1456168.7 | 692637.1 | 710889.8 | 706903.3 | 30633199.2 | 30608224.2 | 30596390.8 | 9273543.7 | 9085729.3 | 9237944.9 | 1184027.9 | 1178847.7 | 1179069.6 | 1353130.7 | 1335175.2 | 1351304.6 | 33793621.9 | 33806540.4 | 33650750.4 | 10808756.7 | 10846426.5 | 10944177.6
| MQC 6 | 1440424.4 | 1432788.3 | 1430898.1 | 681579.7 | 689291.6 | 690359.9 | 29672747.8 | 29866960.2 | 29230920.2 | 9159040.5 | 9018459.1 | 8998518.2 | 1178254.6 | 1157416.5 | 741713.7 | 1320761.1 | 1314722 | 1327743 | 32940467.1 | 32915535.3 | 33178131.7 | 10866842.5 | 10780196.6 | 10573167.4
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HQC 1 | 2152316.2 | 2126239.9 | 2147396.2 | 1623405.4 | 1625933.7 | 1649401.7 | 45627181.8 | 45472263.2 | 44675140.4 | 21035884.7 | 21376049.7 | 21204180.7 | 1218070.3 | 1205590 | 1190699.9 | 1393060.2 | 1379221.4 | 1413881.5 | 34944093.8 | 35333153.7 | 35707823.9 | 11264499.7 | 11441404.4 | 11386852.6
| HQC 2 | 2075859 | 2068987.2 | 2043911.9 | 1558110.2 | 1558089.4 | 1554260.2 | 41644510.1 | 41758947.1 | 42085128.9 | 20321917.3 | 20368565.6 | 20108821.9 | 1077070.4 | 691308.6 | 1060128.6 | 1221156.5 | 1215517.5 | 1228392.1 | 30279700.7 | 30433070.6 | 30322238.4 | 9791618.2 | 9851663.5 | 9724769.6
| HQC 3 | 2049187.3 | 2030917 | 2052015.2 | 1554526.7 | 1568832.9 | 1555277.3 | 41274552.7 | 41957018.2 | 42248200 | 19927621.9 | 20194047.4 | 19899128.1 | 1148861.2 | 1133180.2 | 1158483.5 | 1285781.1 | 1298122.8 | 1294257.8 | 32302822.9 | 32422533.4 | 32782934.9 | 10549553.3 | 10527536.5 | 10432473.2
| HQC 4 | 2076645.5 | 2044083 | 2043466.8 | 1577021.8 | 1544530.5 | 1565077.1 | 41446400.7 | 41536023.2 | 41846732.9 | 19981544.5 | 19822751.7 | 19849879.2 | 1149152 | 1120323.8 | 1138481.1 | 1303940.8 | 1271431.5 | 1274509.4 | 32395866.2 | 32062566.2 | 32298453.5 | 10397042 | 10312660.9 | 10438351.3
| HQC 5 | 2043850.5 | 2039252 | 2035061.1 | 1547279.7 | 1547637.5 | 1553304.7 | 41645086.3 | 42319786.1 | 41466590.1 | 20273382 | 20036529 | 19970576.2 | 1098467.9 | 1093793.5 | 1095118.7 | 1237094.5 | 1240234.8 | 1243855.7 | 31094098.6 | 31002515.4 | 31540429 | 10124175.7 | 10218870.2 | 10155492.9
| HQC 6 | 2044484 | 2033820.4 | 2010991.9 | 1521829.7 | 1526152.3 | 1518565.9 | 40024319.5 | 40737153.9 | 40713708.3 | 19543894.3 | 19481450.8 | 19255616.5 | 1114120.2 | 1127385.2 | 1135313.2 | 1262272.1 | 1267657.9 | 1269101.6 | 31203868.7 | 31993052.7 | 31231579.7 | 10033987 | 10201847.2 | 10116449.3
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HLQC 1 | 2629031.8 | 2608477.3 | 2610088.1 | 2264958.3 | 2280129.6 | 2268053.3 | 49376870.1 | 50224159.5 | 50656611.5 | 28684878.9 | 28770708.4 | 29027003.5 | 1068101.2 | 646913.7 | 1040370.2 | 1146006.7 | 1165599.8 | 1152123.3 | 28413890.4 | 28465140.3 | 28928601.6 | 9304372.3 | 9242519.5 | 9223711.7
| HLQC 2 | 2649991.2 | 2666122.9 | 2660150.1 | 2391641 | 2363018.9 | 2348318.9 | 52888778.7 | 52923756.8 | 52485024.3 | 30375485.1 | 30177778.7 | 29946400.3 | 1114312.6 | 1112735.2 | 1100533.9 | 1247934.8 | 1247631.5 | 1219121.4 | 31541724.7 | 31102951.2 | 31131220.6 | 9887007.8 | 9992841.6 | 9913555.4
| HLQC 3 | 2706061.6 | 2710400.1 | 2684793.5 | 2407662.1 | 2367391.8 | 2384472.2 | 53578771.8 | 53559334.5 | 54489310.6 | 31147495.9 | 30896692.1 | 30838154.5 | 1107504.1 | 724195.6 | 711756.7 | 1242739.6 | 1244760 | 1235829 | 31403764.4 | 32229329.4 | 31580789.1 | 10141150.6 | 10235244.9 | 10064683.6
| HLQC 4 | 2685202.8 | 2693705.1 | 2633586 | 2396056.8 | 2367524.9 | 2345055.2 | 53082708.8 | 53771619.5 | 51980253 | 30259430.7 | 30334564.5 | 29664416.6 | 1112873.3 | 1117602.6 | 1119917.6 | 1272504.8 | 1240015.2 | 1249588.6 | 31491060.1 | 32024409.2 | 30997562.8 | 10197359.6 | 10206364.9 | 10132093.3
| HLQC 5 | 2678647.1 | 2663331.8 | 2679163.1 | 2393214.5 | 2385994.3 | 2382476.2 | 53338503.4 | 52716156.3 | 53252093.1 | 30951807.3 | 30636414.3 | 30448050.7 | 1135081.3 | 1133270.3 | 1143902.3 | 1264569.6 | 1264682.2 | 1273859.6 | 31839466.4 | 30686056.9 | 31477880.8 | 10438614 | 10306910.6 | 10407085
| HLQC 6 | 2647948.4 | 2616938.5 | 2646405.7 | 2280580.6 | 2318416.9 | 2342493.8 | 52064072.1 | 50766177.1 | 51089574.5 | 29514761.4 | 29436908.7 | 29884220.5 | 1131073 | 1134454.9 | 1142186.5 | 1265945.9 | 1265694.2 | 1252533.1 | 31518722.3 | 31844607.8 | 31797049.1 | 10154457.5 | 10175257 | 10323120.6
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Matrix Blank | 1364371.7 | 1387881.3 | 1368738.1 | 673224.3 | 700096.9 | 682129.1 | 32004712.9 | 32166699.2 | 32189644 | 9820332.2 | 9868767.8 | 9893277.2 | 748.6 | 636.4 | 424.7 | 1522.7 | 2097.1 | 2673.5 | 1364.6 | 1233 | 1404.8 | 762.5 | 856.1 | 582.4
| Total Blank | 1313411.5 | 1313264.2 | 1278480.3 | 153705.5 | 156394.2 | 150086 | 663394.1 | 673702.8 | 632183.5 | 249830.2 | 248295.2 | 249092.4 | 592.7 | 717.9 | 499.7 | 1401.7 | 2051.3 | 2790.7 | 1001.7 | 1145.4 | 1517.9 | 884.6 | 628.9 | 618.7

## Raw Peak Areas
File Name | Sample_Name | Cer d18:1/16:0 [M>264] | Cer d18:1/16:0-d7 [M>264] | Cer d18:1/18:0 [M>264] | Cer d18:1/18:0-d7 [M>264] | Cer d18:1/24:0 [M>264] | Cer d18:1/24:0-d7 [M>264] | Cer d18:1/24:1 [M>264] | Cer d18:1/24:1-d7 [M>264]
20201110_TB_001.wiff | Total Blank_001 | 1313411.5 | 592.7 | 153705.5 | 1401.7 | 663394.1 | 1001.7 | 249830.2 | 884.6
20201110_TB_002.wiff | Total Blank_002 | 1313264.2 | 717.9 | 156394.2 | 2051.3 | 673702.8 | 1145.4 | 248295.2 | 628.9
20201110_TB_003.wiff | Total Blank_003 | 1278480.3 | 499.7 | 150086 | 2790.7 | 632183.5 | 1517.9 | 249092.4 | 618.7
20201110_MB_001.wiff | Matrix Blank_01 | 1364371.7 | 748.6 | 673224.3 | 1522.7 | 32004712.9 | 1364.6 | 9820332.2 | 762.5
20201110_MB_002.wiff | Matrix Blank_02 | 1387881.3 | 636.4 | 700096.9 | 2097.1 | 32166699.2 | 1233 | 9868767.8 | 856.1
20201110_MB_003.wiff | Matrix Blank_03 | 1368738.1 | 424.7 | 682129.1 | 2673.5 | 32189644 | 1404.8 | 9893277.2 | 582.4
20201110_STD6_001.wiff | x250 | 1431970 | 1429800 | 286467 | 1289950 | 2571020 | 31578100 | 1961160 | 10677800
20201110_STD6_002.wiff | x250 | 1389950 | 1361950 | 286285 | 1276340 | 2572270 | 30582100 | 1982940 | 10230400
20201110_STD6_003.wiff | x250 | 1590280 | 1434750 | 300467 | 1301470 | 2565380 | 32272500 | 2014900 | 10772400
20201110_STD5_001.wiff | x200 | 1462700 | 1416820 | 323826 | 1263160 | 2951340 | 30715700 | 2383610 | 10235200
20201110_STD5_002.wiff | x200 | 1448110 | 1413560 | 318403 | 1290240 | 2994750 | 31763700 | 2437410 | 10554900
20201110_STD5_003.wiff | x200 | 1443920 | 1451920 | 323573 | 1311280 | 2899720 | 31174100 | 2401680 | 10517100
20201110_STD4_001.wiff | x100 | 1625300 | 1411420 | 497244 | 1246960 | 5204090 | 30889900 | 4486680 | 10606500
20201110_STD4_002.wiff | x100 | 1622030 | 1425550 | 486589 | 1287370 | 5340540 | 30893200 | 4635260 | 10681600
20201110_STD4_003.wiff | x100 | 1665130 | 1429790 | 494661 | 1300950 | 5302590 | 31504800 | 4533010 | 10778800
20201110_STD3_001.wiff | x20 | 2841840 | 1409360 | 1789200 | 1254540 | 23608600 | 30830500 | 21291200 | 10293100
20201110_STD3_002.wiff | x20 | 2889180 | 1399650 | 1780730 | 1271800 | 24291500 | 32405700 | 21318300 | 10584600
20201110_STD3_003.wiff | x20 | 2942980 | 1440590 | 1849610 | 1284310 | 24275200 | 31507700 | 21870000 | 10524800
20201110_STD2_001.wiff | x2 | 16720600 | 1453190 | 16229000 | 1300500 | 216763000 | 39244700 | 201167000 | 12644100
20201110_STD2_002.wiff | x2 | 16505700 | 1436750 | 16426300 | 1262370 | 225363000 | 39501600 | 200654000 | 12620400
20201110_STD2_003.wiff | x2 | 16773100 | 1393390 | 16712500 | 1297510 | 229975000 | 40964800 | 204469000 | 12405300
20201110_STD1_001.wiff | x1 | 30905900 | 1405440 | 32500200 | 1307600 | 345864000 | 45299500 | 325295000 | 13524100
20201110_STD1_002.wiff | x1 | 30500400 | 1403790 | 31531800 | 1267580 | 337987000 | 43460600 | 328065000 | 13240200
20201110_STD1_003.wiff | x1 | 31540900 | 1358740 | 32283600 | 1240080 | 339030000 | 41895600 | 324739000 | 13035400
20201110_QC_1.wiff | Pooled QC_1 | 1397256.9 | 1105818.9 | 670067.3 | 1286742.4 | 31122894.4 | 34646388.7 | 9268131.5 | 11089448.6
20201110_QC_2.wiff | Pooled QC_2 | 1407344 | 639457.6 | 667502.4 | 1273922.6 | 31336020.2 | 34733491.7 | 9386458.6 | 11231272
20201110_NIST1950_01_001.wiff | SRM1950, Plasma 4 | 1482434.7 | 1061591.5 | 679142.4 | 1253038.1 | 28085266 | 32876481.1 | 8631396.3 | 10322276.3
20201110_NIST1950_01_002.wiff | SRM1950, Plasma 4 | 1474089.7 | 1077247.5 | 664317.2 | 1248732.1 | 28750535.1 | 32713855.1 | 8450366.9 | 10075888.7
20201110_NIST1950_01_003.wiff | SRM1950, Plasma 4 | 1484228.3 | 1073469.7 | 667403.3 | 1254402.1 | 28005977.4 | 32507005.8 | 8503799.4 | 10274576.6
20201110_NIST1950_02_001.wiff | SRM1950, Plasma 4 | 1515460.3 | 1052366.5 | 703369.6 | 1248522.4 | 28751370.5 | 32413670.3 | 8775960.3 | 9901654.4
20201110_NIST1950_02_002.wiff | SRM1950, Plasma 4 | 1484761.8 | 1051953.7 | 701353.1 | 1222989 | 27392971.4 | 30491617.2 | 8592517.3 | 9978610.3
20201110_NIST1950_02_003.wiff | SRM1950, Plasma 4 | 1486880.7 | 1061422 | 677942.4 | 1225538 | 27038257 | 30138352.9 | 8774869.9 | 10297060.7
20201110_NIST1950_03_001.wiff | SRM1950, Plasma 4 | 1472753.6 | 1016844 | 682914.3 | 1180491.6 | 28086487.3 | 30760659.8 | 8534637.9 | 9796297.9
20201110_NIST1950_03_002.wiff | SRM1950, Plasma 4 | 1505010.9 | 1007503.4 | 672569.1 | 1187782.5 | 27937069.1 | 31063562.6 | 8605169.3 | 9834886
20201110_NIST1950_03_003.wiff | SRM1950, Plasma 4 | 1496416.7 | 1012275.2 | 664502.3 | 1172582.9 | 27126444.5 | 29956252.4 | 8529245.5 | 9767146.8
20201110_NIST1950_04_001.wiff | SRM1950, Plasma 4 | 1481177.3 | 1076138.2 | 669964.2 | 1236543.1 | 27898370.3 | 31989212.7 | 8506869 | 10172056.4
20201110_NIST1950_04_002.wiff | SRM1950, Plasma 4 | 1490597.7 | 665505.3 | 680488.9 | 1217213.5 | 27478656.6 | 31671888.4 | 8442924.6 | 10113913.6
20201110_NIST1950_04_003.wiff | SRM1950, Plasma 4 | 1526364.3 | 1067298.2 | 678770 | 1226966.3 | 28348073.1 | 31849476.3 | 8494549.5 | 10103055.2
20201110_NIST1950_05_001.wiff | SRM1950, Plasma 4 | 1546214.7 | 1018241.8 | 689703.7 | 1183724.7 | 27935116.6 | 30343515.7 | 8555485 | 9780640.6
20201110_NIST1950_05_002.wiff | SRM1950, Plasma 4 | 1519099.2 | 696299.4 | 690385.6 | 1212092.2 | 28141982 | 31047923.8 | 8618755.6 | 9706966.1
20201110_NIST1950_05_003.wiff | SRM1950, Plasma 4 | 1538271 | 1032054.6 | 689625.2 | 1195931.4 | 27074867.6 | 28577452.6 | 8526589.7 | 9673889.9
20201110_NIST1950_06_001.wiff | SRM1950, Plasma 4 | 1554114.9 | 1076085.4 | 699972.8 | 1238272.9 | 28488545.9 | 31549702.5 | 8618315.9 | 10013183.2
20201110_NIST1950_06_002.wiff | SRM1950, Plasma 4 | 1536777.3 | 1069674.7 | 688458 | 1228292.3 | 28700649.6 | 31611674 | 8727545.1 | 10071567
20201110_NIST1950_06_003.wiff | SRM1950, Plasma 4 | 1559033.4 | 1050577.8 | 702491.7 | 1247440.6 | 27994813.1 | 31807467.4 | 8667442 | 10223413.5
20201110_QC_3.wiff | Pooled QC_3 | 1524482.6 | 1146265.1 | 696394 | 1287534 | 30769380.9 | 34400775.4 | 9312751.7 | 10885346.9
20201110_QC_4.wiff | Pooled QC_4 | 1508217.6 | 1178452.7 | 708445.5 | 1315094.2 | 30525801.8 | 33818731.3 | 9290340.9 | 10835087.9
20201110_T1D_01_001.wiff | T1D, Plasma 1 | 1420775.5 | 1102065.4 | 823717.6 | 1256934.6 | 29413738.6 | 33070438.2 | 8896824.5 | 10441824.4
20201110_T1D_01_002.wiff | T1D, Plasma 1 | 1444003.3 | 1097185.5 | 828005.6 | 1262532.3 | 28598138.8 | 32238532.3 | 8755586.2 | 10166281.8
20201110_T1D_01_003.wiff | T1D, Plasma 1 | 1459558.2 | 1102821.9 | 826741.8 | 1249128.2 | 28819128.5 | 32178145.9 | 8716956.8 | 10313150.7
20201110_T1D_02_001.wiff | T1D, Plasma 1 | 1438887.5 | 1105248.1 | 822821.4 | 1287118.8 | 28933642.1 | 32839129.4 | 8744088 | 10186380.7
20201110_T1D_02_002.wiff | T1D, Plasma 1 | 1444734 | 1101617.1 | 826349.5 | 1274893 | 28871363.1 | 32905702.8 | 8679107.3 | 10220804.5
20201110_T1D_02_003.wiff | T1D, Plasma 1 | 1425768.9 | 1111715.7 | 793964.2 | 1248706.4 | 28015927.8 | 33382786.5 | 8537608.9 | 10189535.1
20201110_T1D_03_001.wiff | T1D, Plasma 1 | 1440954.2 | 749859.5 | 807373.1 | 1291122.2 | 28446660.2 | 32816181.2 | 8547321.8 | 10260081.3
20201110_T1D_03_002.wiff | T1D, Plasma 1 | 1415485.7 | 1115039.5 | 815830 | 1261894.6 | 28060727.8 | 32240896.4 | 8619978.1 | 10323311.9
20201110_T1D_03_003.wiff | T1D, Plasma 1 | 1417560.8 | 1140279.4 | 802688 | 1273777 | 28236735.7 | 33027668.3 | 8638751.9 | 10215600
20201110_T1D_04_001.wiff | T1D, Plasma 1 | 1442193 | 1100861.8 | 823789.2 | 1253347.1 | 28832867.1 | 32969528.7 | 8792596.3 | 10193722.8
20201110_T1D_04_002.wiff | T1D, Plasma 1 | 1464548 | 1098287.8 | 816915.6 | 1243406.1 | 28240089.2 | 32150168.6 | 8750696.4 | 10070520.9
20201110_T1D_04_003.wiff | T1D, Plasma 1 | 1454978.2 | 1129390.3 | 812124.7 | 1246067.8 | 27916088.4 | 32413463.5 | 8825779.5 | 10256358.2
20201110_T1D_05_001.wiff | T1D, Plasma 1 | 1440435.8 | 1128544.5 | 818035.2 | 1271350.9 | 27996960 | 31949969.4 | 8691229 | 10295781.9
20201110_T1D_05_002.wiff | T1D, Plasma 1 | 1428668.1 | 1109871.8 | 801171.7 | 1255675.3 | 28131230.6 | 32743190.1 | 8585048 | 10211513.5
20201110_T1D_05_003.wiff | T1D, Plasma 1 | 1463052.4 | 1103628 | 817385.5 | 1229596.4 | 28296333.4 | 31957558.9 | 8491922.9 | 10159916.3
20201110_T1D_06_001.wiff | T1D, Plasma 1 | 1451842.9 | 1076001.2 | 809255.6 | 1222743.7 | 28462109.6 | 31922335.9 | 8602271.6 | 9871398.6
20201110_T1D_06_002.wiff | T1D, Plasma 1 | 1433030.8 | 1065944.5 | 803417.1 | 1208317.1 | 28711687.9 | 32075188.5 | 8557463.4 | 9983826.1
20201110_T1D_06_003.wiff | T1D, Plasma 1 | 1452542.2 | 1096209.5 | 795899.4 | 1210853.2 | 27963105.1 | 31684401.3 | 8763802.6 | 9863714.4
20201110_TB_101.wiff | Total Blank_101 | 1489956.7 | 657.9 | 184949.2 | 1864 | 659322.4 | 1567.5 | 362326.5 | 1039.9
20201110_QC_5.wiff | Pooled QC_5 | 1517551.9 | 732051 | 717867.6 | 1301995.1 | 30228482.3 | 33740895.1 | 9408582.6 | 10895209.5
20201110_QC_6.wiff | Pooled QC_6 | 1486671.3 | 1124320.2 | 705039.1 | 1292428.4 | 30951853 | 33661380 | 9309635 | 11072503.8
20201110_YoungAA_01_001.wiff | Young AA, Plasma 3 | 1120629.3 | 1201901.5 | 439679.9 | 1261961.6 | 18530247.3 | 31530987.3 | 6173578.9 | 11307565.6
20201110_YoungAA_01_002.wiff | Young AA, Plasma 3 | 1135949.9 | 1209800.7 | 422528.3 | 1246760.8 | 18161655.8 | 30953900.8 | 6132988.4 | 11170658.2
20201110_YoungAA_01_003.wiff | Young AA, Plasma 3 | 1116008.7 | 1229587.5 | 438542.3 | 1277031.9 | 18490009.1 | 31351559 | 6097854.2 | 11053392.5
20201110_YoungAA_02_001.wiff | Young AA, Plasma 3 | 1124128.3 | 1208126.4 | 431968.6 | 1257108 | 18140335.4 | 30580790.9 | 6048629.1 | 10968975.6
20201110_YoungAA_02_002.wiff | Young AA, Plasma 3 | 1147295.9 | 1218364.2 | 443780.9 | 1274704.8 | 18107485.5 | 30884534.5 | 6102892.6 | 11226104.7
20201110_YoungAA_02_003.wiff | Young AA, Plasma 3 | 1133812.9 | 1210577.9 | 441245.3 | 1279032.4 | 18267639.4 | 31128506.3 | 6156536.8 | 11084848.3
20201110_YoungAA_03_001.wiff | Young AA, Plasma 3 | 1138189.7 | 684258.5 | 438393.1 | 1288643.8 | 18605576.8 | 31160692.8 | 6218860.7 | 11273038.2
20201110_YoungAA_03_002.wiff | Young AA, Plasma 3 | 1132632.6 | 1233724.8 | 429410.1 | 1283263.8 | 18618653.9 | 31016652.2 | 6199351 | 11044090
20201110_YoungAA_03_003.wiff | Young AA, Plasma 3 | 1150110.5 | 1206786 | 439828.3 | 1283632.6 | 18756911.6 | 31124470.1 | 6255952.5 | 11425046.3
20201110_YoungAA_04_001.wiff | Young AA, Plasma 3 | 1159798 | 1241065.9 | 438960.8 | 1285477.9 | 18613924.6 | 31095682.7 | 6135901.5 | 11262610.8
20201110_YoungAA_04_002.wiff | Young AA, Plasma 3 | 1151849.1 | 1244466.8 | 426618.9 | 1291835.1 | 18465105.8 | 31821322 | 6080223.4 | 11434032.9
20201110_YoungAA_04_003.wiff | Young AA, Plasma 3 | 1141856.8 | 1256417.5 | 449242.2 | 1303673.3 | 18050880.8 | 30282347.6 | 6202509.8 | 11365673.2
20201110_YoungAA_05_001.wiff | Young AA, Plasma 3 | 1164466 | 1292605.3 | 450083.4 | 1343221 | 18603831.2 | 31841931.2 | 6234805.2 | 11741028
20201110_YoungAA_05_002.wiff | Young AA, Plasma 3 | 1174945.9 | 1264188.4 | 437572 | 1337341.6 | 18681934.8 | 32514859 | 6326810.7 | 11883377.3
20201110_YoungAA_05_003.wiff | Young AA, Plasma 3 | 1130030 | 1266784.8 | 448353 | 1319301.8 | 18068524.7 | 29859174.3 | 6336645.8 | 11556608.4
20201110_YoungAA_06_001.wiff | Young AA, Plasma 3 | 1149485.2 | 1278118.2 | 439728 | 1314965.1 | 18495697.1 | 32067263.4 | 6249560.7 | 11770806
20201110_YoungAA_06_002.wiff | Young AA, Plasma 3 | 1138035.8 | 1274143.4 | 451337 | 1330584.6 | 18596386 | 31503468.2 | 6204542.1 | 11631740
20201110_YoungAA_06_003.wiff | Young AA, Plasma 3 | 1131897.4 | 1265449.7 | 442696.1 | 1312876.4 | 18724703.6 | 31955413.1 | 6329022.4 | 11646150.7
20201110_QC_7.wiff | Pooled QC_7 | 1498974.8 | 1150685.2 | 728187.1 | 1341834.7 | 30515984.1 | 34396576.8 | 9407595.9 | 10855393.8
20201110_QC_8.wiff | Pooled QC_8 | 1485702.6 | 736153.8 | 746710.4 | 1319592.9 | 31659539.5 | 34526107.2 | 9657455.4 | 11099816.9
20201110_HighTG_01_001.wiff | HighTG, Plasma 2 | 1692367.7 | 1046416.3 | 838974.8 | 1302239.8 | 47146865.2 | 36269363.5 | 13010850.7 | 11057343.9
20201110_HighTG_01_002.wiff | HighTG, Plasma 2 | 1696976.3 | 1074044.9 | 841192.6 | 1318616.5 | 48605300.6 | 36887196.4 | 12812182.3 | 11081553.7
20201110_HighTG_01_003.wiff | HighTG, Plasma 2 | 1725683.2 | 1068263 | 837203.7 | 1306557.7 | 47680712.2 | 37227650.1 | 13026665.7 | 11049808.7
20201110_HighTG_02_001.wiff | HighTG, Plasma 2 | 1718231.9 | 1042633.4 | 864575.6 | 1301065.8 | 49255887.5 | 35703289 | 13437974.5 | 10852364.8
20201110_HighTG_02_002.wiff | HighTG, Plasma 2 | 1706613 | 1062826.2 | 855364.8 | 1282506.5 | 49775347 | 36729364 | 13213673.3 | 11082937.7
20201110_HighTG_02_003.wiff | HighTG, Plasma 2 | 1733621.7 | 1042910.1 | 850287.5 | 1288098.8 | 49646719.3 | 36906629.7 | 13473028.4 | 11033335.3
20201110_HighTG_03_001.wiff | HighTG, Plasma 2 | 1692300.9 | 1001361.6 | 847604.7 | 1241156.8 | 48933078.3 | 35339253.3 | 13160710.8 | 10488998.5
20201110_HighTG_03_002.wiff | HighTG, Plasma 2 | 1710013.4 | 684354.9 | 853326.7 | 1241301.5 | 48905369.3 | 34990988.6 | 13119774.9 | 10373944.9
20201110_HighTG_03_003.wiff | HighTG, Plasma 2 | 1724052.2 | 698268.9 | 846721.1 | 1247931.8 | 49120537.1 | 35098792.5 | 13164145.3 | 10503650.6
20201110_HighTG_04_001.wiff | HighTG, Plasma 2 | 1726296.7 | 664884.5 | 862937 | 1240087.5 | 48617159.7 | 34909639.8 | 13177738.4 | 10395579.6
20201110_HighTG_04_002.wiff | HighTG, Plasma 2 | 1682927.4 | 1021885.1 | 832947.5 | 1263530.2 | 48851061.1 | 34899905.5 | 13080929.2 | 10561245.6
20201110_HighTG_04_003.wiff | HighTG, Plasma 2 | 1703171.5 | 1011307.3 | 849310.3 | 1229903.6 | 47798390.7 | 34187122.3 | 12995677.3 | 10405331.6
20201110_HighTG_05_001.wiff | HighTG, Plasma 2 | 1709884.9 | 1021103.3 | 854322.1 | 1226772 | 48574027.4 | 34627511.2 | 13054505.7 | 10528669.3
20201110_HighTG_05_002.wiff | HighTG, Plasma 2 | 1715176.7 | 669670.2 | 869930.3 | 1276249.4 | 44501563.3 | 31184960.7 | 13250073.3 | 10653503.7
20201110_HighTG_05_003.wiff | HighTG, Plasma 2 | 1699693.3 | 1032253.8 | 868732.4 | 1280639 | 49161086.6 | 35119400.4 | 13512748.1 | 10672790
20201110_HighTG_06_001.wiff | HighTG, Plasma 2 | 1709410.3 | 1025250 | 854127.6 | 1253409.8 | 49099637.1 | 34747969.1 | 13248674.5 | 10499048.5
20201110_HighTG_06_002.wiff | HighTG, Plasma 2 | 1732437.8 | 1017343.6 | 841096.4 | 1252733.6 | 47911140 | 34829633.7 | 13380674.1 | 10488204.4
20201110_HighTG_06_003.wiff | HighTG, Plasma 2 | 1712412.4 | 1005770 | 850102.4 | 1256565.5 | 48337292.7 | 35074093.9 | 12944518.4 | 10537515.5
20201110_QC_9.wiff | Pooled QC_9 | 1493744.5 | 1170750.8 | 723221.5 | 1351389.6 | 31184530.4 | 34607078.9 | 9483552.7 | 11326342.5
20201110_QC_10.wiff | Pooled QC_10 | 1481070.8 | 1165465.7 | 713797.5 | 1327553.6 | 30520681.6 | 33651657.9 | 9446156.5 | 10958284.2
20201110_STD6_101.wiff | x250 | 1530630 | 1452410 | 306810 | 1320410 | 2485360 | 30013200 | 1997500 | 10428400
20201110_STD6_102.wiff | x250 | 1523280 | 1440850 | 316632 | 1280380 | 2430520 | 29347400 | 2074430 | 9937030
20201110_STD6_103.wiff | x250 | 1710390 | 1490710 | 338199 | 1321810 | 2510470 | 30503000 | 2055800 | 10559000
20201110_STD5_101.wiff | x200 | 1567930 | 1471630 | 352435 | 1316430 | 2930850 | 29796500 | 2474180 | 10295800
20201110_STD5_102.wiff | x200 | 1610650 | 1511720 | 357561 | 1349740 | 2929050 | 30552300 | 2506390 | 10559200
20201110_STD5_103.wiff | x200 | 1595760 | 1492220 | 363412 | 1358480 | 2969780 | 30375800 | 2542450 | 10534200
20201110_STD4_101.wiff | x100 | 1767940 | 1505530 | 524838 | 1322420 | 5173600 | 30993600 | 4533740 | 10466500
20201110_STD4_102.wiff | x100 | 1764060 | 1487790 | 525478 | 1316960 | 5235960 | 29866100 | 4590510 | 10252500
20201110_STD4_103.wiff | x100 | 1783510 | 1514010 | 542508 | 1348860 | 5249000 | 31687700 | 4531340 | 10392700
20201110_STD3_101.wiff | x20 | 3012440 | 1463740 | 1861250 | 1304530 | 23336300 | 30300900 | 20798900 | 10389800
20201110_STD3_102.wiff | x20 | 3102760 | 1495250 | 1892050 | 1334070 | 23935800 | 32516400 | 21436900 | 10773100
20201110_STD3_103.wiff | x20 | 3115790 | 1520450 | 2016080 | 1365350 | 24005700 | 31427600 | 22195500 | 10672100
20201110_STD2_101.wiff | x2 | 17543900 | 1533640 | 17043100 | 1318080 | 222611000 | 41288300 | 200737000 | 12722200
20201110_STD2_102.wiff | x2 | 17518400 | 1514340 | 17337400 | 1349180 | 221848000 | 42200400 | 201405000 | 12872000
20201110_STD2_103.wiff | x2 | 17387000 | 1461980 | 17054900 | 1308650 | 223084000 | 39697600 | 199705000 | 12430900
20201110_STD1_101.wiff | x1 | 31865400 | 1449410 | 32500200 | 1304390 | 328283000 | 44442300 | 316974000 | 13621500
20201110_STD1_102.wiff | x1 | 32026200 | 1437800 | 32005900 | 1290880 | 323700000 | 43968900 | 317637000 | 13718800
20201110_STD1_103.wiff | x1 | 32884600 | 1454270 | 33745000 | 1319390 | 328727000 | 44411500 | 320890000 | 13502100
20201110_MB_101.wiff | Matrix Blank_101 | 1503414.4 | 645.7 | 723430 | 3250 | 29130170 | 1625.5 | 9116023.4 | 1289.3
20201110_TB_201.wiff | Total Blank_102 | 1463454.2 | 607.8 | 181304.9 | 4476.3 | 701648 | 1268 | 379447.9 | 824.5
20201110_LLQC_01_001.wiff | LLQC | 642447 | 1445112.2 | 248810.1 | 1305846.4 | 9060386.7 | 30906153.8 | 2862272.8 | 10013788.5
20201110_LLQC_01_002.wiff | LLQC | 640664.4 | 1465165.7 | 245035.8 | 1332349.8 | 9265709.8 | 30786279.1 | 2853303.6 | 10055102.6
20201110_LLQC_01_003.wiff | LLQC | 628577.2 | 1474351.3 | 241485.9 | 1319068.4 | 9185513.4 | 30723252.1 | 2819863.4 | 9953135
20201110_LLQC_02_001.wiff | LLQC | 650301.5 | 1470902.9 | 248928.9 | 1344381.7 | 9189417.6 | 30671858.1 | 2845432.3 | 10076405.3
20201110_LLQC_02_002.wiff | LLQC | 632893.5 | 1495061.9 | 243967.1 | 1333108.2 | 8586695.9 | 28634184 | 2876056.4 | 9850967.2
20201110_LLQC_02_003.wiff | LLQC | 656425.5 | 1450644 | 243266.5 | 1364478.3 | 8809448.8 | 29568681.2 | 2827333.6 | 10067401.7
20201110_LLQC_03_001.wiff | LLQC | 627221.3 | 1427484.2 | 242831.7 | 1322430.6 | 9121948.1 | 29906855.5 | 2791590.7 | 9730892.3
20201110_LLQC_03_002.wiff | LLQC | 629623.1 | 1433414.6 | 249546.5 | 1309798 | 9114324.4 | 29773885.8 | 2842385.9 | 9783815.9
20201110_LLQC_03_003.wiff | LLQC | 651433.9 | 1449740.6 | 250685.2 | 1323861.8 | 9052588.1 | 30077355.1 | 2792372.2 | 10003543.3
20201110_LLQC_04_001.wiff | LLQC | 618369 | 1458454.2 | 242477.3 | 1304277.7 | 8840519.7 | 29512050.6 | 2756424.8 | 9727780.7
20201110_LLQC_04_002.wiff | LLQC | 627166 | 1438856.6 | 232096.2 | 1301522.5 | 9006786 | 29821749.1 | 2775386 | 9742145.9
20201110_LLQC_04_003.wiff | LLQC | 616259 | 1429122.9 | 230436.5 | 1292772.5 | 9085618.3 | 29922772.2 | 2713934.6 | 9609389.7
20201110_LLQC_05_001.wiff | LLQC | 636231.9 | 1410078.9 | 236036.4 | 1279932.3 | 9057326.6 | 29384833.3 | 2768584.7 | 9780253.5
20201110_LLQC_05_002.wiff | LLQC | 633188.8 | 1396708.1 | 236536 | 1308444.8 | 8658485.8 | 28366868.5 | 2771219.6 | 9611337.4
20201110_LLQC_05_003.wiff | LLQC | 636479.8 | 1423172 | 243849.1 | 1284090.6 | 8670368.1 | 28264765.5 | 2789456.5 | 9514683.4
20201110_LLQC_06_001.wiff | LLQC | 630812.6 | 1416242.2 | 245669.8 | 1291659.4 | 9049722.8 | 29933635.6 | 2765903.3 | 9879179.6
20201110_LLQC_06_002.wiff | LLQC | 624791.4 | 1455844.6 | 243318.2 | 1305056.2 | 9011680.3 | 30062056.2 | 2787372.7 | 9764393.1
20201110_LLQC_06_003.wiff | LLQC | 637330.8 | 1449584.3 | 233852.1 | 1299800.2 | 9084495 | 29895586.9 | 2754801.2 | 9926373.9
20201110_LQC_01_001.wiff | LQC | 880108.8 | 1407034.1 | 354095 | 1367340 | 14022009.5 | 31297743.5 | 4224677.7 | 10315792.4
20201110_LQC_01_002.wiff | LQC | 885600.1 | 1384609.1 | 355825.8 | 1353515.4 | 13984720 | 31647569.8 | 4352108.5 | 10409776
20201110_LQC_01_003.wiff | LQC | 881535.4 | 1398242.1 | 357778.2 | 1325990.4 | 14156312.9 | 31538978.1 | 4240554.3 | 10206689.2
20201110_LQC_02_001.wiff | LQC | 861172.8 | 1381064.3 | 369029.3 | 1348202.9 | 14166954.4 | 31255645.9 | 4258041.3 | 10092086.8
20201110_LQC_02_002.wiff | LQC | 885972.2 | 1388507.8 | 366766 | 1389393.8 | 14170948.9 | 31641621.4 | 4327387.4 | 10091384
20201110_LQC_02_003.wiff | LQC | 889692.5 | 1415546.9 | 364551.9 | 1363915.8 | 14456741.4 | 31508990.1 | 4293300.9 | 10081572.5
20201110_LQC_03_001.wiff | LQC | 905948 | 946122 | 356845.8 | 1346076.6 | 14342268.1 | 31817618.9 | 4425323.2 | 10256973.6
20201110_LQC_03_002.wiff | LQC | 899945.2 | 1424232.2 | 359523.2 | 1358501.2 | 14490419.1 | 31396010.7 | 4356913.9 | 10424506.8
20201110_LQC_03_003.wiff | LQC | 895127.4 | 1386164.7 | 365130.1 | 1386410.9 | 14194479 | 31164091.5 | 4371932.3 | 10497182.8
20201110_LQC_04_001.wiff | LQC | 881183.9 | 1396837.7 | 372474.5 | 1356272.7 | 14204060.9 | 31201362.7 | 4415662.5 | 10439457.8
20201110_LQC_04_002.wiff | LQC | 878491.8 | 1410015.3 | 363935.8 | 1351969.1 | 14196514.2 | 30937434 | 4321398.8 | 10046126.1
20201110_LQC_04_003.wiff | LQC | 871517.2 | 1391934.8 | 357161.8 | 1355558.8 | 14374859.4 | 31613675.8 | 4288755.2 | 10197826.4
20201110_LQC_05_001.wiff | LQC | 851332.5 | 1412116.6 | 352158.4 | 1349633.4 | 13620547.8 | 31197633.2 | 4044326.7 | 10228275.5
20201110_LQC_05_002.wiff | LQC | 832323.1 | 1410936.1 | 352627.3 | 1350877.7 | 13594614.4 | 30719135.2 | 4142879.8 | 9987742.1
20201110_LQC_05_003.wiff | LQC | 855298.2 | 1410751.6 | 344269.7 | 1366315.6 | 13157748.1 | 30134040.6 | 4067126.3 | 10116192.1
20201110_LQC_06_001.wiff | LQC | 881060.1 | 1421645 | 359265.4 | 1344330.8 | 14119143.3 | 31112593.5 | 4304157.6 | 10147031
20201110_LQC_06_002.wiff | LQC | 872309.6 | 1386345.8 | 369916.4 | 1354074.5 | 14023381.9 | 30819812.8 | 4300863.6 | 10180993.6
20201110_LQC_06_003.wiff | LQC | 900283.7 | 1394507.8 | 363047.7 | 1339215.9 | 14262255.8 | 30837057.4 | 4279350.5 | 10141159.8
20201110_MQC_01_001.wiff | MQC | 1410618.9 | 1100460.2 | 691254.9 | 1220321.9 | 29623296.6 | 31064740.7 | 9082795 | 9959850
20201110_MQC_01_002.wiff | MQC | 1410458.1 | 725673.5 | 684381.9 | 1237690.6 | 29467405.9 | 30907194.2 | 8974723.6 | 10087044.2
20201110_MQC_01_003.wiff | MQC | 1407573 | 1093488.2 | 688595.7 | 1257759.5 | 29712508.2 | 30942682.2 | 9095342.3 | 10087218.4
20201110_MQC_02_001.wiff | MQC | 1436990.7 | 729410.8 | 709754.5 | 1291383.1 | 30149305.7 | 32217715.4 | 9301717.2 | 10489039.7
20201110_MQC_02_002.wiff | MQC | 1457408.2 | 689153.5 | 715283.6 | 1283045.7 | 29348682 | 31468852.7 | 9255682.5 | 10595754.7
20201110_MQC_02_003.wiff | MQC | 1454339 | 1127490 | 716713.2 | 1283495.4 | 28925194 | 30187391.1 | 9026112.6 | 10394609.7
20201110_MQC_03_001.wiff | MQC | 1436727.8 | 1172301.8 | 713824.8 | 1358441.3 | 30940135.9 | 34584168.8 | 9221567.7 | 11109950.7
20201110_MQC_03_002.wiff | MQC | 1450491.1 | 771207.7 | 705586.2 | 1329980.3 | 30361900.8 | 33756803.3 | 9268163.8 | 10963319.9
20201110_MQC_03_003.wiff | MQC | 1462484.1 | 1188616.7 | 717819.1 | 1340124.6 | 30545869.7 | 34139907.8 | 9218743.5 | 10834593.7
20201110_MQC_04_001.wiff | MQC | 1397425.8 | 1134123.2 | 656858.4 | 1294660.3 | 28552042.4 | 31457457.2 | 8643282.5 | 10532657.3
20201110_MQC_04_002.wiff | MQC | 1434610.7 | 1164628.8 | 663208.7 | 1296312.4 | 28581245.9 | 31216368.6 | 8641257.6 | 10048401.1
20201110_MQC_04_003.wiff | MQC | 1418946.5 | 1160633.9 | 680512.5 | 1295737.6 | 28528475.3 | 31858949.9 | 8625651.4 | 9985410.2
20201110_MQC_05_001.wiff | MQC | 1442888.1 | 1184027.9 | 692637.1 | 1353130.7 | 30633199.2 | 33793621.9 | 9273543.7 | 10808756.7
20201110_MQC_05_002.wiff | MQC | 1450989.8 | 1178847.7 | 710889.8 | 1335175.2 | 30608224.2 | 33806540.4 | 9085729.3 | 10846426.5
20201110_MQC_05_003.wiff | MQC | 1456168.7 | 1179069.6 | 706903.3 | 1351304.6 | 30596390.8 | 33650750.4 | 9237944.9 | 10944177.6
20201110_MQC_06_001.wiff | MQC | 1440424.4 | 1178254.6 | 681579.7 | 1320761.1 | 29672747.8 | 32940467.1 | 9159040.5 | 10866842.5
20201110_MQC_06_002.wiff | MQC | 1432788.3 | 1157416.5 | 689291.6 | 1314722 | 29866960.2 | 32915535.3 | 9018459.1 | 10780196.6
20201110_MQC_06_003.wiff | MQC | 1430898.1 | 741713.7 | 690359.9 | 1327743 | 29230920.2 | 33178131.7 | 8998518.2 | 10573167.4
20201110_HQC_01_001.wiff | HQC | 2152316.2 | 1218070.3 | 1623405.4 | 1393060.2 | 45627181.8 | 34944093.8 | 21035884.7 | 11264499.7
20201110_HQC_01_002.wiff | HQC | 2126239.9 | 1205590 | 1625933.7 | 1379221.4 | 45472263.2 | 35333153.7 | 21376049.7 | 11441404.4
20201110_HQC_01_003.wiff | HQC | 2147396.2 | 1190699.9 | 1649401.7 | 1413881.5 | 44675140.4 | 35707823.9 | 21204180.7 | 11386852.6
20201110_HQC_02_001.wiff | HQC | 2075859 | 1077070.4 | 1558110.2 | 1221156.5 | 41644510.1 | 30279700.7 | 20321917.3 | 9791618.2
20201110_HQC_02_002.wiff | HQC | 2068987.2 | 691308.6 | 1558089.4 | 1215517.5 | 41758947.1 | 30433070.6 | 20368565.6 | 9851663.5
20201110_HQC_02_003.wiff | HQC | 2043911.9 | 1060128.6 | 1554260.2 | 1228392.1 | 42085128.9 | 30322238.4 | 20108821.9 | 9724769.6
20201110_HQC_03_001.wiff | HQC | 2049187.3 | 1148861.2 | 1554526.7 | 1285781.1 | 41274552.7 | 32302822.9 | 19927621.9 | 10549553.3
20201110_HQC_03_002.wiff | HQC | 2030917 | 1133180.2 | 1568832.9 | 1298122.8 | 41957018.2 | 32422533.4 | 20194047.4 | 10527536.5
20201110_HQC_03_003.wiff | HQC | 2052015.2 | 1158483.5 | 1555277.3 | 1294257.8 | 42248200 | 32782934.9 | 19899128.1 | 10432473.2
20201110_HQC_04_001.wiff | HQC | 2076645.5 | 1149152 | 1577021.8 | 1303940.8 | 41446400.7 | 32395866.2 | 19981544.5 | 10397042
20201110_HQC_04_002.wiff | HQC | 2044083 | 1120323.8 | 1544530.5 | 1271431.5 | 41536023.2 | 32062566.2 | 19822751.7 | 10312660.9
20201110_HQC_04_003.wiff | HQC | 2043466.8 | 1138481.1 | 1565077.1 | 1274509.4 | 41846732.9 | 32298453.5 | 19849879.2 | 10438351.3
20201110_HQC_05_001.wiff | HQC | 2043850.5 | 1098467.9 | 1547279.7 | 1237094.5 | 41645086.3 | 31094098.6 | 20273382 | 10124175.7
20201110_HQC_05_002.wiff | HQC | 2039252 | 1093793.5 | 1547637.5 | 1240234.8 | 42319786.1 | 31002515.4 | 20036529 | 10218870.2
20201110_HQC_05_003.wiff | HQC | 2035061.1 | 1095118.7 | 1553304.7 | 1243855.7 | 41466590.1 | 31540429 | 19970576.2 | 10155492.9
20201110_HQC_06_001.wiff | HQC | 2044484 | 1114120.2 | 1521829.7 | 1262272.1 | 40024319.5 | 31203868.7 | 19543894.3 | 10033987
20201110_HQC_06_002.wiff | HQC | 2033820.4 | 1127385.2 | 1526152.3 | 1267657.9 | 40737153.9 | 31993052.7 | 19481450.8 | 10201847.2
20201110_HQC_06_003.wiff | HQC | 2010991.9 | 1135313.2 | 1518565.9 | 1269101.6 | 40713708.3 | 31231579.7 | 19255616.5 | 10116449.3
20201110_HHQC_01_001.wiff | HHQC | 2629031.8 | 1068101.2 | 2264958.3 | 1146006.7 | 49376870.1 | 28413890.4 | 28684878.9 | 9304372.3
20201110_HHQC_01_002.wiff | HHQC | 2608477.3 | 646913.7 | 2280129.6 | 1165599.8 | 50224159.5 | 28465140.3 | 28770708.4 | 9242519.5
20201110_HHQC_01_003.wiff | HHQC | 2610088.1 | 1040370.2 | 2268053.3 | 1152123.3 | 50656611.5 | 28928601.6 | 29027003.5 | 9223711.7
20201110_HHQC_02_001.wiff | HHQC | 2649991.2 | 1114312.6 | 2391641 | 1247934.8 | 52888778.7 | 31541724.7 | 30375485.1 | 9887007.8
20201110_HHQC_02_002.wiff | HHQC | 2666122.9 | 1112735.2 | 2363018.9 | 1247631.5 | 52923756.8 | 31102951.2 | 30177778.7 | 9992841.6
20201110_HHQC_02_003.wiff | HHQC | 2660150.1 | 1100533.9 | 2348318.9 | 1219121.4 | 52485024.3 | 31131220.6 | 29946400.3 | 9913555.4
20201110_HHQC_03_001.wiff | HHQC | 2706061.6 | 1107504.1 | 2407662.1 | 1242739.6 | 53578771.8 | 31403764.4 | 31147495.9 | 10141150.6
20201110_HHQC_03_002.wiff | HHQC | 2710400.1 | 724195.6 | 2367391.8 | 1244760 | 53559334.5 | 32229329.4 | 30896692.1 | 10235244.9
20201110_HHQC_03_003.wiff | HHQC | 2684793.5 | 711756.7 | 2384472.2 | 1235829 | 54489310.6 | 31580789.1 | 30838154.5 | 10064683.6
20201110_HHQC_04_001.wiff | HHQC | 2685202.8 | 1112873.3 | 2396056.8 | 1272504.8 | 53082708.8 | 31491060.1 | 30259430.7 | 10197359.6
20201110_HHQC_04_002.wiff | HHQC | 2693705.1 | 1117602.6 | 2367524.9 | 1240015.2 | 53771619.5 | 32024409.2 | 30334564.5 | 10206364.9
20201110_HHQC_04_003.wiff | HHQC | 2633586 | 1119917.6 | 2345055.2 | 1249588.6 | 51980253 | 30997562.8 | 29664416.6 | 10132093.3
20201110_HHQC_05_001.wiff | HHQC | 2678647.1 | 1135081.3 | 2393214.5 | 1264569.6 | 53338503.4 | 31839466.4 | 30951807.3 | 10438614
20201110_HHQC_05_002.wiff | HHQC | 2663331.8 | 1133270.3 | 2385994.3 | 1264682.2 | 52716156.3 | 30686056.9 | 30636414.3 | 10306910.6
20201110_HHQC_05_003.wiff | HHQC | 2679163.1 | 1143902.3 | 2382476.2 | 1273859.6 | 53252093.1 | 31477880.8 | 30448050.7 | 10407085
20201110_HHQC_06_001.wiff | HHQC | 2647948.4 | 1131073 | 2280580.6 | 1265945.9 | 52064072.1 | 31518722.3 | 29514761.4 | 10154457.5
20201110_HHQC_06_002.wiff | HHQC | 2616938.5 | 1134454.9 | 2318416.9 | 1265694.2 | 50766177.1 | 31844607.8 | 29436908.7 | 10175257
20201110_HHQC_06_003.wiff | HHQC | 2646405.7 | 1142186.5 | 2342493.8 | 1252533.1 | 51089574.5 | 31797049.1 | 29884220.5 | 10323120.6
20201110_QC_11.wiff | Pooled QC_11 | 1399115.5 | 1141600.1 | 643054.7 | 1272905.8 | 27790014.2 | 30293865 | 8299163.4 | 9817107.3
20201110_QC_12.wiff | Pooled QC_12 | 1378089.3 | 1125010.7 | 635217.9 | 1220867.2 | 26626406 | 29356453.3 | 8113447.7 | 9548631.3
20201110_MB_201.wiff | Matrix Blank | 1426032.2 | 737.3 | 644056.5 | 3955.2 | 25918966.4 | 1844.2 | 8058662.6 | 957.4
20201110_TB_301.wiff | Total Blank | 1455701 | 664.7 | 168888.5 | 4339.3 | 666330.2 | 2039.9 | 277584.6 | 544.4