## Participant Information
Participant Information
Participant Information |  | Group Name
|  | Lab code | assigned by coordinators
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Extraction Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Chloroform (CHCl3)
2-propanol (IPA; C3H8O)
Methanol (MeOH; CH3OH)
Ethyl acetate (EtAc; C4H8O2)
Ammonium acetate (AmAc; C2H7NO2)
Ammonium formate (AmFo; CH5NO2)
Methylamine (MA; CH5N)
5% Bovine Serum Albumin (BSA)
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled plasma QC |  |  | 60 µL Labelled-IS
| Matrix Blank (MB) | 10 µL 5% BSA |  |  | 60 µL Labelled-IS
| Study Samples (S) | 10 µL human plasma (NIST SRM1950, high TAG, T1D, young AA) |  |  | 60 µL Labelled-IS
| Internal Standard Blank (ISB) | - |  |  | 60 µL Labelled-IS
| Solvent Blank (SB) | - |  |  | -
| Calibration line standards (STD) | 10 µL 5% BSA + 20 µL non-labelled STDx mixture (Table 5) |  |  | 60 µL Labelled-IS
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.4 | 0.2 | 0.04 | 0.01 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.4 | 0.2 | 0.04 | 0.01
| Cer d18:1/24:0 | 20.0 | 10.0 | 4 | 2 | 0.4 | 0.1
| Cer d18:1/24:1 | 20.0 | 10.0 | 4 | 2 | 0.4 | 0.1

## Extraction Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Table 4) with EtAc:IPA 2:8 as suggested in Table 5.
| 2 | Thaw plasma samples on ice (+4°C) and bring them to room temperature prior to extraction.
| 3 | Prepare samples in glass centrifuge tubes. Addition of 60 µL of the labelled internal standard mixture (Table 3) and for the calibration line 20 µL of the provided non-labelled STD mixture (Table 5) prior to sample addition. Solvent of standards was removed by vacuum centrifugation.
| 4 | A volume of 10 µL plasma or 10 µL 5% BSA was added. Extraction according to the procedure described by Bligh and Dyer. Addition of 790 µL (800 µL for samples without matrix) H2O and 3 mL of B&D solution (MeOH/CHCl3 2:1; v/v). Vortex 10 sec and incubate for 1 h at room temperature.
| 5 | Addition of 1 mL H2O and 1 mL CHCl3, vortex and centrifuge for 10 min at 17,800 g.
| 6 | An amount of 600 µL (for QQQ analysis) and 500 µL (for FTMS analysis) of the separated chloroform phase was transferred into a 1.5 mL glass sample vial by a pipetting robot (Tecan Genesis RSP) and vacuum dried.
| 7 | The residues were dissolved in 600 µL MeOH/CHCl3 (3:1; v/v) with 7.5 mM AmAc or 500 µL CHCl3/MeOH/IPA (1:2:4; v/v/v) with 7.5 mM AmFo.
8
9

## Sample Sequence
Sample Sequence
Sample Sequence | Sample Sequence
| Number | Sample Name | Abbreviation | Matrix | non-labelled STD mixture (Table 5) | Labelled Internal Standard Mixture (Table 3)
| 1 | Solvent Blank-1 | SB | x | x | x
| 2 | ISTD Blank-1 | ISB | x | x | 60 µL Label-IS
| 3 | Matrix Blank-1 | MB | 10 µL 5% Bovine Serume Albumin | x | 60 µL Label-IS
| 4 | Calibration line 1 from STD6 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD6 unlabeled IS-Mix | 60 µL Label-IS
| 5 | Calibration line 1 from STD5 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD5 unlabeled IS-Mix | 60 µL Label-IS
| 6 | Calibration line 1 from STD4 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD4 unlabeled IS-Mix | 60 µL Label-IS
| 7 | Calibration line 1 from STD3 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD3 unlabeled IS-Mix | 60 µL Label-IS
| 8 | Calibration line 1 from STD2 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD2 unlabeled IS-Mix | 60 µL Label-IS
| 9 | Calibration line 1 from STD1 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD1 unlabeled IS-Mix | 60 µL Label-IS
| 10 | Pooled QC-1 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 11 | Pooled QC-2 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 12 | SRM 1950-1 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 13 | SRM 1950-2 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 14 | SRM 1950-3 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 15 | SRM 1950-4 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 16 | SRM 1950-5 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 17 | Pooled QC-3 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 18 | T1D-1 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 19 | T1D-2 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 20 | T1D-3 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 21 | T1D-4 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 22 | T1D-5 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 23 | ISTD Blank-2 | ISB | x | x | 60 µL Label-IS
| 24 | Pooled QC-4 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 25 | Young AA-1 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 26 | Young AA-2 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 27 | Young AA-3 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 28 | Young AA-4 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 29 | Young AA-5 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 30 | Pooled QC-5 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 31 | highTAG-1 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 32 | highTAG-2 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 33 | highTAG-3 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 34 | highTAG-4 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 35 | highTAG-5 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 36 | Pooled QC-6 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 37 | ISTD Blank-3 | ISB | x | x | 60 µL Label-IS
| 38 | Solvent Blank-2 | SB | x | x | x

## FIA-FTMSMSX - Overview
FIA-FTMS/MSX Overview
FIA-FTMS/MSX Overview | Table 6 Chemicals and solvents
Chloroform (CHCl3)
2-propanol (IPA; C3H8O)
Methanol (MeOH; CH3OH)
Methylamine (MA; CH5N)
Ammonium formate (AmFo; CH5NO2)
Table 7 FIA-FTMS/MSX Details
| Property | Specifications
| Mass spectrometry | QExactive Orbitrap (Thermo Fisher Scientific)
| Approach | Flow injection analysis
| Injection volume (indicative) | 50 µL
| Wash solvent 1 | MeOH/CHCl3 (2:1; v/v)
| Wash solvent 2 | MeOH/IPA (1:1; v/v)
| Spray Solvent | CHCl3/MeOH/IPA (1:2:4; v/v)
Table 8 FIA-FTMS/MSX gradient
| Time (minutes) | Solvent | Flow (µL/min)
| 0 | CHCl3/MeOH/IPA (1:2:4; v/v) | 100
| 0.25 | CHCl3/MeOH/IPA (1:2:4; v/v) | 10
| 2.5 | CHCl3/MeOH/IPA (1:2:4; v/v) | 300
| 3.1 | next sample
Table 9 FIA-FTMS/MSX conditions
| Polarity mode | Positive
| Ion spray | ESI
| Spray voltage | 3.5 kV
| S-lens RF level | 50
| Source temperature | 100 °C
| Sheath gas | 15
| Aux gas | 5
| MSX Count | 2
| Isolation window | 1.0 m/z
| AGC | 100000
| Max IT | 100 ms
| Resolution | 35000
| Normalized collision energy (NCE) | 27%
Table 10 FIA-FTMS/MSX inclusion list
| Analyte | First included m/z | IS | Second included m/z | NCE [%]
| Cer d18:1/16:0 | 538.5194 | D7- Cer d18:1/16:0 | 545.5633 | 27
| Cer d18:1/18:0 | 566.5507 | D7- Cer d18:1/18:0 | 573.5946 | 27
| Cer d18:1/24:0 | 650.6446 | D7- Cer d18:1/24:0 | 657.6885 | 27
| Cer d18:1/24:1 | 648.6289 | D7- Cer d18:1/24:1 | 655.6729 | 27
Table 11 Data processing
| Processing software | (Add here name and version of the software used)
| Microsoft Excel 2016 | Self-programmed Macros
| ALEX | Analysis of Lipid Experiments (ALEX) software (Husen, Tarasov et al. PLoS One, 2013)

## FIA-FTMSMSX - Cal & Results
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 Calibration Line Data of Cer d18:1/16:0 and Cer d18:1/18:0.
|  | Spike amount (Table 5) | Intensity ratio | Intensity ratio
|  | [nmol] | Cer d18:1/16:0 / D7-Cer d18:1/16:0 | Cer d18:1/18:0 / D7-Cer d18:1/18:0
| STD 1 | 0.04 | 7.6962 | 8.4269
| STD 2 | 0.02 | 4.0262 | 4.4762
| STD 3 | 0.008 | 1.5099 | 1.6428
| STD 4 | 0.004 | 0.8224 | 0.85301
| STD 5 | 0.0008 | 0.16304 | 0.16895
| STD 6 | 0.0002 | 0.020975 | 0.013574
Table 13 Calibration Line Data of Cer d18:1/24:0 and Cer d18:1/24:1.
|  | Spike amount (Table 5) | Intensity ratio | Intensity ratio
|  | [nmol] | Cer d18:1/24:0 / D7-Cer d18:1/24:0 | Cer d18:1/24:1 / D7-Cer d18:1/24:1
| STD 1 | 0.4 | 4.8164 | 13.9179
| STD 2 | 0.2 | 2.5413 | 7.3032
| STD 3 | 0.08 | 0.96577 | 2.7457
| STD 4 | 0.04 | 0.5319 | 1.4435
| STD 5 | 0.008 | 0.10476 | 0.29456
| STD 6 | 0.002 | 0.034107 | 0.075801
Table 14 FTMS/MSX Sample Data. Concentration of Cer d18:1/16:0 determined by direct quantification and calibration line.
| Cer d18:1/16:0 | Direct Quantification |  | Calibration Line (Table 12)
|  | Mean | Standard Deviation | Mean | Standard Deviation
|  | [µM] | [µM] | [µM] | [µM]
| Pooled QC (n=6) | 0.31077 | 0.029484 | 0.21425 | 0.020327
| SRM (n=5) | 0.32247 | 0.019381 | 0.22231 | 0.013361
| T1D (n=5) | 0.29281 | 0.018159 | 0.20187 | 0.012519
| yA-A (n=5) | 0.20599 | 0.012418 | 0.14201 | 0.0085613
| hTAG (n=5) | 0.38832 | 0.032611 | 0.26771 | 0.022482
Table 15 FTMS/MSX Sample Data. Concentration of Cer d18:1/18:0 determined by direct quantification and calibration line.
| Cer d18:1/18:0 | Direct Quantification |  | Calibration Line (Table 12)
|  | Mean | Standard Deviation | Mean | Standard Deviation
|  | [µM] | [µM] | [µM] | [µM]
| Pooled QC (n=6) | 0.029879 | 0.0051069 | 0.046812 | 0.0080011
| SRM (n=5) | 0.037615 | 0.0066109 | 0.058933 | 0.010357
| T1D (n=5) | 0.041965 | 0.0070068 | 0.065748 | 0.010978
| yA-A (n=5) | 0.012375 | 0.001531 | 0.019389 | 0.0023987
| hTAG (n=5) | 0.032505 | 0.0053071 | 0.050926 | 0.0083148
Table 16 FTMS/MSX Sample Data. Concentration of Cer Cer d18:1/24:0 determined by direct quantification and calibration line.
| Cer d18:1/24:0 | Direct Quantification |  | Calibration Line (Table 13)
|  | Mean | Standard Deviation | Mean | Standard Deviation
|  | [µM] | [µM] | [µM] | [µM]
| Pooled QC (n=6) | 2.9633 | 0.1074 | 2.7277 | 0.09937
| SRM (n=5) | 2.7859 | 0.14465 | 2.563 | 0.13327
| T1D (n=5) | 2.75 | 0.085392 | 2.5296 | 0.078277
| yA-A (n=5) | 1.9422 | 0.056279 | 1.7884 | 0.051884
| hTAG (n=5) | 4.2983 | 0.29746 | 3.9562 | 0.27305
Table 17 FTMS/MSX Sample Data. Concentration of Cer d18:1/24:1 determined by direct quantification and calibration line.
| Cer d18:1/24:1 | Direct Quantification |  | Calibration Line (Table 13)
|  | Mean | Standard Deviation | Mean | Standard Deviation
|  | [µM] | [µM] | [µM] | [µM]
| Pooled QC (n=6) | 0.96402 | 0.034006 | 0.91872 | 0.032408
| SRM (n=5) | 0.94251 | 0.045402 | 0.89822 | 0.043269
| T1D (n=5) | 0.93795 | 0.039544 | 0.89387 | 0.037685
| yA-A (n=5) | 0.61417 | 0.023583 | 0.58531 | 0.022475
| hTAG (n=5) | 1.406 | 0.13212 | 1.3399 | 0.12591

## FIA-FTMSMSX - Summary
Summary
Summary | Data processing using the ALEX software and self-programmed Macros includes correction of type-I effect as well as consideration of isobaric overlap resulting from 13C-isotope peaks (type-II effect)
The species were analyzed by multiplexing analyte and internal standard (Table 10) in the positive ion mode. The abundant product ions of analyte (m/z 264.2686) and IS (m/z 271.3125) following collisional activation of [M+H]+were evaluated (cleavage of the amide bond and loss of water).
The quantification was performed by multiplication of the spiked IS amount with the analyte-to-IS ratio of the intensities (direct quantification) or with calibration lines (Table 12,13)
Internal Std concentrations for Cer d18:1/16:0 and Cer d18:1/16:0 were too low for accurate quantification.

## QQQ - Overview
QQQ - Overview
Table 18 Chemicals and solvents
Chloroform (CHCl3)
Methanol (MeOH; CH3OH)
Ammonium acetate (AmAc; C2H7NO2)
Table 19 QQQ Details
| Property | Specifications
| Mass spectrometry | Micromass Quattro Ultima (Waters)
| Approach | Flow injection analysis
| Injection volume (indicative) | 20
| Wash solvent 1 | MeOH/CHCl3 (1:1; v/v)
Wash solvent 2
| Spray Solvent | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc
Table 20 QQQ gradient
| Time (minutes) | Solvent | Flow (µL/min)
| 0 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 50
| 0.1 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 50
| 0.11 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 25
| 1.05 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 25
| 1.1 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 300
| 1.28 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 300
| 1.29 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 50
Table 21 QQQ conditions
| Polarity mode | Positive
| Ion spray | ESI
| Spray voltage | 3.5 kV
| Cone Voltage | 50 V
| Source temperature | 100 °C
| Desolvation temperature | 250 °C
| Mass resolution Q1 and Q3 | unit
| Collision energy | 25 eV
Table 22 FIA-QQQ MRM
| Analyte | MRM | IS | Second included m/z | CE [eV]
| Cer d18:1/16:0 | 538.5 > 264.2; 520.5 > 264.2 | D7- Cer d18:1/16:0 | 545.6 > 271.3; 527.6 > 271.3 | 25
| Cer d18:1/18:0 | 566.5 > 264.2; 548.5 > 264.2 | D7- Cer d18:1/18:0 | 573.6 > 271.3; 555.6 > 271.3 | 25
| Cer d18:1/24:0 | 650.6 > 264.2; 632.6 > 264.2 | D7- Cer d18:1/24:0 | 657.7 > 271.3; 649.7 > 271.3 | 25
| Cer d18:1/24:1 | 648.6 > 264.2, 630.6 > 264.2 | D7- Cer d18:1/24:1 | 655.7 > 271.3; 647.7 > 271.3 | 25
Table 23 Data processing
| Processing software | Masslynx 4.0; Neolynx Tool
| Microsoft Excel 2016 | Self-programmed Macros, Correction of Type-II overlap; both [M+H]+ and [M+H-H2O]+ were used for quantification.
QQQ - Overview

## QQQ - Cal & Results
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 24 QQQ Calibration Line Data of Cer d18:1/16:0 and Cer d18:1/18:0.
|  | Spike amount (Table 5) |  | Intensity ratio |  | Intensity ratio
|  | [nmol] |  | Cer d18:1/16:0 / D7-Cer d18:1/16:0 |  | Cer d18:1/18:0 / D7-Cer d18:1/18:0
| STD 1 | 0.04 |  |  | 8.1316 | 8.0971
| STD 2 | 0.02 |  |  | 5.0065 | 4.2918
| STD 3 | 0.008 |  |  | 1.743 | 1.637
| STD 4 | 0.004 |  |  | 1.3326 | 1.0769
| STD 5 | 0.0008 |  |  | 0.26334 | 0.20106
| STD 6 | 0.0002 |  |  | 0.11525 | 0.060443
Table 25 QQQ Calibration Line Data of Cer d18:1/24:0 and Cer d18:1/24:1.
|  | Spike amount (Table 5) |  | Intensity ratio |  | Intensity ratio
|  | [nmol] |  | Cer d18:1/24:0 / D7-Cer d18:1/24:0 |  | Cer d18:1/24:1 / D7-Cer d18:1/24:1
| STD 1 | 0.4 |  |  | 4.7497 | 13.6871
| STD 2 | 0.2 |  |  | 2.6193 | 7.3139
| STD 3 | 0.08 |  |  | 0.96105 | 2.7729
| STD 4 | 0.04 |  |  | 0.51487 | 1.4178
| STD 5 | 0.008 |  |  | 0.099862 | 0.3033
| STD 6 | 0.002 |  |  | 0.030394 | 0.072261
Table 26 QQQ Sample Data. Concentration of Cer d18:1/16:0 determined by direct quantification and calibration line.
| Cer d18:1/16:0 | Direct Quantification |  |  |  | Calibration Line
|  | Mean |  | Standard Deviation |  | Mean | Standard Deviation
|  | [µM] |  | [µM] |  | [µM] | [µM] |  | 0
| Pooled QC (n=6) |  | 0.57159 |  | 0.12827 | 0.35289 |  | 0.079188
| SRM (n=5) |  | 0.73424 |  | 0.067144 | 0.4533 |  | 0.041453
| T1D (n=5) |  | 0.59466 |  | 0.14415 | 0.36713 |  | 0.088996
| yA-A (n=5) |  | 0.3934 |  | 0.026126 | 0.24287 |  | 0.01613
| hTAG (n=5) |  | 0.55652 |  | 0.068473 | 0.34358 |  | 0.042274
Table 27 QQQ Sample Data. Concentration of Cer d18:1/18:0 determined by direct quantification and calibration line.
| Cer d18:1/18:0 | Direct Quantification |  |  |  | Calibration Line
|  | Mean |  | Standard Deviation |  | Mean | Standard Deviation
|  | [µM] |  | [µM] |  | [µM] | [µM]
| Pooled QC (n=6) |  | 0.094014 |  | 0.028245 | 0.1524 |  | 0.045785
| SRM (n=5) |  | 0.1139 |  | 0.021906 | 0.18463 |  | 0.035509
| T1D (n=5) |  | 0.099459 |  | 0.018927 | 0.16122 |  | 0.030681
| yA-A (n=5) |  | 0.055644 |  | 0.0076876 | 0.090199 |  | 0.012462
| hTAG (n=5) |  | 0.077952 |  | 0.0068013 | 0.12636 |  | 0.011025
Table 28 QQQ Sample Data. Concentration of Cer Cer d18:1/24:0 determined by direct quantification and calibration line.
| Cer d18:1/24:0 | Direct Quantification |  |  |  | Calibration Line
|  | Mean |  | Standard Deviation |  | Mean | Standard Deviation
|  | [µM] |  | [µM] |  | [µM] | [µM]
| Pooled QC (n=6) |  | 3.0928 |  | 0.12413 | 2.8305 |  | 0.11361
| SRM (n=5) |  | 2.9024 |  | 0.21536 | 2.6562 |  | 0.19709
| T1D (n=5) |  | 2.9282 |  | 0.16868 | 2.6798 |  | 0.15437
| yA-A (n=5) |  | 2.0913 |  | 0.12669 | 1.9139 |  | 0.11595
| hTAG (n=5) |  | 4.3586 |  | 0.30726 | 3.9889 |  | 0.2812
Table 29 QQQ Sample Data. Concentration of Cer d18:1/24:1 determined by direct quantification and calibration line.
| Cer d18:1/24:1 | Direct Quantification |  |  |  | Calibration Line
|  | Mean |  | Standard Deviation |  | Mean | Standard Deviation
|  | [µM] |  | [µM] |  | [µM] | [µM]
| Pooled QC (n=6) |  | 1.1084 |  | 0.07676 | 1.0642 |  | 0.073697
| SRM (n=5) |  | 1.1265 |  | 0.10638 | 1.0815 |  | 0.10214
| T1D (n=5) |  | 1.1 |  | 0.053934 | 1.0561 |  | 0.051782
| yA-A (n=5) |  | 0.72867 |  | 0.042745 | 0.69959 |  | 0.04104
| hTAG (n=5) |  | 1.5094 |  | 0.080654 | 1.4492 |  | 0.077436

## QQQ - Summary
Summary
Summary | Data processing using the ALEX software and self-programmed Macros includes correction of type-II effect resulting from 13C-isotope peaks. Moreover, the sum of [M+H]+ and [M+H-H2O]+ were used for quantification.
The quantification was performed by multiplication of the spiked IS amount with the analyte-to-IS ratio of the intensities (direct quantification) or with calibration lines (Table 24,25).
Internal Std concentrations for Cer d18:1/16:0 and Cer d18:1/16:0 were too low for accurate quantification.