## Participant Information
Participant Information
Participant Information |  | Group Name
|  | Lab code | #35
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Performed by Markus Wenk's lab
Table 2 - Extraction - Sample Types
| Sample type | Components
Pooled Quality Control samples (QC)
Matrix Blank (MB)
Study Samples (S)
Total Blank (TB)
Calibration line standards (STD)
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Performed by Markus Wenk's lab | Extraction - Overview'!B34
2
| 3 |  | Extraction - Overview'!C14
| 4 |  | Extraction - Overview'!F14
5
| 6 |  | Extraction - Overview'!H14
7
8
9

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Ammonium formate
Formic acid
Ultra-pure water
Acetonitrile, 2-propanol
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | Sciex 4500 MD
| LC | Sciex Jasper HPLC
| Injection volume (indicative) | 5 µl
Weak wash
| Strong wash | HPLC methanol
| Pre-column | Waters Acquity BEH C18, 1.7 µm VanGuard Pre-Column
| Column | Waters Acquity BEH C18, 2.1 × 100 mm id. 1.7 µm
| Column temperature | 60 °C
| Mobile phase A | 10 mM ammonium acetate in water with 0.1% formic acid
| Mobile phase B | 10 mM ammonium acetate in acetonitrile:2-propanol (4:3, vol/vol) with 0.1% formic acid
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0 | 15 | 85 |  | 0.8
| 0.5 | 15 | 85 |  | 0.8
| 1.5 | 0 | 100 |  | 0.8
| 4 | 0 | 100 |  | 0.8
| 4.1 | 15 | 85 |  | 0.8
| 5 | 15 | 85 |  | 0.8
Table 9 LC-MRM MS conditions (EXAMPLE: this only applies to Sciex QTRAP, please adapt)
| Polarity mode | POSITIVE
| Ion spray | ESI
| Curtain gas | 20
| Source temperature | 450 C
| Gas 1 | 80
| Gas 2 | 70
| DP | 65
| EP | 10
| Collision cell exit potential | 9
| Collision energy (CE) | 46
Table 10 LC-MRM Mass transitions used for absolute quantification. On different systems, RT and CE might be different!
| Analyte | Mass transitions | IS | Mass transitions | RT (min) | CE
| Cer d18:1/16:0 | 538.5 – 264.3 | D7- Cer d18:1/16:0 | 545.6 - 271.3 | 0.51-0.71 | 46
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.6 – 264.3 | D7- Cer d18:1/18:0 | 573.6 – 271.3 | 0.62-0.82 | 46
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.6 – 264.3 | D7- Cer d18:1/24:0 | 657.7 – 271.3 | 0.85-1.05 | 46
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.6 – 264.3 | D7- Cer d18:1/24:1 | 655.7 – 271.3 | 0.72-0.9 | 46
C42H82NO3 – C18H34N
Table 11 Data processing
| Processing software | In-house program

## LC-MRM - Sample Sequence
Sample Sequence (Example)
Sample Sequence (Example) | Sample Sequence 1
| Number | Sample Name | Remarks
| 1 | total blank 1-Inj1
| 2 | total blank 1-Inj2
| 3 | total blank 1-Inj3
| 4 | matrix blank-Inj1
| 5 | matrix blank-Inj2
| 6 | matrix blank-Inj3
| 7 | STD6-S1-R1
| 8 | STD6-S1-R2
| 9 | STD6-S1-R3
| 10 | STD5-S1-R1
| 11 | STD5-S1-R2
| 12 | STD5-S1-R3
| 13 | STD4-S1-R1
| 14 | STD4-S1-R2
| 15 | STD4-S1-R3
| 16 | STD3-S1-R1 | this sample has ionization issue
| 17 | STD3-S1-R2
| 18 | STD3-S1-R3
| 19 | STD2-S1-R1
| 20 | STD2-S1-R2
| 21 | STD2-S1-R3
| 22 | STD1-S1-R1
| 23 | STD1-S1-R2
| 24 | STD1-S1-R3
| 25 | Pooled QC1
| 26 | Pooled QC2
| 27 | SRM 1950-1-Inj1
| 28 | SRM 1950-1-Inj2
| 29 | SRM 1950-1-Inj3
| 30 | SRM 1950-2-Inj1
| 31 | SRM 1950-2-Inj2
| 32 | SRM 1950-2-Inj3
| 33 | SRM 1950-3-Inj1
| 34 | SRM 1950-3-Inj2
| 35 | SRM 1950-3-Inj3
| 36 | SRM 1950-4-Inj1
| 37 | SRM 1950-4-Inj2
| 38 | SRM 1950-4-Inj3
| 39 | SRM 1950-5-Inj1
| 40 | SRM 1950-5-Inj2
| 41 | SRM 1950-5-Inj3
| 42 | SRM 1950-6-Inj1
| 43 | SRM 1950-6-Inj2
| 44 | SRM 1950-6-Inj3
| 45 | Pooled QC3
| 46 | Pooled QC4
| 47 | T1D-1-Inj1
| 48 | T1D-1-Inj2
| 49 | T1D-1-Inj3
| 50 | T1D-2-Inj1
| 51 | T1D-2-Inj2
| 52 | T1D-2-Inj3
| 53 | T1D-3-Inj1
| 54 | T1D-3-Inj2
| 55 | T1D-3-Inj3
| 56 | T1D-4-Inj1
| 57 | T1D-4-Inj2
| 58 | T1D-4-Inj3
| 59 | T1D-5-Inj1
| 60 | T1D-5-Inj2
| 61 | T1D-5-Inj3
| 62 | T1D-6-Inj1
| 63 | T1D-6-Inj2
| 64 | T1D-6-Inj3
| 65 | Solvent Blank
| 66 | Total blank 2-Inj1
| 67 | Total blank 2-Inj2
| 68 | Total blank 2-Inj3
| 69 | Pooled QC5
| 70 | Pooled QC6
| 71 | Young AA-1-Inj1
| 72 | Young AA-1-Inj2
| 73 | Young AA-1-Inj3
| 74 | Young AA-2-Inj1
| 75 | Young AA-2-Inj2
| 76 | Young AA-2-Inj3
| 77 | Young AA-3-Inj1
| 78 | Young AA-3-Inj2
| 79 | Young AA-3-Inj3
| 80 | Young AA-4-Inj1
| 81 | Young AA-4-Inj2
| 82 | Young AA-4-Inj3
| 83 | Young AA-5-Inj1
| 84 | Young AA-5-Inj2
| 85 | Young AA-5-Inj3
| 86 | Young AA-6-Inj1
| 87 | Young AA-6-Inj2
| 88 | Young AA-6-Inj3
| 89 | Pooled QC7
| 90 | Pooled QC8
| 91 | high-TAG1-Inj1
| 92 | high-TAG1-Inj2
| 93 | high-TAG1-Inj3
| 94 | high-TAG2-Inj1
| 95 | high-TAG2-Inj2
| 96 | high-TAG2-Inj3
| 97 | high-TAG3-Inj1
| 98 | high-TAG3-Inj2
| 99 | high-TAG3-Inj3
| 100 | high-TAG4-Inj1
| 101 | high-TAG4-Inj2
| 102 | high-TAG4-Inj3
| 103 | high-TAG5-Inj1
| 104 | high-TAG5-Inj2
| 105 | high-TAG5-Inj3
| 106 | high-TAG6-Inj1
| 107 | high-TAG6-Inj2
| 108 | high-TAG6-Inj3
| 109 | Pooled QC9
| 110 | Pooled QC10
| 111 | STD1-S2-R1
| 112 | STD1-S2-R2
| 113 | STD1-S2-R3
| 114 | STD2-S2-R1
| 115 | STD2-S2-R2
| 116 | STD2-S2-R3
| 117 | STD3-S2-R1
| 118 | STD3-S2-R2
| 119 | STD3-S2-R3
| 120 | STD4-S2-R1
| 121 | STD4-S2-R2
| 122 | STD4-S2-R3
| 123 | STD5-S2-R1
| 124 | STD5-S2-R2
| 125 | STD5-S2-R3
| 126 | STD6-S2-R1
| 127 | STD6-S2-R2
| 128 | STD6-S2-R3
| 129 | LLQC1-Inj1
| 130 | LLQC1-Inj2
| 131 | LLQC1-Inj3
| 132 | LLQC2-Inj1
| 133 | LLQC2-Inj2
| 134 | LLQC2-Inj3
| 135 | LLQC3-Inj1
| 136 | LLQC3-Inj2
| 137 | LLQC3-Inj3
| 138 | LLQC4-Inj1
| 139 | LLQC4-Inj2
| 140 | LLQC4-Inj3
| 141 | LLQC5-Inj1
| 142 | LLQC5-Inj2
| 143 | LLQC5-Inj3
| 144 | LLQC6-Inj1
| 145 | LLQC6-Inj2
| 146 | LLQC6-Inj3
| 147 | LQC1-Inj1
| 148 | LQC1-Inj2
| 149 | LQC1-Inj3
| 150 | LQC2-Inj1
| 151 | LQC2-Inj2
| 152 | LQC2-Inj3
| 153 | LQC3-Inj1
| 154 | LQC3-Inj2
| 155 | LQC3-Inj3
| 156 | LQC4-Inj1
| 157 | LQC4-Inj2
| 158 | LQC4-Inj3
| 159 | LQC5-Inj1
| 160 | LQC5-Inj2
| 161 | LQC5-Inj3
| 162 | LQC6-Inj1
| 163 | LQC6-Inj2
| 164 | LQC6-Inj3
| 165 | MQC1-Inj1
| 166 | MQC1-Inj2
| 167 | MQC1-Inj3
| 168 | MQC2-Inj1
| 169 | MQC2-Inj2
| 170 | MQC2-Inj3
| 171 | MQC3-Inj1
| 172 | MQC3-Inj2
| 173 | MQC3-Inj3
| 174 | MQC4-Inj1
| 175 | MQC4-Inj2
| 176 | MQC4-Inj3
| 177 | MQC5-Inj1
| 178 | MQC5-Inj2
| 179 | MQC5-Inj3
| 180 | MQC6-Inj1
| 181 | MQC6-Inj2
| 182 | MQC6-Inj3
| 183 | HQC1-Inj1
| 184 | HQC1-Inj2
| 185 | HQC1-Inj3
| 186 | HQC2-Inj1
| 187 | HQC2-Inj2
| 188 | HQC2-Inj3
| 189 | HQC3-Inj1
| 190 | HQC3-Inj2
| 191 | HQC3-Inj3
| 192 | HQC4-Inj1
| 193 | HQC4-Inj2
| 194 | HQC4-Inj3
| 195 | HQC5-Inj1
| 196 | HQC5-Inj2
| 197 | HQC5-Inj3
| 198 | HQC6-Inj1
| 199 | HQC6-Inj2
| 200 | HQC6-Inj3
| 201 | HLQC1-Inj1
| 202 | HLQC1-Inj2
| 203 | HLQC1-Inj3
| 204 | HLQC2-Inj1
| 205 | HLQC2-Inj2
| 206 | HLQC2-Inj3
| 207 | HLQC3-Inj1
| 208 | HLQC3-Inj2
| 209 | HLQC3-Inj3
| 210 | HLQC4-Inj1
| 211 | HLQC4-Inj2
| 212 | HLQC4-Inj3
| 213 | HLQC5-Inj1
| 214 | HLQC5-Inj2
| 215 | HLQC5-Inj3
| 216 | HLQC6-Inj1
| 217 | HLQC6-Inj2
| 218 | HLQC6-Inj3
| 219 | matrix blank-Inj1
| 220 | matrix blank-Inj2
| 221 | matrix blank-Inj3
| 222 | Total blank3-Inj1
| 223 | Total blank3-Inj2
| 224 | Total blank3-Inj3
| 225 | STD3-S1-R1-re | re-injected sample STD3-S1-R1, same tube

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
| 4 | Internal standards are added to all QC samples.
Intra-Assay Variation
| 6 | The precision and accuracy of the assay is determined for each of the four ceramides measured in LLOQ, LQC, MQC, HQC, and HLOQ.
| 7 | Intra-assay variation, precision, and accuracy is calculated for each of the ceramide in replicates of six (n = 6) at each QC concentration.
| 8 | The intra-assay precision (percentage coefficient variance, %CV) and accuracy (percentage accuracy, %Accuracy) are calculated from the nominal concentrations according to the formulas reported in corresponding sheets and tables of this document.
| 9 | Recovery estimation is not necessary for the published method but only for different ones. Stability estimation is not necessary for the published method but only for different ones. Calibration line is prepared in 5% BSA.

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 793422.56 | 792355.76 | 788752.16 | 764021.6186 | 773798.0079 | 759635.0736 | 6801643.4504 | 6975868.453 | 6941687.4251 | 6443009.5291 | 6504050.0086 | 6492518.1923 | 37688.4392 | 41248.7804 | 39250.2267 | 33017.425 | 35092.68 | 31732.68 | 576663.5484 | 582655.6524 | 572960.85 | 194643.972 | 198778.728 | 193942.292
| STD 2 | 563231.2 | 564458.02 | 559932.24 | 533466.8607 | 526577.7386 | 508752.06 | 5010304.5676 | 4600317.5077 | 4472313.9224 | 4991429.3107 | 4809688.4175 | 4497889.8816 | 49065.4024 | 49807.2614 | 49018.7822 | 40841.64 | 39991.245 | 38304 | 756902.3612 | 709995.1469 | 671729.3366 | 273422.8334 | 263673.68 | 245410.12
| STD 3 | 76278.44 | 76227.48 | 78878.38 | 61938.4636 | 64292.76 | 65519.6243 | 548307.1465 | 622168.7644 | 654271.8957 | 545064.6589 | 636846.0105 | 669301.1641 | 50316.8067 | 50735.1188 | 52034.7078 | 39218.48 | 43341.025 | 44115.371 | 653352.726 | 766516.6879 | 802716.9969 | 236397.1988 | 277193.5998 | 285170.522
| STD 4 | 5656.5195 | 6218.52 | 5391.555 | 3044.3022 | 3692.8845 | 3113.4278 | 29021.2038 | 30436.0145 | 29884.1172 | 27675.04 | 27887.46 | 28718.445 | 8922.8472 | 9721.0536 | 8913.9765 | 8078.7842 | 8091.6244 | 7526.4915 | 126949.7706 | 129759.82 | 130343.255 | 47442.875 | 46882.975 | 47152.8
| STD 5 | 21057.68 | 20297.76 | 20922.72 | 10441.9443 | 9859.08 | 10838.2079 | 82208.5792 | 82613.3905 | 85269.3537 | 81903.5 | 79375.5854 | 88992.958 | 49626.845 | 50078.8267 | 50343.1255 | 40412.68 | 42344.4 | 43144.0172 | 674527.0621 | 702424.7702 | 721566.7195 | 255862.9961 | 254273.4777 | 267391.2607
| STD 6 | 17880.24 | 17600.8 | 16830.1 | 8580.6 | 7235.48 | 7599.6905 | 69620.236 | 59011.3155 | 58418.2379 | 73650.4039 | 62325.26 | 65082.16 | 53615.1064 | 46972.561 | 49027.3533 | 44155.72 | 38397.24 | 40412.581 | 739006.155 | 649235.6781 | 644610.0528 | 289017.535 | 260005.0454 | 252439.76
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 817574.38 | 803219.06 | 806029.14 | 777893.5629 | 735835.9771 | 747886.0621 | 6723801.22 | 6713755.7094 | 6606439.881 | 6946819.4471 | 6796601.7886 | 6785636.6207 | 43161.782 | 40598.52 | 41372.9461 | 33994.345 | 34813.24 | 33394.8062 | 607778.4377 | 598538.4778 | 590515.9902 | 223942.478 | 221860.03 | 222400.7139
| STD 2 | 501794.44 | 502181.68 | 474681.06 | 477583.89 | 473558.8021 | 419780.1557 | 4048112.9178 | 3825630.1467 | 3681495.4922 | 4186137.0886 | 4070867.2436 | 3669456.8452 | 44426.808 | 44088.6824 | 41330.5145 | 38097.045 | 37100.56 | 32522.6055 | 624664.9788 | 574449.3378 | 536663.5799 | 234114.1289 | 217964.018 | 200797.2036
| STD 3 | 63492.24 | 63491.54 | 65763.88 | 51496.3129 | 50420 | 53147.57 | 454219.5211 | 446524.8396 | 476659.2318 | 457614.7907 | 456002.1879 | 457105.2482 | 43012.6659 | 39479.4537 | 43354.6733 | 31818.675 | 33703.9366 | 35130.2 | 531311.6644 | 561170.6756 | 584770.5785 | 194705.3993 | 200312.3955 | 199415.6171
| STD 4 | 17357.62 | 17558.8 | 18496.8 | 8894.6957 | 8710.8 | 9147.8479 | 72646.1474 | 71187.0526 | 72697.0284 | 73863.0254 | 74635.495 | 78430.315 | 43640.2647 | 46423.3548 | 46825.4099 | 37547.7662 | 36641.92 | 37913.1538 | 615541.75 | 617505.4019 | 622702.8562 | 234897.1282 | 235347.8507 | 242018.245
| STD 5 | 23075.22 | 23503.62 | 20433.28 | 14899.8957 | 14707.7443 | 13638.8 | 133435.5411 | 132756.1079 | 113118.4748 | 138863.8673 | 139704.5229 | 121898.5 | 46522.8078 | 44806.0733 | 40336.6459 | 36069.6 | 36811.635 | 32881.52 | 649083.285 | 627955.1876 | 564508.1599 | 233197.7148 | 235334.9391 | 211433.4482
| STD 6 | 16536.52 | 17353 | 17012.24 | 8002.3757 | 7389.3843 | 7797.23 | 57966.3212 | 58697.595 | 60056.426 | 60583.42 | 62495.6868 | 62808.6179 | 43466.5454 | 44354.6933 | 44597.2533 | 35840.28 | 36568 | 35615.4862 | 627531.2836 | 628485.7897 | 641906.4669 | 239685.5264 | 236694.0907 | 241481.035
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard. Each vial injected 3 times
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 56762.16 | 56430.92 | 56123.62 | 18714.4236 | 20273.0593 | 19440.4636 | 538511.7558 | 524090.5974 | 546522.9131 | 177573.1162 | 179690.5654 | 181468.8861 | 45285.2314 | 46760.1328 | 45220.4607 | 42122.4178 | 42048.1938 | 42307.72 | 732137.85 | 722981.857 | 751672.5819 | 251239.3743 | 246010.6543 | 254413.7555
| SRM 2 | 57457.4 | 55078.24 | 58653 | 20326.46 | 18735.6157 | 20472.48 | 551579.8455 | 524240.6056 | 517801.7848 | 187687.93 | 176690.397 | 172293.6434 | 42304.5556 | 39290.9004 | 44159.1935 | 40796 | 38443.72 | 41695.08 | 729698.3732 | 684839.0272 | 669938.0302 | 238525.5211 | 233494.577 | 231551.4293
| SRM 3 | 62716.64 | 62936.86 | 62395.34 | 20854.96 | 20369.685 | 21351.4 | 528523.1607 | 512076.7154 | 533583.0609 | 179791.0632 | 175858.5552 | 174881.5439 | 47439.7312 | 46895.8604 | 47960.1258 | 44939.44 | 45400.32 | 45275.72 | 714359.1543 | 693743.6007 | 719029.1346 | 241978.6232 | 236537.9507 | 240552.975
| SRM 4 | 59315.48 | 58596.44 | 59468.64 | 19587.68 | 20033.44 | 21396.1521 | 512854.9787 | 503629.5793 | 512351.4997 | 176892.1739 | 167239.835 | 175283.7271 | 43410.0429 | 42832.1004 | 44745.3072 | 42599.5378 | 41589.8 | 41499.36 | 673412.9232 | 661658.362 | 687473.0097 | 227747.6639 | 220225.9029 | 228819.5223
| SRM 5 | 62992.16 | 59595.48 | 57999.76 | 21771.12 | 20236.335 | 20120.2164 | 531400.7911 | 551393.3614 | 547182.2917 | 184142.4637 | 181129.9929 | 179941.7045 | 45739.8118 | 44360.0682 | 44748.3367 | 43660.68 | 42438.2 | 44044.3028 | 720941.4166 | 739865.3371 | 740788.5852 | 241383.3539 | 246425.353 | 250711.4011
| SRM 6 | 66488.52 | 58452.24 | 59632.16 | 26376.7 | 21509.8564 | 23001.965 | 553774.1872 | 541756.1211 | 555496.0031 | 179248.2357 | 173961.2341 | 180526.1866 | 47699.5522 | 42461.6604 | 45581.6173 | 43251.32 | 41751.64 | 44343.04 | 747206.888 | 747683.815 | 760070.495 | 251034.587 | 240073.6762 | 247667.3489
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 58908.08 | 54079.62 | 54298.58 | 21320.53 | 19922.5357 | 20424.5721 | 720146.7615 | 697074.9328 | 734605.2244 | 211512.9925 | 202060.7779 | 213586.5818 | 40748.7396 | 36268.2191 | 39279.5061 | 41048 | 37090.76 | 37840.5083 | 708500.2124 | 684463.1115 | 727391.9429 | 223283.625 | 211914.35 | 216199.8429
| hTAG 2 | 60435.76 | 55506.64 | 54878.18 | 23337.74 | 21890.6557 | 20782.16 | 884377.1144 | 811517.8855 | 776456.9192 | 253519.0657 | 225611.0973 | 220158.0111 | 38892.4957 | 36758.4614 | 36105.0447 | 41957.405 | 38935.1655 | 37016 | 825502.6079 | 750667.5846 | 750658.1189 | 239829.6714 | 227182.2357 | 217636.2588
| hTAG 3 | 64201.2 | 60425.96 | 66748.78 | 24749.76 | 22955.1814 | 24924.4321 | 866188.2921 | 756504.4578 | 747745.4171 | 254040.1809 | 214189.7959 | 220548.5855 | 39051.5854 | 36247.3778 | 38738.9553 | 39509.1538 | 36473.92 | 40907.44 | 750661.3385 | 665729.4668 | 657139.9386 | 228710.9293 | 202968.623 | 205159.6375
| hTAG 4 | 59081.68 | 56953.26 | 60527.6 | 20448.185 | 17365.88 | 19957.6043 | 616780.9311 | 564099.2353 | 613667.1677 | 191231.0887 | 181797.8707 | 191590.0561 | 39756.5877 | 37248.692 | 37801.5027 | 37278.675 | 33197.92 | 35839.72 | 554267.3771 | 527898.4414 | 563516.6267 | 192864.9793 | 179144.5168 | 189524.287
| hTAG 5 | 60481.68 | 55092.52 | 53971.4 | 20374.4064 | 19288.64 | 18840.36 | 706493.7664 | 656945.6205 | 668230.8295 | 210978.6689 | 197713.6995 | 194097.483 | 40585.0708 | 38293.8837 | 34850.189 | 37697.24 | 36166.48 | 34103.72 | 656232.843 | 618746.125 | 624211 | 207376.7807 | 190469.7589 | 191347.7807
| hTAG 6 | 56636.72 | 54129.88 | 56735 | 21085.575 | 19202.9121 | 21433.79 | 715902.5635 | 658461.0494 | 700217.6085 | 205929.4648 | 192332.7164 | 214169.2673 | 38857.6808 | 37870.8008 | 42126.6525 | 41541.92 | 37790.2 | 40213.6 | 710869.4693 | 668762.9688 | 721176.1187 | 220960.0368 | 202035.928 | 224368.6498
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 47555.34 | 48506.92 | 51237.2 | 21603.68 | 21317.03 | 22559.6636 | 567006.8844 | 531382.2964 | 499746.1491 | 184391.5091 | 172969.1334 | 171098.0245 | 43256.8405 | 41469.1025 | 46298.6685 | 39195.7834 | 40328.7262 | 41943.72 | 787080.491 | 727123.9334 | 703106.2819 | 257403.875 | 244790.6216 | 233282.4961
| T1D 2 | 52399.76 | 51215.08 | 54280.1 | 22746.4236 | 21248.08 | 22063.58 | 459382.6801 | 431072.725 | 439027.2868 | 160005.9046 | 149522.1927 | 152500.5577 | 46042.9493 | 44725.4426 | 46926.3702 | 42773.92 | 42419.72 | 42024.891 | 666791.8743 | 620602.3211 | 624448.2864 | 225603.8793 | 213321.9491 | 217654.5096
| T1D 3 | 54614.98 | 52529.96 | 55008.1 | 23590.84 | 21799.6564 | 23485.56 | 448039.786 | 462494.4875 | 487183.841 | 156033.7341 | 158968.8671 | 167250.6787 | 45883.9966 | 45993.7001 | 45867.3422 | 40892.32 | 39971.371 | 41009.989 | 611985.3723 | 637720.7278 | 660785.8683 | 209142.933 | 221416.2123 | 229466.0409
| T1D 4 | 52991.54 | 47817.28 | 50416.24 | 21307.0643 | 21209.8471 | 20706.56 | 468594.3143 | 434916.9448 | 490072.7164 | 167317.9882 | 146448.6548 | 166048.4452 | 48860.7357 | 41338.9098 | 44587.9425 | 42590.8 | 40160.9828 | 41999.72 | 690289.0562 | 649745.0938 | 714830.6715 | 237585.732 | 215752.415 | 244053.4271
| T1D 5 | 60057.48 | 55871.2 | 54597.76 | 32167.2843 | 27435.31 | 27178.7279 | 569460.1051 | 525168.437 | 552103.1706 | 182019.79 | 166701.2643 | 178217.3089 | 43409.8188 | 43046.0267 | 41509.3744 | 42905.24 | 41803.44 | 41358.8 | 755655.5758 | 706087.5331 | 753469.858 | 246422.805 | 227239.9464 | 243650.6546
| T1D 6 | 47060.72 | 42477.68 | 50392.72 | 21640.36 | 18589.2 | 22245.16 | 540619.801 | 488118.4966 | 505054.1543 | 177898.3671 | 161683.202 | 174389.2229 | 41840.8722 | 37989.3733 | 44413.9556 | 38942.4 | 38038.2172 | 40680.891 | 788320.4826 | 707287.105 | 722309.5131 | 258191.262 | 226307.3743 | 237692.8389
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 50285.34 | 45054.38 | 45325 | 16525.3929 | 13621.176 | 13913.8709 | 394780.6732 | 372775.8335 | 403290.4088 | 124904.2089 | 118593.8502 | 128075.725 | 52674.1655 | 48943.0635 | 48758.1914 | 43176.28 | 42429.24 | 45211.6812 | 721859.1207 | 680236.6912 | 724482.471 | 252303.6405 | 231742.8362 | 254843.8154
| yA-A 2 | 38903.76 | 36490.72 | 37932.44 | 11649.33 | 11703.0164 | 11446.12 | 335762.8811 | 333334.2569 | 335618.2693 | 108810.5455 | 104354.0611 | 108789.1336 | 47099.3817 | 44484.0863 | 46908.8518 | 42456.96 | 39263.525 | 41078.52 | 653929.9117 | 658457.0428 | 691535.3423 | 230442.6025 | 223526.0504 | 234288.9159
| yA-A 3 | 44059.12 | 42529.2 | 40937.96 | 13251.2678 | 13009.43 | 12622.12 | 384238.8305 | 362474.6417 | 371666.0583 | 121354.9543 | 117049.4148 | 117852.6286 | 53088.434 | 47855.4391 | 48401.4737 | 47417.4967 | 45121.44 | 42855.0572 | 745847.3469 | 731489.4162 | 737418.0124 | 264616.2818 | 252933.7768 | 251575.72
| yA-A 4 | 43481.9 | 39972.1 | 42693.14 | 13434.12 | 12493.9257 | 12631.36 | 398882.0094 | 374748.3325 | 360844.8813 | 123219.5196 | 117246.7089 | 114611.6882 | 47367.9127 | 44931.6831 | 47901.8954 | 43269.8 | 40851.72 | 42356.72 | 724374.3313 | 714968.0216 | 673448.3635 | 246332.2745 | 239049.5752 | 234253.4879
| yA-A 5 | 38231.76 | 35515.9 | 38744.16 | 10844.5843 | 10634.4 | 10465.77 | 304763.446 | 285391.0099 | 289233.5521 | 99418.8445 | 92621.0166 | 95878.7632 | 46668.6337 | 44027.1451 | 45319.6259 | 37696.96 | 36502.76 | 36375.92 | 595667.2419 | 558339.7856 | 560904.508 | 211459.8407 | 202835.5293 | 201683.8143
| yA-A 6 | 34624.1 | 35934.78 | 33994.24 | 8951.8129 | 8863.8267 | 8980.93 | 220756.1379 | 227818.6683 | 227843.3491 | 73639.7775 | 75966.9871 | 74569.4304 | 52394.5535 | 51698.1506 | 49529.0664 | 39143.44 | 39311.44 | 40647.04 | 546310.0008 | 566277.3117 | 573955.4633 | 197898.9364 | 208988.557 | 200202.6793
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard. QCs have to be measured in one occasion only. The independent 6 replicates injected 3 times each
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LLQC 1 | 20283.62 | 19307.4 | 19415.9 | 6742.4902 | 5870.6436 | 6239.438 | 163093.0941 | 150805.491 | 135468.6488 | 52955.873 | 49721.2779 | 47461.8827 | 56011.76 | 56018.2586 | 55827.7273 | 44529.8 | 41019.44 | 40506.76 | 722662.3693 | 653997.4103 | 615616.51 | 245797.3863 | 231728.7466 | 214976.0289
| LLQC 2 | 23886.94 | 23821.56 | 24030.44 | 7329.84 | 7246.68 | 7405.1121 | 152212.5169 | 148313.1506 | 148612.5121 | 52856.1207 | 48687.1071 | 50410.7004 | 58583 | 58156 | 56623.56 | 42934.08 | 42361.451 | 40994.4283 | 650248.9639 | 631892.483 | 642051.0943 | 229108.4868 | 220871.9057 | 220773.9334
| LLQC 3 | 20791.68 | 19308.52 | 20036.24 | 5729.1009 | 5859.7992 | 5880.2315 | 143821.6276 | 148917.5531 | 151417.101 | 48952.8041 | 50890.9355 | 51747.0946 | 55232.5286 | 58014.4884 | 55280.8071 | 40320.56 | 40851.44 | 41579.44 | 606545.7116 | 637443.5857 | 656244.271 | 223091.343 | 229598.6293 | 237146.4257
| LLQC 4 | 17689.7 | 18150.72 | 16844.24 | 5000.7329 | 5558.2253 | 5116.3932 | 144316.7374 | 148089.0012 | 148082.0924 | 48438.7825 | 50593.235 | 50486.483 | 51749.4397 | 50698.2748 | 47555.3511 | 37137.8228 | 38816.68 | 36951.0862 | 642591.334 | 663246.7822 | 645376.4962 | 232951.4432 | 241178.168 | 229121.258
| LLQC 5 | 18831.68 | 16918.72 | 19158.44 | 5586.7755 | 5268.7203 | 5842.0474 | 161001.6557 | 151844.0161 | 162693.808 | 55143.3779 | 51279.0871 | 51364.0436 | 53854.3788 | 50407.6627 | 55710.3984 | 42649.669 | 39125.2628 | 41022.24 | 683075.5284 | 669494.5114 | 708736.2766 | 237764.7687 | 232334.755 | 245135.9427
| LLQC 6 | 390.4141 | 351.0408 | 411.7341 | 335.5661 | 230.9333 | 426.0198 | 3369.2971 | 2487.9983 | 2582.7575 | 850.4836 | 735.8251 | 855.0416 | 479.8123 | 768.1835 | 543.32 | 736.7313 | 590.2782 | 983.6756 | 12105.6586 | 10062.6582 | 10317.1302 | 3001.6717 | 2595.4526 | 3307.7714
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LQC 1 | 27511.68 | 26023.06 | 29332.94 | 9065 | 8411.69 | 8394.1985 | 227318.5573 | 204800.0376 | 206153.7121 | 77755.5091 | 70351.2729 | 70428.1357 | 48801.2588 | 45862.9592 | 49704.1341 | 39456.6972 | 33394.2 | 36469.9372 | 596199.9753 | 545604.1383 | 536863.4673 | 212807.5766 | 184154.4311 | 187594.1757
| LQC 2 | 29631.84 | 25309.9 | 28893.62 | 8076.5286 | 7685.44 | 8545.705 | 194431.3161 | 190438.5616 | 201100.7858 | 65704.2764 | 62975.2346 | 67207.9614 | 48076.6881 | 44900.3642 | 49552.7778 | 34981.52 | 33889.24 | 36412.3662 | 503553.6546 | 502671.8726 | 530107.5748 | 176570.3464 | 166243.6618 | 181236.6261
| LQC 3 | 29813.14 | 28697.2 | 30106.72 | 9128.3378 | 8367.31 | 9635.3279 | 231096.2886 | 228946.9278 | 242014.3383 | 79644.07 | 75672.0273 | 79975.1854 | 53846.2847 | 47353.2669 | 51192.4165 | 39628.96 | 35840.28 | 39616.2972 | 605550.0364 | 598668.4271 | 630500.4974 | 218727.2357 | 203226.1 | 213718.877
| LQC 4 | 35216.72 | 29788.92 | 34343.12 | 11543.7 | 10177.16 | 11653.1409 | 259656.335 | 238258.1707 | 261281.6979 | 87971.825 | 79767.6082 | 87410.092 | 52568.7984 | 44638.3054 | 52827.7461 | 42448.84 | 36161.6572 | 41076.28 | 630401.6348 | 612552.454 | 644016.9884 | 220235.4357 | 202787.7021 | 223279.648
| LQC 5 | 30933 | 26831 | 30871.54 | 10061.5293 | 9831.08 | 10540.32 | 271741.7481 | 250481.886 | 280024.2604 | 89291.9902 | 79934.1393 | 88362.5877 | 48462.058 | 41389.6886 | 46479.4455 | 37114.6055 | 34062.56 | 37948.4 | 656184.8486 | 591116.3144 | 658216.0278 | 222244.8439 | 200495.1307 | 218651.3498
| LQC 6 | 45847.62 | 34901.02 | 34130.18 | 17908.94 | 12780.25 | 11575.4479 | 260707.4345 | 219326.0795 | 216130.2203 | 77483.9629 | 69402.505 | 67060.9571 | 43883.8269 | 42141.4892 | 46005.9658 | 35074.2 | 31367.84 | 32975.32 | 581984.9461 | 504391.8331 | 513020.8722 | 195381.3609 | 178344.0973 | 180011.9089
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 52236.66 | 51143.82 | 53929.82 | 18124.7086 | 18221.2479 | 18773.0657 | 445177.3526 | 429516.5938 | 438507.8074 | 148330.6186 | 142893.7995 | 148109.8227 | 40971.5004 | 42931.1752 | 42708.9072 | 38336.9772 | 36481.3978 | 37837.2862 | 561723.6075 | 544798.5322 | 574504.9107 | 193688.5168 | 183113.8721 | 192097.6925
| MQC 2 | 46369.82 | 47799.08 | 46598.86 | 15151.6079 | 16405.5929 | 16349.5926 | 388598.4596 | 405098.6661 | 411156.8433 | 128770.7146 | 129692.1414 | 132986.5221 | 37587.875 | 36560.9542 | 39312.5976 | 34402.2 | 34658.255 | 33477.92 | 503359.6215 | 515527.331 | 514490.27 | 174161.3754 | 165573.97 | 173765.4761
| MQC 3 | 45161.34 | 46188.24 | 45072.72 | 15982.9357 | 16749.11 | 17279.92 | 428538.8361 | 479931.8827 | 463046.2687 | 136992.8754 | 145901.7825 | 144432.2277 | 35314.6899 | 35898.9731 | 37519.3174 | 31239.915 | 32965.24 | 32643.4572 | 533226.7409 | 580914.9904 | 575492.1839 | 167264.6593 | 185952.133 | 182437.3014
| MQC 4 | 53402.3 | 52212.86 | 52749.34 | 20845.16 | 21185.85 | 21546.9543 | 582562.2649 | 568059.4686 | 574820.3717 | 173067.7829 | 176724.6752 | 176789.5682 | 42672.1169 | 41693.622 | 42248.6438 | 41067.04 | 41832.28 | 39610.48 | 691820.7309 | 699390.1831 | 705598.1415 | 223456.8832 | 223641.723 | 224144.7557
| MQC 5 | 46440.8 | 47979.82 | 48871.34 | 19596.15 | 19295.6843 | 18098.9643 | 528040.3219 | 521407.5717 | 522992.8512 | 163751.2416 | 164778.3925 | 161809.2343 | 39493.2771 | 39177.9851 | 39368.6327 | 38471.44 | 37198.84 | 37267.44 | 639838.7583 | 667229.2478 | 655718.9861 | 210412.593 | 210731.4157 | 200849.9618
| MQC 6 | 48632.64 | 48605.06 | 49608.86 | 18554.27 | 18444.055 | 18057.7914 | 512910.735 | 487761.7363 | 452802.0167 | 161121.0602 | 156430.4293 | 151461.9689 | 40467.2405 | 39223.4455 | 41602.5827 | 37660.56 | 37977.24 | 35793.24 | 661258.7846 | 620443.3157 | 577194.5929 | 216549.9612 | 204177.7936 | 193058.778
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HQC 1 | 96862.36 | 100681.84 | 106729 | 48588.2307 | 47793.4157 | 48692.3557 | 610865.4803 | 594131.1345 | 611355.4618 | 330217.7291 | 318318.6232 | 320689.3552 | 38568.8865 | 38513.9435 | 39302.7919 | 33880 | 34893.04 | 34568.975 | 493280.6247 | 469050.5125 | 482306.7125 | 171698.5054 | 163932.4604 | 170987.1907
| HQC 2 | 81668.72 | 76945.96 | 77201.88 | 46525.1464 | 43325.4943 | 45701.32 | 667512.2964 | 673931.4348 | 703474.7787 | 354552.3745 | 354633.3764 | 359977.6982 | 39255.1639 | 38559.8294 | 40045.4235 | 35755.72 | 34580 | 35251.16 | 530181.9417 | 547454.6481 | 563643.3291 | 181768.9123 | 180033.3496 | 188434.7
| HQC 3 | 78638.98 | 73183.74 | 74869.34 | 47453.49 | 45345.16 | 46023.6636 | 708120.895 | 668125.2524 | 723554.8116 | 377762.0627 | 357137.5737 | 381590.1004 | 41674.4816 | 39939.9129 | 40798.1877 | 40058.2 | 35568.96 | 37230.2228 | 589865.3839 | 580251.57 | 614454.513 | 198874.1454 | 187907.082 | 200851.3343
| HQC 4 | 76725.88 | 67697.28 | 75532.94 | 47552.54 | 41575.1921 | 49227.36 | 727308.4789 | 707231.4964 | 732500.906 | 387235.6843 | 354626.7479 | 390393.3664 | 42240.8596 | 35927.6363 | 39897.4306 | 39601.24 | 33600 | 38687.32 | 621165.7713 | 597277.778 | 628293.2057 | 203650.4157 | 188159.2155 | 203278.8295
| HQC 5 | 35617.26 | 31171 | 35865.48 | 18487.77 | 16142.5214 | 18038.2171 | 280175.2493 | 266268.3766 | 275736.5951 | 154973.3232 | 146733.2836 | 156525.0936 | 21979.3937 | 18378.5061 | 20085.1847 | 15963.1929 | 14482.2055 | 15403.3712 | 248670.3045 | 241552.5078 | 250579.844 | 82576.7761 | 81384.8243 | 84812.17
| HQC 6 | 99144.5 | 89839.54 | 97114.64 | 74371.8879 | 66855.9957 | 71592.15 | 1019325.1916 | 953120.2879 | 1013803.897 | 624533.6629 | 563229.2886 | 609105.6811 | 39659.4016 | 34658.759 | 38069.9312 | 38490.76 | 33954.48 | 36670.48 | 651414.2532 | 601841.9921 | 659174.2482 | 203803.5661 | 192210.7629 | 205291.5516
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HLQC 1 | 103779.34 | 99172.5 | 101888.08 | 75335.0964 | 72694.195 | 75500.4586 | 982531.1022 | 934789.7546 | 912651.1796 | 624081.2054 | 587519.4409 | 585266.4707 | 42107.0867 | 40619.0003 | 42589.3035 | 39162.48 | 35867.44 | 37838.675 | 634557.8719 | 606966.2451 | 603578.9123 | 205702.3004 | 195398.5896 | 191636.5239
| HLQC 2 | 13880.0471 | 14991.2 | 14058.0363 | 8739.36 | 8092.735 | 7689.6141 | 109777.1474 | 107292.3972 | 110065.3589 | 77302.7089 | 73135.3741 | 68256.96 | 6967.0047 | 5574.2958 | 5085.3158 | 4508.3067 | 4292.421 | 3555.515 | 65863.4274 | 61703.1373 | 62773.025 | 23690.945 | 22529.11 | 22312.2
| HLQC 3 | 108330.32 | 98832.72 | 104027.98 | 73069.3057 | 68557.3443 | 71599.9579 | 851693.6945 | 839319.9813 | 853734.7547 | 542707.2913 | 533386.3841 | 570057.9962 | 42219.8058 | 39781.2745 | 40153.7393 | 37192.749 | 33600.28 | 36045.52 | 527238.7184 | 519327.4891 | 550511.5077 | 177882.1932 | 173674.0586 | 186198.8112
| HLQC 4 | 109598.58 | 104810.16 | 107922.36 | 77239.4793 | 74105.115 | 79917.9021 | 927214.6569 | 925033.7415 | 960319.8325 | 619364.9741 | 610792.32 | 644117.8716 | 42597.8094 | 40012.2858 | 40043.2588 | 37510.2 | 36035.72 | 38038.84 | 569361.1886 | 571219.9878 | 595960.2293 | 191590.1993 | 190101.6754 | 201869.56
| HLQC 5 | 95467.12 | 92822.38 | 95038.72 | 68902.4186 | 65491.2236 | 69591.05 | 875212.0844 | 854812.8041 | 918579.4765 | 556726.7473 | 534800.105 | 556470.4561 | 39577.8737 | 39145.142 | 40530.8303 | 38706.08 | 34225.8 | 38891.72 | 599258.0041 | 585109.7587 | 608198.0563 | 197268.7439 | 190535.1861 | 201417.0938
| HLQC 6 | 79367.12 | 73618.86 | 74216.8 | 49304.5221 | 46097.8636 | 48204.275 | 798641.4179 | 740370.1535 | 809168.5261 | 404589.453 | 374813.1052 | 403246.803 | 41492.0204 | 37077.1349 | 39077.0996 | 38860.0172 | 37044.0228 | 38592.96 | 656822.6405 | 612782.9748 | 650936.4673 | 211865.0577 | 189833.4566 | 212441.6082
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Matrix Blank | 50784.44 | 49235.2 | 49535.92 | 19323.815 | 18407.7007 | 17898.16 | 555846.0595 | 580833.5724 | 577598.9331 | 188187.7004 | 181293.4164 | 179438.6911 | 556.08 | 336 | 118.7192 | 261.1051 | 237.8816 | 113.4786 | 4237.969 | 3584.8875 | 4986.6806 | 211.1916 | 243.2208 | 352.0991
| Total Blank | 12208.9869 | 10883.4352 | 11069.2682 | 1922.0118 | 1999.9379 | 1773.3901 | 4544.7137 | 3508.4101 | 3929.0189 | 1798.4218 | 2072.8073 | 1893.5424 | 185.0873 | 513.2214 | 293.0369 | 267.4518 | 229.9653 | 255.3562 | 1049.8159 | 2675.0207 | 2222.9114 | 219.0107 | 219.546 | 202.8668

## Raw Peak Areas
Species | Cer d18:1/16:0 | Cer d18:1/18:0 | Cer d18:1/24:0 | Cer d18:1/24:1 | d7-Cer d18:1/16:0 | d7-Cer d18:1/18:0 | d7-Cer d18:1/24:0 | d7-Cer d18:1/24:1
high-TAG1-Inj1 | 58908.08 | 21320.53 | 720146.7615 | 211512.9925 | 40748.7396 | 41048 | 708500.2124 | 223283.625
high-TAG1-Inj2 | 54079.62 | 19922.5357 | 697074.9328 | 202060.7779 | 36268.2191 | 37090.76 | 684463.1115 | 211914.35
high-TAG1-Inj3 | 54298.58 | 20424.5721 | 734605.2244 | 213586.5818 | 39279.5061 | 37840.5083 | 727391.9429 | 216199.8429
high-TAG2-Inj1 | 60435.76 | 23337.74 | 884377.1144 | 253519.0657 | 38892.4957 | 41957.405 | 825502.6079 | 239829.6714
high-TAG2-Inj2 | 55506.64 | 21890.6557 | 811517.8855 | 225611.0973 | 36758.4614 | 38935.1655 | 750667.5846 | 227182.2357
high-TAG2-Inj3 | 54878.18 | 20782.16 | 776456.9192 | 220158.0111 | 36105.0447 | 37016 | 750658.1189 | 217636.2588
high-TAG3-Inj1 | 64201.2 | 24749.76 | 866188.2921 | 254040.1809 | 39051.5854 | 39509.1538 | 750661.3385 | 228710.9293
high-TAG3-Inj2 | 60425.96 | 22955.1814 | 756504.4578 | 214189.7959 | 36247.3778 | 36473.92 | 665729.4668 | 202968.623
high-TAG3-Inj3 | 66748.78 | 24924.4321 | 747745.4171 | 220548.5855 | 38738.9553 | 40907.44 | 657139.9386 | 205159.6375
high-TAG4-Inj1 | 59081.68 | 20448.185 | 616780.9311 | 191231.0887 | 39756.5877 | 37278.675 | 554267.3771 | 192864.9793
high-TAG4-Inj2 | 56953.26 | 17365.88 | 564099.2353 | 181797.8707 | 37248.692 | 33197.92 | 527898.4414 | 179144.5168
high-TAG4-Inj3 | 60527.6 | 19957.6043 | 613667.1677 | 191590.0561 | 37801.5027 | 35839.72 | 563516.6267 | 189524.287
high-TAG5-Inj1 | 60481.68 | 20374.4064 | 706493.7664 | 210978.6689 | 40585.0708 | 37697.24 | 656232.843 | 207376.7807
high-TAG5-Inj2 | 55092.52 | 19288.64 | 656945.6205 | 197713.6995 | 38293.8837 | 36166.48 | 618746.125 | 190469.7589
high-TAG5-Inj3 | 53971.4 | 18840.36 | 668230.8295 | 194097.483 | 34850.189 | 34103.72 | 624211 | 191347.7807
high-TAG6-Inj1 | 56636.72 | 21085.575 | 715902.5635 | 205929.4648 | 38857.6808 | 41541.92 | 710869.4693 | 220960.0368
high-TAG6-Inj2 | 54129.88 | 19202.9121 | 658461.0494 | 192332.7164 | 37870.8008 | 37790.2 | 668762.9688 | 202035.928
high-TAG6-Inj3 | 56735 | 21433.79 | 700217.6085 | 214169.2673 | 42126.6525 | 40213.6 | 721176.1187 | 224368.6498
HLQC1-Inj1 | 103779.34 | 75335.0964 | 982531.1022 | 624081.2054 | 42107.0867 | 39162.48 | 634557.8719 | 205702.3004
HLQC1-Inj2 | 99172.5 | 72694.195 | 934789.7546 | 587519.4409 | 40619.0003 | 35867.44 | 606966.2451 | 195398.5896
HLQC1-Inj3 | 101888.08 | 75500.4586 | 912651.1796 | 585266.4707 | 42589.3035 | 37838.675 | 603578.9123 | 191636.5239
HLQC2-Inj1 | 13880.0471 | 8739.36 | 109777.1474 | 77302.7089 | 6967.0047 | 4508.3067 | 65863.4274 | 23690.945
HLQC2-Inj2 | 14991.2 | 8092.735 | 107292.3972 | 73135.3741 | 5574.2958 | 4292.421 | 61703.1373 | 22529.11
HLQC2-Inj3 | 14058.0363 | 7689.6141 | 110065.3589 | 68256.96 | 5085.3158 | 3555.515 | 62773.025 | 22312.2
HLQC3-Inj1 | 108330.32 | 73069.3057 | 851693.6945 | 542707.2913 | 42219.8058 | 37192.749 | 527238.7184 | 177882.1932
HLQC3-Inj2 | 98832.72 | 68557.3443 | 839319.9813 | 533386.3841 | 39781.2745 | 33600.28 | 519327.4891 | 173674.0586
HLQC3-Inj3 | 104027.98 | 71599.9579 | 853734.7547 | 570057.9962 | 40153.7393 | 36045.52 | 550511.5077 | 186198.8112
HLQC4-Inj1 | 109598.58 | 77239.4793 | 927214.6569 | 619364.9741 | 42597.8094 | 37510.2 | 569361.1886 | 191590.1993
HLQC4-Inj2 | 104810.16 | 74105.115 | 925033.7415 | 610792.32 | 40012.2858 | 36035.72 | 571219.9878 | 190101.6754
HLQC4-Inj3 | 107922.36 | 79917.9021 | 960319.8325 | 644117.8716 | 40043.2588 | 38038.84 | 595960.2293 | 201869.56
HLQC5-Inj1 | 95467.12 | 68902.4186 | 875212.0844 | 556726.7473 | 39577.8737 | 38706.08 | 599258.0041 | 197268.7439
HLQC5-Inj2 | 92822.38 | 65491.2236 | 854812.8041 | 534800.105 | 39145.142 | 34225.8 | 585109.7587 | 190535.1861
HLQC5-Inj3 | 95038.72 | 69591.05 | 918579.4765 | 556470.4561 | 40530.8303 | 38891.72 | 608198.0563 | 201417.0938
HLQC6-Inj1 | 79367.12 | 49304.5221 | 798641.4179 | 404589.453 | 41492.0204 | 38860.0172 | 656822.6405 | 211865.0577
HLQC6-Inj2 | 73618.86 | 46097.8636 | 740370.1535 | 374813.1052 | 37077.1349 | 37044.0228 | 612782.9748 | 189833.4566
HLQC6-Inj3 | 74216.8 | 48204.275 | 809168.5261 | 403246.803 | 39077.0996 | 38592.96 | 650936.4673 | 212441.6082
HQC1-Inj1 | 96862.36 | 48588.2307 | 610865.4803 | 330217.7291 | 38568.8865 | 33880 | 493280.6247 | 171698.5054
HQC1-Inj2 | 100681.84 | 47793.4157 | 594131.1345 | 318318.6232 | 38513.9435 | 34893.04 | 469050.5125 | 163932.4604
HQC1-Inj3 | 106729 | 48692.3557 | 611355.4618 | 320689.3552 | 39302.7919 | 34568.975 | 482306.7125 | 170987.1907
HQC2-Inj1 | 81668.72 | 46525.1464 | 667512.2964 | 354552.3745 | 39255.1639 | 35755.72 | 530181.9417 | 181768.9123
HQC2-Inj2 | 76945.96 | 43325.4943 | 673931.4348 | 354633.3764 | 38559.8294 | 34580 | 547454.6481 | 180033.3496
HQC2-Inj3 | 77201.88 | 45701.32 | 703474.7787 | 359977.6982 | 40045.4235 | 35251.16 | 563643.3291 | 188434.7
HQC3-Inj1 | 78638.98 | 47453.49 | 708120.895 | 377762.0627 | 41674.4816 | 40058.2 | 589865.3839 | 198874.1454
HQC3-Inj2 | 73183.74 | 45345.16 | 668125.2524 | 357137.5737 | 39939.9129 | 35568.96 | 580251.57 | 187907.082
HQC3-Inj3 | 74869.34 | 46023.6636 | 723554.8116 | 381590.1004 | 40798.1877 | 37230.2228 | 614454.513 | 200851.3343
HQC4-Inj1 | 76725.88 | 47552.54 | 727308.4789 | 387235.6843 | 42240.8596 | 39601.24 | 621165.7713 | 203650.4157
HQC4-Inj2 | 67697.28 | 41575.1921 | 707231.4964 | 354626.7479 | 35927.6363 | 33600 | 597277.778 | 188159.2155
HQC4-Inj3 | 75532.94 | 49227.36 | 732500.906 | 390393.3664 | 39897.4306 | 38687.32 | 628293.2057 | 203278.8295
HQC5-Inj1 | 35617.26 | 18487.77 | 280175.2493 | 154973.3232 | 21979.3937 | 15963.1929 | 248670.3045 | 82576.7761
HQC5-Inj2 | 31171 | 16142.5214 | 266268.3766 | 146733.2836 | 18378.5061 | 14482.2055 | 241552.5078 | 81384.8243
HQC5-Inj3 | 35865.48 | 18038.2171 | 275736.5951 | 156525.0936 | 20085.1847 | 15403.3712 | 250579.844 | 84812.17
HQC6-Inj1 | 99144.5 | 74371.8879 | 1019325.1916 | 624533.6629 | 39659.4016 | 38490.76 | 651414.2532 | 203803.5661
HQC6-Inj2 | 89839.54 | 66855.9957 | 953120.2879 | 563229.2886 | 34658.759 | 33954.48 | 601841.9921 | 192210.7629
HQC6-Inj3 | 97114.64 | 71592.15 | 1013803.897 | 609105.6811 | 38069.9312 | 36670.48 | 659174.2482 | 205291.5516
LLQC1-Inj1 | 20283.62 | 6742.4902 | 163093.0941 | 52955.873 | 56011.76 | 44529.8 | 722662.3693 | 245797.3863
LLQC1-Inj2 | 19307.4 | 5870.6436 | 150805.491 | 49721.2779 | 56018.2586 | 41019.44 | 653997.4103 | 231728.7466
LLQC1-Inj3 | 19415.9 | 6239.438 | 135468.6488 | 47461.8827 | 55827.7273 | 40506.76 | 615616.51 | 214976.0289
LLQC2-Inj1 | 23886.94 | 7329.84 | 152212.5169 | 52856.1207 | 58583 | 42934.08 | 650248.9639 | 229108.4868
LLQC2-Inj2 | 23821.56 | 7246.68 | 148313.1506 | 48687.1071 | 58156 | 42361.451 | 631892.483 | 220871.9057
LLQC2-Inj3 | 24030.44 | 7405.1121 | 148612.5121 | 50410.7004 | 56623.56 | 40994.4283 | 642051.0943 | 220773.9334
LLQC3-Inj1 | 20791.68 | 5729.1009 | 143821.6276 | 48952.8041 | 55232.5286 | 40320.56 | 606545.7116 | 223091.343
LLQC3-Inj2 | 19308.52 | 5859.7992 | 148917.5531 | 50890.9355 | 58014.4884 | 40851.44 | 637443.5857 | 229598.6293
LLQC3-Inj3 | 20036.24 | 5880.2315 | 151417.101 | 51747.0946 | 55280.8071 | 41579.44 | 656244.271 | 237146.4257
LLQC4-Inj1 | 17689.7 | 5000.7329 | 144316.7374 | 48438.7825 | 51749.4397 | 37137.8228 | 642591.334 | 232951.4432
LLQC4-Inj2 | 18150.72 | 5558.2253 | 148089.0012 | 50593.235 | 50698.2748 | 38816.68 | 663246.7822 | 241178.168
LLQC4-Inj3 | 16844.24 | 5116.3932 | 148082.0924 | 50486.483 | 47555.3511 | 36951.0862 | 645376.4962 | 229121.258
LLQC5-Inj1 | 18831.68 | 5586.7755 | 161001.6557 | 55143.3779 | 53854.3788 | 42649.669 | 683075.5284 | 237764.7687
LLQC5-Inj2 | 16918.72 | 5268.7203 | 151844.0161 | 51279.0871 | 50407.6627 | 39125.2628 | 669494.5114 | 232334.755
LLQC5-Inj3 | 19158.44 | 5842.0474 | 162693.808 | 51364.0436 | 55710.3984 | 41022.24 | 708736.2766 | 245135.9427
LLQC6-Inj1 | 390.4141 | 335.5661 | 3369.2971 | 850.4836 | 479.8123 | 736.7313 | 12105.6586 | 3001.6717
LLQC6-Inj2 | 351.0408 | 230.9333 | 2487.9983 | 735.8251 | 768.1835 | 590.2782 | 10062.6582 | 2595.4526
LLQC6-Inj3 | 411.7341 | 426.0198 | 2582.7575 | 855.0416 | 543.32 | 983.6756 | 10317.1302 | 3307.7714
LQC1-Inj1 | 27511.68 | 9065 | 227318.5573 | 77755.5091 | 48801.2588 | 39456.6972 | 596199.9753 | 212807.5766
LQC1-Inj2 | 26023.06 | 8411.69 | 204800.0376 | 70351.2729 | 45862.9592 | 33394.2 | 545604.1383 | 184154.4311
LQC1-Inj3 | 29332.94 | 8394.1985 | 206153.7121 | 70428.1357 | 49704.1341 | 36469.9372 | 536863.4673 | 187594.1757
LQC2-Inj1 | 29631.84 | 8076.5286 | 194431.3161 | 65704.2764 | 48076.6881 | 34981.52 | 503553.6546 | 176570.3464
LQC2-Inj2 | 25309.9 | 7685.44 | 190438.5616 | 62975.2346 | 44900.3642 | 33889.24 | 502671.8726 | 166243.6618
LQC2-Inj3 | 28893.62 | 8545.705 | 201100.7858 | 67207.9614 | 49552.7778 | 36412.3662 | 530107.5748 | 181236.6261
LQC3-Inj1 | 29813.14 | 9128.3378 | 231096.2886 | 79644.07 | 53846.2847 | 39628.96 | 605550.0364 | 218727.2357
LQC3-Inj2 | 28697.2 | 8367.31 | 228946.9278 | 75672.0273 | 47353.2669 | 35840.28 | 598668.4271 | 203226.1
LQC3-Inj3 | 30106.72 | 9635.3279 | 242014.3383 | 79975.1854 | 51192.4165 | 39616.2972 | 630500.4974 | 213718.877
LQC4-Inj1 | 35216.72 | 11543.7 | 259656.335 | 87971.825 | 52568.7984 | 42448.84 | 630401.6348 | 220235.4357
LQC4-Inj2 | 29788.92 | 10177.16 | 238258.1707 | 79767.6082 | 44638.3054 | 36161.6572 | 612552.454 | 202787.7021
LQC4-Inj3 | 34343.12 | 11653.1409 | 261281.6979 | 87410.092 | 52827.7461 | 41076.28 | 644016.9884 | 223279.648
LQC5-Inj1 | 30933 | 10061.5293 | 271741.7481 | 89291.9902 | 48462.058 | 37114.6055 | 656184.8486 | 222244.8439
LQC5-Inj2 | 26831 | 9831.08 | 250481.886 | 79934.1393 | 41389.6886 | 34062.56 | 591116.3144 | 200495.1307
LQC5-Inj3 | 30871.54 | 10540.32 | 280024.2604 | 88362.5877 | 46479.4455 | 37948.4 | 658216.0278 | 218651.3498
LQC6-Inj1 | 45847.62 | 17908.94 | 260707.4345 | 77483.9629 | 43883.8269 | 35074.2 | 581984.9461 | 195381.3609
LQC6-Inj2 | 34901.02 | 12780.25 | 219326.0795 | 69402.505 | 42141.4892 | 31367.84 | 504391.8331 | 178344.0973
LQC6-Inj3 | 34130.18 | 11575.4479 | 216130.2203 | 67060.9571 | 46005.9658 | 32975.32 | 513020.8722 | 180011.9089
matrix_blank-Inj1 | 50784.44 | 19323.815 | 555846.0595 | 188187.7004 | 556.08 | 261.1051 | 4237.969 | 211.1916
matrix blank 2-inj1 | 5202.9421 | 2127.6781 | 47984.0956 | 16454.395 | 500.651 | 214.2768 | 1497.1138 | 147.1929
matrix_blank-Inj2 | 49235.2 | 18407.7007 | 580833.5724 | 181293.4164 | 336 | 237.8816 | 3584.8875 | 243.2208
matrix blank 2-inj2 | 5126.8137 | 1604.7111 | 44895.3594 | 15492.85 | 381.7095 | 236.481 | 724.6648 | 152.2
matrix_blank-Inj3 | 49535.92 | 17898.16 | 577598.9331 | 179438.6911 | 118.7192 | 113.4786 | 4986.6806 | 352.0991
matrix blank 2-inj3 | 4820.9065 | 1913.0651 | 43346.3928 | 15210.615 | 330.8414 | 153.4646 | 235.7416 | 217.1788
MQC1-Inj1 | 52236.66 | 18124.7086 | 445177.3526 | 148330.6186 | 40971.5004 | 38336.9772 | 561723.6075 | 193688.5168
MQC1-Inj2 | 51143.82 | 18221.2479 | 429516.5938 | 142893.7995 | 42931.1752 | 36481.3978 | 544798.5322 | 183113.8721
MQC1-Inj3 | 53929.82 | 18773.0657 | 438507.8074 | 148109.8227 | 42708.9072 | 37837.2862 | 574504.9107 | 192097.6925
MQC2-Inj1 | 46369.82 | 15151.6079 | 388598.4596 | 128770.7146 | 37587.875 | 34402.2 | 503359.6215 | 174161.3754
MQC2-Inj2 | 47799.08 | 16405.5929 | 405098.6661 | 129692.1414 | 36560.9542 | 34658.255 | 515527.331 | 165573.97
MQC2-Inj3 | 46598.86 | 16349.5926 | 411156.8433 | 132986.5221 | 39312.5976 | 33477.92 | 514490.27 | 173765.4761
MQC3-Inj1 | 45161.34 | 15982.9357 | 428538.8361 | 136992.8754 | 35314.6899 | 31239.915 | 533226.7409 | 167264.6593
MQC3-Inj2 | 46188.24 | 16749.11 | 479931.8827 | 145901.7825 | 35898.9731 | 32965.24 | 580914.9904 | 185952.133
MQC3-Inj3 | 45072.72 | 17279.92 | 463046.2687 | 144432.2277 | 37519.3174 | 32643.4572 | 575492.1839 | 182437.3014
MQC4-Inj1 | 53402.3 | 20845.16 | 582562.2649 | 173067.7829 | 42672.1169 | 41067.04 | 691820.7309 | 223456.8832
MQC4-Inj2 | 52212.86 | 21185.85 | 568059.4686 | 176724.6752 | 41693.622 | 41832.28 | 699390.1831 | 223641.723
MQC4-Inj3 | 52749.34 | 21546.9543 | 574820.3717 | 176789.5682 | 42248.6438 | 39610.48 | 705598.1415 | 224144.7557
MQC5-Inj1 | 46440.8 | 19596.15 | 528040.3219 | 163751.2416 | 39493.2771 | 38471.44 | 639838.7583 | 210412.593
MQC5-Inj2 | 47979.82 | 19295.6843 | 521407.5717 | 164778.3925 | 39177.9851 | 37198.84 | 667229.2478 | 210731.4157
MQC5-Inj3 | 48871.34 | 18098.9643 | 522992.8512 | 161809.2343 | 39368.6327 | 37267.44 | 655718.9861 | 200849.9618
MQC6-Inj1 | 48632.64 | 18554.27 | 512910.735 | 161121.0602 | 40467.2405 | 37660.56 | 661258.7846 | 216549.9612
MQC6-Inj2 | 48605.06 | 18444.055 | 487761.7363 | 156430.4293 | 39223.4455 | 37977.24 | 620443.3157 | 204177.7936
MQC6-Inj3 | 49608.86 | 18057.7914 | 452802.0167 | 151461.9689 | 41602.5827 | 35793.24 | 577194.5929 | 193058.778
Solvent_Blank | 84.6277 | 78.3285 | 274.6853 | 118.7647 | 244.5129 | 223.0844 | 422.3561 | 197.4401
SRM_1950-1-Inj1 | 56762.16 | 18714.4236 | 538511.7558 | 177573.1162 | 45285.2314 | 42122.4178 | 732137.85 | 251239.3743
SRM_1950-1-Inj2 | 56430.92 | 20273.0593 | 524090.5974 | 179690.5654 | 46760.1328 | 42048.1938 | 722981.857 | 246010.6543
SRM_1950-1-Inj3 | 56123.62 | 19440.4636 | 546522.9131 | 181468.8861 | 45220.4607 | 42307.72 | 751672.5819 | 254413.7555
SRM_1950-2-Inj1 | 57457.4 | 20326.46 | 551579.8455 | 187687.93 | 42304.5556 | 40796 | 729698.3732 | 238525.5211
SRM_1950-2-Inj2 | 55078.24 | 18735.6157 | 524240.6056 | 176690.397 | 39290.9004 | 38443.72 | 684839.0272 | 233494.577
SRM_1950-2-Inj3 | 58653 | 20472.48 | 517801.7848 | 172293.6434 | 44159.1935 | 41695.08 | 669938.0302 | 231551.4293
SRM_1950-3-Inj1 | 62716.64 | 20854.96 | 528523.1607 | 179791.0632 | 47439.7312 | 44939.44 | 714359.1543 | 241978.6232
SRM_1950-3-Inj2 | 62936.86 | 20369.685 | 512076.7154 | 175858.5552 | 46895.8604 | 45400.32 | 693743.6007 | 236537.9507
SRM_1950-3-Inj3 | 62395.34 | 21351.4 | 533583.0609 | 174881.5439 | 47960.1258 | 45275.72 | 719029.1346 | 240552.975
SRM_1950-4-Inj1 | 59315.48 | 19587.68 | 512854.9787 | 176892.1739 | 43410.0429 | 42599.5378 | 673412.9232 | 227747.6639
SRM_1950-4-Inj2 | 58596.44 | 20033.44 | 503629.5793 | 167239.835 | 42832.1004 | 41589.8 | 661658.362 | 220225.9029
SRM_1950-4-Inj3 | 59468.64 | 21396.1521 | 512351.4997 | 175283.7271 | 44745.3072 | 41499.36 | 687473.0097 | 228819.5223
SRM_1950-5-Inj1 | 62992.16 | 21771.12 | 531400.7911 | 184142.4637 | 45739.8118 | 43660.68 | 720941.4166 | 241383.3539
SRM_1950-5-Inj2 | 59595.48 | 20236.335 | 551393.3614 | 181129.9929 | 44360.0682 | 42438.2 | 739865.3371 | 246425.353
SRM_1950-5-Inj3 | 57999.76 | 20120.2164 | 547182.2917 | 179941.7045 | 44748.3367 | 44044.3028 | 740788.5852 | 250711.4011
SRM_1950-6-Inj1 | 66488.52 | 26376.7 | 553774.1872 | 179248.2357 | 47699.5522 | 43251.32 | 747206.888 | 251034.587
SRM_1950-6-Inj2 | 58452.24 | 21509.8564 | 541756.1211 | 173961.2341 | 42461.6604 | 41751.64 | 747683.815 | 240073.6762
SRM_1950-6-Inj3 | 59632.16 | 23001.965 | 555496.0031 | 180526.1866 | 45581.6173 | 44343.04 | 760070.495 | 247667.3489
STD1-S1-R1 | 793422.56 | 764021.6186 | 6801643.4504 | 6443009.5291 | 37688.4392 | 33017.425 | 576663.5484 | 194643.972
STD1-S1-R2 | 792355.76 | 773798.0079 | 6975868.453 | 6504050.0086 | 41248.7804 | 35092.68 | 582655.6524 | 198778.728
STD1-S1-R3 | 788752.16 | 759635.0736 | 6941687.4251 | 6492518.1923 | 39250.2267 | 31732.68 | 572960.85 | 193942.292
STD1-S2-R1 | 817574.38 | 777893.5629 | 6723801.22 | 6946819.4471 | 43161.782 | 33994.345 | 607778.4377 | 223942.478
STD1-S2-R2 | 803219.06 | 735835.9771 | 6713755.7094 | 6796601.7886 | 40598.52 | 34813.24 | 598538.4778 | 221860.03
STD1-S2-R3 | 806029.14 | 747886.0621 | 6606439.881 | 6785636.6207 | 41372.9461 | 33394.8062 | 590515.9902 | 222400.7139
STD2-S1-R1 | 563231.2 | 533466.8607 | 5010304.5676 | 4991429.3107 | 49065.4024 | 40841.64 | 756902.3612 | 273422.8334
STD2-S1-R2 | 564458.02 | 526577.7386 | 4600317.5077 | 4809688.4175 | 49807.2614 | 39991.245 | 709995.1469 | 263673.68
STD2-S1-R3 | 559932.24 | 508752.06 | 4472313.9224 | 4497889.8816 | 49018.7822 | 38304 | 671729.3366 | 245410.12
STD2-S2-R1 | 501794.44 | 477583.89 | 4048112.9178 | 4186137.0886 | 44426.808 | 38097.045 | 624664.9788 | 234114.1289
STD2-S2-R2 | 502181.68 | 473558.8021 | 3825630.1467 | 4070867.2436 | 44088.6824 | 37100.56 | 574449.3378 | 217964.018
STD2-S2-R3 | 474681.06 | 419780.1557 | 3681495.4922 | 3669456.8452 | 41330.5145 | 32522.6055 | 536663.5799 | 200797.2036
STD3-S1-R1 | 76278.44 | 61938.4636 | 548307.1465 | 545064.6589 | 50316.8067 | 39218.48 | 653352.726 | 236397.1988
STD3-S1-R2 | 76227.48 | 64292.76 | 622168.7644 | 636846.0105 | 50735.1188 | 43341.025 | 766516.6879 | 277193.5998
STD3-S1-R3 | 78878.38 | 65519.6243 | 654271.8957 | 669301.1641 | 52034.7078 | 44115.371 | 802716.9969 | 285170.522
STD3-S2-R1 | 63492.24 | 51496.3129 | 454219.5211 | 457614.7907 | 43012.6659 | 31818.675 | 531311.6644 | 194705.3993
STD3-S2-R2 | 63491.54 | 50420 | 446524.8396 | 456002.1879 | 39479.4537 | 33703.9366 | 561170.6756 | 200312.3955
STD3-S2-R3 | 65763.88 | 53147.57 | 476659.2318 | 457105.2482 | 43354.6733 | 35130.2 | 584770.5785 | 199415.6171
STD4-S1-R1 | 5656.5195 | 3044.3022 | 29021.2038 | 27675.04 | 8922.8472 | 8078.7842 | 126949.7706 | 47442.875
STD4-S1-R2 | 6218.52 | 3692.8845 | 30436.0145 | 27887.46 | 9721.0536 | 8091.6244 | 129759.82 | 46882.975
STD4-S1-R3 | 5391.555 | 3113.4278 | 29884.1172 | 28718.445 | 8913.9765 | 7526.4915 | 130343.255 | 47152.8
STD4-S2-R1 | 17357.62 | 8894.6957 | 72646.1474 | 73863.0254 | 43640.2647 | 37547.7662 | 615541.75 | 234897.1282
STD4-S2-R2 | 17558.8 | 8710.8 | 71187.0526 | 74635.495 | 46423.3548 | 36641.92 | 617505.4019 | 235347.8507
STD4-S2-R3 | 18496.8 | 9147.8479 | 72697.0284 | 78430.315 | 46825.4099 | 37913.1538 | 622702.8562 | 242018.245
STD5-S1-R1 | 21057.68 | 10441.9443 | 82208.5792 | 81903.5 | 49626.845 | 40412.68 | 674527.0621 | 255862.9961
STD5-S1-R2 | 20297.76 | 9859.08 | 82613.3905 | 79375.5854 | 50078.8267 | 42344.4 | 702424.7702 | 254273.4777
STD5-S1-R3 | 20922.72 | 10838.2079 | 85269.3537 | 88992.958 | 50343.1255 | 43144.0172 | 721566.7195 | 267391.2607
STD5-S2-R1 | 23075.22 | 14899.8957 | 133435.5411 | 138863.8673 | 46522.8078 | 36069.6 | 649083.285 | 233197.7148
STD5-S2-R2 | 23503.62 | 14707.7443 | 132756.1079 | 139704.5229 | 44806.0733 | 36811.635 | 627955.1876 | 235334.9391
STD5-S2-R3 | 20433.28 | 13638.8 | 113118.4748 | 121898.5 | 40336.6459 | 32881.52 | 564508.1599 | 211433.4482
STD6-S1-R1 | 17880.24 | 8580.6 | 69620.236 | 73650.4039 | 53615.1064 | 44155.72 | 739006.155 | 289017.535
STD6-S1-R2 | 17600.8 | 7235.48 | 59011.3155 | 62325.26 | 46972.561 | 38397.24 | 649235.6781 | 260005.0454
STD6-S1-R3 | 16830.1 | 7599.6905 | 58418.2379 | 65082.16 | 49027.3533 | 40412.581 | 644610.0528 | 252439.76
STD6-S2-R1 | 16536.52 | 8002.3757 | 57966.3212 | 60583.42 | 43466.5454 | 35840.28 | 627531.2836 | 239685.5264
STD6-S2-R2 | 17353 | 7389.3843 | 58697.595 | 62495.6868 | 44354.6933 | 36568 | 628485.7897 | 236694.0907
STD6-S2-R3 | 17012.24 | 7797.23 | 60056.426 | 62808.6179 | 44597.2533 | 35615.4862 | 641906.4669 | 241481.035
T1D-1-Inj1 | 47555.34 | 21603.68 | 567006.8844 | 184391.5091 | 43256.8405 | 39195.7834 | 787080.491 | 257403.875
T1D-1-Inj2 | 48506.92 | 21317.03 | 531382.2964 | 172969.1334 | 41469.1025 | 40328.7262 | 727123.9334 | 244790.6216
T1D-1-Inj3 | 51237.2 | 22559.6636 | 499746.1491 | 171098.0245 | 46298.6685 | 41943.72 | 703106.2819 | 233282.4961
T1D-2-Inj1 | 52399.76 | 22746.4236 | 459382.6801 | 160005.9046 | 46042.9493 | 42773.92 | 666791.8743 | 225603.8793
T1D-2-Inj2 | 51215.08 | 21248.08 | 431072.725 | 149522.1927 | 44725.4426 | 42419.72 | 620602.3211 | 213321.9491
T1D-2-Inj3 | 54280.1 | 22063.58 | 439027.2868 | 152500.5577 | 46926.3702 | 42024.891 | 624448.2864 | 217654.5096
T1D-3-Inj1 | 54614.98 | 23590.84 | 448039.786 | 156033.7341 | 45883.9966 | 40892.32 | 611985.3723 | 209142.933
T1D-3-Inj2 | 52529.96 | 21799.6564 | 462494.4875 | 158968.8671 | 45993.7001 | 39971.371 | 637720.7278 | 221416.2123
T1D-3-Inj3 | 55008.1 | 23485.56 | 487183.841 | 167250.6787 | 45867.3422 | 41009.989 | 660785.8683 | 229466.0409
T1D-4-Inj1 | 52991.54 | 21307.0643 | 468594.3143 | 167317.9882 | 48860.7357 | 42590.8 | 690289.0562 | 237585.732
T1D-4-Inj2 | 47817.28 | 21209.8471 | 434916.9448 | 146448.6548 | 41338.9098 | 40160.9828 | 649745.0938 | 215752.415
T1D-4-Inj3 | 50416.24 | 20706.56 | 490072.7164 | 166048.4452 | 44587.9425 | 41999.72 | 714830.6715 | 244053.4271
T1D-5-Inj1 | 60057.48 | 32167.2843 | 569460.1051 | 182019.79 | 43409.8188 | 42905.24 | 755655.5758 | 246422.805
T1D-5-Inj2 | 55871.2 | 27435.31 | 525168.437 | 166701.2643 | 43046.0267 | 41803.44 | 706087.5331 | 227239.9464
T1D-5-Inj3 | 54597.76 | 27178.7279 | 552103.1706 | 178217.3089 | 41509.3744 | 41358.8 | 753469.858 | 243650.6546
T1D-6-Inj1 | 47060.72 | 21640.36 | 540619.801 | 177898.3671 | 41840.8722 | 38942.4 | 788320.4826 | 258191.262
T1D-6-Inj2 | 42477.68 | 18589.2 | 488118.4966 | 161683.202 | 37989.3733 | 38038.2172 | 707287.105 | 226307.3743
T1D-6-Inj3 | 50392.72 | 22245.16 | 505054.1543 | 174389.2229 | 44413.9556 | 40680.891 | 722309.5131 | 237692.8389
total_blank_1-Inj1 | 12208.9869 | 1922.0118 | 4544.7137 | 1798.4218 | 185.0873 | 267.4518 | 1049.8159 | 219.0107
total_blank_1-Inj2 | 10883.4352 | 1999.9379 | 3508.4101 | 2072.8073 | 513.2214 | 229.9653 | 2675.0207 | 219.546
total_blank_1-Inj3 | 11069.2682 | 1773.3901 | 3929.0189 | 1893.5424 | 293.0369 | 255.3562 | 2222.9114 | 202.8668
Total_blank_2-Inj1 | 11112.4306 | 1556.1942 | 2441.04 | 1432.8005 | 172.0047 | 232.7924 | 862.1934 | 170.1846
Total_blank_2-Inj2 | 10079.8946 | 1330.1192 | 2244.5612 | 1008.6026 | 103.2719 | 177.2654 | 482.3767 | 123.3056
Total_blank_2-Inj3 | 9241.4 | 1436.9429 | 2290.89 | 1416.1181 | 89.5472 | 179.8671 | 1021.1138 | 166.3315
Total_blank3-Inj1 | 5545.96 | 1000.2391 | 1450.7398 | 666.2643 | 408.2672 | 179.9193 | 1085.8858 | 177.57
Total_blank3-Inj2 | 5877.966 | 862.8026 | 1278.7908 | 860.8885 | 148.4641 | 263.5875 | 642.798 | 118.8843
Total_blank3-Inj3 | 4114.0139 | 774.3407 | 1117.9065 | 736.7852 | 265.543 | 154.9599 | 461.5316 | 169.4555
Young_AA-1-Inj1 | 50285.34 | 16525.3929 | 394780.6732 | 124904.2089 | 52674.1655 | 43176.28 | 721859.1207 | 252303.6405
Young_AA-1-Inj2 | 45054.38 | 13621.176 | 372775.8335 | 118593.8502 | 48943.0635 | 42429.24 | 680236.6912 | 231742.8362
Young_AA-1-Inj3 | 45325 | 13913.8709 | 403290.4088 | 128075.725 | 48758.1914 | 45211.6812 | 724482.471 | 254843.8154
Young_AA-2-Inj1 | 38903.76 | 11649.33 | 335762.8811 | 108810.5455 | 47099.3817 | 42456.96 | 653929.9117 | 230442.6025
Young_AA-2-Inj2 | 36490.72 | 11703.0164 | 333334.2569 | 104354.0611 | 44484.0863 | 39263.525 | 658457.0428 | 223526.0504
Young_AA-2-Inj3 | 37932.44 | 11446.12 | 335618.2693 | 108789.1336 | 46908.8518 | 41078.52 | 691535.3423 | 234288.9159
Young_AA-3-Inj1 | 44059.12 | 13251.2678 | 384238.8305 | 121354.9543 | 53088.434 | 47417.4967 | 745847.3469 | 264616.2818
Young_AA-3-Inj2 | 42529.2 | 13009.43 | 362474.6417 | 117049.4148 | 47855.4391 | 45121.44 | 731489.4162 | 252933.7768
Young_AA-3-Inj3 | 40937.96 | 12622.12 | 371666.0583 | 117852.6286 | 48401.4737 | 42855.0572 | 737418.0124 | 251575.72
Young_AA-4-Inj1 | 43481.9 | 13434.12 | 398882.0094 | 123219.5196 | 47367.9127 | 43269.8 | 724374.3313 | 246332.2745
Young_AA-4-Inj2 | 39972.1 | 12493.9257 | 374748.3325 | 117246.7089 | 44931.6831 | 40851.72 | 714968.0216 | 239049.5752
Young_AA-4-Inj3 | 42693.14 | 12631.36 | 360844.8813 | 114611.6882 | 47901.8954 | 42356.72 | 673448.3635 | 234253.4879
Young_AA-5-Inj1 | 38231.76 | 10844.5843 | 304763.446 | 99418.8445 | 46668.6337 | 37696.96 | 595667.2419 | 211459.8407
Young_AA-5-Inj2 | 35515.9 | 10634.4 | 285391.0099 | 92621.0166 | 44027.1451 | 36502.76 | 558339.7856 | 202835.5293
Young_AA-5-Inj3 | 38744.16 | 10465.77 | 289233.5521 | 95878.7632 | 45319.6259 | 36375.92 | 560904.508 | 201683.8143
Young_AA-6-Inj1 | 34624.1 | 8951.8129 | 220756.1379 | 73639.7775 | 52394.5535 | 39143.44 | 546310.0008 | 197898.9364
Young_AA-6-Inj2 | 35934.78 | 8863.8267 | 227818.6683 | 75966.9871 | 51698.1506 | 39311.44 | 566277.3117 | 208988.557
Young_AA-6-Inj3 | 33994.24 | 8980.93 | 227843.3491 | 74569.4304 | 49529.0664 | 40647.04 | 573955.4633 | 200202.6793
Pooled_QC1 | 51045.12 | 17171.6614 | 530674.3799 | 176199.2177 | 39666.8324 | 35106.4 | 658812.0995 | 225319.7913
Pooled_QC2 | 50476.02 | 17738.07 | 525289.9729 | 168391.3039 | 40332.6837 | 36054.2228 | 671252.7614 | 224936.9914
Pooled_QC3 | 50103.2 | 17823.12 | 544631.5014 | 176566.7164 | 39255.7145 | 36278.48 | 672802.3545 | 219496.9139
Pooled_QC4 | 49525 | 17158.96 | 551440.1766 | 172217.605 | 36899.4706 | 34349.84 | 695149.0879 | 225117.0564
Pooled_QC5 | 50995.42 | 15889.8236 | 458893.6174 | 153839.8961 | 41282.5043 | 35139.44 | 560934.6416 | 199036.6864
Pooled_QC6 | 51876.86 | 16311.12 | 459936.2655 | 154332.813 | 40443.2957 | 33880 | 574699.6543 | 199709.2563
Pooled_QC7 | 52652.6 | 16099.3177 | 463562.0929 | 152719.3471 | 39884.5247 | 35064.645 | 588437.5891 | 199933.0918
Pooled_QC8 | 48666.1 | 17188.64 | 479491.068 | 153788.3596 | 38972.1765 | 33152 | 585928.8151 | 201536.168
Pooled_QC9 | 46018.56 | 17341.59 | 480525.2891 | 151475.6777 | 37209.0217 | 33516.84 | 611698.9264 | 200828.8271
Pooled_QC10 | 47326.16 | 17570.8157 | 486470.3703 | 158347.5255 | 38228.9877 | 35456.96 | 614419.2115 | 204867.933