## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary | This protocol describes the extraction and LC-MRM procedure for absolute quantification of Cer d18:1/16:0, Cer d18:1/18:0, Cer d18:1/24:0 and Cer d18:1/24:1 in human plasma according to Kauhanen et al, Anal Bioanal Chem (2016) 408:3475–3483.
A calibration curve is built by injecting several dilutions of the non-labelled standards mixed with a fixed concentration of labelled standards. Each calibration point is prepared and analysed in triplicates (n=3).
To establish the endogenous concentration of the four selected ceramides in the study samples (NIST SRM1950, NIST high TAG, NIST T1D, and NIST young A-A) each sample is extracted and analyzed in six replicates (n =6).
Prepare the pooled QC by mixing 100 mL each of NIST SRM1950, NIST high TAG, NIST T1D, and NIST young AA (total 400 mL).
We suggest proceeding first to measure the ceramides concentration in the four study samples and then continue with the intra-assay validation to avoid wasting material.

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Ethyl acetate (EtAc)
2-propanol (IPA)
5% Bovine Serum Albumin (BSA)
96-well plates/tubes
Sealing foil
2 mL DeepWell plates/tubes/LC vials
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled QC |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8 (v/v)
| Matrix Blank (MB) | 10 µL Matrix (pooled QC) only |  |  | - |  | 590 µL EtAc:IPA 2:8
| Study Samples (S) | 10 µL Human plasma (NIST SRM1950, high TAG, T1D, young AA) |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8
| Total Blank (TB) | 10 µL 5% BSA |  |  | - |  | 590 µL EtAc:IPA 2:8
| Calibration line standards (STD) | 10 µL 5% BSA + 20 µL non labelled STD mixture (Table 5) |  |  | 20 µL Labelled IS |  | 550 µL EtAc:IPA 2:8
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Extraction - Overview, Table 4) with EtAc:IPA 2:8 as suggested in table | Extraction - Overview'!B34
| 2 | Thaw plasma on ice (+4°C) and bring to room temperature prior to extraction. Mix by pipetting before use.
| 3 | Prepare samples in plates/tubes manually or with a robot, according to specifications in column C of table | Extraction - Overview'!C14
| 4 | Add 20 µL of labelled internal standard mixture to samples according to column F of table | Extraction - Overview'!F14
| 5 | For the calibration line, add 20 µL of different dilutions of the non-labelled mixture (STD1-6).
| 6 | Add 590 µL of ethyl acetate:isopropanol (2:8, vol/vol) to Total Blank (TB) and Matrix Blank (MB); 550 µL to calibration line (STD); 570 µL to study samples and QCs according to column H of table | Extraction - Overview'!H14
| 7 | Mix samples 10 min by pipetting or vortexing
| 8 | Centrifuge samples for 10 min at 3000 x gat room temperature
| 9 | Transfer 50 µL of the clear supernatant to MS-vials or MS plates, close/seal, store samples at -20 °C prior to LC-MRM analysis.

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Ammonium formate
Formic acid
Ultra-pure water
Acetonitrile
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | QQQ
| LC | UPLC
| Injection volume (indicative) | 5 µL
| Weak wash | Water
| Strong wash | Acetonitrile
| Pre-column | Waters Acquity BEH C18, 1.7 µm VanGuard Pre-Column
| Column | Waters Acquity BEH C18, 2.1 × 50 mm id. 1.7 µm
| Column temperature | 60 °C
| Mobile phase A | 10 mM ammonium acetate in water with 0.1% formic acid
| Mobile phase B | 10 mM ammonium acetate in acetonitrile:2-propanol (4:3, vol/vol) with 0.1% formic acid
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0.00 | 15 | 85 |  | 500
| 0.50 | 15 | 85 |  | 500
| 1.50 | 0 | 100 |  | 500
| 4.00 | 0 | 100 |  | 500
| 4.10 | 15 | 85 |  | 500
| 5.00 | 15 | 85 |  | 500
Table 9 LC-MRM MS conditions (EXAMPLE: this only applies to Sciex QTRAP, please adapt)
| Polarity mode | Positive
| Ion spray | 5000 V
| Curtain gas | 25 psi
| Source temperature | 300 °C
| Gas 1 | 50 psi
| Gas 2 | 35 psi
| DP | 30 V
| EP | 10 V
| Collision cell exit potential | 20 V
| Collision energy (CE) | 40 eV
Table 10 LC-MRM Mass transitions used for absolute quantification. On different systems, RT and CE might be different!
| Analyte | Mass transitions | IS | Mass transitions | RT (min) | CE
| Cer d18:1/16:0 | 538.5 – 264.3 | D7- Cer d18:1/16:0 | 545.6 - 271.3 | 1.9-2.0 | 40
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.6 – 264.3 | D7- Cer d18:1/18:0 | 573.6 – 271.3 | 2.1-2.2 | 40
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.6 – 264.3 | D7- Cer d18:1/24:0 | 657.7 – 271.3 | 2.4-2.5 | 40
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.6 – 264.3 | D7- Cer d18:1/24:1 | 655.7 – 271.3 | 2.3-2.4 | 40
C42H82NO3 – C18H34N
Table 11 Data processing
| Processing software | Multiquant 3.0.2

## LC-MRM - Sample Sequence
Sample Sequence (Example)
Sample Sequence (Example) | Sample Sequence 1
| Number | Sample Name | Remarks
| 1 | Total Blank 1
| 2 | Matrix blank
| 3 | Calibration line 1 from STD6 to 1 (n=3)
| 4 | […]
| 5 | Pooled QC
| 6 | Pooled QC
| 7 | SRM 1950-1
| 8 | SRM 1950-2
| 9 | SRM 1950-3
| 10 | SRM 1950-4
| 11 | SRM 1950-5
| 12 | SRM 1950-6
| 13 | Pooled QC
| 14 | Pooled QC
| 15 | T1D-1
| 16 | T1D-2
| 17 | T1D-3
| 18 | T1D-4
| 19 | T1D-5
| 20 | T1D-6
| 21 | Total Blank 2
| 22 | Pooled QC
| 23 | Pooled QC
| 24 | Young AA-1
| 25 | Young AA-2
| 26 | Young AA-3
| 27 | Young AA-4
| 28 | Young AA-5
| 29 | Young AA-6
| 30 | Pooled QC
| 31 | Pooled QC
| 32 | hTAG-1
| 33 | hTAG-2
| 34 | hTAG-3
| 35 | hTAG-4
| 36 | hTAG-5
| 37 | hTAG-6
| 38 | Pooled QC
| 39 | Pooled QC
| 40 | Calibration line 2 from STD1 to 6 (n=3)
| 41 | […]
| 42 | Matrix blank
| 43 | Total Blank 3

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
| 4 | Internal standards are added to all QC samples.
Intra-Assay Variation
| 6 | The precision and accuracy of the assay is determined for each of the four ceramides measured in LLOQ, LQC, MQC, HQC, and HLOQ.
| 7 | Intra-assay variation, precision, and accuracy is calculated for each of the ceramide in replicates of six (n = 6) at each QC concentration independently on three separate occasions.
| 8 | The intra-assay precision (percentage coefficient variance, %CV) and accuracy (percentage accuracy, %Accuracy) are calculated from the nominal concentrations according to the formulas reported in corresponding sheets and tables of this document.
| 9 | Recovery estimation is not necessary for the published method but only for different ones. Stability estimation is not necessary for the published method but only for different ones. Calibration line is prepared in 5% BSA.

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 8241964.2273 | 2395983.6265 | 2167422.4565 | 13613662.644 | 4647593.832 | 2862447.3065 | 104330853.7751 | 69725656.7547 | 49447157.3414 | 106197588.9 | 57397409.2534 | 40861327.804 | 456439.0095 | 136081.363 | 131012.725 | 530346.4995 | 175441.073 | 111117.4916 | 9716055.3308 | 6315292.999 | 4385985.145 | 3423432.0329 | 1788451.892 | 1291670.0485
| STD 2 | 2671945.693 | 1076704.014 | 1030857.404 | 5395160.7891 | 1842107.9977 | 1590645.344 | 58226788.2532 | 32379914.9917 | 24162269.627 | 56352301.5207 | 26453745.975 | 19525029.4519 | 316877.2655 | 134459.4825 | 128739.313 | 449712.3965 | 143766.0771 | 125924.8325 | 11235416.496 | 6202876.9906 | 4524594.787 | 3710938.0535 | 1800985.3045 | 1316901.868
| STD 3 | 215328.308 | 103322.711 | 94166.18 | 405016.7395 | 171861.152 | 146377.7385 | 6412597.0164 | 3059743.5352 | 2050039.7654 | 5734928.5585 | 2476100.9945 | 1594226.121 | 285018.8375 | 139157.3235 | 125083.343 | 356946.897 | 144456.8045 | 125255.6715 | 12529094.9638 | 6028564.282 | 3999758.503 | 3964926.694 | 1725388.5866 | 1126408.216
| STD 4 | 37221.661 | 21333.4305 | 17235.29 | 68871.7755 | 30899.541 | 25926.591 | 1156351.5975 | 569724.648 | 374956.6715 | 1027110.275 | 458990.8525 | 300321.1555 | 240637.6245 | 133335.5235 | 112047.655 | 289316.87 | 129392.207 | 108323.2715 | 11011721.5125 | 5479171.8805 | 3637859.898 | 3346957.3725 | 1567784.8915 | 1041388.3994
| STD 5 | 17666.92 | 11583.66 | 9453.94 | 35903.4915 | 18010.7 | 13146.54 | 550943.9755 | 274895.7436 | 188235.0267 | 437109.1545 | 215728.758 | 152880.083 | 219592.0715 | 141304.9765 | 121009.6985 | 288553.5185 | 133788.018 | 103347.65 | 10530774.2569 | 5404967.6077 | 3587625.3143 | 2980525.321 | 1535972.982 | 1067739.5098
| STD 6 | 11803.7 | 7385.05 | 6839.34 | 22775.331 | 12337.95 | 10338.77 | 387195.284 | 197971.327 | 142706.6645 | 299557.0085 | 156073.219 | 116956.4975 | 195851.4465 | 145067.94 | 125797.4805 | 258408.543 | 131249.1655 | 108081.2495 | 9427214.3651 | 4887928.807 | 3680959.4478 | 2699914.6901 | 1416197.195 | 1074422.2815
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 1809138.8732 | 1663157.3933 | 1772980.1865 | 2435362.0295 | 2316338.134 | 2251778.0024 | 41678328.1485 | 36911756.8965 | 35264785.705 | 34553835.7549 | 29460500.3832 | 29467262.054 | 121857.9505 | 112442.124 | 120128.7895 | 101404.137 | 96883.0665 | 97701.526 | 4145488.961 | 3669330.296 | 3432712.107 | 1231637.522 | 1023854.9275 | 1014430.1669
| STD 2 | 910322.2369 | 867797.1675 | 858491.5865 | 1183314.1155 | 1267825.3505 | 1146271.9085 | 17802223.9011 | 17599820.1088 | 15246909.521 | 14412170.3032 | 13910194.3497 | 12344046.5421 | 123708.383 | 115082.4068 | 116409.792 | 98005.1615 | 103422.9035 | 96356.268 | 3430140.0935 | 3386587.7037 | 2984895.828 | 989084.5255 | 953762.9 | 850139.5835
| STD 3 | 90161.852 | 83319.3005 | 86571.826 | 117374.834 | 119972.34 | 110851.0228 | 1485598.8286 | 1390809.7585 | 1222464.3385 | 1249027.0575 | 1170570.9991 | 1055145.0805 | 118040.2609 | 113796.1555 | 117044.107 | 95023.3175 | 96657.9945 | 91822.8895 | 2946563.931 | 2706737.1835 | 2347357.5909 | 863741.996 | 813600.6595 | 736668.835
| STD 4 | 17055.37 | 17236.35 | 16856.97 | 23804.41 | 21628.25 | 22406.501 | 288516.24 | 258571.5465 | 248140.612 | 242254.868 | 222102.5025 | 205265.853 | 123202.1895 | 115780.511 | 116707.685 | 101938.951 | 96064.6265 | 95542.4635 | 2902386.2704 | 2667265.665 | 2533612.0883 | 892997.41 | 813459.5705 | 766423.8155
| STD 5 | 9924.93 | 8441.28 | 9722.63 | 12553.52 | 10782.93 | 11307.37 | 155937.081 | 126337.8385 | 129800.8915 | 122366.8445 | 110819.03 | 110346.901 | 117881.5185 | 110782.4645 | 112464.4325 | 99179.0005 | 88093.312 | 95290.481 | 2954260.585 | 2463989.302 | 2452867.682 | 853499.7783 | 759668.033 | 754180.8612
| STD 6 | 6953.6 | 7222.14 | 7258.28 | 10568.17 | 9603.05 | 9735.69 | 117344.587 | 100162.2345 | 95788.137 | 95754.3455 | 88907.298 | 86196.503 | 113796.7285 | 112139.021 | 115646.1959 | 101421.708 | 89438.2195 | 95867.1155 | 2850050.3907 | 2534921.9887 | 2372110.3421 | 832630.6921 | 747069.7881 | 725817.835
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard.
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 139673.7583 | 139598.565 | 144983.3265 | 69988.4506 | 68685.453 | 71701.2687 | 1624649.4118 | 1739418.5655 | 1717433.0537 | 470411.665 | 493674.5436 | 494226.897 | 134609.2245 | 136645.2995 | 144691.707 | 106799.541 | 108707.647 | 109435.4245 | 2324751.4195 | 2426648.7642 | 2399553.1851 | 668308.9065 | 722098.289 | 695397.1255
| SRM 2 | 147081.7475 | 146214.6556 | 156842.5845 | 77608.1225 | 72410.259 | 75584.923 | 1921826.2487 | 1735955.3031 | 1857562.4258 | 544069.123 | 520727.101 | 545402.554 | 146066.7335 | 138759.0265 | 151105.372 | 115569.186 | 110570.0805 | 114417.6555 | 2696842.5645 | 2484403.4279 | 2560919.0423 | 770709.852 | 730253.234 | 747321.4602
| SRM 3 | 142451.3392 | 141976.5274 | 141677.6206 | 68847.8235 | 67167.748 | 65521.123 | 1748655.5915 | 1659959.416 | 1603227.4394 | 501711.2397 | 484820.5482 | 492857.1358 | 143937.442 | 145819.528 | 145093.6075 | 110427.6155 | 105986.954 | 100954.1815 | 2516181.7264 | 2423145.0835 | 2280665.8853 | 730287.4925 | 706358.5125 | 709829.4935
| SRM 4 | 145376.3499 | 148055.9493 | 147482.2624 | 70523.439 | 73715.7475 | 69659.258 | 1766406.1791 | 1778448.1415 | 1669958.2406 | 527821.522 | 497859.9763 | 499236.5788 | 145337.652 | 148120.8605 | 142651.8555 | 109186.7075 | 112453.335 | 105691.2145 | 2498772.127 | 2547955.7303 | 2348625.6315 | 752958.467 | 707804.5735 | 700834.4412
| SRM 5 | 143248.4275 | 141611.1691 | 143572.198 | 63582.695 | 69368.8775 | 71065.175 | 1644388.3859 | 1578415.95 | 1677947.752 | 482890.0032 | 465121.8037 | 476053.6113 | 144907.4835 | 140997.716 | 144051.672 | 100550.3395 | 104623.124 | 109211.584 | 2384250.0026 | 2288508.5179 | 2402504.1051 | 706179.9475 | 667926.2245 | 683823.6112
| SRM 6 | 130665.562 | 134056.083 | 134699.9045 | 57296.4945 | 60641.427 | 59030.6565 | 1351550.692 | 1466349.9635 | 1417540.404 | 410950.0595 | 422191.299 | 426974.0502 | 142412.46 | 143552.2985 | 149161.8045 | 96415.357 | 104109.761 | 105355.7805 | 2137700.5786 | 2264739.9638 | 2208727.0676 | 661874.367 | 676400.194 | 675600.9575
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 166651.768 | 162723.9855 | 172190.8082 | 83414.4875 | 83163.844 | 86380.9885 | 3246222.2405 | 3145529.9438 | 3483462.727 | 718621.782 | 724538.1767 | 808892.8017 | 121587.195 | 129110.2215 | 126869.3765 | 107571.342 | 108045.522 | 110614.0405 | 2889354.9506 | 2791815.7785 | 3057956.5249 | 710574.216 | 688405.067 | 777001.394
| hTAG 2 | 147274.5605 | 157283.049 | 157067.959 | 84997.255 | 82203.644 | 87157.8375 | 2954479.7077 | 3220177.867 | 3589075.75 | 664232.0171 | 719701.9105 | 800586.5985 | 123199.771 | 129781.4878 | 130452.1365 | 111321.8785 | 110327.366 | 119023.3475 | 2740589.4099 | 3050472.2895 | 3302419.4602 | 679004.6484 | 732460.2237 | 804395.8705
| hTAG 3 | 156419.3049 | 160990.0621 | 160487.6535 | 90463.565 | 83418.504 | 87178.4355 | 3357086.3495 | 3175354.9388 | 3269219.658 | 775008.5588 | 722762.7426 | 754118.7948 | 124373.374 | 128101.685 | 128645.707 | 112238.5355 | 103821.82 | 110862.8041 | 2891705.6952 | 2821282.845 | 2923394.9016 | 735237.4925 | 695764.546 | 733292.783
| hTAG 4 | 164110.9239 | 159933.615 | 152114.471 | 86641.4305 | 82142.254 | 82742.8625 | 3321467.1495 | 3167522.4113 | 3135658.3563 | 748800.1206 | 727876.7794 | 707408.6913 | 123191.0425 | 131817.804 | 128376.697 | 111476.0855 | 108632.2 | 115412.0285 | 3077530.305 | 2847625.428 | 2872374.6605 | 750875.5035 | 723132.25 | 704294.2722
| hTAG 5 | 153083.5559 | 157653.5425 | 150714.984 | 91622.1555 | 79829.875 | 83342.66 | 3319381.4985 | 3092405.9834 | 3328025.2339 | 719005.6391 | 747447.5143 | 717380.7317 | 129290.3125 | 127603.755 | 118418.7975 | 112739.8445 | 106860.2735 | 103549.9215 | 2944537.8647 | 2773789.917 | 2902604.3902 | 703253.2 | 720123.141 | 687261.1376
| hTAG 6 | 140089.248 | 145636.9069 | 139517.541 | 72216.253 | 70581.863 | 69907.9195 | 2680874.5235 | 2620573.2537 | 2573352.8809 | 610798.3097 | 612388.9761 | 605248.4161 | 138853.181 | 140266.5875 | 142291.447 | 112121.177 | 105737.3967 | 111967.6615 | 2887518.6075 | 2770205.5191 | 2804284.0787 | 725407.9686 | 739208.788 | 714655.639
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 114541.9635 | 116354.422 | 118631.207 | 70488.0345 | 69096.869 | 68228.024 | 1657846.4642 | 1536586.9893 | 1510234.3612 | 477880.759 | 434355.6818 | 442182.7815 | 156397.3485 | 156776.4845 | 155294.8805 | 121016.1811 | 114414.6325 | 118494.922 | 2873076.6871 | 2730393.505 | 2716640.981 | 830512.5189 | 775340.771 | 768077.3071
| T1D 2 | 138764.0945 | 124640.444 | 127785.418 | 78248.103 | 76770.001 | 80343.7825 | 1826589.4831 | 1769519.6846 | 1695582.2811 | 519004.5493 | 511327.1072 | 498310.2462 | 131865.2256 | 131128.839 | 132933.4435 | 108365.9942 | 104140.116 | 109455.2615 | 2510783.5915 | 2454905.5971 | 2395259.565 | 737176.5836 | 715035.8446 | 684415.9085
| T1D 3 | 126828.1226 | 124848.7112 | 125320.357 | 77629.662 | 80527.7806 | 76978.9925 | 1744687.2195 | 1701563.0183 | 1612166.8769 | 506446.4241 | 495243.8865 | 507244.9915 | 144191.5475 | 138794.2465 | 146336.93 | 109043.896 | 111740.6565 | 106757.242 | 2515881.7056 | 2580778.6635 | 2422811.514 | 751836.3975 | 728303.8875 | 729299.4745
| T1D 4 | 121059.4251 | 122951.4052 | 123752.7795 | 73324.7125 | 72722.646 | 73364.576 | 1615695.9857 | 1592239.8516 | 1581447.9511 | 491150.8508 | 460342.6838 | 465177.7911 | 132602.0545 | 132289.9295 | 135872.906 | 96783.399 | 100356.641 | 98621.6545 | 2275386.168 | 2263220.0802 | 2253609.6759 | 689191.2775 | 654984.821 | 662712.2305
| T1D 5 | 129035.7745 | 126287.3755 | 127864.0695 | 86800.463 | 79868.17 | 78468.9435 | 1946739.0994 | 1765747.3815 | 1767996.3605 | 565290.807 | 506452.7275 | 520530.5835 | 140753.8845 | 134324.958 | 137313.1865 | 115127.331 | 107616.6937 | 105370.678 | 2741288.9905 | 2463856.898 | 2473041.8246 | 755407.5713 | 705501.541 | 721858.164
| T1D 6 | 129376.3765 | 125273.5945 | 130488.5144 | 86227.4131 | 83175.2388 | 87889.491 | 1950958.4685 | 1807109.069 | 1745709.1054 | 569518.542 | 523109.239 | 517579.7375 | 129254.0355 | 130069.976 | 133612.8285 | 106876.583 | 106178.4034 | 106433.32 | 2617827.5432 | 2458095.4235 | 2323379.7525 | 751057.9022 | 695447.5435 | 687592.8735
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 97085.098 | 98533.5276 | 97694.0534 | 37057.1725 | 37493.5505 | 37474.302 | 1020196.467 | 967830.1044 | 1041828.333 | 335425.9495 | 327014.1727 | 350065.9514 | 151475.4625 | 155711.3575 | 160502.3655 | 104260.823 | 99854.9235 | 104052.207 | 2289732.1553 | 2158864.6219 | 2229808.2212 | 775750.924 | 789060.4356 | 806304.522
| yA-A 2 | 97824.339 | 101181.4156 | 103273.746 | 41105.2096 | 39078.6615 | 38928.631 | 1112275.364 | 991360.3959 | 1043558.7273 | 356547.202 | 348172.1345 | 355141.3388 | 148821.0595 | 152236.7045 | 156558.8375 | 105597.8155 | 101087.424 | 96869.9355 | 2279182.1567 | 2072233.1981 | 2168486.3691 | 773645.051 | 771968.8775 | 790170.2464
| yA-A 3 | 99257.6426 | 101187.4998 | 101251.5856 | 38974.4141 | 34329.031 | 38808.872 | 1011332.9045 | 1020773.382 | 1097520.0705 | 333027.6125 | 345048.3894 | 359042.3963 | 148966.1245 | 154925.4235 | 154751.121 | 104614.273 | 99526.6611 | 100086.2285 | 2134242.3713 | 2112667.5815 | 2299007.6344 | 734150.4546 | 791292.036 | 795936.6101
| yA-A 4 | 97430.903 | 102139.0509 | 102900.9723 | 37885.4105 | 38946.701 | 44063.724 | 1054649.2806 | 1014266.1475 | 1144002.9017 | 349506.1123 | 352941.6506 | 363287.994 | 146277.4315 | 152716.481 | 158058.5675 | 97853.5085 | 97707.356 | 107087.7155 | 2114169.128 | 2075437.2245 | 2291328.181 | 744974.0085 | 760384.578 | 799216.0979
| yA-A 5 | 96699.3773 | 104493.6305 | 99653.839 | 39041.5405 | 38224.6625 | 39165.8405 | 976905.6585 | 1061203.4313 | 1082756.957 | 330891.687 | 358753.4889 | 353532.6257 | 146450.3985 | 155806.9745 | 151182.4375 | 98239.459 | 104607.5845 | 102150.0195 | 2037644.643 | 2169746.6345 | 2195063.5945 | 739806.169 | 790721.2245 | 782393.1832
| yA-A 6 | 102413.454 | 103752.7323 | 106703.073 | 42261.601 | 41053.5925 | 43928.9625 | 1078392.2085 | 1084891.5129 | 1178996.3276 | 354486.6977 | 374216.4389 | 386375.5593 | 146891.93 | 154382.3405 | 151107.9315 | 99948.8115 | 100563.8945 | 103570.4535 | 2111101.097 | 2107721.2825 | 2266472.763 | 740561.711 | 748009.8637 | 790701.7435
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard.
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LLQC 1 | 50090.2615 | 51923.1525 | 52475.493 | 19368.2147 | 18151.03 | 20328.181 | 556661.327 | 538022.1784 | 536343.6782 | 171144.2941 | 166064.411 | 159981.7298 | 150353.627 | 152810.8905 | 151949.491 | 90001.4975 | 86058.431 | 90094.338 | 2079142.9901 | 2062506.9534 | 2051830.1791 | 677445.738 | 669328.3449 | 656218.1145
| LLQC 2 | 52361.4135 | 52970.9804 | 51695.892 | 18934.78 | 18663.461 | 18836.451 | 519338.368 | 510273.5155 | 498839.36 | 161699.8126 | 157035.6651 | 154451.2639 | 139216.686 | 148857.8445 | 145287.1205 | 82887.179 | 79596.538 | 82246.3765 | 1852729.671 | 1844656.837 | 1752327.8163 | 607793.1205 | 612077.0145 | 576827.7715
| LLQC 3 | 52920.8215 | 54917.4035 | 54137.7035 | 19700.24 | 21392.2405 | 20195.4405 | 568675.606 | 575546.343 | 518323.5945 | 175790.5865 | 172891.047 | 157441.2025 | 143597.107 | 146368.202 | 149101.267 | 88848.7085 | 88758.074 | 85213.525 | 2078885.368 | 2098359.7661 | 1922988.6115 | 652513.741 | 669751.3505 | 613387.7825
| LLQC 4 | 51440.5725 | 49863.756 | 49396.2193 | 16998.52 | 18425.9705 | 18840.361 | 504886.74 | 499015.7045 | 495565.7265 | 155937.8205 | 153719.4129 | 155439.242 | 139519.1299 | 146461.273 | 148215.393 | 83787.676 | 85460.206 | 84384.528 | 1921520.544 | 1896471.3071 | 1962522.4443 | 616306.2255 | 616916.5995 | 635916.07
| LLQC 5 | 55311.392 | 59285.014 | 52879.1925 | 20581.44 | 20961.831 | 20353.5605 | 531444.63 | 536668.9175 | 538734.8923 | 169146.5833 | 168949.8615 | 165248.3935 | 146935.4245 | 154873.541 | 148079.508 | 81135.06 | 86294.785 | 89708.6365 | 1882246.3141 | 1883633.9115 | 1885571.3353 | 633745.1375 | 637048.4775 | 624244.8245
| LLQC 6 | 54679.224 | 62051.2525 | 51018.592 | 18668.151 | 20719.481 | 19397.7705 | 520897.0011 | 517982.4055 | 513605.1715 | 165986.1775 | 162690.762 | 155956.159 | 157681.303 | 156192.148 | 148316.611 | 83082.9975 | 91447.0775 | 89026.3465 | 2021339.5028 | 1993132.678 | 1979774.2485 | 668924.392 | 627676.562 | 635954.52
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LQC 1 | 72496.635 | 72026.087 | 75770.9785 | 29793.862 | 25984.4105 | 29922.631 | 765733.2919 | 751444.3146 | 812674.464 | 231079.162 | 231695.7177 | 229295.1223 | 161598.5535 | 170311.023 | 168040.457 | 99369.4775 | 88347.547 | 98739.685 | 2174118.4484 | 2147699.896 | 2261013.2406 | 691493.1288 | 709975.3147 | 701981.6465
| LQC 2 | 68594.8335 | 72852.7975 | 73366.7975 | 27414.901 | 27156.7056 | 29138.3605 | 701517.269 | 742259.2138 | 703786.9605 | 214331.7429 | 229095.0408 | 216013.7575 | 145244.67 | 160447.9455 | 156152.212 | 90290.3075 | 88350.6775 | 91182.0258 | 1951154.8397 | 2029476.47 | 1957425.222 | 632356.8276 | 683425.4115 | 642423.998
| LQC 3 | 78526.437 | 78702.1616 | 79832.1168 | 27661.371 | 29454.3215 | 29634.1815 | 751390.1981 | 789154.7219 | 778695.5507 | 233221.5728 | 246068.7534 | 248673.0145 | 154370.9756 | 159718.958 | 159819.341 | 85494.903 | 93339.7165 | 87145.37 | 1926727.248 | 2024428.359 | 1986025.0113 | 645055.4017 | 652703.8051 | 662335.7636
| LQC 4 | 80044.2931 | 78944.815 | 81077.198 | 29933.1115 | 31823.6625 | 30654.511 | 786024.374 | 812986.258 | 824361.646 | 246538.5513 | 240013.3475 | 264489.559 | 153350.42 | 155968.1025 | 157594.5335 | 85992.1215 | 92478.2235 | 90089.0535 | 1893134.6617 | 1942040.294 | 2037842.5103 | 636749.808 | 641229.5945 | 661294.487
| LQC 5 | 71646.9682 | 67635.304 | 73827.1345 | 24791.341 | 26845.242 | 27881.671 | 681893.327 | 722553.949 | 712516.9077 | 215928.7538 | 223104.666 | 214570.1125 | 164815.3745 | 160395.633 | 165874.49 | 88120.564 | 91833.201 | 93927.8195 | 1988047.593 | 2104810.6465 | 1988854.5815 | 657632.5695 | 682548.6517 | 674137.6063
| LQC 6 | 89745.1705 | 93019.6051 | 92370.0305 | 34482.022 | 39554.373 | 37771.042 | 892392.7014 | 929117.2235 | 975905.3773 | 276919.5812 | 274960.683 | 293797.26 | 158133.6945 | 164751.0855 | 167017.495 | 92420.688 | 99698.7425 | 98131.787 | 1997472.035 | 2136823.9643 | 2197795.2568 | 663342.049 | 678061.1653 | 683890.9505
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 129136.5865 | 130260.0153 | 129286.9225 | 62342.5932 | 64200.862 | 61057.1625 | 1689751.218 | 1724674.9026 | 1817732.635 | 499517.9585 | 496963.5795 | 503660.9908 | 156083.0235 | 151930.667 | 151452.0455 | 107599.7895 | 105241 | 109197.0365 | 2535586.7133 | 2556722.1497 | 2603367.6617 | 778649.298 | 779540.2211 | 797362.6205
| MQC 2 | 130252.0765 | 123458.538 | 127537.2206 | 62148.5575 | 63136.6385 | 60497.8193 | 1622632.8076 | 1676525.1311 | 1784531.8715 | 480294.7081 | 478412.4324 | 487658.2247 | 139303.8505 | 132153.1705 | 135569.887 | 98095.6915 | 94426.7505 | 102522.8415 | 2104308.3833 | 2160076.111 | 2232320.4336 | 670541.784 | 642521.7155 | 663966.859
| MQC 3 | 138116.811 | 138832.056 | 146210.798 | 74864.1045 | 71509.257 | 77140.7135 | 1884010.147 | 1839978.7513 | 1965165.2451 | 525660.2841 | 531229.0464 | 548147.2371 | 135108.642 | 134749.018 | 142593.591 | 104118.119 | 105324.6365 | 104722.6225 | 2288930.2545 | 2264107.5315 | 2275006.2015 | 687130.7214 | 697179.8944 | 702610.3582
| MQC 4 | 150222.806 | 145110.5424 | 152477.917 | 82367.695 | 79261.5179 | 80785.211 | 2341893.546 | 2028585.93 | 2212466.2432 | 621553.682 | 568314.183 | 603271.9173 | 141844.2925 | 139015.0235 | 141098.938 | 114075.403 | 109250.479 | 108630.0445 | 2698364.9402 | 2381125.237 | 2546366.7956 | 770755.348 | 719312.389 | 750692.114
| MQC 5 | 142897.9112 | 143618.47 | 145262.9459 | 77946.622 | 75490.769 | 75022.7085 | 2240837.3948 | 2004780.0085 | 1953234.6625 | 607262.2719 | 550396.6799 | 550298.2086 | 141989.761 | 139311.128 | 140570.1325 | 110185.7255 | 104816.4635 | 103742.142 | 2726364.2285 | 2388425.898 | 2360141.7018 | 785124.8565 | 690753.8545 | 702295.183
| MQC 6 | 138975.716 | 154210.8885 | 152336.7965 | 79603.922 | 78365.542 | 83207.514 | 2114130.8175 | 2062464.176 | 2130515.7711 | 564153.0731 | 590413.961 | 601189.873 | 133021.3364 | 139865.7895 | 142221.7485 | 106871.2586 | 111207.5135 | 108921.1855 | 2440621.23 | 2369236.8231 | 2439142.4355 | 708686.3495 | 700787.825 | 730144.845
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HQC 1 | 176225.461 | 176746.67 |  | 126804.799 | 129515.4445 |  | 2209291.5297 | 2182308.4059 |  | 1004152.5215 | 973868.5028 |  | 151750.9755 | 151734.77 |  | 97381.328 | 100648.692 |  | 2401144.062 | 2367915.401 |  | 728517.9076 | 693403.0775
| HQC 2 | 202727.1535 | 205069.958 |  | 148467.091 | 162570.315 |  | 2583718.464 | 2720254.5735 |  | 1159718.6852 | 1187329.316 |  | 145113.6805 | 146478.9821 |  | 102342.496 | 109636.0255 |  | 2264491.9706 | 2463028.3673 |  | 718287.659 | 734348.524
| HQC 3 | 204226.0723 | 206986.081 |  | 145845.46 | 155570.943 |  | 2638434.712 | 2695051.7165 |  | 1132585.9675 | 1161772.2474 |  | 148405.449 | 149647.1395 |  | 100650.208 | 109438.26 |  | 2352495.396 | 2479344.6315 |  | 721510.6685 | 734707.129
| HQC 4 | 205213.7227 | 212550.075 |  | 156612.3255 | 162840.426 |  | 2628163.0473 | 2791239.8084 |  | 1198328.4977 | 1213149.227 |  | 148792.3625 | 148068.0695 |  | 107367.172 | 109325.425 |  | 2413468.8582 | 2501787.9847 |  | 729534.943 | 747573.5375
| HQC 5 | 202367.688 | 212993.5655 | 207889.2631 | 160572.0395 | 167114.12 | 150649.9515 | 2664351.4968 | 2726770.565 | 2642766.8924 | 1176184.8925 | 1178841.4418 | 1168700.6892 | 142404.6555 | 146449.7475 | 143684.0675 | 104808.4815 | 111173.13 | 102932.52 | 2304012.4135 | 2359698.1295 | 2287181.2369 | 707631.8778 | 694674.033 | 708083.0562
| HQC 6 | 200395.9235 | 208757.9801 | 209132.0655 | 153147.396 | 146173.8505 | 148850.5735 | 2429270.4127 | 2498428.743 | 2509402.9345 | 1142759.1513 | 1171805.7471 | 1163249.0415 | 150100.1015 | 151918.0325 | 152220.623 | 109999.308 | 106198.071 | 103559.6915 | 2320540.275 | 2496851.3292 | 2396365.4273 | 720922.9444 | 744841.2423 | 748018.9265
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HLQC 1 | 274752.79 | 277299.0816 | 269898.287 | 256678.959 | 248843.8914 | 253565.323 | 4353195.1124 | 4004083.7849 | 4059277.1795 | 2160260.3121 | 1977289.048 | 2062643.1117 | 141206.8625 | 138955.798 | 138389.3115 | 103063.558 | 101125.594 | 105786.412 | 2820876.1365 | 2538083.8155 | 2697965.937 | 807570.4135 | 772077.6875 | 770073.8325
| HLQC 2 | 269213.1606 | 271186.9375 | 266224.628 | 232114.481 | 223429.2325 | 223547.6845 | 3410681.9768 | 3361623.8664 | 3374830.6286 | 1843655.2595 | 1774803.4736 | 1790019.903 | 140480.9685 | 138366.823 | 136468.8775 | 100536.6715 | 93092.2365 | 93179.475 | 2226530.0774 | 2257929.1539 | 2262429.5955 | 696086.2535 | 703588.7051 | 687439.125
| HLQC 3 | 276330.3455 | 269125.2858 | 266688.8632 | 251786.2757 | 253228.4365 | 246757.8665 | 3572259.98 | 3802729.0419 | 3467614.783 | 1861294.9205 | 1964146.3043 | 1786446.656 | 152675.1455 | 147325.1505 | 148244.054 | 107351.0125 | 112117.917 | 109207.352 | 2500316.3583 | 2662445.5427 | 2448501.2749 | 749168.248 | 778904.9376 | 741590.4395
| HLQC 4 | 266180.3095 | 269345.522 | 268522.267 | 225449.86 | 239060.894 | 237119.9185 | 3283748.1195 | 3578357.6788 | 3774129.0533 | 1756947.0949 | 1785528.8794 | 1876703.853 | 147120.8525 | 148924.0625 | 148227.626 | 101115.826 | 110297.758 | 103573.711 | 2323217.6673 | 2608245.1045 | 2688441.684 | 726855.486 | 750343.6355 | 788701.6296
| HLQC 5 | 253843.7555 | 258828.2067 | 254480.9401 | 212243.425 | 228290.3885 | 213931.871 | 3059414.5222 | 3356200.1943 | 3355795.5748 | 1634443.7768 | 1719974.7635 | 1722497.3855 | 142136.909 | 140274.3005 | 138185.7795 | 100259.584 | 102444.519 | 97419.9195 | 2212306.8265 | 2452357.6849 | 2424734.0556 | 691414.083 | 712349.752 | 722657.7125
| HLQC 6 | 247929.435 | 259793.4738 | 251904.3763 | 211714.0565 | 216769.9815 | 213245.4592 | 3085354.0765 | 3385528.8508 | 3098974.2621 | 1676918.998 | 1690638.2354 | 1623304.125 | 141489.854 | 144464.5325 | 141677.345 | 100887.5675 | 101287.1242 | 98880.9675 | 2274186.2165 | 2505911.4882 | 2322400.2695 | 708991.33 | 738941.7885 | 710669.3545
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Blank | 126269.0025 | 129062.445 | 128633.6555 | 62223.404 | 61020.9306 | 62701.136 | 1614998.2481 | 1582658.7224 | 1523568.8156 | 477770.3214 | 458044.0175 | 450248.7605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Blank | 142873.63 | 138168.3585 | 147574.1795 | 71085.4635 | 75022.1135 | 80735.006 | 1843310.9265 | 1833556.22 | 1837831.3066 | 541028.4654 | 546843.7412 | 539858.4879 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Blank | 132423.324 | 132179.546 | 130608.8865 | 68551.589 | 66336.167 | 65820.572 | 1643913.286 | 1690838.4217 | 1661754.4195 | 498704.0447 | 489990.9113 | 494224.8794 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Raw Peak Areas
Sample Name |  | Cer d18:1/16:0 | Cer d18:1/18:0 | Cer d18:1/24:0 | Cer d18:1/24:1 | D7-Cer d18:1/16:0 | D7 Cer d:18:1/18:0 | D7 Cer d18:1/24:0 | D7 Cer d18:1/24:1
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Std 1 | Std curve #1, Inj#1 | 8241964.2273 | 13613662.644 | 104330853.7751 | 106197588.9 | 456439.0095 | 530346.4995 | 9716055.3308 | 3423432.0329
Std 2 |  | 2671945.693 | 5395160.7891 | 58226788.2532 | 56352301.5207 | 316877.2655 | 449712.3965 | 11235416.496 | 3710938.0535
Std 3 |  | 215328.308 | 405016.7395 | 6412597.0164 | 5734928.5585 | 285018.8375 | 356946.897 | 12529094.9638 | 3964926.694
Std 4 |  | 37221.661 | 68871.7755 | 1156351.5975 | 1027110.275 | 240637.6245 | 289316.87 | 11011721.5125 | 3346957.3725
Std 5 |  | 17666.92 | 35903.4915 | 550943.9755 | 437109.1545 | 219592.0715 | 288553.5185 | 10530774.2569 | 2980525.321
Std 6 |  | 11803.7 | 22775.331 | 387195.284 | 299557.0085 | 195851.4465 | 258408.543 | 9427214.3651 | 2699914.6901
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Std 1 | Std curve #1, Inj#2 | 2395983.6265 | 4647593.832 | 69725656.7547 | 57397409.2534 | 136081.363 | 175441.073 | 6315292.999 | 1788451.892
Std 2 |  | 1076704.014 | 1842107.9977 | 32379914.9917 | 26453745.975 | 134459.4825 | 143766.0771 | 6202876.9906 | 1800985.3045
Std 3 |  | 103322.711 | 171861.152 | 3059743.5352 | 2476100.9945 | 139157.3235 | 144456.8045 | 6028564.282 | 1725388.5866
Std 4 |  | 21333.4305 | 30899.541 | 569724.648 | 458990.8525 | 133335.5235 | 129392.207 | 5479171.8805 | 1567784.8915
Std 5 |  | 11583.66 | 18010.7 | 274895.7436 | 215728.758 | 141304.9765 | 133788.018 | 5404967.6077 | 1535972.982
Std 6 |  | 7385.05 | 12337.95 | 197971.327 | 156073.219 | 145067.94 | 131249.1655 | 4887928.807 | 1416197.195
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Std 1 | Std curve #1, Inj#3 | 2167422.4565 | 2862447.3065 | 49447157.3414 | 40861327.804 | 131012.725 | 111117.4916 | 4385985.145 | 1291670.0485
Std 2 |  | 1030857.404 | 1590645.344 | 24162269.627 | 19525029.4519 | 128739.313 | 125924.8325 | 4524594.787 | 1316901.868
Std 3 |  | 94166.18 | 146377.7385 | 2050039.7654 | 1594226.121 | 125083.343 | 125255.6715 | 3999758.503 | 1126408.216
Std 4 |  | 17235.29 | 25926.591 | 374956.6715 | 300321.1555 | 112047.655 | 108323.2715 | 3637859.898 | 1041388.3994
Std 5 |  | 9453.94 | 13146.54 | 188235.0267 | 152880.083 | 121009.6985 | 103347.65 | 3587625.3143 | 1067739.5098
Std 6 |  | 6839.34 | 10338.77 | 142706.6645 | 116956.4975 | 125797.4805 | 108081.2495 | 3680959.4478 | 1074422.2815
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Std 1 | Std curve #2, Inj#1 | 1809138.8732 | 2435362.0295 | 41678328.1485 | 34553835.7549 | 121857.9505 | 101404.137 | 4145488.961 | 1231637.522
Std 2 |  | 910322.2369 | 1183314.1155 | 17802223.9011 | 14412170.3032 | 123708.383 | 98005.1615 | 3430140.0935 | 989084.5255
Std 3 |  | 90161.852 | 117374.834 | 1485598.8286 | 1249027.0575 | 118040.2609 | 95023.3175 | 2946563.931 | 863741.996
Std 4 |  | 17055.37 | 23804.41 | 288516.24 | 242254.868 | 123202.1895 | 101938.951 | 2902386.2704 | 892997.41
Std 5 |  | 9924.93 | 12553.52 | 155937.081 | 122366.8445 | 117881.5185 | 99179.0005 | 2954260.585 | 853499.7783
Std 6 |  | 6953.6 | 10568.17 | 117344.587 | 95754.3455 | 113796.7285 | 101421.708 | 2850050.3907 | 832630.6921
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Std 1 | Std curve #2, Inj#2 | 1663157.3933 | 2316338.134 | 36911756.8965 | 29460500.3832 | 112442.124 | 96883.0665 | 3669330.296 | 1023854.9275
Std 2 |  | 867797.1675 | 1267825.3505 | 17599820.1088 | 13910194.3497 | 115082.4068 | 103422.9035 | 3386587.7037 | 953762.9
Std 3 |  | 83319.3005 | 119972.34 | 1390809.7585 | 1170570.9991 | 113796.1555 | 96657.9945 | 2706737.1835 | 813600.6595
Std 4 |  | 17236.35 | 21628.25 | 258571.5465 | 222102.5025 | 115780.511 | 96064.6265 | 2667265.665 | 813459.5705
Std 5 |  | 8441.28 | 10782.93 | 126337.8385 | 110819.03 | 110782.4645 | 88093.312 | 2463989.302 | 759668.033
Std 6 |  | 7222.14 | 9603.05 | 100162.2345 | 88907.298 | 112139.021 | 89438.2195 | 2534921.9887 | 747069.7881
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Std 1 | Std curve #2, Inj#3 | 1772980.1865 | 2251778.0024 | 35264785.705 | 29467262.054 | 120128.7895 | 97701.526 | 3432712.107 | 1014430.1669
Std 2 |  | 858491.5865 | 1146271.9085 | 15246909.521 | 12344046.5421 | 116409.792 | 96356.268 | 2984895.828 | 850139.5835
Std 3 |  | 86571.826 | 110851.0228 | 1222464.3385 | 1055145.0805 | 117044.107 | 91822.8895 | 2347357.5909 | 736668.835
Std 4 |  | 16856.97 | 22406.501 | 248140.612 | 205265.853 | 116707.685 | 95542.4635 | 2533612.0883 | 766423.8155
Std 5 |  | 9722.63 | 11307.37 | 129800.8915 | 110346.901 | 112464.4325 | 95290.481 | 2452867.682 | 754180.8612
Std 6 |  | 7258.28 | 9735.69 | 95788.137 | 86196.503 | 115646.1959 | 95867.1155 | 2372110.3421 | 725817.835
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 1 | Inj#1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 1 | Inj#2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 1 | Inj#3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Blank 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST TD1 1 | Inj#1 | 114541.9635 | 70488.0345 | 1657846.4642 | 477880.759 | 156397.3485 | 121016.1811 | 2873076.6871 | 830512.5189
NIST TD1 2 |  | 138764.0945 | 78248.103 | 1826589.4831 | 519004.5493 | 131865.2256 | 108365.9942 | 2510783.5915 | 737176.5836
NIST TD1 3 |  | 126828.1226 | 77629.662 | 1744687.2195 | 506446.4241 | 144191.5475 | 109043.896 | 2515881.7056 | 751836.3975
NIST TD1 4 |  | 121059.4251 | 73324.7125 | 1615695.9857 | 491150.8508 | 132602.0545 | 96783.399 | 2275386.168 | 689191.2775
NIST TD1 5 |  | 129035.7745 | 86800.463 | 1946739.0994 | 565290.807 | 140753.8845 | 115127.331 | 2741288.9905 | 755407.5713
NIST TD1 6 |  | 129376.3765 | 86227.4131 | 1950958.4685 | 569518.542 | 129254.0355 | 106876.583 | 2617827.5432 | 751057.9022
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST TD1 1 | Inj#2 | 116354.422 | 69096.869 | 1536586.9893 | 434355.6818 | 156776.4845 | 114414.6325 | 2730393.505 | 775340.771
NIST TD1 2 |  | 124640.444 | 76770.001 | 1769519.6846 | 511327.1072 | 131128.839 | 104140.116 | 2454905.5971 | 715035.8446
NIST TD1 3 |  | 124848.7112 | 80527.7806 | 1701563.0183 | 495243.8865 | 138794.2465 | 111740.6565 | 2580778.6635 | 728303.8875
NIST TD1 4 |  | 122951.4052 | 72722.646 | 1592239.8516 | 460342.6838 | 132289.9295 | 100356.641 | 2263220.0802 | 654984.821
NIST TD1 5 |  | 126287.3755 | 79868.17 | 1765747.3815 | 506452.7275 | 134324.958 | 107616.6937 | 2463856.898 | 705501.541
NIST TD1 6 |  | 125273.5945 | 83175.2388 | 1807109.069 | 523109.239 | 130069.976 | 106178.4034 | 2458095.4235 | 695447.5435
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST TD1 1 | Inj#3 | 118631.207 | 68228.024 | 1510234.3612 | 442182.7815 | 155294.8805 | 118494.922 | 2716640.981 | 768077.3071
NIST TD1 2 |  | 127785.418 | 80343.7825 | 1695582.2811 | 498310.2462 | 132933.4435 | 109455.2615 | 2395259.565 | 684415.9085
NIST TD1 3 |  | 125320.357 | 76978.9925 | 1612166.8769 | 507244.9915 | 146336.93 | 106757.242 | 2422811.514 | 729299.4745
NIST TD1 4 |  | 123752.7795 | 73364.576 | 1581447.9511 | 465177.7911 | 135872.906 | 98621.6545 | 2253609.6759 | 662712.2305
NIST TD1 5 |  | 127864.0695 | 78468.9435 | 1767996.3605 | 520530.5835 | 137313.1865 | 105370.678 | 2473041.8246 | 721858.164
NIST TD1 6 |  | 130488.5144 | 87889.491 | 1745709.1054 | 517579.7375 | 133612.8285 | 106433.32 | 2323379.7525 | 687592.8735
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST hTAG 1 | Inj#1 | 166651.768 | 83414.4875 | 3246222.2405 | 718621.782 | 121587.195 | 107571.342 | 2889354.9506 | 710574.216
NIST hTAG 2 |  | 147274.5605 | 84997.255 | 2954479.7077 | 664232.0171 | 123199.771 | 111321.8785 | 2740589.4099 | 679004.6484
NIST hTAG 3 |  | 156419.3049 | 90463.565 | 3357086.3495 | 775008.5588 | 124373.374 | 112238.5355 | 2891705.6952 | 735237.4925
NIST hTAG 4 |  | 164110.9239 | 86641.4305 | 3321467.1495 | 748800.1206 | 123191.0425 | 111476.0855 | 3077530.305 | 750875.5035
NIST hTAG 5 |  | 153083.5559 | 91622.1555 | 3319381.4985 | 719005.6391 | 129290.3125 | 112739.8445 | 2944537.8647 | 703253.2
NIST hTAG 6 |  | 140089.248 | 72216.253 | 2680874.5235 | 610798.3097 | 138853.181 | 112121.177 | 2887518.6075 | 725407.9686
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST hTAG 1 | Inj#2 | 162723.9855 | 83163.844 | 3145529.9438 | 724538.1767 | 129110.2215 | 108045.522 | 2791815.7785 | 688405.067
NIST hTAG 2 |  | 157283.049 | 82203.644 | 3220177.867 | 719701.9105 | 129781.4878 | 110327.366 | 3050472.2895 | 732460.2237
NIST hTAG 3 |  | 160990.0621 | 83418.504 | 3175354.9388 | 722762.7426 | 128101.685 | 103821.82 | 2821282.845 | 695764.546
NIST hTAG 4 |  | 159933.615 | 82142.254 | 3167522.4113 | 727876.7794 | 131817.804 | 108632.2 | 2847625.428 | 723132.25
NIST hTAG 5 |  | 157653.5425 | 79829.875 | 3092405.9834 | 747447.5143 | 127603.755 | 106860.2735 | 2773789.917 | 720123.141
NIST hTAG 6 |  | 145636.9069 | 70581.863 | 2620573.2537 | 612388.9761 | 140266.5875 | 105737.3967 | 2770205.5191 | 739208.788
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST hTAG 1 | Inj#3 | 172190.8082 | 86380.9885 | 3483462.727 | 808892.8017 | 126869.3765 | 110614.0405 | 3057956.5249 | 777001.394
NIST hTAG 2 |  | 157067.959 | 87157.8375 | 3589075.75 | 800586.5985 | 130452.1365 | 119023.3475 | 3302419.4602 | 804395.8705
NIST hTAG 3 |  | 160487.6535 | 87178.4355 | 3269219.658 | 754118.7948 | 128645.707 | 110862.8041 | 2923394.9016 | 733292.783
NIST hTAG 4 |  | 152114.471 | 82742.8625 | 3135658.3563 | 707408.6913 | 128376.697 | 115412.0285 | 2872374.6605 | 704294.2722
NIST hTAG 5 |  | 150714.984 | 83342.66 | 3328025.2339 | 717380.7317 | 118418.7975 | 103549.9215 | 2902604.3902 | 687261.1376
NIST hTAG 6 |  | 139517.541 | 69907.9195 | 2573352.8809 | 605248.4161 | 142291.447 | 111967.6615 | 2804284.0787 | 714655.639
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST yAA 1 | Inj#1 | 97085.098 | 37057.1725 | 1020196.467 | 335425.9495 | 151475.4625 | 104260.823 | 2289732.1553 | 775750.924
NIST yAA 2 |  | 97824.339 | 41105.2096 | 1112275.364 | 356547.202 | 148821.0595 | 105597.8155 | 2279182.1567 | 773645.051
NIST yAA 3 |  | 99257.6426 | 38974.4141 | 1011332.9045 | 333027.6125 | 148966.1245 | 104614.273 | 2134242.3713 | 734150.4546
NIST yAA 4 |  | 97430.903 | 37885.4105 | 1054649.2806 | 349506.1123 | 146277.4315 | 97853.5085 | 2114169.128 | 744974.0085
NIST yAA 5 |  | 96699.3773 | 39041.5405 | 976905.6585 | 330891.687 | 146450.3985 | 98239.459 | 2037644.643 | 739806.169
NIST yAA 6 |  | 102413.454 | 42261.601 | 1078392.2085 | 354486.6977 | 146891.93 | 99948.8115 | 2111101.097 | 740561.711
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST yAA 1 | Inj#2 | 98533.5276 | 37493.5505 | 967830.1044 | 327014.1727 | 155711.3575 | 99854.9235 | 2158864.6219 | 789060.4356
NIST yAA 2 |  | 101181.4156 | 39078.6615 | 991360.3959 | 348172.1345 | 152236.7045 | 101087.424 | 2072233.1981 | 771968.8775
NIST yAA 3 |  | 101187.4998 | 34329.031 | 1020773.382 | 345048.3894 | 154925.4235 | 99526.6611 | 2112667.5815 | 791292.036
NIST yAA 4 |  | 102139.0509 | 38946.701 | 1014266.1475 | 352941.6506 | 152716.481 | 97707.356 | 2075437.2245 | 760384.578
NIST yAA 5 |  | 104493.6305 | 38224.6625 | 1061203.4313 | 358753.4889 | 155806.9745 | 104607.5845 | 2169746.6345 | 790721.2245
NIST yAA 6 |  | 103752.7323 | 41053.5925 | 1084891.5129 | 374216.4389 | 154382.3405 | 100563.8945 | 2107721.2825 | 748009.8637
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST yAA 1 | Inj#3 | 97694.0534 | 37474.302 | 1041828.333 | 350065.9514 | 160502.3655 | 104052.207 | 2229808.2212 | 806304.522
NIST yAA 2 | 3 | 103273.746 | 38928.631 | 1043558.7273 | 355141.3388 | 156558.8375 | 96869.9355 | 2168486.3691 | 790170.2464
NIST yAA 3 |  | 101251.5856 | 38808.872 | 1097520.0705 | 359042.3963 | 154751.121 | 100086.2285 | 2299007.6344 | 795936.6101
NIST yAA 4 |  | 102900.9723 | 44063.724 | 1144002.9017 | 363287.994 | 158058.5675 | 107087.7155 | 2291328.181 | 799216.0979
NIST yAA 5 |  | 99653.839 | 39165.8405 | 1082756.957 | 353532.6257 | 151182.4375 | 102150.0195 | 2195063.5945 | 782393.1832
NIST yAA 6 |  | 106703.073 | 43928.9625 | 1178996.3276 | 386375.5593 | 151107.9315 | 103570.4535 | 2266472.763 | 790701.7435
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST SRM 1 | Inj#1 | 139673.7583 | 69988.4506 | 1624649.4118 | 470411.665 | 134609.2245 | 106799.541 | 2324751.4195 | 668308.9065
NIST SRM 2 |  | 147081.7475 | 77608.1225 | 1921826.2487 | 544069.123 | 146066.7335 | 115569.186 | 2696842.5645 | 770709.852
NIST SRM 3 |  | 142451.3392 | 68847.8235 | 1748655.5915 | 501711.2397 | 143937.442 | 110427.6155 | 2516181.7264 | 730287.4925
NIST SRM 4 |  | 145376.3499 | 70523.439 | 1766406.1791 | 527821.522 | 145337.652 | 109186.7075 | 2498772.127 | 752958.467
NIST SRM 5 |  | 143248.4275 | 63582.695 | 1644388.3859 | 482890.0032 | 144907.4835 | 100550.3395 | 2384250.0026 | 706179.9475
NIST SRM 6 |  | 130665.562 | 57296.4945 | 1351550.692 | 410950.0595 | 142412.46 | 96415.357 | 2137700.5786 | 661874.367
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST SRM 1 | Inj#2 | 139598.565 | 68685.453 | 1739418.5655 | 493674.5436 | 136645.2995 | 108707.647 | 2426648.7642 | 722098.289
NIST SRM 2 |  | 146214.6556 | 72410.259 | 1735955.3031 | 520727.101 | 138759.0265 | 110570.0805 | 2484403.4279 | 730253.234
NIST SRM 3 |  | 141976.5274 | 67167.748 | 1659959.416 | 484820.5482 | 145819.528 | 105986.954 | 2423145.0835 | 706358.5125
NIST SRM 4 |  | 148055.9493 | 73715.7475 | 1778448.1415 | 497859.9763 | 148120.8605 | 112453.335 | 2547955.7303 | 707804.5735
NIST SRM 5 |  | 141611.1691 | 69368.8775 | 1578415.95 | 465121.8037 | 140997.716 | 104623.124 | 2288508.5179 | 667926.2245
NIST SRM 6 |  | 134056.083 | 60641.427 | 1466349.9635 | 422191.299 | 143552.2985 | 104109.761 | 2264739.9638 | 676400.194
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NIST SRM 1 | Inj#3 | 144983.3265 | 71701.2687 | 1717433.0537 | 494226.897 | 144691.707 | 109435.4245 | 2399553.1851 | 695397.1255
NIST SRM 2 |  | 156842.5845 | 75584.923 | 1857562.4258 | 545402.554 | 151105.372 | 114417.6555 | 2560919.0423 | 747321.4602
NIST SRM 3 |  | 141677.6206 | 65521.123 | 1603227.4394 | 492857.1358 | 145093.6075 | 100954.1815 | 2280665.8853 | 709829.4935
NIST SRM 4 |  | 147482.2624 | 69659.258 | 1669958.2406 | 499236.5788 | 142651.8555 | 105691.2145 | 2348625.6315 | 700834.4412
NIST SRM 5 |  | 143572.198 | 71065.175 | 1677947.752 | 476053.6113 | 144051.672 | 109211.584 | 2402504.1051 | 683823.6112
NIST SRM 6 |  | 134699.9045 | 59030.6565 | 1417540.404 | 426974.0502 | 149161.8045 | 105355.7805 | 2208727.0676 | 675600.9575
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QC BLANK 1 | Inj#1 | 126269.0025 | 62223.404 | 1614998.2481 | 477770.3214 | 0 | 0 | 0 | 0
QC BLANK 2 |  | 142873.63 | 71085.4635 | 1843310.9265 | 541028.4654 | 0 | 0 | 0 | 0
QC BLANK 3 |  | 132423.324 | 68551.589 | 1643913.286 | 498704.0447 | 0 | 0 | 0 | 0
QC BLANK 1 | Inj#2 | 129062.445 | 61020.9306 | 1582658.7224 | 458044.0175 | 0 | 0 | 0 | 0
QC BLANK 2 |  | 138168.3585 | 75022.1135 | 1833556.22 | 546843.7412 | 0 | 0 | 0 | 0
QC BLANK 3 |  | 132179.546 | 66336.167 | 1690838.4217 | 489990.9113 | 0 | 0 | 0 | 0
QC BLANK 1 | Inj#3 | 128633.6555 | 62701.136 | 1523568.8156 | 450248.7605 | 0 | 0 | 0 | 0
QC BLANK 2 |  | 147574.1795 | 80735.006 | 1837831.3066 | 539858.4879 | 0 | 0 | 0 | 0
QC BLANK 3 |  | 130608.8865 | 65820.572 | 1661754.4195 | 494224.8794 | 0 | 0 | 0 | 0
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LLQC 1 | Inj#1 | 50090.2615 | 19368.2147 | 556661.327 | 171144.2941 | 150353.627 | 90001.4975 | 2079142.9901 | 677445.738
LLQC 2 |  | 52361.4135 | 18934.78 | 519338.368 | 161699.8126 | 139216.686 | 82887.179 | 1852729.671 | 607793.1205
LLQC 3 |  | 52920.8215 | 19700.24 | 568675.606 | 175790.5865 | 143597.107 | 88848.7085 | 2078885.368 | 652513.741
LLQC 4 |  | 51440.5725 | 16998.52 | 504886.74 | 155937.8205 | 139519.1299 | 83787.676 | 1921520.544 | 616306.2255
LLQC 5 |  | 55311.392 | 20581.44 | 531444.63 | 169146.5833 | 146935.4245 | 81135.06 | 1882246.3141 | 633745.1375
LLQC 6 |  | 54679.224 | 18668.151 | 520897.0011 | 165986.1775 | 157681.303 | 83082.9975 | 2021339.5028 | 668924.392
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LLQC 1 | Inj#2 | 51923.1525 | 18151.03 | 538022.1784 | 166064.411 | 152810.8905 | 86058.431 | 2062506.9534 | 669328.3449
LLQC 2 |  | 52970.9804 | 18663.461 | 510273.5155 | 157035.6651 | 148857.8445 | 79596.538 | 1844656.837 | 612077.0145
LLQC 3 |  | 54917.4035 | 21392.2405 | 575546.343 | 172891.047 | 146368.202 | 88758.074 | 2098359.7661 | 669751.3505
LLQC 4 |  | 49863.756 | 18425.9705 | 499015.7045 | 153719.4129 | 146461.273 | 85460.206 | 1896471.3071 | 616916.5995
LLQC 5 |  | 59285.014 | 20961.831 | 536668.9175 | 168949.8615 | 154873.541 | 86294.785 | 1883633.9115 | 637048.4775
LLQC 6 |  | 62051.2525 | 20719.481 | 517982.4055 | 162690.762 | 156192.148 | 91447.0775 | 1993132.678 | 627676.562
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LLQC 1 | Inj#3 | 52475.493 | 20328.181 | 536343.6782 | 159981.7298 | 151949.491 | 90094.338 | 2051830.1791 | 656218.1145
LLQC 2 |  | 51695.892 | 18836.451 | 498839.36 | 154451.2639 | 145287.1205 | 82246.3765 | 1752327.8163 | 576827.7715
LLQC 3 |  | 54137.7035 | 20195.4405 | 518323.5945 | 157441.2025 | 149101.267 | 85213.525 | 1922988.6115 | 613387.7825
LLQC 4 |  | 49396.2193 | 18840.361 | 495565.7265 | 155439.242 | 148215.393 | 84384.528 | 1962522.4443 | 635916.07
LLQC 5 |  | 52879.1925 | 20353.5605 | 538734.8923 | 165248.3935 | 148079.508 | 89708.6365 | 1885571.3353 | 624244.8245
LLQC 6 |  | 51018.592 | 19397.7705 | 513605.1715 | 155956.159 | 148316.611 | 89026.3465 | 1979774.2485 | 635954.52
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LQC 1 | Inj#1 | 72496.635 | 29793.862 | 765733.2919 | 231079.162 | 161598.5535 | 99369.4775 | 2174118.4484 | 691493.1288
LQC 2 |  | 68594.8335 | 27414.901 | 701517.269 | 214331.7429 | 145244.67 | 90290.3075 | 1951154.8397 | 632356.8276
LQC 3 |  | 78526.437 | 27661.371 | 751390.1981 | 233221.5728 | 154370.9756 | 85494.903 | 1926727.248 | 645055.4017
LQC 4 |  | 80044.2931 | 29933.1115 | 786024.374 | 246538.5513 | 153350.42 | 85992.1215 | 1893134.6617 | 636749.808
LQC 5 |  | 71646.9682 | 24791.341 | 681893.327 | 215928.7538 | 164815.3745 | 88120.564 | 1988047.593 | 657632.5695
LQC 6 |  | 89745.1705 | 34482.022 | 892392.7014 | 276919.5812 | 158133.6945 | 92420.688 | 1997472.035 | 663342.049
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LQC 1 | Inj#2 | 72026.087 | 25984.4105 | 751444.3146 | 231695.7177 | 170311.023 | 88347.547 | 2147699.896 | 709975.3147
LQC 2 |  | 72852.7975 | 27156.7056 | 742259.2138 | 229095.0408 | 160447.9455 | 88350.6775 | 2029476.47 | 683425.4115
LQC 3 |  | 78702.1616 | 29454.3215 | 789154.7219 | 246068.7534 | 159718.958 | 93339.7165 | 2024428.359 | 652703.8051
LQC 4 |  | 78944.815 | 31823.6625 | 812986.258 | 240013.3475 | 155968.1025 | 92478.2235 | 1942040.294 | 641229.5945
LQC 5 |  | 67635.304 | 26845.242 | 722553.949 | 223104.666 | 160395.633 | 91833.201 | 2104810.6465 | 682548.6517
LQC 6 |  | 93019.6051 | 39554.373 | 929117.2235 | 274960.683 | 164751.0855 | 99698.7425 | 2136823.9643 | 678061.1653
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LQC 1 | Inj#3 | 75770.9785 | 29922.631 | 812674.464 | 229295.1223 | 168040.457 | 98739.685 | 2261013.2406 | 701981.6465
LQC 2 |  | 73366.7975 | 29138.3605 | 703786.9605 | 216013.7575 | 156152.212 | 91182.0258 | 1957425.222 | 642423.998
LQC 3 |  | 79832.1168 | 29634.1815 | 778695.5507 | 248673.0145 | 159819.341 | 87145.37 | 1986025.0113 | 662335.7636
LQC 4 |  | 81077.198 | 30654.511 | 824361.646 | 264489.559 | 157594.5335 | 90089.0535 | 2037842.5103 | 661294.487
LQC 5 |  | 73827.1345 | 27881.671 | 712516.9077 | 214570.1125 | 165874.49 | 93927.8195 | 1988854.5815 | 674137.6063
LQC 6 |  | 92370.0305 | 37771.042 | 975905.3773 | 293797.26 | 167017.495 | 98131.787 | 2197795.2568 | 683890.9505
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MQC 1 | Inj#1 | 129136.5865 | 62342.5932 | 1689751.218 | 499517.9585 | 156083.0235 | 107599.7895 | 2535586.7133 | 778649.298
MQC 2 |  | 130252.0765 | 62148.5575 | 1622632.8076 | 480294.7081 | 139303.8505 | 98095.6915 | 2104308.3833 | 670541.784
MQC 3 |  | 138116.811 | 74864.1045 | 1884010.147 | 525660.2841 | 135108.642 | 104118.119 | 2288930.2545 | 687130.7214
MQC 4 |  | 150222.806 | 82367.695 | 2341893.546 | 621553.682 | 141844.2925 | 114075.403 | 2698364.9402 | 770755.348
MQC 5 |  | 142897.9112 | 77946.622 | 2240837.3948 | 607262.2719 | 141989.761 | 110185.7255 | 2726364.2285 | 785124.8565
MQC 6 |  | 138975.716 | 79603.922 | 2114130.8175 | 564153.0731 | 133021.3364 | 106871.2586 | 2440621.23 | 708686.3495
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MQC 1 | Inj#2 | 130260.0153 | 64200.862 | 1724674.9026 | 496963.5795 | 151930.667 | 105241 | 2556722.1497 | 779540.2211
MQC 2 |  | 123458.538 | 63136.6385 | 1676525.1311 | 478412.4324 | 132153.1705 | 94426.7505 | 2160076.111 | 642521.7155
MQC 3 |  | 138832.056 | 71509.257 | 1839978.7513 | 531229.0464 | 134749.018 | 105324.6365 | 2264107.5315 | 697179.8944
MQC 4 |  | 145110.5424 | 79261.5179 | 2028585.93 | 568314.183 | 139015.0235 | 109250.479 | 2381125.237 | 719312.389
MQC 5 |  | 143618.47 | 75490.769 | 2004780.0085 | 550396.6799 | 139311.128 | 104816.4635 | 2388425.898 | 690753.8545
MQC 6 |  | 154210.8885 | 78365.542 | 2062464.176 | 590413.961 | 139865.7895 | 111207.5135 | 2369236.8231 | 700787.825
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MQC 1 | Inj#3 | 129286.9225 | 61057.1625 | 1817732.635 | 503660.9908 | 151452.0455 | 109197.0365 | 2603367.6617 | 797362.6205
MQC 2 |  | 127537.2206 | 60497.8193 | 1784531.8715 | 487658.2247 | 135569.887 | 102522.8415 | 2232320.4336 | 663966.859
MQC 3 |  | 146210.798 | 77140.7135 | 1965165.2451 | 548147.2371 | 142593.591 | 104722.6225 | 2275006.2015 | 702610.3582
MQC 4 |  | 152477.917 | 80785.211 | 2212466.2432 | 603271.9173 | 141098.938 | 108630.0445 | 2546366.7956 | 750692.114
MQC 5 |  | 145262.9459 | 75022.7085 | 1953234.6625 | 550298.2086 | 140570.1325 | 103742.142 | 2360141.7018 | 702295.183
MQC 6 |  | 152336.7965 | 83207.514 | 2130515.7711 | 601189.873 | 142221.7485 | 108921.1855 | 2439142.4355 | 730144.845
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HQC 1 | Inj#1 | 176225.461 | 126804.799 | 2209291.5297 | 1004152.5215 | 151750.9755 | 97381.328 | 2401144.062 | 728517.9076
HQC 2 |  | 202727.1535 | 148467.091 | 2583718.464 | 1159718.6852 | 145113.6805 | 102342.496 | 2264491.9706 | 718287.659
HQC 3 |  | 204226.0723 | 145845.46 | 2638434.712 | 1132585.9675 | 148405.449 | 100650.208 | 2352495.396 | 721510.6685
HQC 4 |  | 205213.7227 | 156612.3255 | 2628163.0473 | 1198328.4977 | 148792.3625 | 107367.172 | 2413468.8582 | 729534.943
HQC 5 |  | 202367.688 | 160572.0395 | 2664351.4968 | 1176184.8925 | 142404.6555 | 104808.4815 | 2304012.4135 | 707631.8778
HQC 6 |  | 200395.9235 | 153147.396 | 2429270.4127 | 1142759.1513 | 150100.1015 | 109999.308 | 2320540.275 | 720922.9444
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HQC 1 | Inj#2 | 176746.67 | 129515.4445 | 2182308.4059 | 973868.5028 | 151734.77 | 100648.692 | 2367915.401 | 693403.0775
HQC 2 |  | 205069.958 | 162570.315 | 2720254.5735 | 1187329.316 | 146478.9821 | 109636.0255 | 2463028.3673 | 734348.524
HQC 3 |  | 206986.081 | 155570.943 | 2695051.7165 | 1161772.2474 | 149647.1395 | 109438.26 | 2479344.6315 | 734707.129
HQC 4 |  | 212550.075 | 162840.426 | 2791239.8084 | 1213149.227 | 148068.0695 | 109325.425 | 2501787.9847 | 747573.5375
HQC 5 |  | 212993.5655 | 167114.12 | 2726770.565 | 1178841.4418 | 146449.7475 | 111173.13 | 2359698.1295 | 694674.033
HQC 6 |  | 208757.9801 | 146173.8505 | 2498428.743 | 1171805.7471 | 151918.0325 | 106198.071 | 2496851.3292 | 744841.2423
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HQC 5 | Inj#3 | 207889.2631 | 150649.9515 | 2642766.8924 | 1168700.6892 | 143684.0675 | 102932.52 | 2287181.2369 | 708083.0562
HQC 6 |  | 209132.0655 | 148850.5735 | 2509402.9345 | 1163249.0415 | 152220.623 | 103559.6915 | 2396365.4273 | 748018.9265
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HLQC 1 | Inj#1 | 274752.79 | 256678.959 | 4353195.1124 | 2160260.3121 | 141206.8625 | 103063.558 | 2820876.1365 | 807570.4135
HLQC 2 |  | 269213.1606 | 232114.481 | 3410681.9768 | 1843655.2595 | 140480.9685 | 100536.6715 | 2226530.0774 | 696086.2535
HLQC 3 |  | 276330.3455 | 251786.2757 | 3572259.98 | 1861294.9205 | 152675.1455 | 107351.0125 | 2500316.3583 | 749168.248
HLQC 4 |  | 266180.3095 | 225449.86 | 3283748.1195 | 1756947.0949 | 147120.8525 | 101115.826 | 2323217.6673 | 726855.486
HLQC 5 |  | 253843.7555 | 212243.425 | 3059414.5222 | 1634443.7768 | 142136.909 | 100259.584 | 2212306.8265 | 691414.083
HLQC 6 |  | 247929.435 | 211714.0565 | 3085354.0765 | 1676918.998 | 141489.854 | 100887.5675 | 2274186.2165 | 708991.33
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HLQC 1 | Inj#2 | 277299.0816 | 248843.8914 | 4004083.7849 | 1977289.048 | 138955.798 | 101125.594 | 2538083.8155 | 772077.6875
HLQC 2 |  | 271186.9375 | 223429.2325 | 3361623.8664 | 1774803.4736 | 138366.823 | 93092.2365 | 2257929.1539 | 703588.7051
HLQC 3 |  | 269125.2858 | 253228.4365 | 3802729.0419 | 1964146.3043 | 147325.1505 | 112117.917 | 2662445.5427 | 778904.9376
HLQC 4 |  | 269345.522 | 239060.894 | 3578357.6788 | 1785528.8794 | 148924.0625 | 110297.758 | 2608245.1045 | 750343.6355
HLQC 5 |  | 258828.2067 | 228290.3885 | 3356200.1943 | 1719974.7635 | 140274.3005 | 102444.519 | 2452357.6849 | 712349.752
HLQC 6 |  | 259793.4738 | 216769.9815 | 3385528.8508 | 1690638.2354 | 144464.5325 | 101287.1242 | 2505911.4882 | 738941.7885
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HLQC 1 | Inj#3 | 269898.287 | 253565.323 | 4059277.1795 | 2062643.1117 | 138389.3115 | 105786.412 | 2697965.937 | 770073.8325
HLQC 2 |  | 266224.628 | 223547.6845 | 3374830.6286 | 1790019.903 | 136468.8775 | 93179.475 | 2262429.5955 | 687439.125
HLQC 3 |  | 266688.8632 | 246757.8665 | 3467614.783 | 1786446.656 | 148244.054 | 109207.352 | 2448501.2749 | 741590.4395
HLQC 4 |  | 268522.267 | 237119.9185 | 3774129.0533 | 1876703.853 | 148227.626 | 103573.711 | 2688441.684 | 788701.6296
HLQC 5 |  | 254480.9401 | 213931.871 | 3355795.5748 | 1722497.3855 | 138185.7795 | 97419.9195 | 2424734.0556 | 722657.7125
HLQC 6 |  | 251904.3763 | 213245.4592 | 3098974.2621 | 1623304.125 | 141677.345 | 98880.9675 | 2322400.2695 | 710669.3545
BLANK (2:8 EtAc:IPA) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0