## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary | This protocol describes the extraction and LC-MRM procedure for absolute quantification of Cer d18:1/16:0, Cer d18:1/18:0, Cer d18:1/24:0 and Cer d18:1/24:1 in human plasma according to Kauhanen et al, Anal Bioanal Chem (2016) 408:3475–3483.
A calibration curve is built by injecting several dilutions of the non-labelled standards mixed with a fixed concentration of labelled standards. Each calibration point is prepared and analysed in triplicates (n=3).
To establish the endogenous concentration of the four selected ceramides in the study samples (NIST SRM1950, NIST high TAG, NIST T1D, and NIST young A-A) each sample is extracted and analyzed in six replicates (n =6).
Prepare the pooled QC by mixing 100 mL each of NIST SRM1950, NIST high TAG, NIST T1D, and NIST young AA (total 400 mL).
We suggest proceeding first to measure the ceramides concentration in the four study samples and then continue with the intra-assay validation to avoid wasting material.

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Ethyl acetate (EtAc)
2-propanol (IPA)
5% Bovine Serum Albumin (BSA)
96-well plates/tubes
Sealing foil
2 mL DeepWell plates/tubes/LC vials
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled QC |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8 (v/v)
| Matrix Blank (MB) | 10 µL Matrix (pooled QC) only |  |  | - |  | 590 µL EtAc:IPA 2:8
| Study Samples (S) | 10 µL Human plasma (NIST SRM1950, high TAG, T1D, young AA) |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8
| Total Blank (TB) | 10 µL 5% BSA |  |  | - |  | 590 µL EtAc:IPA 2:8
| Calibration line standards (STD) | 10 µL 5% BSA + 20 µL non labelled STD mixture (Table 5) |  |  | 20 µL Labelled IS |  | 550 µL EtAc:IPA 2:8
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Extraction - Overview, Table 4) with EtAc:IPA 2:8 as suggested in table | Extraction - Overview'!B34
| 2 | Thaw plasma on ice (+4°C) and bring to room temperature prior to extraction. Mix by pipetting before use.
| 3 | Prepare samples in plates/tubes manually or with a robot, according to specifications in column C of table | Extraction - Overview'!C14
| 4 | Add 20 µL of labelled internal standard mixture to samples according to column F of table | Extraction - Overview'!F14
| 5 | For the calibration line, add 20 µL of different dilutions of the non-labelled mixture (STD1-6).
| 6 | Add 590 µL of ethyl acetate:isopropanol (2:8, vol/vol) to Total Blank (TB) and Matrix Blank (MB); 550 µL to calibration line (STD); 570 µL to study samples and QCs according to column H of table | Extraction - Overview'!H14
| 7 | Mix samples 10 min by pipetting or vortexing
| 8 | Centrifuge samples for 10 min at 3000 x gat room temperature
| 9 | Transfer 50 µL of the clear supernatant to MS-vials or MS plates, close/seal, store samples at -20 °C prior to LC-MRM analysis.

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Ammonium formate
Formic acid
Ultra-pure water
Acetonitrile
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | QQQ (TSQ Quantiva, Thermo Fisher Scientific)
| LC | UHPLC (UltiMate 3000 system)
| Injection volume (indicative) | 5 µL
| Weak wash | Mobile phase B
| Strong wash | NU
| Pre-column | Waters Acquity BEH C18, 1.7 µm VanGuard Pre-Column
| Column | Waters Acquity BEH C18, 2.1 × 50 mm id. 1.7 µm
| Column temperature | 60 °C
| Mobile phase A | 10 mM ammonium acetate in water with 0.1% formic acid
| Mobile phase B | 10 mM ammonium acetate in acetonitrile:2-propanol (4:3, vol/vol) with 0.1% formic acid
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0.00 | 15 | 85 |  | 500
| 0.50 | 15 | 85 |  | 500
| 1.50 | 0 | 100 |  | 500
| 4.00 | 0 | 100 |  | 500
| 4.10 | 15 | 85 |  | 500
| 5.00 | 15 | 85 |  | 500
Table 9 LC-MRM MS conditions (EXAMPLE: this only applies to Sciex QTRAP, please adapt)
| Polarity mode | Positive
| Ion spray | 3500 V
| Curtain gas | 2 Arb
| Source temperature | 300 °C
| Gas 1 | 45 psi
| Gas 2 | 15 psi
| DP | NU
| EP | NU
| Collision cell exit potential | 350 °C
| Collision energy (CE) | 27 eV
Table 10 LC-MRM Mass transitions used for absolute quantification. On different systems, RT and CE might be different!
| Analyte | Mass transitions | IS | Mass transitions | RT (min) | CE
| Cer d18:1/16:0 | 538.5 – 264.3 | D7- Cer d18:1/16:0 | 545.6 - 271.3 | 1.7 | 27
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.6 – 264.3 | D7- Cer d18:1/18:0 | 573.6 – 271.3 | 1.9 | 27
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.6 – 264.3 | D7- Cer d18:1/24:0 | 657.7 – 271.3 | 2.2 | 27
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.6 – 264.3 | D7- Cer d18:1/24:1 | 655.7 – 271.3 | 2.3 | 27
C42H82NO3 – C18H34N
Table 11 Data processing
| Processing software | Xcalibur 4.2.47 (Thermo Fisher Scientific)

## LC-MRM - Sample Sequence
Sample Sequence (21st, April, 2020)
Sample Sequence (Example) | Sample Sequence 1
| Number | File Name | Sample ID | Remarks
| 1 | 20200421_TB_001 | Total Blank
| 2 | 20200421_TB_002 | Total Blank
| 3 | 20200421_TB_003 | Total Blank
| 4 | 20200421_MB_001 | Matrix Blank
| 5 | 20200421_MB_002 | Matrix Blank
| 6 | 20200421_MB_003 | Matrix Blank
| 7 | 20200421_STD6_01 | x250
| 8 | 20200421_STD6_02 | x250
| 9 | 20200421_STD6_03 | x250
| 10 | 20200421_STD5_01 | x200
| 11 | 20200421_STD5_02 | x200
| 12 | 20200421_STD5_03 | x200 | Set a different sample
| 13 | 20200421_STD4_01 | x100
| 14 | 20200421_STD4_02 | x100
| 15 | 20200421_STD4_03 | x100
| 16 | 20200421_STD3_01 | x20
| 17 | 20200421_STD3_02 | x20
| 18 | 20200421_STD3_03 | x20
| 19 | 20200421_STD2_01 | x2
| 20 | 20200421_STD2_02 | x2
| 21 | 20200421_STD2_03 | x2
| 22 | 20200421_STD1_01 | x1
| 23 | 20200421_STD1_02 | x1
| 24 | 20200421_STD1_03 | x1
| 25 | 20200421_QC_001 | Pooled QC
| 26 | 20200421_QC_002 | Pooled QC
| 27 | 20200421_S_SRM1950_01_01 | SRM1950, Plasma 4
| 28 | 20200421_S_SRM1950_01_02 | SRM1950, Plasma 4
| 29 | 20200421_S_SRM1950_01_03 | SRM1950, Plasma 4
| 30 | 20200421_S_SRM1950_02_01 | SRM1950, Plasma 4
| 31 | 20200421_S_SRM1950_02_02 | SRM1950, Plasma 4
| 32 | 20200421_S_SRM1950_02_03 | SRM1950, Plasma 4
| 33 | 20200421_S_SRM1950_03_01 | SRM1950, Plasma 4
| 34 | 20200421_S_SRM1950_03_02 | SRM1950, Plasma 4
| 35 | 20200421_S_SRM1950_03_03 | SRM1950, Plasma 4
| 36 | 20200421_S_SRM1950_04_01 | SRM1950, Plasma 4
| 37 | 20200421_S_SRM1950_04_02 | SRM1950, Plasma 4
| 38 | 20200421_S_SRM1950_04_03 | SRM1950, Plasma 4
| 39 | 20200421_S_SRM1950_05_01 | SRM1950, Plasma 4
| 40 | 20200421_S_SRM1950_05_02 | SRM1950, Plasma 4
| 41 | 20200421_S_SRM1950_05_03 | SRM1950, Plasma 4
| 42 | 20200421_S_SRM1950_06_01 | SRM1950, Plasma 4
| 43 | 20200421_S_SRM1950_06_02 | SRM1950, Plasma 4
| 44 | 20200421_S_SRM1950_06_03 | SRM1950, Plasma 4
| 45 | 20200421_QC_011 | Pooled QC
| 46 | 20200421_QC_012 | Pooled QC
| 47 | 20200421_S_T1D_01_01 | T1D, Plasma 1
| 48 | 20200421_S_T1D_01_02 | T1D, Plasma 1
| 49 | 20200421_S_T1D_01_03 | T1D, Plasma 1
| 50 | 20200421_S_T1D_02_01 | T1D, Plasma 1
| 51 | 20200421_S_T1D_02_02 | T1D, Plasma 1
| 52 | 20200421_S_T1D_02_03 | T1D, Plasma 1
| 53 | 20200421_S_T1D_03_01 | T1D, Plasma 1
| 54 | 20200421_S_T1D_03_02 | T1D, Plasma 1
| 55 | 20200421_S_T1D_03_03 | T1D, Plasma 1
| 56 | 20200421_S_T1D_04_01 | T1D, Plasma 1 | Injection error
| 57 | 20200421_S_T1D_04_02 | T1D, Plasma 1
| 58 | 20200421_S_T1D_04_03 | T1D, Plasma 1
| 59 | 20200421_S_T1D_05_01 | T1D, Plasma 1
| 60 | 20200421_S_T1D_05_02 | T1D, Plasma 1
| 61 | 20200421_S_T1D_05_03 | T1D, Plasma 1
| 62 | 20200421_S_T1D_06_01 | T1D, Plasma 1
| 63 | 20200421_S_T1D_06_02 | T1D, Plasma 1
| 64 | 20200421_S_T1D_06_03 | T1D, Plasma 1
| 65 | 20200421_TB_101 | Total Blank
| 66 | 20200421_QC_021 | Pooled QC
| 67 | 20200421_QC_022 | Pooled QC
| 68 | 20200421_S_YoungAA_01_01 | Young AA, Plasma 3
| 69 | 20200421_S_YoungAA_01_02 | Young AA, Plasma 3
| 70 | 20200421_S_YoungAA_01_03 | Young AA, Plasma 3
| 71 | 20200421_S_YoungAA_02_01 | Young AA, Plasma 3
| 72 | 20200421_S_YoungAA_02_02 | Young AA, Plasma 3
| 73 | 20200421_S_YoungAA_02_03 | Young AA, Plasma 3
| 74 | 20200421_S_YoungAA_03_01 | Young AA, Plasma 3
| 75 | 20200421_S_YoungAA_03_02 | Young AA, Plasma 3
| 76 | 20200421_S_YoungAA_03_03 | Young AA, Plasma 3
| 77 | 20200421_S_YoungAA_04_01 | Young AA, Plasma 3
| 78 | 20200421_S_YoungAA_04_02 | Young AA, Plasma 3
| 79 | 20200421_S_YoungAA_04_03 | Young AA, Plasma 3
| 80 | 20200421_S_YoungAA_05_01 | Young AA, Plasma 3
| 81 | 20200421_S_YoungAA_05_02 | Young AA, Plasma 3
| 82 | 20200421_S_YoungAA_05_03 | Young AA, Plasma 3
| 83 | 20200421_S_YoungAA_06_01 | Young AA, Plasma 3
| 84 | 20200421_S_YoungAA_06_02 | Young AA, Plasma 3
| 85 | 20200421_S_YoungAA_06_03 | Young AA, Plasma 3
| 86 | 20200421_QC_031 | Pooled QC
| 87 | 20200421_QC_032 | Pooled QC
| 88 | 20200421_S_HighTG_01_01 | Young AA, Plasma 2
| 89 | 20200421_S_HighTG_01_02 | Young AA, Plasma 2
| 90 | 20200421_S_HighTG_01_03 | Young AA, Plasma 2
| 91 | 20200421_S_HighTG_02_01 | Young AA, Plasma 2
| 92 | 20200421_S_HighTG_02_02 | Young AA, Plasma 2
| 93 | 20200421_S_HighTG_02_03 | Young AA, Plasma 2
| 94 | 20200421_S_HighTG_03_01 | Young AA, Plasma 2
| 95 | 20200421_S_HighTG_03_02 | Young AA, Plasma 2
| 96 | 20200421_S_HighTG_03_03 | Young AA, Plasma 2
| 97 | 20200421_S_HighTG_04_01 | Young AA, Plasma 2
| 98 | 20200421_S_HighTG_04_02 | Young AA, Plasma 2
| 99 | 20200421_S_HighTG_04_03 | Young AA, Plasma 2
| 100 | 20200421_S_HighTG_05_01 | Young AA, Plasma 2
| 101 | 20200421_S_HighTG_05_02 | Young AA, Plasma 2
| 102 | 20200421_S_HighTG_05_03 | Young AA, Plasma 2
| 103 | 20200421_S_HighTG_06_01 | Young AA, Plasma 2
| 104 | 20200421_S_HighTG_06_02 | Young AA, Plasma 2
| 105 | 20200421_S_HighTG_06_03 | Young AA, Plasma 2
| 106 | 20200421_QC_041 | Pooled QC
| 107 | 20200421_QC_042 | Pooled QC
| 108 | 20200421_STD6_11 | x250
| 109 | 20200421_STD6_12 | x250
| 110 | 20200421_STD6_13 | x250
| 111 | 20200421_STD5_11 | x200
| 112 | 20200421_STD5_12 | x200
| 113 | 20200421_STD5_13 | x200 | Set a different sample
| 114 | 20200421_STD4_11 | x100
| 115 | 20200421_STD4_12 | x100
| 116 | 20200421_STD4_13 | x100
| 117 | 20200421_STD3_11 | x20
| 118 | 20200421_STD3_12 | x20
| 119 | 20200421_STD3_13 | x20
| 120 | 20200421_STD2_11 | x2
| 121 | 20200421_STD2_12 | x2
| 122 | 20200421_STD2_13 | x2
| 123 | 20200421_STD1_11 | x1
| 124 | 20200421_STD1_12 | x1
| 125 | 20200421_STD1_13 | x1
| 126 | 20200421_TB_103 | Total Blank
| 127 | 20200421_MB_102 | Matrix Blank
| 128 | 20200421_LLQC_01_01 | LLQC
| 129 | 20200421_LLQC_01_02 | LLQC
| 130 | 20200421_LLQC_01_03 | LLQC
| 131 | 20200421_LLQC_02_01 | LLQC
| 132 | 20200421_LLQC_02_02 | LLQC
| 133 | 20200421_LLQC_02_03 | LLQC
| 134 | 20200421_LLQC_03_01 | LLQC
| 135 | 20200421_LLQC_03_02 | LLQC
| 136 | 20200421_LLQC_03_03 | LLQC
| 137 | 20200421_LLQC_04_01 | LLQC
| 138 | 20200421_LLQC_04_02 | LLQC
| 139 | 20200421_LLQC_04_03 | LLQC
| 140 | 20200421_LLQC_05_01 | LLQC
| 141 | 20200421_LLQC_05_02 | LLQC
| 142 | 20200421_LLQC_05_03 | LLQC
| 143 | 20200421_LLQC_06_01 | LLQC
| 144 | 20200421_LLQC_06_02 | LLQC
| 145 | 20200421_LLQC_06_03 | LLQC
| 146 | 20200421_LQC_01_01 | LQC
| 147 | 20200421_LQC_01_02 | LQC
| 148 | 20200421_LQC_01_03 | LQC
| 149 | 20200421_LQC_02_01 | LQC
| 150 | 20200421_LQC_02_02 | LQC
| 151 | 20200421_LQC_02_03 | LQC
| 152 | 20200421_LQC_03_01 | LQC
| 153 | 20200421_LQC_03_02 | LQC
| 154 | 20200421_LQC_03_03 | LQC
| 155 | 20200421_LQC_04_01 | LQC
| 156 | 20200421_LQC_04_02 | LQC
| 157 | 20200421_LQC_04_03 | LQC
| 158 | 20200421_LQC_05_01 | LQC
| 159 | 20200421_LQC_05_02 | LQC
| 160 | 20200421_LQC_05_03 | LQC
| 161 | 20200421_LQC_06_01 | LQC
| 162 | 20200421_LQC_06_02 | LQC
| 163 | 20200421_LQC_06_03 | LQC
| 164 | 20200421_MQC_01_01 | MQC
| 165 | 20200421_MQC_01_02 | MQC
| 166 | 20200421_MQC_01_03 | MQC
| 167 | 20200421_MQC_02_01 | MQC
| 168 | 20200421_MQC_02_02 | MQC
| 169 | 20200421_MQC_02_03 | MQC
| 170 | 20200421_MQC_03_01 | MQC
| 171 | 20200421_MQC_03_02 | MQC
| 172 | 20200421_MQC_03_03 | MQC
| 173 | 20200421_MQC_04_01 | MQC
| 174 | 20200421_MQC_04_02 | MQC
| 175 | 20200421_MQC_04_03 | MQC
| 176 | 20200421_MQC_05_01 | MQC
| 177 | 20200421_MQC_05_02 | MQC
| 178 | 20200421_MQC_05_03 | MQC
| 179 | 20200421_MQC_06_01 | MQC
| 180 | 20200421_MQC_06_02 | MQC
| 181 | 20200421_MQC_06_03 | MQC
| 182 | 20200421_HQC_01_01 | HQC
| 183 | 20200421_HQC_01_02 | HQC
| 184 | 20200421_HQC_01_03 | HQC
| 185 | 20200421_HQC_02_01 | HQC
| 186 | 20200421_HQC_02_02 | HQC
| 187 | 20200421_HQC_02_03 | HQC
| 188 | 20200421_HQC_03_01 | HQC
| 189 | 20200421_HQC_03_02 | HQC
| 190 | 20200421_HQC_03_03 | HQC
| 191 | 20200421_HQC_04_01 | HQC
| 192 | 20200421_HQC_04_02 | HQC
| 193 | 20200421_HQC_04_03 | HQC
| 194 | 20200421_HQC_05_01 | HQC
| 195 | 20200421_HQC_05_02 | HQC
| 196 | 20200421_HQC_05_03 | HQC
| 197 | 20200421_HQC_06_01 | HQC
| 198 | 20200421_HQC_06_02 | HQC
| 199 | 20200421_HQC_06_03 | HQC
| 200 | 20200421_HHQC_01_01 | HHQC
| 201 | 20200421_HHQC_01_02 | HHQC
| 202 | 20200421_HHQC_01_03 | HHQC
| 203 | 20200421_HHQC_02_01 | HHQC
| 204 | 20200421_HHQC_02_02 | HHQC
| 205 | 20200421_HHQC_02_03 | HHQC
| 206 | 20200421_HHQC_03_01 | HHQC
| 207 | 20200421_HHQC_03_02 | HHQC
| 208 | 20200421_HHQC_03_03 | HHQC
| 209 | 20200421_HHQC_04_01 | HHQC
| 210 | 20200421_HHQC_04_02 | HHQC
| 211 | 20200421_HHQC_04_03 | HHQC
| 212 | 20200421_HHQC_05_01 | HHQC
| 213 | 20200421_HHQC_05_02 | HHQC
| 214 | 20200421_HHQC_05_03 | HHQC
| 215 | 20200421_HHQC_06_01 | HHQC
| 216 | 20200421_HHQC_06_02 | HHQC
| 217 | 20200421_HHQC_06_03 | HHQC
| 218 | 20200421_S_T1D_04_01-2 | T1D, Plasma 1 | Reinjection
| 219 | 20200421_STD5_03-2 | x200 | Retransfer the correct sample from original tube
| 220 | 20200421_STD5_13-2 | x200 | Retransfer the correct sample from original tube
| 221 | 20200421_MB_103 | Matrix Blank
| 222 | 20200421_TB_104 | Total Blank

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
| 4 | Internal standards are added to all QC samples.
Intra-Assay Variation
| 6 | The precision and accuracy of the assay is determined for each of the four ceramides measured in LLOQ, LQC, MQC, HQC, and HLOQ.
| 7 | Intra-assay variation, precision, and accuracy is calculated for each of the ceramide in replicates of six (n = 6) at each QC concentration.
| 8 | The intra-assay precision (percentage coefficient variance, %CV) and accuracy (percentage accuracy, %Accuracy) are calculated from the nominal concentrations according to the formulas reported in corresponding sheets and tables of this document.
| 9 | Recovery estimation is not necessary for the published method but only for different ones. Stability estimation is not necessary for the published method but only for different ones. Calibration line is prepared in 5% BSA.

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 488987.7048 | 276829.0703 | 518992.8894 | 726010.5205 | 394808.2041 | 773732.648 | 7847148.9301 | 4458837.1078 | 8447742.4992 | 7226223.4915 | 4116302.0798 | 7753718.0689 | 21664.6036 | 12494.1523 | 23080.8487 | 24964.0346 | 13911.8518 | 27043.6848 | 521677.3706 | 285019.8048 | 556814.3924 | 159193.2696 | 85734.2509 | 165512.211
| STD 2 | 265890.7703 | 267252.4938 | 260442.3502 | 394613.8261 | 383089.0309 | 382698.892 | 4495964.7609 | 4357308.6955 | 4374035.0619 | 4251615.5675 | 4171753.4978 | 4131995.8911 | 23712.3665 | 22853.0416 | 22501.2544 | 28729.7843 | 26156.3475 | 26871.6444 | 599073.7015 | 545705.3524 | 564109.0738 | 186102.6421 | 173289.3655 | 179909.9331
| STD 3 | 25713.2252 | 26406.5865 | 26184.7624 | 37753.823 | 37518.1373 | 37386.8573 | 459345.2419 | 454485.5753 | 458852.4179 | 449043.0563 | 451074.4064 | 449014.7274 | 24836.4207 | 24059.1545 | 24261.2084 | 28302.0205 | 27946.8935 | 27539.3092 | 664937.4628 | 606156.7967 | 657566.0698 | 210100.7171 | 195896.9795 | 206564.0026
| STD 4 | 6158.4976 | 6126.308 | 6387.4109 | 9042.5778 | 8322.6332 | 8727.0434 | 104556.8542 | 95101.2716 | 101140.4027 | 99762.6864 | 92331.5938 | 95060.4174 | 23947.8882 | 24708.796 | 25005.2686 | 28547.2887 | 28124.6937 | 27648.4793 | 665516.9509 | 653723.7277 | 633312.9155 | 206030.9958 | 209438.5011 | 203918.7101
| STD 5 | 3571.9911 | 3260.8424 | 2431.5342 | 4313.1994 | 4350.8737 | 3441.2305 | 48508.6147 | 48036.8241 | 39965.5479 | 47035.7263 | 44316.2584 | 38820.3126 | 24221.9622 | 24657.5981 | 19342.6214 | 29274.2585 | 28766.3965 | 21575.0692 | 658480.5866 | 685165.3967 | 563987.6158 | 207703.5398 | 207199.4941 | 174261.2135
| STD 6 | 3136.7222 | 2459.4608 | 2995.4918 | 4065.804 | 3763.2047 | 4413.5964 | 44265.9748 | 43887.3582 | 41326.091 | 41909.3687 | 42752.3654 | 41620.8673 | 23723.8879 | 24269.3692 | 24722.8705 | 29483.9868 | 29511.2862 | 29457.4331 | 691731.596 | 682074.9563 | 671887.9665 | 219057.0427 | 213553.669 | 221566.4512
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 419772.1677 | 443041.7842 | 440551.6938 | 654013.2145 | 640906.0104 | 663574.9331 | 7360559.0408 | 7239580.4561 | 7487360.0088 | 6845775.9877 | 6817482.5551 | 6983956.1845 | 19097.5687 | 19376.8438 | 20129.3255 | 22421.1715 | 21265.4853 | 22197.3303 | 496393.6453 | 495375.6883 | 499979.8932 | 146852.3159 | 148340.3545 | 149221.579
| STD 2 | 220498.6051 | 231586.1694 | 224002.5009 | 329282.7627 | 340408.7383 | 335045.0911 | 3936791.9654 | 4089009.7138 | 3972674.6526 | 3797988.9476 | 3900474.6805 | 3769304.3684 | 19857.319 | 20246.1841 | 20567.6288 | 23641.7986 | 23016.6184 | 22983.5683 | 532117.9334 | 528250.1081 | 528861.8499 | 163382.3859 | 159933.2783 | 159908.0485
| STD 3 | 22090.1503 | 22060.865 | 21006.6958 | 31847.248 | 31485.8393 | 31464.769 | 407137.5034 | 403688.6481 | 397713.2741 | 400506.665 | 410462.7574 | 393849.2834 | 20828.0554 | 19243.0586 | 20516.8975 | 23806.9688 | 23855.9409 | 23516.4616 | 598954.9721 | 569830.8817 | 563131.3638 | 187249.6062 | 177055.2766 | 177706.8058
| STD 4 | 5339.3217 | 5074.8345 | 5587.1966 | 7738.2646 | 7334.0038 | 7276.7885 | 91158.8488 | 84151.6825 | 87487.3221 | 88580.3353 | 80821.9113 | 86643.0837 | 19866.155 | 20184.0181 | 19728.1111 | 23448.4456 | 23251.964 | 23171.4486 | 578991.4892 | 589444.1024 | 590639.8909 | 181295.2897 | 180103.5071 | 177923.347
| STD 5 | 2526.4202 | 3209.3031 | 2692.594 | 3773.3365 | 3796.3911 | 3516.3894 | 40780.3675 | 42316.9937 | 37718.7708 | 39082.3284 | 39138.8415 | 38149.601 | 19985.4255 | 20371.8465 | 19695.2283 | 24006.8024 | 23730.8558 | 23062.2159 | 576362.0296 | 609929.2998 | 559970.9845 | 183984.2903 | 182203.042 | 175395.7884
| STD 6 | 2408.5725 | 2012.6627 | 2319.2409 | 3349.0031 | 3061.2096 | 3445.9828 | 37649.4516 | 37566.635 | 36017.4355 | 33997.4284 | 35369.3826 | 33859.9141 | 18560.2351 | 18859.5475 | 19924.4654 | 24137.594 | 22417.8519 | 22770.4143 | 581885.4043 | 572613.5752 | 595657.8362 | 180652.0847 | 174726.8313 | 180712.5949
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard. Each vial injected 3 times
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 14704.734 | 14537.4479 | 14470.1186 | 13089.7386 | 12490.7074 | 12498.9069 | 503202.4484 | 528325.3748 | 523466.694 | 194349.1192 | 195901.226 | 196892.8825 | 11046.1449 | 11274.293 | 11361.7308 | 22265.042 | 22395.7248 | 22155.6972 | 611102.7006 | 629203.1973 | 636506.0735 | 207787.4142 | 215631.1525 | 211910.8535
| SRM 2 | 14283.401 | 14081.7957 | 13916.2212 | 12832.6134 | 13449.4862 | 12490.9838 | 526739.0298 | 514810.2973 | 530421.9196 | 193868.5778 | 187712.4153 | 200336.1392 | 10302.157 | 10908.0558 | 10435.7572 | 22161.9608 | 21167.7713 | 21727.8324 | 595734.9079 | 585696.5944 | 613032.8306 | 205072.073 | 200619.4639 | 203824.1285
| SRM 3 | 13431.5103 | 13990.0784 | 14138.9063 | 12153.9512 | 12613.1392 | 12352.473 | 503952.8978 | 511677.5347 | 509402.2944 | 190930.0907 | 191409.1389 | 193289.1674 | 10382.2477 | 10746.0799 | 10621.8162 | 21514.3058 | 21368.7346 | 21028.3243 | 589074.3075 | 602009.485 | 599840.0319 | 197745.1681 | 198828.032 | 199904.043
| SRM 4 | 14361.5752 | 13849.2938 | 14271.6584 | 12170.0847 | 12736.7912 | 12789.3509 | 512894.5044 | 515372.2126 | 512324.0265 | 193618.1244 | 193773.8848 | 195405.2577 | 10914.9061 | 10347.9585 | 10422.679 | 20563.3618 | 20722.7207 | 20369.22 | 598192.1367 | 603569.5591 | 599916.6916 | 204348.5625 | 203613.9771 | 208132.912
| SRM 5 | 14377.9712 | 14239.2607 | 14234.9887 | 12392.3294 | 12400.4789 | 12177.3854 | 507064.3225 | 510565.1421 | 508412.5653 | 191938.683 | 192933.3346 | 188511.6887 | 11519.4786 | 10333.2565 | 10777.5451 | 21418.2652 | 20858.6184 | 20746.0308 | 595947.4685 | 613524.7313 | 609338.6145 | 203467.5529 | 201267.3658 | 200209.4651
| SRM 6 | 14115.7354 | 14081.1882 | 14564.6334 | 12455.1177 | 13094.8498 | 12679.2153 | 517017.0071 | 508957.802 | 515352.5998 | 194095.2711 | 185445.9906 | 193899.2953 | 9972.5793 | 10521.3769 | 10755.8548 | 20615.4552 | 21102.7751 | 21130.2575 | 594673.6091 | 595848.2948 | 615661.0445 | 202122.7416 | 199958.9448 | 204751.0746
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 13313.5344 | 14417.7399 | 14148.1566 | 12545.0754 | 11784.9667 | 12454.5975 | 705512.5954 | 716568.28 | 723204.461 | 245611.3014 | 249706.819 | 251477.2395 | 8844.4497 | 9490.769 | 8793.2904 | 17118.4078 | 17381.231 | 18032.4928 | 539707.4125 | 549147.1256 | 557998.2356 | 175610.4225 | 184564.1175 | 185250.7395
| hTAG 2 | 14920.5763 | 14670.3237 | 14008.1298 | 13485.2504 | 12915.3098 | 12796.5646 | 788490.1664 | 793028.9934 | 797645.3498 | 273648.2801 | 276244.4899 | 272317.4217 | 8551.3523 | 9395.3159 | 9122.1766 | 17762.8199 | 17640.0581 | 17896.0246 | 578285.0349 | 580621.9617 | 571710.5358 | 194559.3132 | 194954.1948 | 187184.9557
| hTAG 3 | 15795.1941 | 15665.7966 | 15383.4488 | 13649.3188 | 14536.0333 | 13674.0268 | 825187.7855 | 827371.3007 | 821793.5048 | 277849.6419 | 286106.8036 | 280690.2002 | 9389.69 | 9468.0133 | 9519.8247 | 16735.5073 | 18526.8073 | 17684.0941 | 598285.711 | 595634.6268 | 591833.1045 | 195742.6236 | 197100.3731 | 195181.7442
| hTAG 4 | 15322.9373 | 15311.9842 | 14733.0769 | 12709.5822 | 12556.1411 | 12411.0744 | 812232.6354 | 781977.4771 | 774020.1534 | 277610.7087 | 275155.0765 | 266070.5787 | 9532.2714 | 9811.1635 | 9288.1332 | 18196.6459 | 17949.345 | 17089.624 | 593365.1136 | 573531.8885 | 564993.7998 | 196893.7454 | 190605.9661 | 188623.2732
| hTAG 5 | 14919.563 | 15205.1261 | 15281.7277 | 13009.8532 | 12501.3864 | 12840.7406 | 810030.304 | 786505.5191 | 784537.4951 | 273793.6243 | 266269.3466 | 265163.9828 | 9993.0497 | 9259.6356 | 8628.3682 | 17538.4454 | 16691.3784 | 16914.5689 | 570994.2933 | 557262.3259 | 565105.9734 | 190004.5794 | 184697.6278 | 184479.2299
| hTAG 6 | 15520.4948 | 14305.6704 | 14504.7398 | 12611.4373 | 12318.7721 | 11991.016 | 751122.2682 | 742341.5313 | 748809.3747 | 260396.7909 | 256632.4983 | 253596.2962 | 9023.8379 | 8846.1321 | 9480.81 | 17205.5759 | 16910.7773 | 16994.5218 | 561132.8042 | 542122.3773 | 545534.1608 | 183529.5312 | 183232.9974 | 178252.3846
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 12347.1294 | 12197.9929 | 12811.0257 | 13739.8467 | 13315.5421 | 13993.856 | 454848.2825 | 458656.3015 | 478630.4796 | 177911.3318 | 180770.424 | 179398.3266 | 10982.569 | 11227.0252 | 11491.3319 | 21354.4354 | 21190.0154 | 21579.5102 | 585761.5682 | 595673.6 | 605358.3351 | 194715.0138 | 200127.8152 | 200846.1692
| T1D 2 | 12497.9476 | 12692.8995 | 13245.954 | 13513.9753 | 13996.6252 | 14601.5131 | 479614.755 | 502513.5551 | 489071.4763 | 187390.9485 | 193094.0226 | 188276.9556 | 10492.7296 | 10538.3247 | 10513.8647 | 20201.5693 | 19822.5839 | 20612.364 | 572238.4516 | 595136.5212 | 588785.1235 | 194400.4961 | 197480.4877 | 194611.3765
| T1D 3 | 12800.2316 | 13146.6177 | 12147.1946 | 13710.1986 | 13555.477 | 13216.5656 | 475218.2013 | 487599.863 | 478098.3583 | 183917.5528 | 184419.4684 | 186641.0125 | 10182.3167 | 10559.2373 | 10185.6915 | 20212.0205 | 20446.9132 | 20493.6105 | 555183.9506 | 574607.8424 | 564977.8097 | 191365.4453 | 192323.7284 | 189607.4835
| T1D 4 | 11935.2591 | 12155.2817 | 12384.3256 | 12010.0766 | 13592.3417 | 13502.0324 | 500398.52 | 478844.7736 | 476388.1221 | 189896.9099 | 184466.968 | 182145.7899 | 10198.1486 | 10191.8581 | 10452.5683 | 17714.8322 | 19054.9419 | 19372.5209 | 583826.8382 | 564651.4979 | 564792.6444 | 193150.7881 | 191277.6352 | 187212.8652
| T1D 5 | 12258.3002 | 13028.1571 | 13031.2572 | 14116.1423 | 13879.832 | 13506.1613 | 463530.2635 | 474916.2822 | 474881.9531 | 180703.5754 | 185055.3918 | 182570.764 | 10394.246 | 10540.411 | 10690.111 | 20095.675 | 19572.4689 | 19521.9845 | 562560.4104 | 583430.3164 | 581013.3162 | 191166.3689 | 192152.6855 | 194056.4281
| T1D 6 | 12344.1791 | 12836.1253 | 12159.7137 | 13048.5905 | 13579.9418 | 13805.6172 | 462438.256 | 479278.5172 | 479535.2136 | 180263.8808 | 182906.1819 | 183125.8154 | 9714.6493 | 10437.4885 | 10510.6838 | 19602.8219 | 19420.2068 | 19907.9758 | 553890.1647 | 575639.085 | 568062.9275 | 186473.8001 | 191595.4913 | 192317.4965
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 9508.4447 | 10154.7095 | 10519.1344 | 6902.857 | 7463.2614 | 7472.2828 | 280680.5128 | 307438.5283 | 313686.963 | 95475.1848 | 104901.7939 | 103877.3848 | 11916.438 | 12541.7204 | 12453.8808 | 19950.5577 | 22946.9209 | 21719.9172 | 508546.3833 | 555174.1866 | 569162.29 | 162434.4055 | 177493.0975 | 175593.7883
| yA-A 2 | 10441.9277 | 10198.6436 | 10110.7843 | 7499.556 | 7624.9639 | 7587.5357 | 317958.7626 | 325172.4012 | 322593.0543 | 108588.7305 | 108889.1643 | 108485.7871 | 12455.9174 | 12423.2332 | 11902.3793 | 21595.6986 | 21934.6605 | 21029.2201 | 551987.6999 | 561744.5168 | 545527.1579 | 180303.1459 | 178565.1064 | 175511.414
| yA-A 3 | 10121.6276 | 10838.8662 | 9929.5973 | 7447.0156 | 7310.1391 | 7705.1223 | 332916.1265 | 328455.733 | 331464.8158 | 112280.8199 | 109985.3788 | 111385.9214 | 11935.7565 | 13137.057 | 11966.0215 | 21719.1026 | 20893.628 | 22232.1467 | 565404.446 | 561899.1459 | 562142.4897 | 181308.3763 | 178735.1123 | 178968.106
| yA-A 4 | 9901.2898 | 10188.2295 | 9956.9371 | 7420.3469 | 6836.7629 | 7330.9306 | 310679.6879 | 311961.6368 | 300786.2455 | 106834.0455 | 104957.2983 | 102477.5956 | 12064.2266 | 11792.0076 | 11901.4598 | 21027.2797 | 20756.7645 | 21693.0627 | 551188.7335 | 548320.7449 | 531581.4124 | 174509.4087 | 174411.6787 | 173333.2286
| yA-A 5 | 10145.6163 | 10910.8158 | 10319.6415 | 7060.0873 | 7395.0958 | 6901.4529 | 307628.0205 | 323373.7442 | 316952.8303 | 104043.5253 | 107765.1897 | 105973.9873 | 12144.9492 | 12507.0497 | 11951.6895 | 20129.8228 | 20499.5583 | 20770.3447 | 536926.8232 | 556711.4236 | 558027.0475 | 173666.768 | 179216.9106 | 175025.0686
| yA-A 6 | 10249.4429 | 10420.5814 | 10763.1263 | 7369.3482 | 7459.5509 | 7578.3428 | 319279.7405 | 324954.0081 | 323220.019 | 107807.5568 | 109838.2617 | 108271.205 | 11465.8894 | 12579.3035 | 12412.0488 | 21824.2153 | 21394.1873 | 20973.1411 | 544640.3969 | 557419.666 | 545028.0446 | 177466.1243 | 179284.3136 | 175116.4679
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard. QCs have to be measured in one occasion only. The independent 6 replicates injected 3 times each
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LLQC 1 | 6261.9085 | 6278.8207 | 6421.8513 | 4464.7204 | 4140.4258 | 4473.106 | 145551.0004 | 146956.8604 | 149138.6591 | 53853.4983 | 53179.2812 | 53699.2676 | 16468.4932 | 15682.3807 | 16014.2037 | 23988.6968 | 23856.8907 | 25081.1064 | 526777.1044 | 523215.522 | 518122.4473 | 172843.492 | 168510.295 | 168514.4398
| LLQC 2 | 5997.4349 | 6511.6771 | 6167.2431 | 4521.4965 | 4370.2423 | 4700.4099 | 143826.0865 | 145153.3622 | 144760.9008 | 53038.5914 | 52693.2439 | 52675.1249 | 15881.7231 | 15664.9635 | 14983.5678 | 24267.2382 | 24228.037 | 24044.3158 | 524616.9159 | 525122.2347 | 515342.7823 | 171322.1334 | 172931.2642 | 167005.0126
| LLQC 3 | 5806.2229 | 6481.6692 | 6848.2716 | 4267.8048 | 4518.8454 | 4427.796 | 148268.0288 | 152709.3705 | 155058.3304 | 54179.7021 | 56997.9315 | 57205.0301 | 16390.7014 | 16806.6652 | 16762.9373 | 24933.6886 | 25574.4397 | 25307.8059 | 536408.2909 | 545809.0326 | 556656.9089 | 176753.2284 | 180140.6573 | 182644.1591
| LLQC 4 | 6363.1775 | 6307.6056 | 6221.8892 | 4495.1891 | 4819.879 | 4564.4682 | 156718.3544 | 153426.7168 | 154098.7108 | 56319.8946 | 56344.5934 | 55244.9472 | 16074.1575 | 16203.2722 | 15899.7013 | 25641.0366 | 24347.0872 | 25546.9913 | 556557.4824 | 549409.0697 | 543951.9047 | 179145.827 | 176698.1647 | 178834.7696
| LLQC 5 | 6698.869 | 6586.7813 | 6544.6345 | 4846.515 | 4580.1113 | 4468.7967 | 156684.0133 | 156473.912 | 154839.3796 | 55449.397 | 56949.4576 | 56798.6098 | 17677.3996 | 16726.1156 | 16921.5049 | 25535.5165 | 25200.6576 | 24716.008 | 564420.5309 | 553068.9762 | 555318.8189 | 178560.9677 | 185420.894 | 177099.9665
| LLQC 6 | 6375.5745 | 6898.5369 | 6454.2754 | 4629.8496 | 4091.8238 | 4507.1404 | 157245.0122 | 157441.5429 | 150570.0241 | 55877.8193 | 56421.6965 | 54532.6717 | 16904.7048 | 16298.3904 | 16377.9436 | 25285.1488 | 24986.9579 | 24341.6267 | 563803.9512 | 555478.1018 | 547076.8959 | 180574.4147 | 179285.3944 | 175241.5332
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LQC 1 | 8098.5789 | 7950.8812 | 8114.2824 | 6279.1645 | 6029.1216 | 6295.2822 | 219862.4916 | 233591.8125 | 221147.2975 | 79675.5908 | 83515.4205 | 81123.7209 | 13581.1849 | 13523.8107 | 13487.1955 | 22989.7562 | 23609.4834 | 22770.7747 | 529254.4039 | 555913.0598 | 535094.3447 | 177212.8233 | 177844.9445 | 177923.0387
| LQC 2 | 8292.499 | 8291.6298 | 7865.4449 | 6223.7057 | 6220.419 | 6558.0053 | 233423.1149 | 234289.3579 | 234440.9311 | 83011.404 | 81489.5565 | 86645.5966 | 13832.1027 | 13271.5899 | 13530.7355 | 24169.0193 | 23005.1938 | 22997.4683 | 549963.355 | 554643.975 | 557008.5033 | 180684.8303 | 178987.4151 | 182578.3143
| LQC 3 | 8277.5852 | 8457.388 | 7992.3732 | 6700.9308 | 6961.2195 | 6284.5584 | 242594.0869 | 242192.5663 | 241091.6853 | 88090.2598 | 88887.6009 | 87610.2938 | 13008.8013 | 13205.3658 | 13253.1205 | 23238.4698 | 22902.4973 | 22816.5912 | 533977.0153 | 544162.6208 | 548177.0475 | 181575.4991 | 182529.4253 | 177393.6025
| LQC 4 | 8581.2538 | 8590.2446 | 8713.9272 | 6355.0982 | 6192.5659 | 6627.7229 | 240705.1547 | 239640.9026 | 238333.5338 | 87501.535 | 86044.9654 | 87785.0478 | 13521.0467 | 13559.9756 | 13126.7454 | 23929.038 | 23352.7164 | 23176.8426 | 549273.6047 | 547592.6315 | 540993.7247 | 178167.1874 | 177553.0527 | 180519.2033
| LQC 5 | 8348.9375 | 8999.7365 | 8297.2884 | 6102.6249 | 6403.5856 | 6749.1131 | 251935.937 | 247357.7277 | 238230.9305 | 89157.235 | 87383.2898 | 87701.1189 | 13896.6547 | 13595.5879 | 13643.903 | 23728.3873 | 23276.207 | 23624.9429 | 559543.5626 | 560901.0504 | 545663.4665 | 183483.2741 | 184902.6152 | 183629.3224
| LQC 6 | 8020.3751 | 7457.2091 | 7732.5916 | 5835.6926 | 5565.0564 | 5956.204 | 218512.7364 | 212044.3075 | 213378.4211 | 77758.364 | 76802.1966 | 76151.4491 | 14712.6161 | 14493.5711 | 14768.3863 | 23707.0693 | 24673.6648 | 23682.6176 | 559139.4103 | 543517.6128 | 547392.8407 | 178599.947 | 181452.8286 | 181475.6918
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 11686.1475 | 12041.4896 | 11892.2867 | 10218.9807 | 9941.4279 | 9732.3592 | 507770.1565 | 496292.4191 | 491246.9592 | 183351.3991 | 178557.3266 | 175698.4545 | 9980.1937 | 9867.4268 | 9806.0483 | 17661.3546 | 17097.7334 | 17045.1757 | 552986.6875 | 541335.2588 | 535034.9628 | 184543.4886 | 181258.5972 | 177624.5314
| MQC 2 | 11932.1167 | 12346.3856 | 12226.063 | 9942.8297 | 10091.3058 | 9939.3795 | 502169.1481 | 495621.2033 | 484631.065 | 177879.4946 | 174749.002 | 173543.9477 | 9574.7181 | 9559.071 | 9276.9103 | 17454.6897 | 17380.5024 | 16865.2345 | 535248.344 | 538265.0559 | 517730.2697 | 181352.3771 | 180460.9334 | 176776.4213
| MQC 3 | 12807.511 | 12017.3536 | 12562.0203 | 10245.9595 | 9908.6283 | 9832.4927 | 502152.1027 | 486879.9112 | 498275.5876 | 181342.5238 | 174552.4942 | 176109.0616 | 10216.6445 | 9991.9667 | 9784.7645 | 17810.4421 | 17433.5762 | 17849.9662 | 536265.9126 | 524175.621 | 533756.7407 | 180898.5654 | 176438.5578 | 178010.75
| MQC 4 | 11957.0228 | 12087.878 | 11442.9516 | 10237.675 | 9791.1962 | 9858.6509 | 482848.7355 | 480136.2408 | 486899.0214 | 173511.9051 | 172796.432 | 175427.245 | 9457.2181 | 9609.315 | 9432.6632 | 17566.1573 | 17065.8231 | 16410.4253 | 519335.6169 | 525638.1316 | 527149.3311 | 175280.9 | 175066.5259 | 176196.6993
| MQC 5 | 12201.8595 | 12342.6322 | 11642.1082 | 9591.6879 | 9617.9156 | 9642.0295 | 487844.609 | 474700.6607 | 477369.085 | 178134.7113 | 170503.8816 | 174262.9219 | 9542.3633 | 9350.1452 | 9485.2836 | 17246.3505 | 17065.88 | 16627.6061 | 519643.9589 | 504670.0227 | 507218.8021 | 175802.593 | 170311.5478 | 171043.4066
| MQC 6 | 12248.5362 | 11531.3363 | 12415.4466 | 10146.6773 | 10122.7892 | 9865.5207 | 491681.2523 | 484371.8483 | 495504.3374 | 174176.9629 | 173525.511 | 179747.2305 | 9741.1482 | 9544.5829 | 10054.5525 | 17331.7134 | 17205.2352 | 18077.4919 | 532573.608 | 527109.6503 | 535360.3503 | 178737.728 | 177469.0866 | 181160.7805
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HQC 1 | 17553.94 | 17618.3518 | 16271.0191 | 23310.9304 | 22776.9338 | 21588.4407 | 712554.4468 | 710581.5865 | 677617.8149 | 392034.394 | 382658.6018 | 365832.9235 | 9793.1824 | 9568.406 | 9516.5031 | 18139.2555 | 17160.3284 | 17724.3045 | 546318.9251 | 536199.6528 | 510693.8596 | 181634.988 | 180352.3206 | 167851.8498
| HQC 2 | 16727.7623 | 16923.1481 | 16616.1378 | 21412.0271 | 22033.3306 | 21870.2081 | 703784.1235 | 695392.1088 | 664659.8848 | 383004.6113 | 374034.517 | 363718.2699 | 9994.8246 | 9419.8513 | 9471.54 | 17553.988 | 16604.0767 | 16842.8897 | 528199.0134 | 516955.3222 | 492394.2328 | 173386.1066 | 170270.617 | 171458.8371
| HQC 3 | 16711.1658 | 16810.2019 | 17329.0106 | 22360.4027 | 22085.515 | 22110.0505 | 674421.3654 | 684821.1455 | 677315.0151 | 381150.253 | 374332.8126 | 375102.3843 | 9960.2655 | 10340.2664 | 10623.2674 | 17350.7451 | 17022.1532 | 17332.7226 | 519110.0638 | 520128.3614 | 520340.4754 | 178503.7594 | 174860.5416 | 174285.4872
| HQC 4 | 16761.8133 | 17639.949 | 16418.279 | 22790.4258 | 22450.2317 | 21434.0582 | 683040.8136 | 689493.7859 | 688916.0641 | 377263.8041 | 378394.7774 | 371574.8442 | 9483.6072 | 9981.8419 | 9485.2431 | 17294.4891 | 17396.906 | 17472.1098 | 515928.6071 | 530473.9334 | 523426.2042 | 170855.1449 | 176667.9904 | 174022.6789
| HQC 5 | 17548.3216 | 16806.9183 | 16784.6426 | 21822.4903 | 21994.4141 | 22686.2636 | 695157.1114 | 693140.0831 | 690308.6683 | 379635.6198 | 383190.9146 | 374233.2047 | 9899.9153 | 9695.2457 | 9344.4585 | 16638.6156 | 16873.0275 | 16963.8372 | 512718.003 | 511638.1776 | 510010.7642 | 172973.3558 | 172112.0784 | 168937.2686
| HQC 6 | 16632.3196 | 16783.9582 | 16251.102 | 21238.8775 | 21178.4544 | 21265.5313 | 683563.2361 | 663873.588 | 642414.6732 | 378147.3137 | 357708.2165 | 358640.2438 | 9088.0568 | 8778.1056 | 9161.2109 | 16839.8972 | 16327.1414 | 16205.3907 | 503526.2037 | 491261.8537 | 479521.6319 | 167001.855 | 160222.26 | 160997.8597
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HLQC 1 | 22197.121 | 23062.8355 | 21210.3421 | 34817.3985 | 34156.5118 | 34016.0792 | 921543.4572 | 931513.6623 | 881194.7446 | 601536.6468 | 595735.289 | 589649.6673 | 9407.4939 | 9716.4837 | 9004.0155 | 16756.817 | 16791.1245 | 16540.2843 | 510114.0804 | 516252.19 | 489294.4369 | 168741.069 | 169758.3198 | 163300.4503
| HLQC 2 | 22133.4843 | 22738.4816 | 21650.4272 | 34374.5492 | 32414.2076 | 34472.209 | 894712.1948 | 867679.0013 | 856395.6932 | 584137.0196 | 580929.5272 | 572112.0083 | 9724.9114 | 9836.8877 | 9593.7221 | 17470.6962 | 16859.3727 | 16403.8007 | 513774.883 | 498378.8172 | 485023.107 | 171170.7874 | 169550.219 | 165264.3816
| HLQC 3 | 22923.8754 | 21021.7946 | 22150.2148 | 35676.0899 | 34376.1287 | 35046.7157 | 901436.2022 | 858207.3509 | 876075.5622 | 586495.2282 | 580941.8152 | 581617.6437 | 9726.6492 | 9490.4223 | 9065.7657 | 16855.0296 | 16319.4412 | 16283.5336 | 505438.7033 | 480620.7167 | 496078.5206 | 169777.5857 | 164096.6522 | 165619.9035
| HLQC 4 | 22433.2547 | 22029.205 | 21278.6953 | 34531.6181 | 34549.1208 | 34408.3529 | 919164.0329 | 891385.7932 | 895960.7722 | 611284.2227 | 587427.9987 | 592782.6107 | 9585.025 | 9357.0563 | 9559.7679 | 16941.0995 | 16164.4213 | 16653.9224 | 519177.3547 | 506336.2192 | 506284.1898 | 176440.7365 | 170505.8515 | 169926.3647
| HLQC 5 | 24141.7595 | 23353.5891 | 23998.6615 | 36771.2634 | 35297.7976 | 36974.5723 | 900872.8336 | 855353.6603 | 884690.842 | 589939.9673 | 558287.6167 | 581021.3471 | 9315.8938 | 9050.4686 | 9213.6803 | 16945.7289 | 16195.6884 | 16822.6047 | 500814.0269 | 469568.6745 | 490584.6423 | 167547.3741 | 156713.9524 | 166357.2964
| HLQC 6 | 21687.5396 | 21031.9276 | 22224.4259 | 34271.2913 | 33708.4281 | 35520.8212 | 912289.8579 | 886197.4342 | 905686.7038 | 593294.8668 | 573658.7665 | 592495.4252 | 10032.1127 | 9380.6959 | 9769.9694 | 17546.8572 | 16537.3344 | 16559.186 | 525167.7017 | 502695.8583 | 514293.8366 | 172842.6406 | 169546.2551 | 170627.3998
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Matrix Blank | 15319.676 | 15430.2388 | 14973.9156 | 13578.0181 | 14908.6276 | 14527.4899 | 603751.9165 | 610417.4917 | 617894.1773 | 219713.1378 | 222527.7775 | 216939.3245 | NF | NF | NF | NF | NF | NF | NF | NF | NF | NF | NF | NF
| Total Blank | 341.9162 | 278.5082 | 463.7527 | 272.2102 | 294.7447 | 263.3111 | 1086.5859 | 1102.2973 | 1164.7589 | NF | NF | NF | NF | NF | NF | NF | NF | NF | NF | NF | NF | NF | NF | NF

## Raw Peak Areas
Sample_Name | Sample ID | Cer d18:1/16:0 [M>264] | Cer d18:1/16:0-d7 [M>264] | Cer d18:1/18:0 [M>264] | Cer d18:1/18:0-d7 [M>264] | Cer d18:1/24:0 [M>264] | Cer d18:1/24:0-d7 [M>264] | Cer d18:1/24:1 [M>264] | Cer d18:1/24:1-d7 [M>264]
20200421_TB_001 | Total Blank | 341.9162 | NF | 272.2102 | NF | 1086.5859 | NF | NF | 0
20200421_TB_002 | Total Blank | 278.5082 | 0 | 294.7447 | NF | 1102.2973 | NF | NF | 0
20200421_TB_003 | Total Blank | 463.7527 | NF | 263.3111 | NF | 1164.7589 | NF | NF | 0
20200421_MB_001 | Matrix Blank | 15319.676 | NF | 13578.0181 | NF | 603751.9165 | 20.9147 | 219713.1378 | 0.19045
20200421_MB_002 | Matrix Blank | 15430.2388 | NF | 14908.6276 | NF | 610417.4917 | 126.4213 | 222527.7775 | 0
20200421_MB_003 | Matrix Blank | 14973.9156 | NF | 14527.4899 | NF | 617894.1773 | 164.0022 | 216939.3245 | 0
20200421_STD6_01 | x250 | 3136.7222 | 23723.8879 | 4065.804 | 29483.9868 | 44265.9748 | 691731.596 | 41909.3687 | 219057.0427
20200421_STD6_02 | x250 | 2459.4608 | 24269.3692 | 3763.2047 | 29511.2862 | 43887.3582 | 682074.9563 | 42752.3654 | 213553.669
20200421_STD6_03 | x250 | 2995.4918 | 24722.8705 | 4413.5964 | 29457.4331 | 41326.091 | 671887.9665 | 41620.8673 | 221566.4512
20200421_STD5_01 | x200 | 3571.9911 | 24221.9622 | 4313.1994 | 29274.2585 | 48508.6147 | 658480.5866 | 47035.7263 | 207703.5398
20200421_STD5_02 | x200 | 3260.8424 | 24657.5981 | 4350.8737 | 28766.3965 | 48036.8241 | 685165.3967 | 44316.2584 | 207199.4941
20200421_STD4_01 | x100 | 6158.4976 | 23947.8882 | 9042.5778 | 28547.2887 | 104556.8542 | 665516.9509 | 99762.6864 | 206030.9958
20200421_STD4_02 | x100 | 6126.308 | 24708.796 | 8322.6332 | 28124.6937 | 95101.2716 | 653723.7277 | 92331.5938 | 209438.5011
20200421_STD4_03 | x100 | 6387.4109 | 25005.2686 | 8727.0434 | 27648.4793 | 101140.4027 | 633312.9155 | 95060.4174 | 203918.7101
20200421_STD3_01 | x20 | 25713.2252 | 24836.4207 | 37753.823 | 28302.0205 | 459345.2419 | 664937.4628 | 449043.0563 | 210100.7171
20200421_STD3_02 | x20 | 26406.5865 | 24059.1545 | 37518.1373 | 27946.8935 | 454485.5753 | 606156.7967 | 451074.4064 | 195896.9795
20200421_STD3_03 | x20 | 26184.7624 | 24261.2084 | 37386.8573 | 27539.3092 | 458852.4179 | 657566.0698 | 449014.7274 | 206564.0026
20200421_STD2_01 | x2 | 265890.7703 | 23712.3665 | 394613.8261 | 28729.7843 | 4495964.7609 | 599073.7015 | 4251615.5675 | 186102.6421
20200421_STD2_02 | x2 | 267252.4938 | 22853.0416 | 383089.0309 | 26156.3475 | 4357308.6955 | 545705.3524 | 4171753.4978 | 173289.3655
20200421_STD2_03 | x2 | 260442.3502 | 22501.2544 | 382698.892 | 26871.6444 | 4374035.0619 | 564109.0738 | 4131995.8911 | 179909.9331
20200421_STD1_01 | x1 | 488987.7048 | 21664.6036 | 726010.5205 | 24964.0346 | 7847148.9301 | 521677.3706 | 7226223.4915 | 159193.2696
20200421_STD1_02 | x1 | 276829.0703 | 12494.1523 | 394808.2041 | 13911.8518 | 4458837.1078 | 285019.8048 | 4116302.0798 | 85734.2509
20200421_STD1_03 | x1 | 518992.8894 | 23080.8487 | 773732.648 | 27043.6848 | 8447742.4992 | 556814.3924 | 7753718.0689 | 165512.211
20200421_QC_001 | Pooled QC | 13300.6723 | 10725.2703 | 12480.2288 | 22308.0633 | 514507.087 | 580506.0217 | 183672.1835 | 192523.7701
20200421_QC_002 | Pooled QC | 13301.5538 | 11565.0871 | 12281.2701 | 21758.504 | 521708.4827 | 602325.4721 | 188172.0592 | 201413.3003
20200421_S_SRM1950_01_01 | SRM1950, Plasma 4 | 14704.734 | 11046.1449 | 13089.7386 | 22265.042 | 503202.4484 | 611102.7006 | 194349.1192 | 207787.4142
20200421_S_SRM1950_01_02 | SRM1950, Plasma 4 | 14537.4479 | 11274.293 | 12490.7074 | 22395.7248 | 528325.3748 | 629203.1973 | 195901.226 | 215631.1525
20200421_S_SRM1950_01_03 | SRM1950, Plasma 4 | 14470.1186 | 11361.7308 | 12498.9069 | 22155.6972 | 523466.694 | 636506.0735 | 196892.8825 | 211910.8535
20200421_S_SRM1950_02_01 | SRM1950, Plasma 4 | 14283.401 | 10302.157 | 12832.6134 | 22161.9608 | 526739.0298 | 595734.9079 | 193868.5778 | 205072.073
20200421_S_SRM1950_02_02 | SRM1950, Plasma 4 | 14081.7957 | 10908.0558 | 13449.4862 | 21167.7713 | 514810.2973 | 585696.5944 | 187712.4153 | 200619.4639
20200421_S_SRM1950_02_03 | SRM1950, Plasma 4 | 13916.2212 | 10435.7572 | 12490.9838 | 21727.8324 | 530421.9196 | 613032.8306 | 200336.1392 | 203824.1285
20200421_S_SRM1950_03_01 | SRM1950, Plasma 4 | 13431.5103 | 10382.2477 | 12153.9512 | 21514.3058 | 503952.8978 | 589074.3075 | 190930.0907 | 197745.1681
20200421_S_SRM1950_03_02 | SRM1950, Plasma 4 | 13990.0784 | 10746.0799 | 12613.1392 | 21368.7346 | 511677.5347 | 602009.485 | 191409.1389 | 198828.032
20200421_S_SRM1950_03_03 | SRM1950, Plasma 4 | 14138.9063 | 10621.8162 | 12352.473 | 21028.3243 | 509402.2944 | 599840.0319 | 193289.1674 | 199904.043
20200421_S_SRM1950_04_01 | SRM1950, Plasma 4 | 14361.5752 | 10914.9061 | 12170.0847 | 20563.3618 | 512894.5044 | 598192.1367 | 193618.1244 | 204348.5625
20200421_S_SRM1950_04_02 | SRM1950, Plasma 4 | 13849.2938 | 10347.9585 | 12736.7912 | 20722.7207 | 515372.2126 | 603569.5591 | 193773.8848 | 203613.9771
20200421_S_SRM1950_04_03 | SRM1950, Plasma 4 | 14271.6584 | 10422.679 | 12789.3509 | 20369.22 | 512324.0265 | 599916.6916 | 195405.2577 | 208132.912
20200421_S_SRM1950_05_01 | SRM1950, Plasma 4 | 14377.9712 | 11519.4786 | 12392.3294 | 21418.2652 | 507064.3225 | 595947.4685 | 191938.683 | 203467.5529
20200421_S_SRM1950_05_02 | SRM1950, Plasma 4 | 14239.2607 | 10333.2565 | 12400.4789 | 20858.6184 | 510565.1421 | 613524.7313 | 192933.3346 | 201267.3658
20200421_S_SRM1950_05_03 | SRM1950, Plasma 4 | 14234.9887 | 10777.5451 | 12177.3854 | 20746.0308 | 508412.5653 | 609338.6145 | 188511.6887 | 200209.4651
20200421_S_SRM1950_06_01 | SRM1950, Plasma 4 | 14115.7354 | 9972.5793 | 12455.1177 | 20615.4552 | 517017.0071 | 594673.6091 | 194095.2711 | 202122.7416
20200421_S_SRM1950_06_02 | SRM1950, Plasma 4 | 14081.1882 | 10521.3769 | 13094.8498 | 21102.7751 | 508957.802 | 595848.2948 | 185445.9906 | 199958.9448
20200421_S_SRM1950_06_03 | SRM1950, Plasma 4 | 14564.6334 | 10755.8548 | 12679.2153 | 21130.2575 | 515352.5998 | 615661.0445 | 193899.2953 | 204751.0746
20200421_QC_011 | Pooled QC | 13170.3398 | 10751.57 | 11251.526 | 19960.697 | 486437.464 | 563391.078 | 176107.9044 | 186293.8777
20200421_QC_012 | Pooled QC | 12499.9135 | 10647.6124 | 10849.5146 | 20300.2857 | 488475.2375 | 565912.355 | 173648.5212 | 185046.0794
20200421_S_T1D_01_01 | T1D, Plasma 1 | 12347.1294 | 10982.569 | 13739.8467 | 21354.4354 | 454848.2825 | 585761.5682 | 177911.3318 | 194715.0138
20200421_S_T1D_01_02 | T1D, Plasma 1 | 12197.9929 | 11227.0252 | 13315.5421 | 21190.0154 | 458656.3015 | 595673.6 | 180770.424 | 200127.8152
20200421_S_T1D_01_03 | T1D, Plasma 1 | 12811.0257 | 11491.3319 | 13993.856 | 21579.5102 | 478630.4796 | 605358.3351 | 179398.3266 | 200846.1692
20200421_S_T1D_02_01 | T1D, Plasma 1 | 12497.9476 | 10492.7296 | 13513.9753 | 20201.5693 | 479614.755 | 572238.4516 | 187390.9485 | 194400.4961
20200421_S_T1D_02_02 | T1D, Plasma 1 | 12692.8995 | 10538.3247 | 13996.6252 | 19822.5839 | 502513.5551 | 595136.5212 | 193094.0226 | 197480.4877
20200421_S_T1D_02_03 | T1D, Plasma 1 | 13245.954 | 10513.8647 | 14601.5131 | 20612.364 | 489071.4763 | 588785.1235 | 188276.9556 | 194611.3765
20200421_S_T1D_03_01 | T1D, Plasma 1 | 12800.2316 | 10182.3167 | 13710.1986 | 20212.0205 | 475218.2013 | 555183.9506 | 183917.5528 | 191365.4453
20200421_S_T1D_03_02 | T1D, Plasma 1 | 13146.6177 | 10559.2373 | 13555.477 | 20446.9132 | 487599.863 | 574607.8424 | 184419.4684 | 192323.7284
20200421_S_T1D_03_03 | T1D, Plasma 1 | 12147.1946 | 10185.6915 | 13216.5656 | 20493.6105 | 478098.3583 | 564977.8097 | 186641.0125 | 189607.4835
20200421_S_T1D_04_02 | T1D, Plasma 1 | 12155.2817 | 10191.8581 | 13592.3417 | 19054.9419 | 478844.7736 | 564651.4979 | 184466.968 | 191277.6352
20200421_S_T1D_04_03 | T1D, Plasma 1 | 12384.3256 | 10452.5683 | 13502.0324 | 19372.5209 | 476388.1221 | 564792.6444 | 182145.7899 | 187212.8652
20200421_S_T1D_05_01 | T1D, Plasma 1 | 12258.3002 | 10394.246 | 14116.1423 | 20095.675 | 463530.2635 | 562560.4104 | 180703.5754 | 191166.3689
20200421_S_T1D_05_02 | T1D, Plasma 1 | 13028.1571 | 10540.411 | 13879.832 | 19572.4689 | 474916.2822 | 583430.3164 | 185055.3918 | 192152.6855
20200421_S_T1D_05_03 | T1D, Plasma 1 | 13031.2572 | 10690.111 | 13506.1613 | 19521.9845 | 474881.9531 | 581013.3162 | 182570.764 | 194056.4281
20200421_S_T1D_06_01 | T1D, Plasma 1 | 12344.1791 | 9714.6493 | 13048.5905 | 19602.8219 | 462438.256 | 553890.1647 | 180263.8808 | 186473.8001
20200421_S_T1D_06_02 | T1D, Plasma 1 | 12836.1253 | 10437.4885 | 13579.9418 | 19420.2068 | 479278.5172 | 575639.085 | 182906.1819 | 191595.4913
20200421_S_T1D_06_03 | T1D, Plasma 1 | 12159.7137 | 10510.6838 | 13805.6172 | 19907.9758 | 479535.2136 | 568062.9275 | 183125.8154 | 192317.4965
20200421_QC_021 | Pooled QC | 12747.2281 | 10513.2984 | 10858.2817 | 19667.8607 | 462463.1961 | 546380.3804 | 165906.7581 | 180730.5213
20200421_QC_022 | Pooled QC | 12035.2335 | 10341.94 | 11248.7557 | 19398.7865 | 459560.3334 | 536428.3633 | 166178.1139 | 177448.072
20200421_S_YoungAA_01_01 | Young AA, Plasma 3 | 9508.4447 | 11916.438 | 6902.857 | 19950.5577 | 280680.5128 | 508546.3833 | 95475.1848 | 162434.4055
20200421_S_YoungAA_01_02 | Young AA, Plasma 3 | 10154.7095 | 12541.7204 | 7463.2614 | 22946.9209 | 307438.5283 | 555174.1866 | 104901.7939 | 177493.0975
20200421_S_YoungAA_01_03 | Young AA, Plasma 3 | 10519.1344 | 12453.8808 | 7472.2828 | 21719.9172 | 313686.963 | 569162.29 | 103877.3848 | 175593.7883
20200421_S_YoungAA_02_01 | Young AA, Plasma 3 | 10441.9277 | 12455.9174 | 7499.556 | 21595.6986 | 317958.7626 | 551987.6999 | 108588.7305 | 180303.1459
20200421_S_YoungAA_02_02 | Young AA, Plasma 3 | 10198.6436 | 12423.2332 | 7624.9639 | 21934.6605 | 325172.4012 | 561744.5168 | 108889.1643 | 178565.1064
20200421_S_YoungAA_02_03 | Young AA, Plasma 3 | 10110.7843 | 11902.3793 | 7587.5357 | 21029.2201 | 322593.0543 | 545527.1579 | 108485.7871 | 175511.414
20200421_S_YoungAA_03_01 | Young AA, Plasma 3 | 10121.6276 | 11935.7565 | 7447.0156 | 21719.1026 | 332916.1265 | 565404.446 | 112280.8199 | 181308.3763
20200421_S_YoungAA_03_02 | Young AA, Plasma 3 | 10838.8662 | 13137.057 | 7310.1391 | 20893.628 | 328455.733 | 561899.1459 | 109985.3788 | 178735.1123
20200421_S_YoungAA_03_03 | Young AA, Plasma 3 | 9929.5973 | 11966.0215 | 7705.1223 | 22232.1467 | 331464.8158 | 562142.4897 | 111385.9214 | 178968.106
20200421_S_YoungAA_04_01 | Young AA, Plasma 3 | 9901.2898 | 12064.2266 | 7420.3469 | 21027.2797 | 310679.6879 | 551188.7335 | 106834.0455 | 174509.4087
20200421_S_YoungAA_04_02 | Young AA, Plasma 3 | 10188.2295 | 11792.0076 | 6836.7629 | 20756.7645 | 311961.6368 | 548320.7449 | 104957.2983 | 174411.6787
20200421_S_YoungAA_04_03 | Young AA, Plasma 3 | 9956.9371 | 11901.4598 | 7330.9306 | 21693.0627 | 300786.2455 | 531581.4124 | 102477.5956 | 173333.2286
20200421_S_YoungAA_05_01 | Young AA, Plasma 3 | 10145.6163 | 12144.9492 | 7060.0873 | 20129.8228 | 307628.0205 | 536926.8232 | 104043.5253 | 173666.768
20200421_S_YoungAA_05_02 | Young AA, Plasma 3 | 10910.8158 | 12507.0497 | 7395.0958 | 20499.5583 | 323373.7442 | 556711.4236 | 107765.1897 | 179216.9106
20200421_S_YoungAA_05_03 | Young AA, Plasma 3 | 10319.6415 | 11951.6895 | 6901.4529 | 20770.3447 | 316952.8303 | 558027.0475 | 105973.9873 | 175025.0686
20200421_S_YoungAA_06_01 | Young AA, Plasma 3 | 10249.4429 | 11465.8894 | 7369.3482 | 21824.2153 | 319279.7405 | 544640.3969 | 107807.5568 | 177466.1243
20200421_S_YoungAA_06_02 | Young AA, Plasma 3 | 10420.5814 | 12579.3035 | 7459.5509 | 21394.1873 | 324954.0081 | 557419.666 | 109838.2617 | 179284.3136
20200421_S_YoungAA_06_03 | Young AA, Plasma 3 | 10763.1263 | 12412.0488 | 7578.3428 | 20973.1411 | 323220.019 | 545028.0446 | 108271.205 | 175116.4679
20200421_QC_031 | Pooled QC | 12414.6448 | 9968.837 | 10221.5221 | 19331.9729 | 472819.5707 | 547873.902 | 169210.5566 | 180188.204
20200421_QC_032 | Pooled QC | 12206.6564 | 10420.087 | 11004.4689 | 18682.7901 | 472237.8004 | 540761.8309 | 168802.6637 | 177219.1011
20200421_S_HighTG_01_01 | HighTG, Plasma 2 | 13313.5344 | 8844.4497 | 12545.0754 | 17118.4078 | 705512.5954 | 539707.4125 | 245611.3014 | 175610.4225
20200421_S_HighTG_01_02 | HighTG, Plasma 2 | 14417.7399 | 9490.769 | 11784.9667 | 17381.231 | 716568.28 | 549147.1256 | 249706.819 | 184564.1175
20200421_S_HighTG_01_03 | HighTG, Plasma 2 | 14148.1566 | 8793.2904 | 12454.5975 | 18032.4928 | 723204.461 | 557998.2356 | 251477.2395 | 185250.7395
20200421_S_HighTG_02_01 | HighTG, Plasma 2 | 14920.5763 | 8551.3523 | 13485.2504 | 17762.8199 | 788490.1664 | 578285.0349 | 273648.2801 | 194559.3132
20200421_S_HighTG_02_02 | HighTG, Plasma 2 | 14670.3237 | 9395.3159 | 12915.3098 | 17640.0581 | 793028.9934 | 580621.9617 | 276244.4899 | 194954.1948
20200421_S_HighTG_02_03 | HighTG, Plasma 2 | 14008.1298 | 9122.1766 | 12796.5646 | 17896.0246 | 797645.3498 | 571710.5358 | 272317.4217 | 187184.9557
20200421_S_HighTG_03_01 | HighTG, Plasma 2 | 15795.1941 | 9389.69 | 13649.3188 | 16735.5073 | 825187.7855 | 598285.711 | 277849.6419 | 195742.6236
20200421_S_HighTG_03_02 | HighTG, Plasma 2 | 15665.7966 | 9468.0133 | 14536.0333 | 18526.8073 | 827371.3007 | 595634.6268 | 286106.8036 | 197100.3731
20200421_S_HighTG_03_03 | HighTG, Plasma 2 | 15383.4488 | 9519.8247 | 13674.0268 | 17684.0941 | 821793.5048 | 591833.1045 | 280690.2002 | 195181.7442
20200421_S_HighTG_04_01 | HighTG, Plasma 2 | 15322.9373 | 9532.2714 | 12709.5822 | 18196.6459 | 812232.6354 | 593365.1136 | 277610.7087 | 196893.7454
20200421_S_HighTG_04_02 | HighTG, Plasma 2 | 15311.9842 | 9811.1635 | 12556.1411 | 17949.345 | 781977.4771 | 573531.8885 | 275155.0765 | 190605.9661
20200421_S_HighTG_04_03 | HighTG, Plasma 2 | 14733.0769 | 9288.1332 | 12411.0744 | 17089.624 | 774020.1534 | 564993.7998 | 266070.5787 | 188623.2732
20200421_S_HighTG_05_01 | HighTG, Plasma 2 | 14919.563 | 9993.0497 | 13009.8532 | 17538.4454 | 810030.304 | 570994.2933 | 273793.6243 | 190004.5794
20200421_S_HighTG_05_02 | HighTG, Plasma 2 | 15205.1261 | 9259.6356 | 12501.3864 | 16691.3784 | 786505.5191 | 557262.3259 | 266269.3466 | 184697.6278
20200421_S_HighTG_05_03 | HighTG, Plasma 2 | 15281.7277 | 8628.3682 | 12840.7406 | 16914.5689 | 784537.4951 | 565105.9734 | 265163.9828 | 184479.2299
20200421_S_HighTG_06_01 | HighTG, Plasma 2 | 15520.4948 | 9023.8379 | 12611.4373 | 17205.5759 | 751122.2682 | 561132.8042 | 260396.7909 | 183529.5312
20200421_S_HighTG_06_02 | HighTG, Plasma 2 | 14305.6704 | 8846.1321 | 12318.7721 | 16910.7773 | 742341.5313 | 542122.3773 | 256632.4983 | 183232.9974
20200421_S_HighTG_06_03 | HighTG, Plasma 2 | 14504.7398 | 9480.81 | 11991.016 | 16994.5218 | 748809.3747 | 545534.1608 | 253596.2962 | 178252.3846
20200421_QC_041 | Pooled QC | 12541.4816 | 10708.9177 | 10084.4016 | 18444.131 | 457580.6471 | 531777.8739 | 163587.5798 | 172261.833
20200421_QC_042 | Pooled QC | 11659.1013 | 10321.7529 | 10256.3898 | 17645.3442 | 458145.4343 | 529340.4127 | 160282.8388 | 170600.4642
20200421_STD6_11 | x250 | 2408.5725 | 18560.2351 | 3349.0031 | 24137.594 | 37649.4516 | 581885.4043 | 33997.4284 | 180652.0847
20200421_STD6_12 | x250 | 2012.6627 | 18859.5475 | 3061.2096 | 22417.8519 | 37566.635 | 572613.5752 | 35369.3826 | 174726.8313
20200421_STD6_13 | x250 | 2319.2409 | 19924.4654 | 3445.9828 | 22770.4143 | 36017.4355 | 595657.8362 | 33859.9141 | 180712.5949
20200421_STD5_11 | x200 | 2526.4202 | 19985.4255 | 3773.3365 | 24006.8024 | 40780.3675 | 576362.0296 | 39082.3284 | 183984.2903
20200421_STD5_12 | x200 | 3209.3031 | 20371.8465 | 3796.3911 | 23730.8558 | 42316.9937 | 609929.2998 | 39138.8415 | 182203.042
20200421_STD4_11 | x100 | 5339.3217 | 19866.155 | 7738.2646 | 23448.4456 | 91158.8488 | 578991.4892 | 88580.3353 | 181295.2897
20200421_STD4_12 | x100 | 5074.8345 | 20184.0181 | 7334.0038 | 23251.964 | 84151.6825 | 589444.1024 | 80821.9113 | 180103.5071
20200421_STD4_13 | x100 | 5587.1966 | 19728.1111 | 7276.7885 | 23171.4486 | 87487.3221 | 590639.8909 | 86643.0837 | 177923.347
20200421_STD3_11 | x20 | 22090.1503 | 20828.0554 | 31847.248 | 23806.9688 | 407137.5034 | 598954.9721 | 400506.665 | 187249.6062
20200421_STD3_12 | x20 | 22060.865 | 19243.0586 | 31485.8393 | 23855.9409 | 403688.6481 | 569830.8817 | 410462.7574 | 177055.2766
20200421_STD3_13 | x20 | 21006.6958 | 20516.8975 | 31464.769 | 23516.4616 | 397713.2741 | 563131.3638 | 393849.2834 | 177706.8058
20200421_STD2_11 | x2 | 220498.6051 | 19857.319 | 329282.7627 | 23641.7986 | 3936791.9654 | 532117.9334 | 3797988.9476 | 163382.3859
20200421_STD2_12 | x2 | 231586.1694 | 20246.1841 | 340408.7383 | 23016.6184 | 4089009.7138 | 528250.1081 | 3900474.6805 | 159933.2783
20200421_STD2_13 | x2 | 224002.5009 | 20567.6288 | 335045.0911 | 22983.5683 | 3972674.6526 | 528861.8499 | 3769304.3684 | 159908.0485
20200421_STD1_11 | x1 | 419772.1677 | 19097.5687 | 654013.2145 | 22421.1715 | 7360559.0408 | 496393.6453 | 6845775.9877 | 146852.3159
20200421_STD1_12 | x1 | 443041.7842 | 19376.8438 | 640906.0104 | 21265.4853 | 7239580.4561 | 495375.6883 | 6817482.5551 | 148340.3545
20200421_STD1_13 | x1 | 440551.6938 | 20129.3255 | 663574.9331 | 22197.3303 | 7487360.0088 | 499979.8932 | 6983956.1845 | 149221.579
20200421_LLQC_01_01 | LLQC | 6261.9085 | 16468.4932 | 4464.7204 | 23988.6968 | 145551.0004 | 526777.1044 | 53853.4983 | 172843.492
20200421_LLQC_01_02 | LLQC | 6278.8207 | 15682.3807 | 4140.4258 | 23856.8907 | 146956.8604 | 523215.522 | 53179.2812 | 168510.295
20200421_LLQC_01_03 | LLQC | 6421.8513 | 16014.2037 | 4473.106 | 25081.1064 | 149138.6591 | 518122.4473 | 53699.2676 | 168514.4398
20200421_LLQC_02_01 | LLQC | 5997.4349 | 15881.7231 | 4521.4965 | 24267.2382 | 143826.0865 | 524616.9159 | 53038.5914 | 171322.1334
20200421_LLQC_02_02 | LLQC | 6511.6771 | 15664.9635 | 4370.2423 | 24228.037 | 145153.3622 | 525122.2347 | 52693.2439 | 172931.2642
20200421_LLQC_02_03 | LLQC | 6167.2431 | 14983.5678 | 4700.4099 | 24044.3158 | 144760.9008 | 515342.7823 | 52675.1249 | 167005.0126
20200421_LLQC_03_01 | LLQC | 5806.2229 | 16390.7014 | 4267.8048 | 24933.6886 | 148268.0288 | 536408.2909 | 54179.7021 | 176753.2284
20200421_LLQC_03_02 | LLQC | 6481.6692 | 16806.6652 | 4518.8454 | 25574.4397 | 152709.3705 | 545809.0326 | 56997.9315 | 180140.6573
20200421_LLQC_03_03 | LLQC | 6848.2716 | 16762.9373 | 4427.796 | 25307.8059 | 155058.3304 | 556656.9089 | 57205.0301 | 182644.1591
20200421_LLQC_04_01 | LLQC | 6363.1775 | 16074.1575 | 4495.1891 | 25641.0366 | 156718.3544 | 556557.4824 | 56319.8946 | 179145.827
20200421_LLQC_04_02 | LLQC | 6307.6056 | 16203.2722 | 4819.879 | 24347.0872 | 153426.7168 | 549409.0697 | 56344.5934 | 176698.1647
20200421_LLQC_04_03 | LLQC | 6221.8892 | 15899.7013 | 4564.4682 | 25546.9913 | 154098.7108 | 543951.9047 | 55244.9472 | 178834.7696
20200421_LLQC_05_01 | LLQC | 6698.869 | 17677.3996 | 4846.515 | 25535.5165 | 156684.0133 | 564420.5309 | 55449.397 | 178560.9677
20200421_LLQC_05_02 | LLQC | 6586.7813 | 16726.1156 | 4580.1113 | 25200.6576 | 156473.912 | 553068.9762 | 56949.4576 | 185420.894
20200421_LLQC_05_03 | LLQC | 6544.6345 | 16921.5049 | 4468.7967 | 24716.008 | 154839.3796 | 555318.8189 | 56798.6098 | 177099.9665
20200421_LLQC_06_01 | LLQC | 6375.5745 | 16904.7048 | 4629.8496 | 25285.1488 | 157245.0122 | 563803.9512 | 55877.8193 | 180574.4147
20200421_LLQC_06_02 | LLQC | 6898.5369 | 16298.3904 | 4091.8238 | 24986.9579 | 157441.5429 | 555478.1018 | 56421.6965 | 179285.3944
20200421_LLQC_06_03 | LLQC | 6454.2754 | 16377.9436 | 4507.1404 | 24341.6267 | 150570.0241 | 547076.8959 | 54532.6717 | 175241.5332
20200421_LQC_01_01 | LQC | 8098.5789 | 13581.1849 | 6279.1645 | 22989.7562 | 219862.4916 | 529254.4039 | 79675.5908 | 177212.8233
20200421_LQC_01_02 | LQC | 7950.8812 | 13523.8107 | 6029.1216 | 23609.4834 | 233591.8125 | 555913.0598 | 83515.4205 | 177844.9445
20200421_LQC_01_03 | LQC | 8114.2824 | 13487.1955 | 6295.2822 | 22770.7747 | 221147.2975 | 535094.3447 | 81123.7209 | 177923.0387
20200421_LQC_02_01 | LQC | 8292.499 | 13832.1027 | 6223.7057 | 24169.0193 | 233423.1149 | 549963.355 | 83011.404 | 180684.8303
20200421_LQC_02_02 | LQC | 8291.6298 | 13271.5899 | 6220.419 | 23005.1938 | 234289.3579 | 554643.975 | 81489.5565 | 178987.4151
20200421_LQC_02_03 | LQC | 7865.4449 | 13530.7355 | 6558.0053 | 22997.4683 | 234440.9311 | 557008.5033 | 86645.5966 | 182578.3143
20200421_LQC_03_01 | LQC | 8277.5852 | 13008.8013 | 6700.9308 | 23238.4698 | 242594.0869 | 533977.0153 | 88090.2598 | 181575.4991
20200421_LQC_03_02 | LQC | 8457.388 | 13205.3658 | 6961.2195 | 22902.4973 | 242192.5663 | 544162.6208 | 88887.6009 | 182529.4253
20200421_LQC_03_03 | LQC | 7992.3732 | 13253.1205 | 6284.5584 | 22816.5912 | 241091.6853 | 548177.0475 | 87610.2938 | 177393.6025
20200421_LQC_04_01 | LQC | 8581.2538 | 13521.0467 | 6355.0982 | 23929.038 | 240705.1547 | 549273.6047 | 87501.535 | 178167.1874
20200421_LQC_04_02 | LQC | 8590.2446 | 13559.9756 | 6192.5659 | 23352.7164 | 239640.9026 | 547592.6315 | 86044.9654 | 177553.0527
20200421_LQC_04_03 | LQC | 8713.9272 | 13126.7454 | 6627.7229 | 23176.8426 | 238333.5338 | 540993.7247 | 87785.0478 | 180519.2033
20200421_LQC_05_01 | LQC | 8348.9375 | 13896.6547 | 6102.6249 | 23728.3873 | 251935.937 | 559543.5626 | 89157.235 | 183483.2741
20200421_LQC_05_02 | LQC | 8999.7365 | 13595.5879 | 6403.5856 | 23276.207 | 247357.7277 | 560901.0504 | 87383.2898 | 184902.6152
20200421_LQC_05_03 | LQC | 8297.2884 | 13643.903 | 6749.1131 | 23624.9429 | 238230.9305 | 545663.4665 | 87701.1189 | 183629.3224
20200421_LQC_06_01 | LQC | 8020.3751 | 14712.6161 | 5835.6926 | 23707.0693 | 218512.7364 | 559139.4103 | 77758.364 | 178599.947
20200421_LQC_06_02 | LQC | 7457.2091 | 14493.5711 | 5565.0564 | 24673.6648 | 212044.3075 | 543517.6128 | 76802.1966 | 181452.8286
20200421_LQC_06_03 | LQC | 7732.5916 | 14768.3863 | 5956.204 | 23682.6176 | 213378.4211 | 547392.8407 | 76151.4491 | 181475.6918
20200421_MQC_01_01 | MQC | 11686.1475 | 9980.1937 | 10218.9807 | 17661.3546 | 507770.1565 | 552986.6875 | 183351.3991 | 184543.4886
20200421_MQC_01_02 | MQC | 12041.4896 | 9867.4268 | 9941.4279 | 17097.7334 | 496292.4191 | 541335.2588 | 178557.3266 | 181258.5972
20200421_MQC_01_03 | MQC | 11892.2867 | 9806.0483 | 9732.3592 | 17045.1757 | 491246.9592 | 535034.9628 | 175698.4545 | 177624.5314
20200421_MQC_02_01 | MQC | 11932.1167 | 9574.7181 | 9942.8297 | 17454.6897 | 502169.1481 | 535248.344 | 177879.4946 | 181352.3771
20200421_MQC_02_02 | MQC | 12346.3856 | 9559.071 | 10091.3058 | 17380.5024 | 495621.2033 | 538265.0559 | 174749.002 | 180460.9334
20200421_MQC_02_03 | MQC | 12226.063 | 9276.9103 | 9939.3795 | 16865.2345 | 484631.065 | 517730.2697 | 173543.9477 | 176776.4213
20200421_MQC_03_01 | MQC | 12807.511 | 10216.6445 | 10245.9595 | 17810.4421 | 502152.1027 | 536265.9126 | 181342.5238 | 180898.5654
20200421_MQC_03_02 | MQC | 12017.3536 | 9991.9667 | 9908.6283 | 17433.5762 | 486879.9112 | 524175.621 | 174552.4942 | 176438.5578
20200421_MQC_03_03 | MQC | 12562.0203 | 9784.7645 | 9832.4927 | 17849.9662 | 498275.5876 | 533756.7407 | 176109.0616 | 178010.75
20200421_MQC_04_01 | MQC | 11957.0228 | 9457.2181 | 10237.675 | 17566.1573 | 482848.7355 | 519335.6169 | 173511.9051 | 175280.9
20200421_MQC_04_02 | MQC | 12087.878 | 9609.315 | 9791.1962 | 17065.8231 | 480136.2408 | 525638.1316 | 172796.432 | 175066.5259
20200421_MQC_04_03 | MQC | 11442.9516 | 9432.6632 | 9858.6509 | 16410.4253 | 486899.0214 | 527149.3311 | 175427.245 | 176196.6993
20200421_MQC_05_01 | MQC | 12201.8595 | 9542.3633 | 9591.6879 | 17246.3505 | 487844.609 | 519643.9589 | 178134.7113 | 175802.593
20200421_MQC_05_02 | MQC | 12342.6322 | 9350.1452 | 9617.9156 | 17065.88 | 474700.6607 | 504670.0227 | 170503.8816 | 170311.5478
20200421_MQC_05_03 | MQC | 11642.1082 | 9485.2836 | 9642.0295 | 16627.6061 | 477369.085 | 507218.8021 | 174262.9219 | 171043.4066
20200421_MQC_06_01 | MQC | 12248.5362 | 9741.1482 | 10146.6773 | 17331.7134 | 491681.2523 | 532573.608 | 174176.9629 | 178737.728
20200421_MQC_06_02 | MQC | 11531.3363 | 9544.5829 | 10122.7892 | 17205.2352 | 484371.8483 | 527109.6503 | 173525.511 | 177469.0866
20200421_MQC_06_03 | MQC | 12415.4466 | 10054.5525 | 9865.5207 | 18077.4919 | 495504.3374 | 535360.3503 | 179747.2305 | 181160.7805
20200421_HQC_01_01 | HQC | 17553.94 | 9793.1824 | 23310.9304 | 18139.2555 | 712554.4468 | 546318.9251 | 392034.394 | 181634.988
20200421_HQC_01_02 | HQC | 17618.3518 | 9568.406 | 22776.9338 | 17160.3284 | 710581.5865 | 536199.6528 | 382658.6018 | 180352.3206
20200421_HQC_01_03 | HQC | 16271.0191 | 9516.5031 | 21588.4407 | 17724.3045 | 677617.8149 | 510693.8596 | 365832.9235 | 167851.8498
20200421_HQC_02_01 | HQC | 16727.7623 | 9994.8246 | 21412.0271 | 17553.988 | 703784.1235 | 528199.0134 | 383004.6113 | 173386.1066
20200421_HQC_02_02 | HQC | 16923.1481 | 9419.8513 | 22033.3306 | 16604.0767 | 695392.1088 | 516955.3222 | 374034.517 | 170270.617
20200421_HQC_02_03 | HQC | 16616.1378 | 9471.54 | 21870.2081 | 16842.8897 | 664659.8848 | 492394.2328 | 363718.2699 | 171458.8371
20200421_HQC_03_01 | HQC | 16711.1658 | 9960.2655 | 22360.4027 | 17350.7451 | 674421.3654 | 519110.0638 | 381150.253 | 178503.7594
20200421_HQC_03_02 | HQC | 16810.2019 | 10340.2664 | 22085.515 | 17022.1532 | 684821.1455 | 520128.3614 | 374332.8126 | 174860.5416
20200421_HQC_03_03 | HQC | 17329.0106 | 10623.2674 | 22110.0505 | 17332.7226 | 677315.0151 | 520340.4754 | 375102.3843 | 174285.4872
20200421_HQC_04_01 | HQC | 16761.8133 | 9483.6072 | 22790.4258 | 17294.4891 | 683040.8136 | 515928.6071 | 377263.8041 | 170855.1449
20200421_HQC_04_02 | HQC | 17639.949 | 9981.8419 | 22450.2317 | 17396.906 | 689493.7859 | 530473.9334 | 378394.7774 | 176667.9904
20200421_HQC_04_03 | HQC | 16418.279 | 9485.2431 | 21434.0582 | 17472.1098 | 688916.0641 | 523426.2042 | 371574.8442 | 174022.6789
20200421_HQC_05_01 | HQC | 17548.3216 | 9899.9153 | 21822.4903 | 16638.6156 | 695157.1114 | 512718.003 | 379635.6198 | 172973.3558
20200421_HQC_05_02 | HQC | 16806.9183 | 9695.2457 | 21994.4141 | 16873.0275 | 693140.0831 | 511638.1776 | 383190.9146 | 172112.0784
20200421_HQC_05_03 | HQC | 16784.6426 | 9344.4585 | 22686.2636 | 16963.8372 | 690308.6683 | 510010.7642 | 374233.2047 | 168937.2686
20200421_HQC_06_01 | HQC | 16632.3196 | 9088.0568 | 21238.8775 | 16839.8972 | 683563.2361 | 503526.2037 | 378147.3137 | 167001.855
20200421_HQC_06_02 | HQC | 16783.9582 | 8778.1056 | 21178.4544 | 16327.1414 | 663873.588 | 491261.8537 | 357708.2165 | 160222.26
20200421_HQC_06_03 | HQC | 16251.102 | 9161.2109 | 21265.5313 | 16205.3907 | 642414.6732 | 479521.6319 | 358640.2438 | 160997.8597
20200421_HHQC_01_01 | HHQC | 22197.121 | 9407.4939 | 34817.3985 | 16756.817 | 921543.4572 | 510114.0804 | 601536.6468 | 168741.069
20200421_HHQC_01_02 | HHQC | 23062.8355 | 9716.4837 | 34156.5118 | 16791.1245 | 931513.6623 | 516252.19 | 595735.289 | 169758.3198
20200421_HHQC_01_03 | HHQC | 21210.3421 | 9004.0155 | 34016.0792 | 16540.2843 | 881194.7446 | 489294.4369 | 589649.6673 | 163300.4503
20200421_HHQC_02_01 | HHQC | 22133.4843 | 9724.9114 | 34374.5492 | 17470.6962 | 894712.1948 | 513774.883 | 584137.0196 | 171170.7874
20200421_HHQC_02_02 | HHQC | 22738.4816 | 9836.8877 | 32414.2076 | 16859.3727 | 867679.0013 | 498378.8172 | 580929.5272 | 169550.219
20200421_HHQC_02_03 | HHQC | 21650.4272 | 9593.7221 | 34472.209 | 16403.8007 | 856395.6932 | 485023.107 | 572112.0083 | 165264.3816
20200421_HHQC_03_01 | HHQC | 22923.8754 | 9726.6492 | 35676.0899 | 16855.0296 | 901436.2022 | 505438.7033 | 586495.2282 | 169777.5857
20200421_HHQC_03_02 | HHQC | 21021.7946 | 9490.4223 | 34376.1287 | 16319.4412 | 858207.3509 | 480620.7167 | 580941.8152 | 164096.6522
20200421_HHQC_03_03 | HHQC | 22150.2148 | 9065.7657 | 35046.7157 | 16283.5336 | 876075.5622 | 496078.5206 | 581617.6437 | 165619.9035
20200421_HHQC_04_01 | HHQC | 22433.2547 | 9585.025 | 34531.6181 | 16941.0995 | 919164.0329 | 519177.3547 | 611284.2227 | 176440.7365
20200421_HHQC_04_02 | HHQC | 22029.205 | 9357.0563 | 34549.1208 | 16164.4213 | 891385.7932 | 506336.2192 | 587427.9987 | 170505.8515
20200421_HHQC_04_03 | HHQC | 21278.6953 | 9559.7679 | 34408.3529 | 16653.9224 | 895960.7722 | 506284.1898 | 592782.6107 | 169926.3647
20200421_HHQC_05_01 | HHQC | 24141.7595 | 9315.8938 | 36771.2634 | 16945.7289 | 900872.8336 | 500814.0269 | 589939.9673 | 167547.3741
20200421_HHQC_05_02 | HHQC | 23353.5891 | 9050.4686 | 35297.7976 | 16195.6884 | 855353.6603 | 469568.6745 | 558287.6167 | 156713.9524
20200421_HHQC_05_03 | HHQC | 23998.6615 | 9213.6803 | 36974.5723 | 16822.6047 | 884690.842 | 490584.6423 | 581021.3471 | 166357.2964
20200421_HHQC_06_01 | HHQC | 21687.5396 | 10032.1127 | 34271.2913 | 17546.8572 | 912289.8579 | 525167.7017 | 593294.8668 | 172842.6406
20200421_HHQC_06_02 | HHQC | 21031.9276 | 9380.6959 | 33708.4281 | 16537.3344 | 886197.4342 | 502695.8583 | 573658.7665 | 169546.2551
20200421_HHQC_06_03 | HHQC | 22224.4259 | 9769.9694 | 35520.8212 | 16559.186 | 905686.7038 | 514293.8366 | 592495.4252 | 170627.3998
20200421_S_T1D_04_01-2 | T1D, Plasma 1 | 11935.2591 | 10198.1486 | 12010.0766 | 17714.8322 | 500398.52 | 583826.8382 | 189896.9099 | 193150.7881
20200421_STD5_03-2 | x200 | 2431.5342 | 19342.6214 | 3441.2305 | 21575.0692 | 39965.5479 | 563987.6158 | 38820.3126 | 174261.2135
20200421_STD5_13-2 | x200 | 2692.594 | 19695.2283 | 3516.3894 | 23062.2159 | 37718.7708 | 559970.9845 | 38149.601 | 175395.7884