## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary | This protocol describes the extraction and LC-MRM procedure for absolute quantification of Cer d18:1/16:0, Cer d18:1/18:0, Cer d18:1/24:0 and Cer d18:1/24:1 in human plasma according to Kauhanen et al, Anal Bioanal Chem (2016) 408:3475–3483.
A calibration curve is built by injecting several dilutions of the non-labelled standards mixed with a fixed concentration of labelled standards. Each calibration point is prepared and analysed in triplicates (n=3).
To establish the endogenous concentration of the four selected ceramides in the study samples (NIST SRM1950, NIST high TAG, NIST T1D, and NIST young A-A) each sample is extracted and analyzed in six replicates (n =6).
Prepare the pooled QC by mixing 100 mL each of NIST SRM1950, NIST high TAG, NIST T1D, and NIST young AA (total 400 mL).
We suggest proceeding first to measure the ceramides concentration in the four study samples and then continue with the intra-assay validation to avoid wasting material.

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Ethyl acetate (EtAc)
2-propanol (IPA)
5% Bovine Serum Albumin (BSA)
96-well plates/tubes
Sealing foil
2 mL DeepWell plates/tubes/LC vials
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled QC |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8 (v/v)
| Matrix Blank (MB) | 10 µL Matrix (pooled QC) only |  |  | - |  | 590 µL EtAc:IPA 2:8
| Study Samples (S) | 10 µL Human plasma (NIST SRM1950, high TAG, T1D, young AA) |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8
| Total Blank (TB) | 10 µL 5% BSA |  |  | - |  | 590 µL EtAc:IPA 2:8
| Calibration line standards (STD) | 10 µL 5% BSA + 20 µL non labelled STD mixture (Table 5) |  |  | 20 µL Labelled IS |  | 550 µL EtAc:IPA 2:8
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Extraction - Overview, Table 4) with EtAc:IPA 2:8 as suggested in table | Extraction - Overview'!B34
| 2 | Thaw plasma on ice (+4°C) and bring to room temperature prior to extraction. Mix by pipetting before use.
| 3 | Prepare samples in plates/tubes manually or with a robot, according to specifications in column C of table | Extraction - Overview'!C14
| 4 | Add 20 µL of labelled internal standard mixture to samples according to column F of table | Extraction - Overview'!F14
| 5 | For the calibration line, add 20 µL of different dilutions of the non-labelled mixture (STD1-6).
| 6 | Add 590 µL of ethyl acetate:isopropanol (2:8, vol/vol) to Total Blank (TB) and Matrix Blank (MB); 550 µL to calibration line (STD); 570 µL to study samples and QCs according to column H of table | Extraction - Overview'!H14
| 7 | Mix samples 10 min by pipetting or vortexing
| 8 | Centrifuge samples for 10 min at 3000 x gat room temperature
| 9 | Transfer 50 µL of the clear supernatant to MS-vials or MS plates, close/seal, store samples at -20 °C prior to LC-MRM analysis.

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Ammonium formate
Formic acid
Ultra-pure water
Acetonitrile
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | QQQ (Xevo TQS, Waters)
| LC | UHPLC (Pump:Acquity I-class, Autosampler: Acquity H-class)
| Injection volume (indicative) | 3 µL
| Weak wash | Water
| Strong wash | Acetonitrile
| Pre-column | Waters Acquity BEH C18, 1.7 µm VanGuard Pre-Column
| Column | Waters Acquity BEH C18, 2.1 × 50 mm id. 1.7 µm
| Column temperature | 60 °C
| Mobile phase A | 10 mM ammonium acetate in water with 0.1% formic acid
| Mobile phase B | 10 mM ammonium acetate in acetonitrile:2-propanol (4:3, vol/vol) with 0.1% formic acid
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0.00 | 15 | 85 |  | 500
| 0.50 | 15 | 85 |  | 500
| 1.50 | 0 | 100 |  | 500
| 4.00 | 0 | 100 |  | 500
| 4.10 | 15 | 85 |  | 500
| 5.00 | 15 | 85 |  | 500
Table 9 LC-MRM MS conditions (EXAMPLE: this only applies to Sciex QTRAP, please adapt)
| Polarity mode | Positive
| Capillary voltage | 3500 V
| Nebuliser gas | 7.0 Bar
| Desplvation temperature | 450 °C
| Desolvation gas | 1000 L/hr
| Cone gas | 150 L/hr
| Cone voltage | 30 V
| EP | NU
| Collision cell exit potential | NU
| Collision energy (CE) | 27 eV
Table 10 LC-MRM Mass transitions used for absolute quantification. On different systems, RT and CE might be different!
| Analyte | Mass transitions | IS | Mass transitions | RT (min) | CE
| Cer d18:1/16:0 | 538.5 – 264.3 | D7- Cer d18:1/16:0 | 545.6 - 271.3 | 1.5 | 28
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.6 – 264.3 | D7- Cer d18:1/18:0 | 573.6 – 271.3 | 1.7 | 28
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.6 – 264.3 | D7- Cer d18:1/24:0 | 657.7 – 271.3 | 2.1 | 28
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.6 – 264.3 | D7- Cer d18:1/24:1 | 655.7 – 271.3 | 1.9 | 28
C42H82NO3 – C18H34N
Table 11 Data processing
| Processing software | Acquisition:MassLynks 4.2 (Waters), Peak Picking:TraverseMS 1.2 (Reifycs)

## LC-MRM - Sample Sequence
Sample Sequence (21st, April, 2020)
Sample Sequence (Example) | Sample Sequence 1
| Number | File Name | Sample ID | Remarks
| 1 | 20200423_TB_001.raw | Total Blank
| 2 | 20200423_TB_002.raw | Total Blank
| 3 | 20200423_TB_003.raw | Total Blank
| 4 | 20200423_MB_001.raw | Matrix Blank
| 5 | 20200423_MB_002.raw | Matrix Blank
| 6 | 20200423_MB_003.raw | Matrix Blank
| 7 | 20200423_STD6_001.raw | x250
| 8 | 20200423_STD6_002.raw | x250
| 9 | 20200423_STD6_003.raw | x250
| 10 | 20200423_STD5_001.raw | x200
| 11 | 20200423_STD5_002.raw | x200
| 12 | 20200423_STD5_003.raw | x200
| 13 | 20200423_STD4_001.raw | x100
| 14 | 20200423_STD4_002.raw | x100
| 15 | 20200423_STD4_003.raw | x100
| 16 | 20200423_STD3_001.raw | x20
| 17 | 20200423_STD3_002.raw | x20
| 18 | 20200423_STD3_003.raw | x20
| 19 | 20200423_STD2_001.raw | x2
| 20 | 20200423_STD2_002.raw | x2
| 21 | 20200423_STD2_003.raw | x2
| 22 | 20200423_STD1_001.raw | x1
| 23 | 20200423_STD1_002.raw | x1
| 24 | 20200423_STD1_003.raw | x1
| 25 | 20200423_QC_001.raw | Pooled QC
| 26 | 20200423_QC_002.raw | Pooled QC
| 27 | 20200423_NIST1950_01_001.raw | SRM1950, Plasma 4
| 28 | 20200423_NIST1950_01_002.raw | SRM1950, Plasma 4
| 29 | 20200423_NIST1950_01_003.raw | SRM1950, Plasma 4
| 30 | 20200423_NIST1950_02_001.raw | SRM1950, Plasma 4
| 31 | 20200423_NIST1950_02_002.raw | SRM1950, Plasma 4
| 32 | 20200423_NIST1950_02_003.raw | SRM1950, Plasma 4
| 33 | 20200423_NIST1950_03_001.raw | SRM1950, Plasma 4
| 34 | 20200423_NIST1950_03_002.raw | SRM1950, Plasma 4
| 35 | 20200423_NIST1950_03_003.raw | SRM1950, Plasma 4
| 36 | 20200423_NIST1950_04_001.raw | SRM1950, Plasma 4
| 37 | 20200423_NIST1950_04_002.raw | SRM1950, Plasma 4
| 38 | 20200423_NIST1950_04_003.raw | SRM1950, Plasma 4
| 39 | 20200423_NIST1950_05_001.raw | SRM1950, Plasma 4
| 40 | 20200423_NIST1950_05_002.raw | SRM1950, Plasma 4
| 41 | 20200423_NIST1950_05_003.raw | SRM1950, Plasma 4
| 42 | 20200423_NIST1950_06_001.raw | SRM1950, Plasma 4
| 43 | 20200423_NIST1950_06_002.raw | SRM1950, Plasma 4
| 44 | 20200423_NIST1950_06_003.raw | SRM1950, Plasma 4
| 45 | 20200423_QC_011.raw | Pooled QC
| 46 | 20200423_QC_012.raw | Pooled QC
| 47 | 20200423_T1D_01_001.raw | T1D, Plasma 1
| 48 | 20200423_T1D_01_002.raw | T1D, Plasma 1
| 49 | 20200423_T1D_01_003.raw | T1D, Plasma 1
| 50 | 20200423_T1D_02_001.raw | T1D, Plasma 1
| 51 | 20200423_T1D_02_002.raw | T1D, Plasma 1
| 52 | 20200423_T1D_02_003.raw | T1D, Plasma 1
| 53 | 20200423_T1D_03_001.raw | T1D, Plasma 1
| 54 | 20200423_T1D_03_002.raw | T1D, Plasma 1
| 55 | 20200423_T1D_03_003.raw | T1D, Plasma 1
| 56 | 20200423_T1D_04_001.raw | T1D, Plasma 1
| 57 | 20200423_T1D_04_002.raw | T1D, Plasma 1
| 58 | 20200423_T1D_04_003.raw | T1D, Plasma 1
| 59 | 20200423_T1D_05_001.raw | T1D, Plasma 1
| 60 | 20200423_T1D_05_002.raw | T1D, Plasma 1
| 61 | 20200423_T1D_05_003.raw | T1D, Plasma 1
| 62 | 20200423_T1D_06_001.raw | T1D, Plasma 1
| 63 | 20200423_T1D_06_002.raw | T1D, Plasma 1
| 64 | 20200423_T1D_06_003.raw | T1D, Plasma 1
| 65 | 20200423_TB_101.raw | Total Blank
| 66 | 20200423_QC_021.raw | Pooled QC
| 67 | 20200423_QC_022.raw | Pooled QC
| 68 | 20200423_YoungAA_01_001.raw | Young AA, Plasma 3
| 69 | 20200423_YoungAA_01_002.raw | Young AA, Plasma 3
| 70 | 20200423_YoungAA_01_003.raw | Young AA, Plasma 3
| 71 | 20200423_YoungAA_02_001.raw | Young AA, Plasma 3
| 72 | 20200423_YoungAA_02_002.raw | Young AA, Plasma 3
| 73 | 20200423_YoungAA_02_003.raw | Young AA, Plasma 3
| 74 | 20200423_YoungAA_03_001.raw | Young AA, Plasma 3
| 75 | 20200423_YoungAA_03_002.raw | Young AA, Plasma 3
| 76 | 20200423_YoungAA_03_003.raw | Young AA, Plasma 3
| 77 | 20200423_YoungAA_04_001.raw | Young AA, Plasma 3
| 78 | 20200423_YoungAA_04_002.raw | Young AA, Plasma 3
| 79 | 20200423_YoungAA_04_003.raw | Young AA, Plasma 3
| 80 | 20200423_YoungAA_05_001.raw | Young AA, Plasma 3
| 81 | 20200423_YoungAA_05_002.raw | Young AA, Plasma 3
| 82 | 20200423_YoungAA_05_003.raw | Young AA, Plasma 3
| 83 | 20200423_YoungAA_06_001.raw | Young AA, Plasma 3
| 84 | 20200423_YoungAA_06_002.raw | Young AA, Plasma 3
| 85 | 20200423_YoungAA_06_003.raw | Young AA, Plasma 3
| 86 | 20200423_QC_031.raw | Pooled QC
| 87 | 20200423_QC_032.raw | Pooled QC
| 88 | 20200423_HighTG_01_001.raw | HighTG, Plasma 2
| 89 | 20200423_HighTG_01_002.raw | HighTG, Plasma 2
| 90 | 20200423_HighTG_01_003.raw | HighTG, Plasma 2
| 91 | 20200423_HighTG_02_001.raw | HighTG, Plasma 2
| 92 | 20200423_HighTG_02_002.raw | HighTG, Plasma 2
| 93 | 20200423_HighTG_02_003.raw | HighTG, Plasma 2
| 94 | 20200423_HighTG_03_001.raw | HighTG, Plasma 2
| 95 | 20200423_HighTG_03_002.raw | HighTG, Plasma 2
| 96 | 20200423_HighTG_03_003.raw | HighTG, Plasma 2
| 97 | 20200423_HighTG_04_001.raw | HighTG, Plasma 2
| 98 | 20200423_HighTG_04_002.raw | HighTG, Plasma 2
| 99 | 20200423_HighTG_04_003.raw | HighTG, Plasma 2
| 100 | 20200423_HighTG_05_001.raw | HighTG, Plasma 2
| 101 | 20200423_HighTG_05_002.raw | HighTG, Plasma 2
| 102 | 20200423_HighTG_05_003.raw | HighTG, Plasma 2
| 103 | 20200423_HighTG_06_001.raw | HighTG, Plasma 2
| 104 | 20200423_HighTG_06_002.raw | HighTG, Plasma 2
| 105 | 20200423_HighTG_06_003.raw | HighTG, Plasma 2
| 106 | 20200423_QC_041.raw | Pooled QC
| 107 | 20200423_QC_042.raw | Pooled QC
| 108 | 20200423_STD6_101.raw | x250
| 109 | 20200423_STD6_102.raw | x250
| 110 | 20200423_STD6_103.raw | x250
| 111 | 20200423_STD5_101.raw | x200
| 112 | 20200423_STD5_102.raw | x200
| 113 | 20200423_STD5_103.raw | x200
| 114 | 20200423_STD4_101.raw | x100
| 115 | 20200423_STD4_102.raw | x100
| 116 | 20200423_STD4_103.raw | x100
| 117 | 20200423_STD3_101.raw | x20
| 118 | 20200423_STD3_102.raw | x20
| 119 | 20200423_STD3_103.raw | x20
| 120 | 20200423_STD2_101.raw | x2
| 121 | 20200423_STD2_102.raw | x2
| 122 | 20200423_STD2_103.raw | x2
| 123 | 20200423_STD1_101.raw | x1
| 124 | 20200423_STD1_102.raw | x1
| 125 | 20200423_STD1_103.raw | x1
| 126 | 20200423_MB_101.raw | Matrix Blank
| 127 | 20200423_TB_201.raw | Total Blank
| 128 | 20200423_LLQC_01_001.raw | LLQC
| 129 | 20200423_LLQC_01_002.raw | LLQC
| 130 | 20200423_LLQC_01_003.raw | LLQC
| 131 | 20200423_LLQC_02_001.raw | LLQC
| 132 | 20200423_LLQC_02_002.raw | LLQC
| 133 | 20200423_LLQC_02_003.raw | LLQC
| 134 | 20200423_LLQC_03_001.raw | LLQC
| 135 | 20200423_LLQC_03_002.raw | LLQC
| 136 | 20200423_LLQC_03_003.raw | LLQC
| 137 | 20200423_LLQC_04_001.raw | LLQC
| 138 | 20200423_LLQC_04_002.raw | LLQC
| 139 | 20200423_LLQC_04_003.raw | LLQC
| 140 | 20200423_LLQC_05_001.raw | LLQC
| 141 | 20200423_LLQC_05_002.raw | LLQC
| 142 | 20200423_LLQC_05_003.raw | LLQC
| 143 | 20200423_LLQC_06_001.raw | LLQC
| 144 | 20200423_LLQC_06_002.raw | LLQC
| 145 | 20200423_LLQC_06_003.raw | LLQC
| 146 | 20200423_LQC_01_001.raw | LQC
| 147 | 20200423_LQC_01_002.raw | LQC
| 148 | 20200423_LQC_01_003.raw | LQC
| 149 | 20200423_LQC_02_001.raw | LQC
| 150 | 20200423_LQC_02_002.raw | LQC
| 151 | 20200423_LQC_02_003.raw | LQC
| 152 | 20200423_LQC_03_001.raw | LQC
| 153 | 20200423_LQC_03_002.raw | LQC
| 154 | 20200423_LQC_03_003.raw | LQC
| 155 | 20200423_LQC_04_001.raw | LQC
| 156 | 20200423_LQC_04_002.raw | LQC
| 157 | 20200423_LQC_04_003.raw | LQC
| 158 | 20200423_LQC_05_001.raw | LQC
| 159 | 20200423_LQC_05_002.raw | LQC
| 160 | 20200423_LQC_05_003.raw | LQC
| 161 | 20200423_LQC_06_001.raw | LQC
| 162 | 20200423_LQC_06_002.raw | LQC
| 163 | 20200423_LQC_06_003.raw | LQC
| 164 | 20200423_MQC_01_001.raw | MQC
| 165 | 20200423_MQC_01_002.raw | MQC
| 166 | 20200423_MQC_01_003.raw | MQC
| 167 | 20200423_MQC_02_001.raw | MQC
| 168 | 20200423_MQC_02_002.raw | MQC
| 169 | 20200423_MQC_02_003.raw | MQC
| 170 | 20200423_MQC_03_001.raw | MQC
| 171 | 20200423_MQC_03_002.raw | MQC
| 172 | 20200423_MQC_03_003.raw | MQC
| 173 | 20200423_MQC_04_001.raw | MQC
| 174 | 20200423_MQC_04_002.raw | MQC
| 175 | 20200423_MQC_04_003.raw | MQC
| 176 | 20200423_MQC_05_001.raw | MQC
| 177 | 20200423_MQC_05_002.raw | MQC
| 178 | 20200423_MQC_05_003.raw | MQC
| 179 | 20200423_MQC_06_001.raw | MQC
| 180 | 20200423_MQC_06_002.raw | MQC
| 181 | 20200423_MQC_06_003.raw | MQC
| 182 | 20200423_HQC_01_001.raw | HQC
| 183 | 20200423_HQC_01_002.raw | HQC
| 184 | 20200423_HQC_01_003.raw | HQC
| 185 | 20200423_HQC_02_001.raw | HQC
| 186 | 20200423_HQC_02_002.raw | HQC
| 187 | 20200423_HQC_02_003.raw | HQC
| 188 | 20200423_HQC_03_001.raw | HQC
| 189 | 20200423_HQC_03_002.raw | HQC
| 190 | 20200423_HQC_03_003.raw | HQC
| 191 | 20200423_HQC_04_001.raw | HQC
| 192 | 20200423_HQC_04_002.raw | HQC
| 193 | 20200423_HQC_04_003.raw | HQC
| 194 | 20200423_HQC_05_001.raw | HQC
| 195 | 20200423_HQC_05_002.raw | HQC
| 196 | 20200423_HQC_05_003.raw | HQC
| 197 | 20200423_HQC_06_001.raw | HQC
| 198 | 20200423_HQC_06_002.raw | HQC
| 199 | 20200423_HQC_06_003.raw | HQC
| 200 | 20200423_HHQC_01_001.raw | HHQC
| 201 | 20200423_HHQC_01_002.raw | HHQC
| 202 | 20200423_HHQC_01_003.raw | HHQC
| 203 | 20200423_HHQC_02_001.raw | HHQC
| 204 | 20200423_HHQC_02_002.raw | HHQC
| 205 | 20200423_HHQC_02_003.raw | HHQC
| 206 | 20200423_HHQC_03_001.raw | HHQC
| 207 | 20200423_HHQC_03_002.raw | HHQC
| 208 | 20200423_HHQC_03_003.raw | HHQC
| 209 | 20200423_HHQC_04_001.raw | HHQC
| 210 | 20200423_HHQC_04_002.raw | HHQC
| 211 | 20200423_HHQC_04_003.raw | HHQC
| 212 | 20200423_HHQC_05_001.raw | HHQC
| 213 | 20200423_HHQC_05_002.raw | HHQC
| 214 | 20200423_HHQC_05_003.raw | HHQC
| 215 | 20200423_HHQC_06_001.raw | HHQC
| 216 | 20200423_HHQC_06_002.raw | HHQC
| 217 | 20200423_HHQC_06_003.raw | HHQC
| 218 | 20200423_MB_201.raw | Matrix Blank
| 219 | 20200423_TB_301.raw | Total Blank

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
| 4 | Internal standards are added to all QC samples.
Intra-Assay Variation
| 6 | The precision and accuracy of the assay is determined for each of the four ceramides measured in LLOQ, LQC, MQC, HQC, and HLOQ.
| 7 | Intra-assay variation, precision, and accuracy is calculated for each of the ceramide in replicates of six (n = 6) at each QC concentration.
| 8 | The intra-assay precision (percentage coefficient variance, %CV) and accuracy (percentage accuracy, %Accuracy) are calculated from the nominal concentrations according to the formulas reported in corresponding sheets and tables of this document.
| 9 | Recovery estimation is not necessary for the published method but only for different ones. Stability estimation is not necessary for the published method but only for different ones. Calibration line is prepared in 5% BSA.

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 3547477.25 | 3559560.5 | 3632674.25 | 8451891 | 8596685 | 8630409 | 119716792 | 124301040 | 117352040 | 119833672 | 126158984 | 118092592 | 174762.6719 | 169011.2031 | 169271.4688 | 395370.6562 | 396381.875 | 409322.6562 | 10562492 | 11579938 | 10037658 | 3272618.75 | 3600179.25 | 3201706.75
| STD 2 | 1956130.125 | 1925785.625 | 1838421.375 | 4442590 | 4577143.5 | 4397602 | 75786920 | 76785256 | 72158416 | 76443376 | 76997152 | 73679944 | 193608.5312 | 172731.7344 | 176994.1406 | 427204.2812 | 413606.4062 | 408704 | 11738726 | 11433574 | 10975164 | 3871539.25 | 3762927 | 3709679
| STD 3 | 207884.7969 | 209856 | 204309.3281 | 481476.2812 | 474308.2812 | 488507.7188 | 12534033 | 12192700 | 12364595 | 13474133 | 13338556 | 13072179 | 195630.9375 | 182126.9375 | 187793.0625 | 457058.125 | 421738.6562 | 427421.875 | 17758890 | 16461961 | 17265390 | 6171579.5 | 5789696 | 5892369
| STD 4 | 51662.9336 | 52838.3984 | 50104.5352 | 106628.2656 | 108781.8672 | 117815.4688 | 3426679.5 | 2909371.75 | 3457826.25 | 3446886.5 | 3067306.75 | 3461785.5 | 185655.4688 | 189243.7344 | 182250.6719 | 415744 | 426564.2812 | 429145.5938 | 18303180 | 17327446 | 19419136 | 6203323.5 | 6053751.5 | 6407646
| STD 5 | 33620.5352 | 28642.9336 | 25290.4004 | 49504 | 48167.4648 | 48248 | 1483844.25 | 1485294.875 | 1466658.125 | 1477102.875 | 1468125.875 | 1443737.625 | 187246.9375 | 187908.2656 | 176196.2656 | 357542.4062 | 370734.9375 | 375347.1875 | 15870635 | 16434995 | 16275388 | 5555541.5 | 5719654.5 | 5569263
| STD 6 | 33412.5352 | 28305.0664 | 26865.0664 | 39821.8672 | 35733.6016 | 44620.5352 | 1729314.125 | 1348949.375 | 1299319.5 | 1452714.625 | 1284437.375 | 1237367.5 | 197696 | 191598.9375 | 190737.0625 | 314146.125 | 311095.4688 | 336537.5938 | 19347320 | 15542067 | 15784004 | 5991355.5 | 5281997 | 5408017
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 4252877 | 4286737 | 4332680.5 | 10786065 | 10466918 | 10292361 | 126019176 | 123170544 | 121821592 | 127525408 | 126493216 | 124698624 | 202150.4062 | 196590.9375 | 213900.7969 | 521932.8125 | 500360.5312 | 485081.5938 | 12209835 | 11822626 | 11185630 | 3848874.75 | 3783475.25 | 3602568.5
| STD 2 | 2434867.25 | 2341768.5 | 2213768.5 | 6010743.5 | 5980433 | 5653709 | 91790816 | 89074344 | 84520688 | 94743208 | 90753160 | 87829160 | 228334.9375 | 215872 | 210248.5312 | 555153.0625 | 528537.625 | 520456.5312 | 14681566 | 13614080 | 13346133 | 4892808.5 | 4560486.5 | 4537822
| STD 3 | 267818.6562 | 256699.7344 | 254297.5938 | 697634.125 | 688512 | 679577.625 | 15516058 | 14798029 | 14986172 | 16926584 | 16702669 | 16308361 | 247970.1406 | 222920.5312 | 239590.4062 | 638080 | 599018.6875 | 594009.625 | 22773486 | 20919910 | 21858714 | 8003857 | 7498137.5 | 7595554
| STD 4 | 63522.1328 | 66856.5312 | 69734.3984 | 171110.4062 | 165673.5938 | 177164.7969 | 4376712.5 | 3856947.25 | 4314931 | 4513997 | 4094088.5 | 4499729 | 243520 | 250670.9375 | 249467.7344 | 649651.1875 | 654024.5625 | 672874.6875 | 25562316 | 24962390 | 25839752 | 8591906 | 8684339 | 8699494
| STD 5 | 35744.5352 | 27465.5996 | 25345.5996 | 78523.7344 | 74610.1328 | 70964.2656 | 1944046.875 | 1877230.875 | 1806609.125 | 2021239.5 | 1941811.25 | 1822259.25 | 238741.3281 | 229875.2031 | 226555.7344 | 621619.1875 | 623552 | 602308.25 | 23305694 | 23318254 | 22515438 | 8220194 | 8050210 | 7794688
| STD 6 | 31116.2676 | 31456.2676 | 32417.334 | 97554.1328 | 76628.2656 | 67548.7969 | 2221516.75 | 2000008.5 | 1749401.625 | 2114474.75 | 1940428.75 | 1728802.125 | 229132.7969 | 247432.5312 | 245691.7344 | 809489.0625 | 660821.3125 | 641433.625 | 28227448 | 25951710 | 24077380 | 9421824 | 8709257 | 8238285
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard. Each vial injected 3 times
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 103189.3359 | 94380.7969 | 100676.2656 | 205290.6719 | 182761.5938 | 167108.2656 | 17767902 | 18057352 | 17892148 | 6840798 | 6806801 | 6341973.5 | 76966.3984 | 75830.3984 | 79116.7969 | 400004.2812 | 379912.5312 | 330786.125 | 21363098 | 21573632 | 21440922 | 7405499.5 | 7416286 | 7228689
| SRM 2 | 102181.3359 | 100461.8672 | 105104 | 174758.4062 | 171292.7969 | 162887.4688 | 19242462 | 18877098 | 19031382 | 6901214 | 7090176 | 6894797 | 78631.4688 | 76234.6641 | 82360.5312 | 335931.7188 | 341768.5312 | 315716.2812 | 21937084 | 21642990 | 21878102 | 7324467 | 7342967.5 | 7305011
| SRM 3 | 100876.7969 | 106269.8672 | 101953.0703 | 173593.5938 | 177158.4062 | 153639.4688 | 18410974 | 19066880 | 17306966 | 6989824 | 6947021 | 6095121 | 73307.7344 | 71713.0703 | 76985.6016 | 338295.4688 | 332663.4688 | 312162.125 | 21317222 | 21674666 | 19826006 | 7352729.5 | 7361126.5 | 6852062
| SRM 4 | 104472.5312 | 99561.6016 | 100839.4688 | 170240 | 168685.8594 | 135685.3281 | 18247680 | 18337518 | 16652698 | 7084032 | 6955554 | 5948825.5 | 80170.6641 | 76621.8672 | 75108.2656 | 331225.5938 | 318037.3438 | 296635.7188 | 21103412 | 21096038 | 18927342 | 7322692.5 | 7279889 | 6671223.5
| SRM 5 | 98153.6016 | 112704 | 106818.1328 | 160883.2031 | 160851.2031 | 136721.0625 | 17933380 | 18204536 | 16585796 | 6896981.5 | 6914116.5 | 5810039.5 | 71430.3984 | 74647.4688 | 76149.3359 | 322222.9375 | 313638.4062 | 289723.7188 | 20689170 | 21101500 | 18893756 | 7312589 | 7222545 | 6529092.5
| SRM 6 | 100468.2656 | 106219.7344 | 100403.2031 | 150004.2656 | 135002.6719 | 114418.1328 | 18392132 | 18625332 | 12356676 | 6531891 | 6621525.5 | 4271445.5 | 79185.0703 | 76678.3984 | 76579.2031 | 296806.4062 | 303129.5938 | 247923.2031 | 21167036 | 21539772 | 13487172 | 7076932.5 | 7094886.5 | 5117679
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 115576.5312 | 119803.7344 | 119207.4688 | 132502.4062 | 140985.5938 | 135072 | 21205266 | 22830012 | 21756586 | 7874287 | 8885043 | 9021099 | 75777.0703 | 78227.2031 | 75912.5312 | 258393.5938 | 250368 | 257382.4062 | 15400755 | 17541530 | 16485922 | 6136217.5 | 6489497.5 | 6424644.5
| hTAG 2 | 114989.8672 | 117389.8672 | 117630.9297 | 130837.3359 | 139107.2031 | 120738.1328 | 21258240 | 19942878 | 13960329 | 9085269 | 6649310 | 4281549 | 73851.7344 | 67492.2656 | 72240 | 253017.5938 | 253303.4688 | 228177.0625 | 15658735 | 14009071 | 8282863 | 6335761 | 4919501 | 3312588.75
| hTAG 3 | 121971.2031 | 108497.0703 | 117425.0703 | 140805.3281 | 147586.1406 | 132507.7344 | 21854072 | 22179566 | 22120584 | 7735774 | 8549922 | 8192409.5 | 77753.6016 | 73633.0703 | 77194.6641 | 262118.4062 | 260322.1406 | 256157.8594 | 15696009 | 16364476 | 16344747 | 5703680 | 6003370.5 | 5780821.5
| hTAG 4 | 117085.8672 | 118585.6016 | 119265.0703 | 144102.4062 | 149866.6719 | 143598.9375 | 20717022 | 20773274 | 21091942 | 8759159 | 8622080 | 7277636.5 | 74611.2031 | 77891.2031 | 73944.5312 | 258722.1406 | 266043.7188 | 263752.5312 | 15290641 | 15257395 | 15294054 | 5973128.5 | 6049723.5 | 5233322.5
| hTAG 5 | 120396.7969 | 120854.3984 | 124178.1328 | 150908.7969 | 143440 | 128177.0703 | 21802462 | 21845880 | 20291038 | 8926549 | 7554389.5 | 6343338.5 | 70024.5312 | 81008 | 69010.1328 | 263671.4688 | 246084.2656 | 244552.5312 | 15632316 | 15901969 | 13565884 | 6052386 | 5375522 | 4443818.5
| hTAG 6 | 123643.7344 | 130308.2656 | 110327.4688 | 150066.1406 | 146113.0625 | 127656.5312 | 21547964 | 21511372 | 19227444 | 7930265.5 | 7890193 | 5436552.5 | 81140.2656 | 78773.3359 | 73538.1328 | 275157.3438 | 259059.2031 | 235754.6719 | 15669111 | 16052634 | 12340497 | 5707912.5 | 5663539 | 3879116.75
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 92672 | 95313.0703 | 96744.5312 | 178406.4062 | 174728.5312 | 154826.6719 | 17654852 | 17198558 | 16865962 | 6720921.5 | 6861414.5 | 6213222.5 | 87419.7344 | 83610.6641 | 86521.6016 | 323835.7188 | 322184.5312 | 313890.125 | 21678762 | 21334152 | 20838536 | 7410142 | 7507968 | 7158238
| T1D 2 | 94148.2656 | 97670.3984 | 97314.1328 | 160532.2656 | 165491.2031 | 138429.8594 | 17244980 | 17213850 | 16375535 | 6605619 | 6896367 | 6224554.5 | 81413.3359 | 83720.5312 | 76083.2031 | 302348.8125 | 304260.2812 | 284642.125 | 20002406 | 20170342 | 19219252 | 7079663 | 7202611 | 6558993
| T1D 3 | 94363.7344 | 100240 | 93024 | 155189.3281 | 116461.8672 | 118486.3984 | 16711680 | 13783177 | 11516382 | 6311799.5 | 4870075.5 | 4020428.75 | 78173.8672 | 78299.7344 | 79757.8672 | 280546.125 | 242636.7969 | 231193.5938 | 19455726 | 15570466 | 12442214 | 6727202 | 5417506 | 4565879.5
| T1D 4 | 105331.2031 | 101414.3984 | 94105.6016 | 145944.5312 | 134398.9375 | 160035.2031 | 15568828 | 15098061 | 16878250 | 6115533 | 5394637 | 6863599 | 75362.1328 | 84541.8672 | 78066.1328 | 282628.2812 | 259456 | 288550.4062 | 17805926 | 17055198 | 19391556 | 6577903 | 5840486.5 | 6994329.5
| T1D 5 | 94731.7344 | 97401.6016 | 98547.2031 | 158208 | 155166.9375 | 146772.2656 | 16227806 | 16622387 | 16815992 | 6413585 | 6840320 | 6673954 | 87465.6016 | 85216 | 79108.2656 | 282030.9375 | 291618.125 | 280576 | 19424598 | 19771118 | 19849762 | 6880938.5 | 7119121 | 6898688
| T1D 6 | 92296.5312 | 93993.6016 | 101928.5312 | 157109.3281 | 146775.4688 | 139853.8594 | 16963174 | 16670993 | 15632452 | 7054267.5 | 6396245.5 | 5881037 | 81174.3984 | 77684.2656 | 78704 | 285457.0625 | 273378.125 | 264913.0625 | 19078348 | 19152076 | 17908804 | 7058295.5 | 6628761.5 | 6406758.5
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 93764.2656 | 82062.9297 | 84868.2656 | 70866.1328 | 77397.3359 | 73393.0703 | 10263484 | 10638063 | 11069713 | 3310660.25 | 3648648.5 | 3596629.25 | 103901.8672 | 107600 | 104018.1328 | 283238.4062 | 299012.2812 | 284411.7188 | 16856884 | 17746808 | 18716808 | 5630839.5 | 6028766 | 6020847
| yA-A 2 | 89544.5312 | 81735.4688 | 86060.7969 | 91170.1328 | 94370.1328 | 81992.5312 | 11093402 | 11481702 | 11697152 | 3887104 | 3951274.75 | 3696315.75 | 97825.0703 | 98384 | 99952 | 333132.8125 | 320238.9375 | 310378.6562 | 17871940 | 18843512 | 19169554 | 6261350.5 | 6338218.5 | 6201207.5
| yA-A 3 | 88253.8672 | 83261.8672 | 85396.2656 | 91420.7969 | 97181.8672 | 74856.5312 | 11513583 | 12141227 | 9630720 | 4020155.75 | 4135048.5 | 3064917.25 | 99596.7969 | 99345.0703 | 99248 | 346692.2812 | 344277.3438 | 292014.9375 | 18679944 | 19948886 | 15401438 | 6515029.5 | 6667127.5 | 5437645
| yA-A 4 | 80967.4688 | 86039.4688 | 86615.4688 | 98885.3359 | 100752 | 83138.1328 | 11693124 | 11508804 | 12068045 | 4102417 | 4097365.25 | 3869764.25 | 109741.8672 | 106057.6016 | 105964.7969 | 349687.4688 | 355012.2812 | 323392 | 19073160 | 19021550 | 19856862 | 6671838 | 6746453.5 | 6558788.5
| yA-A 5 | 79437.8672 | 85092.2656 | 84434.1328 | 95480.5312 | 94971.7344 | 88774.3984 | 11741321 | 12264858 | 12022852 | 4075861.25 | 4208435 | 3796377.5 | 94938.6641 | 102752 | 98573.8672 | 362781.875 | 369446.4062 | 338188.8125 | 19255022 | 20052104 | 19730978 | 6716211 | 6841822 | 6545339.5
| yA-A 6 | 81994.6641 | 88001.0703 | 93438.9297 | 98697.6016 | 84198.3984 | 73925.3359 | 11733060 | 10300348 | 9108548 | 4187613.75 | 3273779.25 | 2802790.5 | 98181.3359 | 90572.7969 | 92862.9297 | 360089.5938 | 310028.8125 | 308787.1875 | 19022370 | 16449263 | 14387814 | 6786662.5 | 5695010 | 4963259.5
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard. QCs have to be measured in one occasion only. The independent 6 replicates injected 3 times each
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LLQC 1 | 65443.1992 | 67337.6016 | 66682.6641 | 85778.1328 | 77150.9297 | 48256 | 7420040.5 | 6957807 | 4765696 | 2537352.5 | 2428876.75 | 1416294.375 | 163566.9375 | 162093.8594 | 168046.9375 | 587020.8125 | 569113.625 | 397815.4688 | 23464618 | 21754948 | 14140962 | 7615010 | 7383995.5 | 4762009.5
| LLQC 2 | 65762.1328 | 64129.0664 | 66998.3984 | 87596.7969 | 79555.2031 | 64349.8672 | 6830011.5 | 6859571 | 6183731 | 2400273 | 2380953.5 | 1893290.625 | 162914.1406 | 160819.2031 | 161117.8594 | 620625.0625 | 590737.0625 | 493469.875 | 21596570 | 21886840 | 19605094 | 7408776.5 | 7322829 | 6312345.5
| LLQC 3 | 63280 | 61462.3984 | 66877.8672 | 94656 | 74635.7344 | 59147.7344 | 6642346.5 | 6862370 | 4987289.5 | 2511052.75 | 2177297 | 1527603.25 | 161241.5938 | 157994.6719 | 155497.5938 | 678340.25 | 583257.625 | 476957.875 | 21442014 | 22014088 | 15004058 | 7820970.5 | 7108676.5 | 5295786.5
| LLQC 4 | 66791.4688 | 59723.7344 | 68258.1328 | 90526.9297 | 46297.6016 | 41576 | 6657365.5 | 4234445 | 3075464.5 | 2387558.5 | 1281245.875 | 878592 | 155315.2031 | 158737.0625 | 167116.7969 | 615470.9375 | 388834.125 | 291618.125 | 21514104 | 12311620 | 7871966 | 7480183.5 | 4335889 | 3084015
| LLQC 5 | 65592.5312 | 63040 | 63658.668 | 93204.2656 | 87662.9297 | 70024.5312 | 7134139.5 | 6598110 | 6578585.5 | 2457651.25 | 2417100.75 | 2176682.75 | 153861.3281 | 162134.4062 | 162299.7344 | 632785.0625 | 614340.25 | 554560 | 22777036 | 21125530 | 21044974 | 7637128.5 | 7544422.5 | 7103556.5
| LLQC 6 | 60288 | 68254.9297 | 66043.7344 | 87539.2031 | 93019.7344 | 86878.9297 | 6363818.5 | 6489224.5 | 6688017 | 2176495 | 2437154.25 | 2409472 | 161284.2656 | 152725.3281 | 160021.3281 | 609638.375 | 623569.0625 | 609553.0625 | 20321348 | 21001558 | 21369378 | 7095364.5 | 7553706.5 | 7416900.5
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LQC 1 | 68949.3359 | 70940.7969 | 75086.9297 | 125406.9297 | 117193.6016 | 96082.1328 | 9126366 | 9634884 | 8815684 | 3377971.25 | 3342387.25 | 2881058.25 | 117323.7344 | 121502.9297 | 126363.7344 | 583138.125 | 548838.375 | 495368.5312 | 20721938 | 21925342 | 19542562 | 7295249 | 7346927 | 6536328.5
| LQC 2 | 70553.6016 | 70123.7344 | 74603.7344 | 125937.0703 | 118658.1328 | 126090.6641 | 10075614 | 10001271 | 9893137 | 3427959.5 | 3548433 | 3576559 | 125539.2031 | 124881.0703 | 124619.7344 | 584341.3125 | 582139.75 | 561463.4375 | 22327296 | 21965756 | 22044946 | 7669691.5 | 7641156.5 | 7739597
| LQC 3 | 76566.3984 | 71448.5312 | 76484.2656 | 119209.6016 | 134061.8594 | 101963.7344 | 9908429 | 10415991 | 10143607 | 3419323.75 | 3758694.5 | 3335424 | 120915.2031 | 116353.0703 | 117571.2031 | 520418.125 | 570624 | 492620.8125 | 20730402 | 21537314 | 21330056 | 7334707 | 7642043.5 | 7231283
| LQC 4 | 67515.7344 | 70630.3984 | 70722.1328 | 126862.9297 | 128080 | 90245.3359 | 9899759 | 10122103 | 7678839.5 | 3705514.75 | 3690052.25 | 2482380.75 | 125091.2031 | 120088.5312 | 119125.3359 | 540424.5625 | 550984.5625 | 420061.875 | 20404906 | 21101772 | 15471411 | 7467008 | 7545105 | 5574792.5
| LQC 5 | 71242.6641 | 74723.2031 | 70196.2656 | 130430.9297 | 109354.6641 | 67972.2656 | 9910272 | 10144358 | 6852744.5 | 3627144.5 | 3553996.75 | 2006152.5 | 118664.5312 | 123697.0703 | 118023.4688 | 556027.75 | 501346.125 | 352021.3438 | 20744874 | 21531852 | 13476523 | 7414033 | 7418470.5 | 4463138
| LQC 6 | 69725.8672 | 71950.9297 | 69735.4688 | 106817.0703 | 109355.7344 | 93735.4688 | 9251157 | 9152990 | 8255556.5 | 3084305 | 3126818.25 | 2693068.75 | 130744.5312 | 124411.7344 | 133771.7344 | 561783.4375 | 548526.9375 | 481314.125 | 21802188 | 21869910 | 19821910 | 7376623 | 7344059.5 | 6671291.5
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 103882.6641 | 97505.0703 | 103926.3984 | 136366.9375 | 134901.3281 | 116920.5312 | 18386124 | 18247954 | 16964812 | 7361058 | 7119667 | 6076825.5 | 83409.0703 | 82443.7344 | 86954.6641 | 298150.4062 | 274065.0625 | 265979.7188 | 19394560 | 19205598 | 18134904 | 7460864 | 7130726.5 | 6509636.5
| MQC 2 | 104336 | 100865.0703 | 103836.7969 | 133091.2031 | 126096 | 107976.5312 | 18770056 | 17669870 | 14246434 | 7144448 | 6329412.5 | 4764399 | 80046.9297 | 85740.7969 | 88647.4688 | 291494.4062 | 273945.5938 | 251656.5312 | 19744632 | 18939630 | 14728124 | 7281322.5 | 6813013.5 | 5336883
| MQC 3 | 101207.4688 | 107532.7969 | 102279.4688 | 120537.6016 | 127446.3984 | 124188.7969 | 17264914 | 18632430 | 18125346 | 6309205.5 | 7173325 | 6705766.5 | 88089.6016 | 92039.4688 | 86122.6641 | 276787.1875 | 277252.2812 | 271411.1875 | 18042948 | 19800610 | 19305540 | 6760994 | 7224320 | 6947703.5
| MQC 4 | 103689.6016 | 104229.3359 | 106200.5312 | 126804.2656 | 124572.7969 | 106996.2656 | 18256146 | 17797120 | 15029385 | 7023343 | 6519125.5 | 4785971 | 86179.2031 | 87945.6016 | 87690.6641 | 278788.2812 | 268381.875 | 242039.4688 | 19358788 | 18912052 | 15279650 | 7289310 | 6860527 | 5062929
| MQC 5 | 105541.3359 | 108842.6641 | 105125.3359 | 122041.6016 | 116269.8672 | 110544 | 18264064 | 15946684 | 13532638 | 7296819 | 5856461 | 4404906.5 | 88836.2656 | 87499.7344 | 85013.3359 | 277768.5312 | 265518.9375 | 254899.2031 | 18582186 | 16558012 | 13290018 | 7100962 | 6129595.5 | 4701115.5
| MQC 6 | 98163.2031 | 104673.0703 | 104908.7969 | 119518.9297 | 103772.7969 | 106414.9297 | 15960474 | 15476531 | 13625412 | 5963298 | 5371767.5 | 4382993 | 90020.2656 | 85173.3359 | 81065.6016 | 263364.2812 | 254613.3281 | 262135.4688 | 16612011 | 16392602 | 13906193 | 6385322.5 | 5819187 | 4761600
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HQC 1 | 156512 | 151143.4688 | 146629.3281 | 269969.0625 | 287982.9375 | 236236.7969 | 23429394 | 23128200 | 18574814 | 15120521 | 14438195 | 9098240 | 88624 | 88775.4688 | 83053.8672 | 278387.1875 | 274235.7188 | 240469.3281 | 17735406 | 17786402 | 13086447 | 6909747 | 6789871 | 4458223
| HQC 2 | 157893.3281 | 152250.6719 | 158727.4688 | 274990.9375 | 270583.4688 | 230685.8594 | 23589410 | 23407002 | 18990148 | 14809498 | 14152841 | 9243238 | 86012.7969 | 87027.2031 | 77992.5312 | 274922.6562 | 271761.0625 | 249395.2031 | 17461862 | 17548288 | 13457613 | 6622344.5 | 6517965 | 4505805
| HQC 3 | 152289.0625 | 152164.2656 | 158677.3281 | 282653.875 | 264516.2812 | 245913.5938 | 24146194 | 21521204 | 17051648 | 15496533 | 11686980 | 8143872 | 83553.0703 | 89705.6016 | 87671.4688 | 295458.125 | 267712 | 258841.5938 | 18490982 | 16736734 | 11662131 | 7146086.5 | 5762253 | 3979810.25
| HQC 4 | 153797.3281 | 152323.2031 | 152720 | 270771.1875 | 263240.5312 | 268369.0625 | 24000648 | 22928316 | 22817178 | 14819806 | 14382694 | 12747913 | 84105.6016 | 94140.7969 | 96374.3984 | 269674.6562 | 277602.125 | 267997.875 | 17951676 | 17462476 | 17449438 | 6751914.5 | 6647398.5 | 6187690.5
| HQC 5 | 156544 | 150843.7344 | 162684.7969 | 285474.125 | 278818.125 | 268288 | 23759258 | 23965970 | 22517624 | 14521207 | 15044540 | 12807236 | 87414.3984 | 86819.2031 | 86464 | 268416 | 265907.1875 | 279594.6562 | 18027794 | 17954474 | 17111860 | 6691908.5 | 6763929.5 | 6020232.5
| HQC 6 | 155757.8594 | 148882.1406 | 151943.4688 | 269657.5938 | 254114.1406 | 234077.8594 | 22909748 | 19573418 | 18200166 | 14052420 | 10532932 | 8666180 | 85616 | 83952 | 80841.6016 | 266214.4062 | 259281.0625 | 239543.4688 | 17282322 | 13986611 | 12506249 | 6403277 | 5008998.5 | 4053469.75
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HLQC 1 | 206131.2031 | 201211.7344 | 205256.5312 | 433732.2812 | 435251.1875 | 417945.5938 | 30455398 | 29024530 | 27411798 | 22579064 | 20047462 | 17659494 | 85148.7969 | 82934.3984 | 86662.3984 | 284637.875 | 265804.8125 | 262421.3438 | 17584606 | 16845756 | 15534490 | 6491682 | 5949098.5 | 5355656.5
| HLQC 2 | 208217.5938 | 194602.6719 | 203716.2656 | 423978.6562 | 425523.1875 | 398502.4062 | 28604280 | 28735078 | 26121012 | 20908168 | 21208814 | 17006318 | 87413.3359 | 90760.5312 | 82173.8672 | 265476.2812 | 265536 | 269273.5938 | 17100596 | 17109812 | 15242923 | 6241075 | 6306884.5 | 5294011.5
| HLQC 3 | 200166.4062 | 195225.5938 | 195050.6719 | 413947.7188 | 412185.5938 | 404266.6562 | 27322504 | 28422144 | 25507976 | 19265946 | 21512466 | 16724787 | 84334.9297 | 82742.3984 | 80549.3359 | 259549.8594 | 246024.5312 | 255197.8594 | 15892275 | 16352802 | 14611661 | 5793519 | 6201549 | 5114948.5
| HLQC 4 | 201024 | 200238.9375 | 197947.7344 | 419776 | 423543.4688 | 393634.125 | 29037636 | 27757226 | 26415924 | 21638894 | 18897306 | 17131930 | 93793.0703 | 87809.0703 | 79397.3359 | 274402.125 | 257292.7969 | 260765.8594 | 17046460 | 16174831 | 14926985 | 6333986 | 5820894 | 5276194
| HLQC 5 | 205440 | 217894.4062 | 222323.2031 | 462758.4062 | 416089.5938 | 392426.6562 | 29401362 | 25815722 | 24657646 | 22234180 | 15388945 | 13878204 | 81267.2031 | 81470.9297 | 81076.2656 | 261913.5938 | 254749.8594 | 249864.5312 | 16357786 | 13648350 | 12657869 | 6245717.5 | 4573662 | 4162287
| HLQC 6 | 200247.4688 | 196445.8594 | 194338.1406 | 425565.875 | 411502.9375 | 421623.4688 | 28810444 | 28490410 | 29050744 | 21145736 | 19936052 | 20942574 | 87591.4688 | 87271.4688 | 86839.4688 | 265971.1875 | 267008 | 268718.9375 | 17028096 | 16675021 | 16958806 | 6301491 | 6001049.5 | 6217045.5
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Matrix Blank | 121214.9297 | 115914.6641 | 110682.6641 | 113099.7344 | 103420.7969 | 106923.7344 | 10528085 | 10183339 | 9344819 | 3022575 | 2889284.25 | 2562850.25 | 209.6667 | 120.5333 | 91.6 | 210.6667 | 611.8666 | 189.5333 | 3133.7334 | 3365.4666 | 3360.2 | 1078.7333 | 543.0667 | 2188
| Total Blank | 13774.667 | 12432.5996 | 12871.9336 | 4659.6001 | 5921.3999 | 5647.6001 | 181101.8594 | 157278.9375 | 158378.6719 | 38845.332 | 33323.4648 | 33176.8008 | 282.5333 | 451.5333 | 140.3333 | 551.6667 | 282.1333 | 420.4667 | 1643.0667 | 1591.7333 | 1503.4667 | 4971.5332 | 6815.7998 | 8258.667

## Raw Peak Areas
File Name | Sample_Name | Cer d18:1/16:0 [M>264] | Cer d18:1/16:0-d7 [M>264] | Cer d18:1/18:0 [M>264] | Cer d18:1/18:0-d7 [M>264] | Cer d18:1/24:0 [M>264] | Cer d18:1/24:0-d7 [M>264] | Cer d18:1/24:1 [M>264] | Cer d18:1/24:1-d7 [M>264]
20200423_TB_001.raw | Total Blank | 13774.667 | 282.5333 | 4659.6001 | 551.6667 | 181101.8594 | 1643.0667 | 38845.332 | 4971.5332
20200423_TB_002.raw | Total Blank | 12432.5996 | 451.5333 | 5921.3999 | 282.1333 | 157278.9375 | 1591.7333 | 33323.4648 | 6815.7998
20200423_TB_003.raw | Total Blank | 12871.9336 | 140.3333 | 5647.6001 | 420.4667 | 158378.6719 | 1503.4667 | 33176.8008 | 8258.667
20200423_MB_001.raw | Matrix Blank | 121214.9297 | 209.6667 | 113099.7344 | 210.6667 | 10528085 | 3133.7334 | 3022575 | 1078.7333
20200423_MB_002.raw | Matrix Blank | 115914.6641 | 120.5333 | 103420.7969 | 611.8666 | 10183339 | 3365.4666 | 2889284.25 | 543.0667
20200423_MB_003.raw | Matrix Blank | 110682.6641 | 91.6 | 106923.7344 | 189.5333 | 9344819 | 3360.2 | 2562850.25 | 2188
20200423_STD6_001.raw | x250 | 33412.5352 | 197696 | 39821.8672 | 314146.125 | 1729314.125 | 19347320 | 1452714.625 | 5991355.5
20200423_STD6_002.raw | x250 | 28305.0664 | 191598.9375 | 35733.6016 | 311095.4688 | 1348949.375 | 15542067 | 1284437.375 | 5281997
20200423_STD6_003.raw | x250 | 26865.0664 | 190737.0625 | 44620.5352 | 336537.5938 | 1299319.5 | 15784004 | 1237367.5 | 5408017
20200423_STD5_001.raw | x200 | 33620.5352 | 187246.9375 | 49504 | 357542.4062 | 1483844.25 | 15870635 | 1477102.875 | 5555541.5
20200423_STD5_002.raw | x200 | 28642.9336 | 187908.2656 | 48167.4648 | 370734.9375 | 1485294.875 | 16434995 | 1468125.875 | 5719654.5
20200423_STD5_003.raw | x200 | 25290.4004 | 176196.2656 | 48248 | 375347.1875 | 1466658.125 | 16275388 | 1443737.625 | 5569263
20200423_STD4_001.raw | x100 | 51662.9336 | 185655.4688 | 106628.2656 | 415744 | 3426679.5 | 18303180 | 3446886.5 | 6203323.5
20200423_STD4_002.raw | x100 | 52838.3984 | 189243.7344 | 108781.8672 | 426564.2812 | 2909371.75 | 17327446 | 3067306.75 | 6053751.5
20200423_STD4_003.raw | x100 | 50104.5352 | 182250.6719 | 117815.4688 | 429145.5938 | 3457826.25 | 19419136 | 3461785.5 | 6407646
20200423_STD3_001.raw | x20 | 207884.7969 | 195630.9375 | 481476.2812 | 457058.125 | 12534033 | 17758890 | 13474133 | 6171579.5
20200423_STD3_002.raw | x20 | 209856 | 182126.9375 | 474308.2812 | 421738.6562 | 12192700 | 16461961 | 13338556 | 5789696
20200423_STD3_003.raw | x20 | 204309.3281 | 187793.0625 | 488507.7188 | 427421.875 | 12364595 | 17265390 | 13072179 | 5892369
20200423_STD2_001.raw | x2 | 1956130.125 | 193608.5312 | 4442590 | 427204.2812 | 75786920 | 11738726 | 76443376 | 3871539.25
20200423_STD2_002.raw | x2 | 1925785.625 | 172731.7344 | 4577143.5 | 413606.4062 | 76785256 | 11433574 | 76997152 | 3762927
20200423_STD2_003.raw | x2 | 1838421.375 | 176994.1406 | 4397602 | 408704 | 72158416 | 10975164 | 73679944 | 3709679
20200423_STD1_001.raw | x1 | 3547477.25 | 174762.6719 | 8451891 | 395370.6562 | 119716792 | 10562492 | 119833672 | 3272618.75
20200423_STD1_002.raw | x1 | 3559560.5 | 169011.2031 | 8596685 | 396381.875 | 124301040 | 11579938 | 126158984 | 3600179.25
20200423_STD1_003.raw | x1 | 3632674.25 | 169271.4688 | 8630409 | 409322.6562 | 117352040 | 10037658 | 118092592 | 3201706.75
20200423_QC_001.raw | Pooled QC | 89795.2031 | 77027.2031 | 196349.8594 | 405320.5312 | 18660284 | 21446110 | 6768776.5 | 7249032.5
20200423_QC_002.raw | Pooled QC | 95056 | 85820.7969 | 168684.7969 | 362282.6562 | 16883986 | 18992332 | 5876531 | 6556467
20200423_NIST1950_01_001.raw | SRM1950, Plasma 4 | 103189.3359 | 76966.3984 | 205290.6719 | 400004.2812 | 17767902 | 21363098 | 6840798 | 7405499.5
20200423_NIST1950_01_002.raw | SRM1950, Plasma 4 | 94380.7969 | 75830.3984 | 182761.5938 | 379912.5312 | 18057352 | 21573632 | 6806801 | 7416286
20200423_NIST1950_01_003.raw | SRM1950, Plasma 4 | 100676.2656 | 79116.7969 | 167108.2656 | 330786.125 | 17892148 | 21440922 | 6341973.5 | 7228689
20200423_NIST1950_02_001.raw | SRM1950, Plasma 4 | 102181.3359 | 78631.4688 | 174758.4062 | 335931.7188 | 19242462 | 21937084 | 6901214 | 7324467
20200423_NIST1950_02_002.raw | SRM1950, Plasma 4 | 100461.8672 | 76234.6641 | 171292.7969 | 341768.5312 | 18877098 | 21642990 | 7090176 | 7342967.5
20200423_NIST1950_02_003.raw | SRM1950, Plasma 4 | 105104 | 82360.5312 | 162887.4688 | 315716.2812 | 19031382 | 21878102 | 6894797 | 7305011
20200423_NIST1950_03_001.raw | SRM1950, Plasma 4 | 100876.7969 | 73307.7344 | 173593.5938 | 338295.4688 | 18410974 | 21317222 | 6989824 | 7352729.5
20200423_NIST1950_03_002.raw | SRM1950, Plasma 4 | 106269.8672 | 71713.0703 | 177158.4062 | 332663.4688 | 19066880 | 21674666 | 6947021 | 7361126.5
20200423_NIST1950_03_003.raw | SRM1950, Plasma 4 | 101953.0703 | 76985.6016 | 153639.4688 | 312162.125 | 17306966 | 19826006 | 6095121 | 6852062
20200423_NIST1950_04_001.raw | SRM1950, Plasma 4 | 104472.5312 | 80170.6641 | 170240 | 331225.5938 | 18247680 | 21103412 | 7084032 | 7322692.5
20200423_NIST1950_04_002.raw | SRM1950, Plasma 4 | 99561.6016 | 76621.8672 | 168685.8594 | 318037.3438 | 18337518 | 21096038 | 6955554 | 7279889
20200423_NIST1950_04_003.raw | SRM1950, Plasma 4 | 100839.4688 | 75108.2656 | 135685.3281 | 296635.7188 | 16652698 | 18927342 | 5948825.5 | 6671223.5
20200423_NIST1950_05_001.raw | SRM1950, Plasma 4 | 98153.6016 | 71430.3984 | 160883.2031 | 322222.9375 | 17933380 | 20689170 | 6896981.5 | 7312589
20200423_NIST1950_05_002.raw | SRM1950, Plasma 4 | 112704 | 74647.4688 | 160851.2031 | 313638.4062 | 18204536 | 21101500 | 6914116.5 | 7222545
20200423_NIST1950_05_003.raw | SRM1950, Plasma 4 | 106818.1328 | 76149.3359 | 136721.0625 | 289723.7188 | 16585796 | 18893756 | 5810039.5 | 6529092.5
20200423_NIST1950_06_001.raw | SRM1950, Plasma 4 | 100468.2656 | 79185.0703 | 150004.2656 | 296806.4062 | 18392132 | 21167036 | 6531891 | 7076932.5
20200423_NIST1950_06_002.raw | SRM1950, Plasma 4 | 106219.7344 | 76678.3984 | 135002.6719 | 303129.5938 | 18625332 | 21539772 | 6621525.5 | 7094886.5
20200423_NIST1950_06_003.raw | SRM1950, Plasma 4 | 100403.2031 | 76579.2031 | 114418.1328 | 247923.2031 | 12356676 | 13487172 | 4271445.5 | 5117679
20200423_QC_011.raw | Pooled QC | 101521.0703 | 81782.3984 | 125338.6641 | 274090.6562 | 15907362 | 17647206 | 5425903 | 6034363.5
20200423_QC_012.raw | Pooled QC | 93824 | 79603.2031 | 103788.7969 | 255884.7969 | 12076373 | 12974626 | 4140441.5 | 4803789
20200423_T1D_01_001.raw | T1D, Plasma 1 | 92672 | 87419.7344 | 178406.4062 | 323835.7188 | 17654852 | 21678762 | 6720921.5 | 7410142
20200423_T1D_01_002.raw | T1D, Plasma 1 | 95313.0703 | 83610.6641 | 174728.5312 | 322184.5312 | 17198558 | 21334152 | 6861414.5 | 7507968
20200423_T1D_01_003.raw | T1D, Plasma 1 | 96744.5312 | 86521.6016 | 154826.6719 | 313890.125 | 16865962 | 20838536 | 6213222.5 | 7158238
20200423_T1D_02_001.raw | T1D, Plasma 1 | 94148.2656 | 81413.3359 | 160532.2656 | 302348.8125 | 17244980 | 20002406 | 6605619 | 7079663
20200423_T1D_02_002.raw | T1D, Plasma 1 | 97670.3984 | 83720.5312 | 165491.2031 | 304260.2812 | 17213850 | 20170342 | 6896367 | 7202611
20200423_T1D_02_003.raw | T1D, Plasma 1 | 97314.1328 | 76083.2031 | 138429.8594 | 284642.125 | 16375535 | 19219252 | 6224554.5 | 6558993
20200423_T1D_03_001.raw | T1D, Plasma 1 | 94363.7344 | 78173.8672 | 155189.3281 | 280546.125 | 16711680 | 19455726 | 6311799.5 | 6727202
20200423_T1D_03_002.raw | T1D, Plasma 1 | 100240 | 78299.7344 | 116461.8672 | 242636.7969 | 13783177 | 15570466 | 4870075.5 | 5417506
20200423_T1D_03_003.raw | T1D, Plasma 1 | 93024 | 79757.8672 | 118486.3984 | 231193.5938 | 11516382 | 12442214 | 4020428.75 | 4565879.5
20200423_T1D_04_001.raw | T1D, Plasma 1 | 105331.2031 | 75362.1328 | 145944.5312 | 282628.2812 | 15568828 | 17805926 | 6115533 | 6577903
20200423_T1D_04_002.raw | T1D, Plasma 1 | 101414.3984 | 84541.8672 | 134398.9375 | 259456 | 15098061 | 17055198 | 5394637 | 5840486.5
20200423_T1D_04_003.raw | T1D, Plasma 1 | 94105.6016 | 78066.1328 | 160035.2031 | 288550.4062 | 16878250 | 19391556 | 6863599 | 6994329.5
20200423_T1D_05_001.raw | T1D, Plasma 1 | 94731.7344 | 87465.6016 | 158208 | 282030.9375 | 16227806 | 19424598 | 6413585 | 6880938.5
20200423_T1D_05_002.raw | T1D, Plasma 1 | 97401.6016 | 85216 | 155166.9375 | 291618.125 | 16622387 | 19771118 | 6840320 | 7119121
20200423_T1D_05_003.raw | T1D, Plasma 1 | 98547.2031 | 79108.2656 | 146772.2656 | 280576 | 16815992 | 19849762 | 6673954 | 6898688
20200423_T1D_06_001.raw | T1D, Plasma 1 | 92296.5312 | 81174.3984 | 157109.3281 | 285457.0625 | 16963174 | 19078348 | 7054267.5 | 7058295.5
20200423_T1D_06_002.raw | T1D, Plasma 1 | 93993.6016 | 77684.2656 | 146775.4688 | 273378.125 | 16670993 | 19152076 | 6396245.5 | 6628761.5
20200423_T1D_06_003.raw | T1D, Plasma 1 | 101928.5312 | 78704 | 139853.8594 | 264913.0625 | 15632452 | 17908804 | 5881037 | 6406758.5
20200423_TB_101.raw | Total Blank | 8651.2002 | 375.4667 | 4334.7998 | 80.5333 | 96599.4688 | 3158.6001 | 22976.8008 | 18467.4668
20200423_QC_021.raw | Pooled QC | 103816.5312 | 87558.3984 | 83134.9297 | 224320 | 9264333 | 8640580 | 2682624 | 2890820.25
20200423_QC_022.raw | Pooled QC | 106595.2031 | 75427.2031 | 80730.6641 | 217173.3281 | 7940027.5 | 6869538 | 2217079.5 | 2596232.5
20200423_YoungAA_01_001.raw | Young AA, Plasma 3 | 93764.2656 | 103901.8672 | 70866.1328 | 283238.4062 | 10263484 | 16856884 | 3310660.25 | 5630839.5
20200423_YoungAA_01_002.raw | Young AA, Plasma 3 | 82062.9297 | 107600 | 77397.3359 | 299012.2812 | 10638063 | 17746808 | 3648648.5 | 6028766
20200423_YoungAA_01_003.raw | Young AA, Plasma 3 | 84868.2656 | 104018.1328 | 73393.0703 | 284411.7188 | 11069713 | 18716808 | 3596629.25 | 6020847
20200423_YoungAA_02_001.raw | Young AA, Plasma 3 | 89544.5312 | 97825.0703 | 91170.1328 | 333132.8125 | 11093402 | 17871940 | 3887104 | 6261350.5
20200423_YoungAA_02_002.raw | Young AA, Plasma 3 | 81735.4688 | 98384 | 94370.1328 | 320238.9375 | 11481702 | 18843512 | 3951274.75 | 6338218.5
20200423_YoungAA_02_003.raw | Young AA, Plasma 3 | 86060.7969 | 99952 | 81992.5312 | 310378.6562 | 11697152 | 19169554 | 3696315.75 | 6201207.5
20200423_YoungAA_03_001.raw | Young AA, Plasma 3 | 88253.8672 | 99596.7969 | 91420.7969 | 346692.2812 | 11513583 | 18679944 | 4020155.75 | 6515029.5
20200423_YoungAA_03_002.raw | Young AA, Plasma 3 | 83261.8672 | 99345.0703 | 97181.8672 | 344277.3438 | 12141227 | 19948886 | 4135048.5 | 6667127.5
20200423_YoungAA_03_003.raw | Young AA, Plasma 3 | 85396.2656 | 99248 | 74856.5312 | 292014.9375 | 9630720 | 15401438 | 3064917.25 | 5437645
20200423_YoungAA_04_001.raw | Young AA, Plasma 3 | 80967.4688 | 109741.8672 | 98885.3359 | 349687.4688 | 11693124 | 19073160 | 4102417 | 6671838
20200423_YoungAA_04_002.raw | Young AA, Plasma 3 | 86039.4688 | 106057.6016 | 100752 | 355012.2812 | 11508804 | 19021550 | 4097365.25 | 6746453.5
20200423_YoungAA_04_003.raw | Young AA, Plasma 3 | 86615.4688 | 105964.7969 | 83138.1328 | 323392 | 12068045 | 19856862 | 3869764.25 | 6558788.5
20200423_YoungAA_05_001.raw | Young AA, Plasma 3 | 79437.8672 | 94938.6641 | 95480.5312 | 362781.875 | 11741321 | 19255022 | 4075861.25 | 6716211
20200423_YoungAA_05_002.raw | Young AA, Plasma 3 | 85092.2656 | 102752 | 94971.7344 | 369446.4062 | 12264858 | 20052104 | 4208435 | 6841822
20200423_YoungAA_05_003.raw | Young AA, Plasma 3 | 84434.1328 | 98573.8672 | 88774.3984 | 338188.8125 | 12022852 | 19730978 | 3796377.5 | 6545339.5
20200423_YoungAA_06_001.raw | Young AA, Plasma 3 | 81994.6641 | 98181.3359 | 98697.6016 | 360089.5938 | 11733060 | 19022370 | 4187613.75 | 6786662.5
20200423_YoungAA_06_002.raw | Young AA, Plasma 3 | 88001.0703 | 90572.7969 | 84198.3984 | 310028.8125 | 10300348 | 16449263 | 3273779.25 | 5695010
20200423_YoungAA_06_003.raw | Young AA, Plasma 3 | 93438.9297 | 92862.9297 | 73925.3359 | 308787.1875 | 9108548 | 14387814 | 2802790.5 | 4963259.5
20200423_QC_031.raw | Pooled QC | 98164.2656 | 78810.6641 | 67948.7969 | 195677.8594 | 6451746 | 5287526.5 | 1626077.875 | 1947136
20200423_QC_032.raw | Pooled QC | 103739.7344 | 81060.2656 | 72644.2656 | 210675.2031 | 5658487.5 | 4382174 | 1307648 | 1584469.375
20200423_HighTG_01_001.raw | HighTG, Plasma 2 | 115576.5312 | 75777.0703 | 132502.4062 | 258393.5938 | 21205266 | 15400755 | 7874287 | 6136217.5
20200423_HighTG_01_002.raw | HighTG, Plasma 2 | 119803.7344 | 78227.2031 | 140985.5938 | 250368 | 22830012 | 17541530 | 8885043 | 6489497.5
20200423_HighTG_01_003.raw | HighTG, Plasma 2 | 119207.4688 | 75912.5312 | 135072 | 257382.4062 | 21756586 | 16485922 | 9021099 | 6424644.5
20200423_HighTG_02_001.raw | HighTG, Plasma 2 | 114989.8672 | 73851.7344 | 130837.3359 | 253017.5938 | 21258240 | 15658735 | 9085269 | 6335761
20200423_HighTG_02_002.raw | HighTG, Plasma 2 | 117389.8672 | 67492.2656 | 139107.2031 | 253303.4688 | 19942878 | 14009071 | 6649310 | 4919501
20200423_HighTG_02_003.raw | HighTG, Plasma 2 | 117630.9297 | 72240 | 120738.1328 | 228177.0625 | 13960329 | 8282863 | 4281549 | 3312588.75
20200423_HighTG_03_001.raw | HighTG, Plasma 2 | 121971.2031 | 77753.6016 | 140805.3281 | 262118.4062 | 21854072 | 15696009 | 7735774 | 5703680
20200423_HighTG_03_002.raw | HighTG, Plasma 2 | 108497.0703 | 73633.0703 | 147586.1406 | 260322.1406 | 22179566 | 16364476 | 8549922 | 6003370.5
20200423_HighTG_03_003.raw | HighTG, Plasma 2 | 117425.0703 | 77194.6641 | 132507.7344 | 256157.8594 | 22120584 | 16344747 | 8192409.5 | 5780821.5
20200423_HighTG_04_001.raw | HighTG, Plasma 2 | 117085.8672 | 74611.2031 | 144102.4062 | 258722.1406 | 20717022 | 15290641 | 8759159 | 5973128.5
20200423_HighTG_04_002.raw | HighTG, Plasma 2 | 118585.6016 | 77891.2031 | 149866.6719 | 266043.7188 | 20773274 | 15257395 | 8622080 | 6049723.5
20200423_HighTG_04_003.raw | HighTG, Plasma 2 | 119265.0703 | 73944.5312 | 143598.9375 | 263752.5312 | 21091942 | 15294054 | 7277636.5 | 5233322.5
20200423_HighTG_05_001.raw | HighTG, Plasma 2 | 120396.7969 | 70024.5312 | 150908.7969 | 263671.4688 | 21802462 | 15632316 | 8926549 | 6052386
20200423_HighTG_05_002.raw | HighTG, Plasma 2 | 120854.3984 | 81008 | 143440 | 246084.2656 | 21845880 | 15901969 | 7554389.5 | 5375522
20200423_HighTG_05_003.raw | HighTG, Plasma 2 | 124178.1328 | 69010.1328 | 128177.0703 | 244552.5312 | 20291038 | 13565884 | 6343338.5 | 4443818.5
20200423_HighTG_06_001.raw | HighTG, Plasma 2 | 123643.7344 | 81140.2656 | 150066.1406 | 275157.3438 | 21547964 | 15669111 | 7930265.5 | 5707912.5
20200423_HighTG_06_002.raw | HighTG, Plasma 2 | 130308.2656 | 78773.3359 | 146113.0625 | 259059.2031 | 21511372 | 16052634 | 7890193 | 5663539
20200423_HighTG_06_003.raw | HighTG, Plasma 2 | 110327.4688 | 73538.1328 | 127656.5312 | 235754.6719 | 19227444 | 12340497 | 5436552.5 | 3879116.75
20200423_QC_041.raw | Pooled QC | 106481.0703 | 82227.2031 | 68220.7969 | 218073.5938 | 7213670.5 | 5636096 | 1594333.875 | 1867229.875
20200423_QC_042.raw | Pooled QC | 105109.3359 | 80514.1328 | 46752 | 169905.0625 | 4808362.5 | 3663257.5 | 1051886.875 | 1224157.875
20200423_STD6_101.raw | x250 | 31116.2676 | 229132.7969 | 97554.1328 | 809489.0625 | 2221516.75 | 28227448 | 2114474.75 | 9421824
20200423_STD6_102.raw | x250 | 31456.2676 | 247432.5312 | 76628.2656 | 660821.3125 | 2000008.5 | 25951710 | 1940428.75 | 8709257
20200423_STD6_103.raw | x250 | 32417.334 | 245691.7344 | 67548.7969 | 641433.625 | 1749401.625 | 24077380 | 1728802.125 | 8238285
20200423_STD5_101.raw | x200 | 35744.5352 | 238741.3281 | 78523.7344 | 621619.1875 | 1944046.875 | 23305694 | 2021239.5 | 8220194
20200423_STD5_102.raw | x200 | 27465.5996 | 229875.2031 | 74610.1328 | 623552 | 1877230.875 | 23318254 | 1941811.25 | 8050210
20200423_STD5_103.raw | x200 | 25345.5996 | 226555.7344 | 70964.2656 | 602308.25 | 1806609.125 | 22515438 | 1822259.25 | 7794688
20200423_STD4_101.raw | x100 | 63522.1328 | 243520 | 171110.4062 | 649651.1875 | 4376712.5 | 25562316 | 4513997 | 8591906
20200423_STD4_102.raw | x100 | 66856.5312 | 250670.9375 | 165673.5938 | 654024.5625 | 3856947.25 | 24962390 | 4094088.5 | 8684339
20200423_STD4_103.raw | x100 | 69734.3984 | 249467.7344 | 177164.7969 | 672874.6875 | 4314931 | 25839752 | 4499729 | 8699494
20200423_STD3_101.raw | x20 | 267818.6562 | 247970.1406 | 697634.125 | 638080 | 15516058 | 22773486 | 16926584 | 8003857
20200423_STD3_102.raw | x20 | 256699.7344 | 222920.5312 | 688512 | 599018.6875 | 14798029 | 20919910 | 16702669 | 7498137.5
20200423_STD3_103.raw | x20 | 254297.5938 | 239590.4062 | 679577.625 | 594009.625 | 14986172 | 21858714 | 16308361 | 7595554
20200423_STD2_101.raw | x2 | 2434867.25 | 228334.9375 | 6010743.5 | 555153.0625 | 91790816 | 14681566 | 94743208 | 4892808.5
20200423_STD2_102.raw | x2 | 2341768.5 | 215872 | 5980433 | 528537.625 | 89074344 | 13614080 | 90753160 | 4560486.5
20200423_STD2_103.raw | x2 | 2213768.5 | 210248.5312 | 5653709 | 520456.5312 | 84520688 | 13346133 | 87829160 | 4537822
20200423_STD1_101.raw | x1 | 4252877 | 202150.4062 | 10786065 | 521932.8125 | 126019176 | 12209835 | 127525408 | 3848874.75
20200423_STD1_102.raw | x1 | 4286737 | 196590.9375 | 10466918 | 500360.5312 | 123170544 | 11822626 | 126493216 | 3783475.25
20200423_STD1_103.raw | x1 | 4332680.5 | 213900.7969 | 10292361 | 485081.5938 | 121821592 | 11185630 | 124698624 | 3602568.5
20200423_MB_101.raw | Matrix Blank | 121892.2656 | 140.8 | 92358.3984 | 119.6667 | 8177937 | 1328.6 | 2061056 | 2293.4666
20200423_TB_201.raw | Total Blank | 0 | 184.4 | 2241.6001 | 16.1333 | 65302.3984 | 1876.2 | 22494.4004 | 11811.2002
20200423_LLQC_01_001.raw | LLQC | 65443.1992 | 163566.9375 | 85778.1328 | 587020.8125 | 7420040.5 | 23464618 | 2537352.5 | 7615010
20200423_LLQC_01_002.raw | LLQC | 67337.6016 | 162093.8594 | 77150.9297 | 569113.625 | 6957807 | 21754948 | 2428876.75 | 7383995.5
20200423_LLQC_01_003.raw | LLQC | 66682.6641 | 168046.9375 | 48256 | 397815.4688 | 4765696 | 14140962 | 1416294.375 | 4762009.5
20200423_LLQC_02_001.raw | LLQC | 65762.1328 | 162914.1406 | 87596.7969 | 620625.0625 | 6830011.5 | 21596570 | 2400273 | 7408776.5
20200423_LLQC_02_002.raw | LLQC | 64129.0664 | 160819.2031 | 79555.2031 | 590737.0625 | 6859571 | 21886840 | 2380953.5 | 7322829
20200423_LLQC_02_003.raw | LLQC | 66998.3984 | 161117.8594 | 64349.8672 | 493469.875 | 6183731 | 19605094 | 1893290.625 | 6312345.5
20200423_LLQC_03_001.raw | LLQC | 63280 | 161241.5938 | 94656 | 678340.25 | 6642346.5 | 21442014 | 2511052.75 | 7820970.5
20200423_LLQC_03_002.raw | LLQC | 61462.3984 | 157994.6719 | 74635.7344 | 583257.625 | 6862370 | 22014088 | 2177297 | 7108676.5
20200423_LLQC_03_003.raw | LLQC | 66877.8672 | 155497.5938 | 59147.7344 | 476957.875 | 4987289.5 | 15004058 | 1527603.25 | 5295786.5
20200423_LLQC_04_001.raw | LLQC | 66791.4688 | 155315.2031 | 90526.9297 | 615470.9375 | 6657365.5 | 21514104 | 2387558.5 | 7480183.5
20200423_LLQC_04_002.raw | LLQC | 59723.7344 | 158737.0625 | 46297.6016 | 388834.125 | 4234445 | 12311620 | 1281245.875 | 4335889
20200423_LLQC_04_003.raw | LLQC | 68258.1328 | 167116.7969 | 41576 | 291618.125 | 3075464.5 | 7871966 | 878592 | 3084015
20200423_LLQC_05_001.raw | LLQC | 65592.5312 | 153861.3281 | 93204.2656 | 632785.0625 | 7134139.5 | 22777036 | 2457651.25 | 7637128.5
20200423_LLQC_05_002.raw | LLQC | 63040 | 162134.4062 | 87662.9297 | 614340.25 | 6598110 | 21125530 | 2417100.75 | 7544422.5
20200423_LLQC_05_003.raw | LLQC | 63658.668 | 162299.7344 | 70024.5312 | 554560 | 6578585.5 | 21044974 | 2176682.75 | 7103556.5
20200423_LLQC_06_001.raw | LLQC | 60288 | 161284.2656 | 87539.2031 | 609638.375 | 6363818.5 | 20321348 | 2176495 | 7095364.5
20200423_LLQC_06_002.raw | LLQC | 68254.9297 | 152725.3281 | 93019.7344 | 623569.0625 | 6489224.5 | 21001558 | 2437154.25 | 7553706.5
20200423_LLQC_06_003.raw | LLQC | 66043.7344 | 160021.3281 | 86878.9297 | 609553.0625 | 6688017 | 21369378 | 2409472 | 7416900.5
20200423_LQC_01_001.raw | LQC | 68949.3359 | 117323.7344 | 125406.9297 | 583138.125 | 9126366 | 20721938 | 3377971.25 | 7295249
20200423_LQC_01_002.raw | LQC | 70940.7969 | 121502.9297 | 117193.6016 | 548838.375 | 9634884 | 21925342 | 3342387.25 | 7346927
20200423_LQC_01_003.raw | LQC | 75086.9297 | 126363.7344 | 96082.1328 | 495368.5312 | 8815684 | 19542562 | 2881058.25 | 6536328.5
20200423_LQC_02_001.raw | LQC | 70553.6016 | 125539.2031 | 125937.0703 | 584341.3125 | 10075614 | 22327296 | 3427959.5 | 7669691.5
20200423_LQC_02_002.raw | LQC | 70123.7344 | 124881.0703 | 118658.1328 | 582139.75 | 10001271 | 21965756 | 3548433 | 7641156.5
20200423_LQC_02_003.raw | LQC | 74603.7344 | 124619.7344 | 126090.6641 | 561463.4375 | 9893137 | 22044946 | 3576559 | 7739597
20200423_LQC_03_001.raw | LQC | 76566.3984 | 120915.2031 | 119209.6016 | 520418.125 | 9908429 | 20730402 | 3419323.75 | 7334707
20200423_LQC_03_002.raw | LQC | 71448.5312 | 116353.0703 | 134061.8594 | 570624 | 10415991 | 21537314 | 3758694.5 | 7642043.5
20200423_LQC_03_003.raw | LQC | 76484.2656 | 117571.2031 | 101963.7344 | 492620.8125 | 10143607 | 21330056 | 3335424 | 7231283
20200423_LQC_04_001.raw | LQC | 67515.7344 | 125091.2031 | 126862.9297 | 540424.5625 | 9899759 | 20404906 | 3705514.75 | 7467008
20200423_LQC_04_002.raw | LQC | 70630.3984 | 120088.5312 | 128080 | 550984.5625 | 10122103 | 21101772 | 3690052.25 | 7545105
20200423_LQC_04_003.raw | LQC | 70722.1328 | 119125.3359 | 90245.3359 | 420061.875 | 7678839.5 | 15471411 | 2482380.75 | 5574792.5
20200423_LQC_05_001.raw | LQC | 71242.6641 | 118664.5312 | 130430.9297 | 556027.75 | 9910272 | 20744874 | 3627144.5 | 7414033
20200423_LQC_05_002.raw | LQC | 74723.2031 | 123697.0703 | 109354.6641 | 501346.125 | 10144358 | 21531852 | 3553996.75 | 7418470.5
20200423_LQC_05_003.raw | LQC | 70196.2656 | 118023.4688 | 67972.2656 | 352021.3438 | 6852744.5 | 13476523 | 2006152.5 | 4463138
20200423_LQC_06_001.raw | LQC | 69725.8672 | 130744.5312 | 106817.0703 | 561783.4375 | 9251157 | 21802188 | 3084305 | 7376623
20200423_LQC_06_002.raw | LQC | 71950.9297 | 124411.7344 | 109355.7344 | 548526.9375 | 9152990 | 21869910 | 3126818.25 | 7344059.5
20200423_LQC_06_003.raw | LQC | 69735.4688 | 133771.7344 | 93735.4688 | 481314.125 | 8255556.5 | 19821910 | 2693068.75 | 6671291.5
20200423_MQC_01_001.raw | MQC | 103882.6641 | 83409.0703 | 136366.9375 | 298150.4062 | 18386124 | 19394560 | 7361058 | 7460864
20200423_MQC_01_002.raw | MQC | 97505.0703 | 82443.7344 | 134901.3281 | 274065.0625 | 18247954 | 19205598 | 7119667 | 7130726.5
20200423_MQC_01_003.raw | MQC | 103926.3984 | 86954.6641 | 116920.5312 | 265979.7188 | 16964812 | 18134904 | 6076825.5 | 6509636.5
20200423_MQC_02_001.raw | MQC | 104336 | 80046.9297 | 133091.2031 | 291494.4062 | 18770056 | 19744632 | 7144448 | 7281322.5
20200423_MQC_02_002.raw | MQC | 100865.0703 | 85740.7969 | 126096 | 273945.5938 | 17669870 | 18939630 | 6329412.5 | 6813013.5
20200423_MQC_02_003.raw | MQC | 103836.7969 | 88647.4688 | 107976.5312 | 251656.5312 | 14246434 | 14728124 | 4764399 | 5336883
20200423_MQC_03_001.raw | MQC | 101207.4688 | 88089.6016 | 120537.6016 | 276787.1875 | 17264914 | 18042948 | 6309205.5 | 6760994
20200423_MQC_03_002.raw | MQC | 107532.7969 | 92039.4688 | 127446.3984 | 277252.2812 | 18632430 | 19800610 | 7173325 | 7224320
20200423_MQC_03_003.raw | MQC | 102279.4688 | 86122.6641 | 124188.7969 | 271411.1875 | 18125346 | 19305540 | 6705766.5 | 6947703.5
20200423_MQC_04_001.raw | MQC | 103689.6016 | 86179.2031 | 126804.2656 | 278788.2812 | 18256146 | 19358788 | 7023343 | 7289310
20200423_MQC_04_002.raw | MQC | 104229.3359 | 87945.6016 | 124572.7969 | 268381.875 | 17797120 | 18912052 | 6519125.5 | 6860527
20200423_MQC_04_003.raw | MQC | 106200.5312 | 87690.6641 | 106996.2656 | 242039.4688 | 15029385 | 15279650 | 4785971 | 5062929
20200423_MQC_05_001.raw | MQC | 105541.3359 | 88836.2656 | 122041.6016 | 277768.5312 | 18264064 | 18582186 | 7296819 | 7100962
20200423_MQC_05_002.raw | MQC | 108842.6641 | 87499.7344 | 116269.8672 | 265518.9375 | 15946684 | 16558012 | 5856461 | 6129595.5
20200423_MQC_05_003.raw | MQC | 105125.3359 | 85013.3359 | 110544 | 254899.2031 | 13532638 | 13290018 | 4404906.5 | 4701115.5
20200423_MQC_06_001.raw | MQC | 98163.2031 | 90020.2656 | 119518.9297 | 263364.2812 | 15960474 | 16612011 | 5963298 | 6385322.5
20200423_MQC_06_002.raw | MQC | 104673.0703 | 85173.3359 | 103772.7969 | 254613.3281 | 15476531 | 16392602 | 5371767.5 | 5819187
20200423_MQC_06_003.raw | MQC | 104908.7969 | 81065.6016 | 106414.9297 | 262135.4688 | 13625412 | 13906193 | 4382993 | 4761600
20200423_HQC_01_001.raw | HQC | 156512 | 88624 | 269969.0625 | 278387.1875 | 23429394 | 17735406 | 15120521 | 6909747
20200423_HQC_01_002.raw | HQC | 151143.4688 | 88775.4688 | 287982.9375 | 274235.7188 | 23128200 | 17786402 | 14438195 | 6789871
20200423_HQC_01_003.raw | HQC | 146629.3281 | 83053.8672 | 236236.7969 | 240469.3281 | 18574814 | 13086447 | 9098240 | 4458223
20200423_HQC_02_001.raw | HQC | 157893.3281 | 86012.7969 | 274990.9375 | 274922.6562 | 23589410 | 17461862 | 14809498 | 6622344.5
20200423_HQC_02_002.raw | HQC | 152250.6719 | 87027.2031 | 270583.4688 | 271761.0625 | 23407002 | 17548288 | 14152841 | 6517965
20200423_HQC_02_003.raw | HQC | 158727.4688 | 77992.5312 | 230685.8594 | 249395.2031 | 18990148 | 13457613 | 9243238 | 4505805
20200423_HQC_03_001.raw | HQC | 152289.0625 | 83553.0703 | 282653.875 | 295458.125 | 24146194 | 18490982 | 15496533 | 7146086.5
20200423_HQC_03_002.raw | HQC | 152164.2656 | 89705.6016 | 264516.2812 | 267712 | 21521204 | 16736734 | 11686980 | 5762253
20200423_HQC_03_003.raw | HQC | 158677.3281 | 87671.4688 | 245913.5938 | 258841.5938 | 17051648 | 11662131 | 8143872 | 3979810.25
20200423_HQC_04_001.raw | HQC | 153797.3281 | 84105.6016 | 270771.1875 | 269674.6562 | 24000648 | 17951676 | 14819806 | 6751914.5
20200423_HQC_04_002.raw | HQC | 152323.2031 | 94140.7969 | 263240.5312 | 277602.125 | 22928316 | 17462476 | 14382694 | 6647398.5
20200423_HQC_04_003.raw | HQC | 152720 | 96374.3984 | 268369.0625 | 267997.875 | 22817178 | 17449438 | 12747913 | 6187690.5
20200423_HQC_05_001.raw | HQC | 156544 | 87414.3984 | 285474.125 | 268416 | 23759258 | 18027794 | 14521207 | 6691908.5
20200423_HQC_05_002.raw | HQC | 150843.7344 | 86819.2031 | 278818.125 | 265907.1875 | 23965970 | 17954474 | 15044540 | 6763929.5
20200423_HQC_05_003.raw | HQC | 162684.7969 | 86464 | 268288 | 279594.6562 | 22517624 | 17111860 | 12807236 | 6020232.5
20200423_HQC_06_001.raw | HQC | 155757.8594 | 85616 | 269657.5938 | 266214.4062 | 22909748 | 17282322 | 14052420 | 6403277
20200423_HQC_06_002.raw | HQC | 148882.1406 | 83952 | 254114.1406 | 259281.0625 | 19573418 | 13986611 | 10532932 | 5008998.5
20200423_HQC_06_003.raw | HQC | 151943.4688 | 80841.6016 | 234077.8594 | 239543.4688 | 18200166 | 12506249 | 8666180 | 4053469.75
20200423_HHQC_01_001.raw | HHQC | 206131.2031 | 85148.7969 | 433732.2812 | 284637.875 | 30455398 | 17584606 | 22579064 | 6491682
20200423_HHQC_01_002.raw | HHQC | 201211.7344 | 82934.3984 | 435251.1875 | 265804.8125 | 29024530 | 16845756 | 20047462 | 5949098.5
20200423_HHQC_01_003.raw | HHQC | 205256.5312 | 86662.3984 | 417945.5938 | 262421.3438 | 27411798 | 15534490 | 17659494 | 5355656.5
20200423_HHQC_02_001.raw | HHQC | 208217.5938 | 87413.3359 | 423978.6562 | 265476.2812 | 28604280 | 17100596 | 20908168 | 6241075
20200423_HHQC_02_002.raw | HHQC | 194602.6719 | 90760.5312 | 425523.1875 | 265536 | 28735078 | 17109812 | 21208814 | 6306884.5
20200423_HHQC_02_003.raw | HHQC | 203716.2656 | 82173.8672 | 398502.4062 | 269273.5938 | 26121012 | 15242923 | 17006318 | 5294011.5
20200423_HHQC_03_001.raw | HHQC | 200166.4062 | 84334.9297 | 413947.7188 | 259549.8594 | 27322504 | 15892275 | 19265946 | 5793519
20200423_HHQC_03_002.raw | HHQC | 195225.5938 | 82742.3984 | 412185.5938 | 246024.5312 | 28422144 | 16352802 | 21512466 | 6201549
20200423_HHQC_03_003.raw | HHQC | 195050.6719 | 80549.3359 | 404266.6562 | 255197.8594 | 25507976 | 14611661 | 16724787 | 5114948.5
20200423_HHQC_04_001.raw | HHQC | 201024 | 93793.0703 | 419776 | 274402.125 | 29037636 | 17046460 | 21638894 | 6333986
20200423_HHQC_04_002.raw | HHQC | 200238.9375 | 87809.0703 | 423543.4688 | 257292.7969 | 27757226 | 16174831 | 18897306 | 5820894
20200423_HHQC_04_003.raw | HHQC | 197947.7344 | 79397.3359 | 393634.125 | 260765.8594 | 26415924 | 14926985 | 17131930 | 5276194
20200423_HHQC_05_001.raw | HHQC | 205440 | 81267.2031 | 462758.4062 | 261913.5938 | 29401362 | 16357786 | 22234180 | 6245717.5
20200423_HHQC_05_002.raw | HHQC | 217894.4062 | 81470.9297 | 416089.5938 | 254749.8594 | 25815722 | 13648350 | 15388945 | 4573662
20200423_HHQC_05_003.raw | HHQC | 222323.2031 | 81076.2656 | 392426.6562 | 249864.5312 | 24657646 | 12657869 | 13878204 | 4162287
20200423_HHQC_06_001.raw | HHQC | 200247.4688 | 87591.4688 | 425565.875 | 265971.1875 | 28810444 | 17028096 | 21145736 | 6301491
20200423_HHQC_06_002.raw | HHQC | 196445.8594 | 87271.4688 | 411502.9375 | 267008 | 28490410 | 16675021 | 19936052 | 6001049.5
20200423_HHQC_06_003.raw | HHQC | 194338.1406 | 86839.4688 | 421623.4688 | 268718.9375 | 29050744 | 16958806 | 20942574 | 6217045.5
20200423_MB_201.raw | Matrix Blank | 128010.6641 | 58.2 | 115369.6016 | 104.3333 | 9857229 | 2916.9333 | 2231620.25 | 3987.6667
20200423_TB_301.raw | Total Blank | 0 | 203.1333 | 2279 | 245.7333 | 140196.2656 | 1833 | 51176.5352 | 687.1334