## Sheet1
LabId | Type | Processing Status | Calibration Line 1 | Calibration Line 2 | NIST SRM | NIST hTAG | NIST T1D | NIST Young AA | LLQC | LQC | MQC | HQC | HLQC | Blank | Missing Values Encoding | Blank Report | Remarks by Curation | Remarks by Participant
02a | Standard | No | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | No | No | No | No | No | No | does not apply | absent | NIST samples only reported with one replicate each, No QC samples, no Blank samples, Blank area values are on raw peak areas sheet
02b | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | empty |  | QC samples only reported with one replicate each, sometimes less
04 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | does not apply |  | Corrected areas of dilution for Calibration curves | Blank QC are the matrix blank without any Internal Standard
06 | Standard | No | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | No | No | No | No | No | No | does not apply |  | NIST samples only reported with one replicate each, No QC samples, no Blank samples, Blank area values are on raw peak areas sheet
08 | Standard | No | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | does not apply | Total Blank and Matrix Blank | QC samples and NIST samples only reported with one replicate each, Total Blank and Matrix Blank
10a | Standard | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes | does not apply |  | QC samples only reported with one replicate each, Total Blank and Matrix Blank | Something odd happened with STD-5 first replicate
11 | Standard | No | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | does not apply |  | duplicate of #8, | Something odd happened with STD-5 first replicate
12 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | 0 |  | Missing values in High QC for Repl 3
14 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A |  | duplicate of #8, #11 (most complete report)
15 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
18a | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | NF | Total Blank and Matrix Blank
18b | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | does not apply | Total Blank and Matrix Blank
19 | Standard | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | NA | 3xTotal Blank and 3x Matrix Blank | NIST samples only reported with one replicate each,
20a | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | empty or 0 | Separate Matrix Blank and Total Blank | Separate Matrix Blank and Total Blank, four replicates→ adapted result format, LC-MS & TLS-LC-MS, removing replicate 3 from LC-MRM, seems to be consistently too low
21 | Standard | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes | No | empty | no blanks | NIST samples only reported with one replicate each
22 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | three blank rows | renamed sheet "Main LC-MRM-Intra Assay QC Res" to "LC-MRM - Intra Assay QC Res" | Note for Blank: Refer to 'blue' highlights in Main raw peak areas' ¦ Note for intra-assay QC: a 2nd run was repeated (with same extract) on a separate day (refer to Run 2xxxx tabs)
23 | Standard | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | N/A | blanks only reported with one replicate each | NIST samples only reported with one replicate each, blanks only reported with one replicate each
24 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | not inj or <LOD | Total Blank and Matrix Blank
25 | Standard | No | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | does not apply | three total blanks only reported with one replicate each | Intra Assay QC Res Sheet was modified, Total Blank was added after NIST samples. NIST samples only reported with one replicate each
27 | Standard | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Total Blank and Matrix Blank |  | Comment: It seems that the sample numbering of Calibration-B-STD4 and Calibration-B-STD5 was reversed. Please check them.
28 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | does not apply | Total Blank and Matrix Blank
29a | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | does not apply | Separate Matrix Blank and Total Blank
30 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 0 | Total Blank and Matrix Blank
31 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 0 | Total Blank and Matrix Blank
34 | Standard | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes | N/A or empty | Total Blank and Matrix Blank | Calibration line samples, NIST samples and QC samples only reported with one replicate each
36 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | does not apply | Total Blank and Matrix Blank
38 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A or ND or injection failed | Total Blank and Matrix Blank | Replaced injection failed with „N/A“ | Please see „NOTES from Participants.docx“
01 | Preferred | No | No | No | No | No | No | No | No | No | No | No | No | No | does not apply |  | Only final concentrations reported in custom format
03 | Preferred | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes | Yes | does not apply |  | NIST samples only reported with one replicate each
05 | Preferred | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | empty |  | Only two Blank samples reported with one replicate, reversed calibration line data
07 | Standard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N.D.
09 | Preferred | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | does not apply | Total Blank and Matrix Blank | Pooled QC, Total Blank and Matrix Blank, modified format, Result sheet is FIA-MRM - Intra Assay QC Res, Removed HQC2 and HLQC6 (outliers)
10b | Preferred | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes | does not apply | Total Blank and Matrix Blank | QC samples and NIST samples only reported with one replicate each, Total Blank and Matrix Blank, Renamed Sheet „LC-MRM - Intra Assay QC Res“
13 | Preferred | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | No | No | No | No | No | Yes (with remarks) | does not apply | Total Blank and Matrix Blank | NIST samples only reported with one replicate each
16 | Preferred | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/F | Total Blank and Matrix Blank
17a | Preferred | Yes | Yes | Yes | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | No | No | No | No | No | Yes (with remarks) | does not apply | Total Blank and Matrix Blank | NIST samples only reported with one replicate each
17b | Preferred | No | No | No | No | No | No | No | No | No | No | No | No | No | does not apply |  | Report contains full lipid profile, not just Ceramides of interest, also for the standard mixtures, concentrations for Ceramides are not provided in Assay result sheet but in custom format
20b | Preferred | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | empty or 0 | Separate Matrix Blank and Total Blank | Separate Matrix Blank and Total Blank, four replicates→ adapted result format, LC-MS & TLS-LC-MS, removing replicate 3 from LC-MRM, seems to be consistently too low
26a | Preferred | Yes | Yes (with remarks) | No | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | No | No | No | No | No | Yes | empty or NA | 1xTotal Blank and 2x Matrix Blank | Only five samples per NIST material, no replicates
26b | Preferred | Yes | Yes (with remarks) | No | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | Yes (with remarks) | No | No | No | No | No | Yes | empty | 1xTotal Blank and 2x Matrix Blank | Only five samples per NIST material, no replicates
29b | Preferred | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | empty | Total Blank and Matrix Blank | Total Blank and Matrix Blank, UHPSFC MS - Intra Assay QC Res
32 | Standard | Yes | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | ND or - | Total Blank and Matrix Blank | Replaced STD 4 and STD 5 rows with custom dilution levels, additional batch 2 qc values were not used | Based on the limitations of using a QTOF-MS system compared to a QqQ-MS/MS system for quantitation, we decided to include two additional calibrator levels to build the calibration curves without modifying the SOP procedure for calibration lines (see the figure below). In particular, we observed limitations for integrating peak areas for Cerd18:1/16:0 and Cerd18:1/18:0 at STD5 and STD6. The two additional calibrator levels corresponded to 2-fold and 3-fold dilutions of STD3, which were included in the report for all ceramides (see the figure below). When chromatographic peak areas were under the limit of detection, we included ND.
33 | Preferred | Yes | Yes (with remarks) | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | ND or - | Total Blank and Matrix Blank | Removed additional rows in blue | Replaced STD 2 and STD 3 and STD 4 rows with custom dilution levels, additional batch 2 qc values were not used
35 | Preferred | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | does not apply | Total Blank and Matrix Blank
37 | Preferred | Yes | Yes | Yes | Yes | Yes | Yes | Yes (with remarks) | Yes | Yes | Yes | Yes | Yes | Yes | does not apply | 3xTotal Blank and 3x Matrix Blank |  | Three NIST YAA samples were marked