## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary | The samples were extracted using the single-phase MMC solvent extraction procedure according to Pellegrino, R. M., Di Veroli, A., Valeri, A., Goracci, L., Cruciani, G., LC/MS lipid profiling from human serum: a new method for global lipid extraction. Anal Bioanal Chem 2014, 406, 7937-7948.
A calibration curve is built by injecting several dilutions of the non-labelled standards mixed with a fixed concentration of labelled standards. Each calibration point is prepared and analysed in triplicates (n=3).
To establish the endogenous concentration of the four selected ceramides in the study samples (NIST SRM1950, NIST high TAG, NIST T1D, and NIST young A-A) each sample is extracted and analyzed in six replicates (n =6).
The pooled QC was prepared by mixing 125 mL each of NIST SRM1950, NIST high TAG, NIST T1D, and NIST young AA (total 500 mL).
For the LC-MRM procedure a Waters XSelect CSH C18 2.5 μm 2.1 x 100 mm XP column with a VanGuard pre-column was used.

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
MMC extraction solvent: methanol: MTBE: chloroform, 4:3:3 (v:v:v)
methanol
5 % Bovine Serum Albumin
2 mL Safe Lock Eppendorf tubes
LC/MS vials
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 ml pooled plasma QC + 40 ml H2O |  |  | 20 ml labelled IS |  | 930 ml MMC
| Matrix Blank (MB) | 10 ml pooled plasma QC + 40 ml H2O |  |  |  |  | 950 ml MMC
| Study Samples (S) | 10 ml human plasma (SRM1950, highTAG, T1D, young AA) + 40 ml H2O |  |  | 20 ml labelled IS |  | 930 ml MMC
| Total Blank (TB) | 10 ml 5 % BSA + 40 ml H2O |  |  |  |  | 950 ml MMC
| Calibration line standards (STD) | 10 ml 5 % BSA + 40 ml H2O |  |  | 20 ml labelled IS + 20 ml non-labelled STDs (Table 5) |  | 910 ml MMC
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Table 4) with MMC 4:3:3 as suggested in Table 5. | Extraction - Overview'!B34
| 2 | Thaw plasma samples on ice (+4°C) and bring them to room temperature prior to extraction. Mix by pipetting up and down several times before use.
| 3 | Prepare samples in tubes according to specifications in Column 2 of Table 2. | Extraction - Overview'!C14
| 4 | Add 20 mL of labelled internal standard mixture to samples according to Table 2, Column 3. | Extraction - Overview'!F14
| 5 | For the calibration line, add 20 L of different dilutions of the non-labelled mixture (STD1-6).
| 6 | Add MMC 4:3:3 to Total Blank and Matrix Blank according to Table 2, Column 4, and vortex the samples for 30 sec. | Extraction - Overview'!H14
| 7 | Shake in an Eppendorf Thermomixer at 25 °C (950 rpm, 30 min) and vortex the samples again for 30 sec.
| 8 | Centrifuge the samples for 10 minutes at 2000 g, collect the supernatant and dry it in a SpeedVac
| 9 | Re-suspend the samples in 60 μl methanol and shake in an Eppendorf Thermomixer at 25 °C (950 rpm, 60 min).
| 10 | Centrifuge for 10 minutes at 16000 g, and transfer the supernatants to LC/MS vials.

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | QQQ
| LC | UPLC
| Injection volume (indicative) | 10 µL
| Weak wash | methanol
| Strong wash | isopropanol
| Pre-column | Waters XSelect CSH C18 XP column, 2.5 µm VanGuard Pre-Column
| Column | Waters XSelect CSH C18 2.5 μm 2.1 x 100 mm XP column
| Column temperature | 50 °C
| Mobile phase A | 10 mM ammonium acetate in acetonitrile:water (6:4, vol/vol) with 0.1% formic acid
| Mobile phase B | 10 mM ammonium acetate in acetonitrile:2-propanol (1:9, vol/vol) with 0.1% formic acid
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0 | 60 | 40 |  | 400
| 2 | 57 | 43 |  | 400
| 2.1 | 50 | 50 |  | 400
| 12 | 46 | 54 |  | 400
| 12.1 | 30 | 70 |  | 400
| 18 | 1 | 99 |  | 400
| 18.1 | 60 | 40 |  | 400
| 20 | 60 | 40 |  | 400
Table 9 LC-MRM MS conditions (EXAMPLE: this only applies to Sciex QTRAP, please adapt)
| Polarity mode | positive
| Ion spray | 5000 V
| Curtain gas | 25 psi
| Source temperature | 300 °C
| Gas 1 | 50 psi
| Gas 2 | 35 psi
| DP | 30 V
| EP | 10 V
| Collision cell exit potential | 20 V
| Collision energy (CE) | 40 eV
Table 10 LC-MRM Mass transitions used for absolute quantification. On different systems, RT and CE might be different!
| Analyte | Mass transitions | IS | Mass transitions | RT (min) | CE
| Cer d18:1/16:0 | 538.5 – 264.3 | D7- Cer d18:1/16:0 | 545.6 - 271.3 | 13.50-13.57 | 40
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.6 – 264.3 | D7- Cer d18:1/18:0 | 573.6 – 271.3 | 14.14-14.21 | 40
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.6 – 264.3 | D7- Cer d18:1/24:0 | 657.7 – 271.3 | 15.62-15.67 | 40
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.6 – 264.3 | D7- Cer d18:1/24:1 | 655.7 – 271.3 | 15.16-15.21 | 40
C42H82NO3 – C18H34N
Table 11 Data processing
| Processing software | Sciex Analyst Ver. 1.7, MultiQuant Ver. 3.0.3

## LC-MRM - Sample Sequence
Sample Sequence (Example)
Sample Sequence (Example) | Sample Sequence 1
| Number | Sample Name | Remarks
| 1 | Total Blank 1
| 2 | Matrix blank 1
| 3 | CalSTD6_3
| 4 | CalSTD6_2
| 5 | CalSTD6_1
| 6 | CalSTD5_3
| 7 | CalSTD5_2
| 8 | CalSTD5_1
| 9 | CalSTD4_3
| 10 | CalSTD4_2
| 11 | CalSTD4_1
| 12 | CalSTD3_3
| 13 | CalSTD3_2
| 14 | CalSTD3_1
| 15 | CalSTD2_3
| 16 | CalSTD2_2
| 17 | CalSTD2_1
| 18 | CalSTD1_3
| 19 | CalSTD1_2
| 20 | CalSTD1_1
| 21 | Total Blank 2
| 22 | Pooled QC 1
| 23 | Pooled QC 2
| 24 | Total Blank 3
| 25 | SRM 1950-1
| 26 | SRM 1950-2
| 27 | SRM 1950-3
| 28 | SRM 1950-4
| 29 | SRM 1950-5
| 30 | SRM 1950-6
| 31 | Total Blank 4
| 32 | T1D-1
| 33 | T1D-2
| 34 | T1D-3
| 35 | T1D-4
| 36 | T1D-5
| 37 | T1D-6
| 38 | Total Blank 5
| 39 | Pooled QC 3
| 40 | Pooled QC 4
| 41 | Total Blank 6
| 42 | Young AA-1
| 43 | Young AA-2
| 44 | Young AA-3
| 45 | Young AA-4
| 46 | Young AA-5
| 47 | Young AA-6
| 48 | Total Blank 1 2 | The same vial as Total Blank 1
| 49 | highTAG-1
| 50 | highTAG-2
| 51 | highTAG-3
| 52 | highTAG-4
| 53 | highTAG-5
| 54 | highTAG-6
| 55 | Total Blank 2 2 | The same vial as Total Blank 2
| 56 | Pooled QC 5
| 57 | Pooled QC 6
| 58 | Total Blank 3 2 | The same vial as Total Blank 3
| 59 | CalSTDb6_3 | The same vial as CalSTD6_3
| 60 | CalSTDb6_2 | The same vial as CalSTD6_2
| 61 | CalSTDb6_1 | The same vial as CalSTD6_1
| 62 | CalSTDb5_3 | The same vial as CalSTD5_3
| 63 | CalSTDb5_2 | The same vial as CalSTD5_2
| 64 | CalSTDb5_1 | The same vial as CalSTD5_1
| 65 | CalSTDb4_3 | The same vial as CalSTD4_3
| 66 | CalSTDb4_2 | The same vial as CalSTD4_2
| 67 | CalSTDb4_1 | The same vial as CalSTD4_1
| 68 | CalSTDb3_3 | The same vial as CalSTD3_3
| 69 | CalSTDb3_2 | The same vial as CalSTD3_2
| 70 | CalSTDb3_1 | The same vial as CalSTD3_1
| 71 | CalSTDb2_3 | The same vial as CalSTD2_3
| 72 | CalSTDb2_2 | The same vial as CalSTD2_2
| 73 | CalSTDb2_1 | The same vial as CalSTD2_1
| 74 | CalSTDb1_3 | The same vial as CalSTD1_3
| 75 | CalSTDb1_2 | The same vial as CalSTD1_2
| 76 | CalSTDb1_1 | The same vial as CalSTD1_1
| 77 | Total Blank 4 2 | The same vial as Total Blank 4
| 78 | Total Blank 5 2 | The same vial as Total Blank 5
| 79 | Matrix blank 2
| 80 | Total Blank 6 2 | The same vial as Total Blank 6

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
4
Intra-Assay Variation
6
7
8
9

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 35263332.8877 | 35675290.0833 | 31801136.1458 | 55083110.728 | 56563062.6058 | 52042504.8645 | 287767445.301 | 289373940.9009 | 286288106.1333 | 288072439.8415 | 289030745.65 | 282243301.3005 | 2695456.4775 | 2498446.8642 | 2447058.2345 | 2135790.2915 | 1915238.9739 | 1927792.4715 | 102117556.496 | 99125908.1918 | 98128782.572 | 49810394.6865 | 46036155.1834 | 47586281.0205
| STD 2 | 20486823.787 | 19112972.2358 | 19907304.1325 | 32137603.318 | 30858019.5146 | 31147584.6809 | 242597647.1175 | 243120590.1745 | 243467876.9925 | 237434493.0521 | 234546339.0215 | 240152569.431 | 3054003.552 | 2789497.935 | 2812832.306 | 2349789.7983 | 2197257.4705 | 2139746.8575 | 125037729.377 | 120805055.2538 | 121589690.621 | 65634854.563 | 61366781.3867 | 58296116.25
| STD 3 | 2794330.517 | 2978283.724 | 2917185.0445 | 3378027.6892 | 3549614.0307 | 3606167.4106 | 69749542.527 | 70986382.6915 | 71184573.2789 | 57780677.324 | 60148167.2068 | 59738001.29 | 2557652.5654 | 2777051.8885 | 2819963.5517 | 2076872.0945 | 2188816.8339 | 2195842.308 | 130568125.259 | 139064276.084 | 139021590.8775 | 54584623.4895 | 60164471.7921 | 60036170.7967
| STD 4 | 1338196.639 | 1328675.9214 | 1278129.2092 | 831151.3955 | 853877.7395 | 862186.6795 | 15190505.67 | 16377408.4722 | 15329266.2982 | 11016488.4556 | 11634844.9374 | 11869645.9274 | 2581369.693 | 2461356.504 | 2466967.709 | 2025169.4946 | 1943349.6891 | 1926091.8694 | 125048388.4475 | 122556685.3945 | 121416754.5949 | 47289322.1396 | 46156992.284 | 47301546.7546
| STD 5 | 1153729.2976 | 1074337.9997 | 1020505.1706 | 548184.8041 | 492557.211 | 487995.471 | 8848834.1075 | 7506033.1668 | 7775961.2736 | 6382423.404 | 5263460.9994 | 5487975.2274 | 2606933.0995 | 2430448.68 | 2347798.475 | 2036249.674 | 1870345.1629 | 1774281.2863 | 124348154.0981 | 115401199.283 | 113888849.3155 | 47138647.2232 | 43394941.7796 | 42674364.9111
| STD 6 | 871208.6236 | 884248.8875 | 877231.7188 | 359179.439 | 329630.1626 | 347988.1 | 6139538.3147 | 4501753.525 | 5358335.252 | 4170789.1623 | 3097527.3784 | 3749249.9543 | 2164719.661 | 2130077.8015 | 2024245.6475 | 1657848.0784 | 1645376.7764 | 1573549.7305 | 114648375.5575 | 102825464.1405 | 100173018.3979 | 42529825.2608 | 36679388.0059 | 35799243.7354
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 41728790.2088 | 45789798.071 | 41482673.375 | 51384573.9531 | 53647003.3482 | 51604546.4074 | 225328162.7274 | 231908023.141 | 230252645.8749 | 222034863.7696 | 231786450.6335 | 230411680.147 | 3072061.1749 | 3215136.038 | 3080647.7563 | 2054192.3215 | 2116013.0875 | 2052232.5317 | 61414835.568 | 61359901.868 | 62451948.1238 | 28218987.4652 | 26345823.1369 | 27849256.0145
| STD 2 | 21537259.1577 | 27537255.3811 | 23180006.769 | 26474304.1813 | 29918330.2418 | 28415534.4484 | 168219174.6089 | 109820381.3881 | 175134784.5725 | 167370405.535 | 180715753.2895 | 168511110.2992 | 2948453.7958 | 3475090.322 | 3108800.3503 | 2040388.4716 | 2239290.7175 | 2041152.1492 | 66435072.4231 | 36215493.1272 | 64395471.3264 | 29516832.6481 | 33849760.8695 | 29670233.1442
| STD 3 | 3365340.7587 | 3071609.1619 | 3839962.8015 | 3018046.7518 | 2783798.7205 | 3432227.9001 | 31735382.6821 | 29604422.069 | 33480971.0816 | 29615249.0128 | 27959117.7228 | 30695951.7611 | 3044184.9834 | 2838009.098 | 3400843.4356 | 1967828.375 | 1888924.1643 | 2192614.2175 | 66233181.6917 | 61651728.2669 | 70450100.3375 | 28132298.9022 | 25774349.4264 | 30820805.9845
| STD 4 | 1824177.4419 | 2251638.2398 | 2027284.5702 | 841629.1867 | 1049597.9984 | 955066.0214 | 7593317.3636 | 9378780.3366 | 7918623.5597 | 6848518.1338 | 8702100.5552 | 7942398.1808 | 3283971.9393 | 3729166.2492 | 3286077.7094 | 2090260.7375 | 2462678.1038 | 2216100.865 | 69385216.2644 | 78899206.8664 | 68498289.025 | 29497870.7371 | 34381964.1553 | 30492299.7319
| STD 5 | 1629321.1869 | 1504609.1984 | 1520742.0945 | 568618.5347 | 540906.5361 | 541381.6538 | 4485518.9738 | 3958573.484 | 4037719.5552 | 4304575.0639 | 3418765.4257 | 3676348.0186 | 3286981.7275 | 3122126.862 | 3348220.8044 | 2248422.4062 | 2014398.5755 | 2060724.5941 | 72779189.382 | 66748273.4152 | 70030923.85 | 31157838.4097 | 28858187.6939 | 28757750.051
| STD 6 | 1222443.9452 | 1183626.955 | 1184390.818 | 374009.3177 | 335791.6694 | 345187.8304 | 2712783.7275 | 2386553.1114 | 2668493.3806 | 2538288.0411 | 2008456.0585 | 2299433.1813 | 2897796.9864 | 2786428.593 | 2511964.1914 | 1888107.2128 | 1769556.4105 | 1620972.3735 | 62194812.634 | 59662499.2101 | 55260228.7527 | 25331585.1135 | 25270335.0967 | 23323085.1595
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard. Each vial injected 3 times
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 2461217.4661 |  |  | 1876301.7043 |  |  | 79431901.4425 |  |  | 28185531.0313 |  |  | 2751164.409 |  |  | 1994338.8345 |  |  | 128411209.6252 |  |  | 58246517.5095
| SRM 2 | 2766672.199 |  |  | 2253190.2085 |  |  | 87444310.4985 |  |  | 30492366.6004 |  |  | 2709260.8045 |  |  | 2080110.5851 |  |  | 129804890.1778 |  |  | 62218461.8213
| SRM 3 | 2451570.158 |  |  | 1796453.7039 |  |  | 80629998.6189 |  |  | 27691320.5931 |  |  | 2869531.109 |  |  | 2089364.1455 |  |  | 137489613.3456 |  |  | 63251523.4629
| SRM 4 | 2750432.8923 |  |  | 2109803.224 |  |  | 86908170.3094 |  |  | 30317764.8068 |  |  | 2940945.737 |  |  | 2219282.5726 |  |  | 135700185.9958 |  |  | 61435110.2858
| SRM 5 | 2459074.8247 |  |  | 1811232.9592 |  |  | 79315164.8551 |  |  | 27586179.5326 |  |  | 2617233.635 |  |  | 1940061.5607 |  |  | 126079221.8243 |  |  | 56730132.84
| SRM 6 | 2609628.5289 |  |  | 2062995.5846 |  |  | 85191651.4411 |  |  | 29402678.1298 |  |  | 2898263.413 |  |  | 2256271.2807 |  |  | 135469185.954 |  |  | 62939449.5984
NIST hTAG
| hTAG 1 | 2691426.1641 |  |  | 2573161.2672 |  |  | 104195296.6105 |  |  | 35804588.8135 |  |  | 2377088.944 |  |  | 2178202.5699 |  |  | 121294038.6996 |  |  | 54916928.5313
| hTAG 2 | 2544433.9506 |  |  | 2205521.8726 |  |  | 95445813.4095 |  |  | 30748071.2298 |  |  | 2366355.711 |  |  | 2006158.78 |  |  | 113165241.4699 |  |  | 49372185.5485
| hTAG 3 | 2552446.7546 |  |  | 2283421.3898 |  |  | 95395851.9122 |  |  | 32709715.1759 |  |  | 2238830.3675 |  |  | 1931561.426 |  |  | 110771287.1525 |  |  | 48194849.882
| hTAG 4 | 2682489.1832 |  |  | 2348399.6645 |  |  | 98203024.321 |  |  | 31775060.0445 |  |  | 2496625.5457 |  |  | 2269703.6542 |  |  | 121261095.322 |  |  | 53742414.3422
| hTAG 5 | 2431332.247 |  |  | 2033181.6489 |  |  | 93716383.694 |  |  | 29537006.3747 |  |  | 2221898.4159 |  |  | 1881701.7825 |  |  | 111464910.0915 |  |  | 47401566.603
| hTAG 6 | 2553205.907 |  |  | 2213859.007 |  |  | 93420203.421 |  |  | 29604795.4464 |  |  | 2360591.031 |  |  | 2064821.7981 |  |  | 112569215.3577 |  |  | 48854182.1697
NIST T1D
| T1D 1 | 2371415.9945 |  |  | 2393692.8591 |  |  | 74629996.5588 |  |  | 27503793.6766 |  |  | 2837905.2861 |  |  | 2183161.086 |  |  | 120541755.2049 |  |  | 60359749.4545
| T1D 2 | 2249328.4428 |  |  | 2217676.276 |  |  | 71808942.491 |  |  | 26409369.8428 |  |  | 2862913.401 |  |  | 2235329.7804 |  |  | 119957854.6045 |  |  | 59913963.0151
| T1D 3 | 2463593.1655 |  |  | 2473923.211 |  |  | 74210899.6115 |  |  | 28631457.8781 |  |  | 2855829.12 |  |  | 2231282.686 |  |  | 121045090.001 |  |  | 59896705.6075
| T1D 4 | 2219188.6711 |  |  | 2128792.3276 |  |  | 70807862.5512 |  |  | 26412860.4487 |  |  | 2782248.82 |  |  | 2157872.6302 |  |  | 116787600.9542 |  |  | 57997213.9801
| T1D 5 | 2206371.0262 |  |  | 2142152.0991 |  |  | 67736492.2967 |  |  | 25017086.9242 |  |  | 2760986.7107 |  |  | 2088752.543 |  |  | 115071908.5676 |  |  | 56341295.468
| T1D 6 | 2274577.8762 |  |  | 2396483.5316 |  |  | 70715995.8866 |  |  | 27956087.7988 |  |  | 2827949.4283 |  |  | 2262414.5223 |  |  | 117900800.6581 |  |  | 58594960.5893
NIST Young AA
| yA-A 1 | 1554695.9584 |  |  | 901150.9201 |  |  | 35398687.6873 |  |  | 14773262.4217 |  |  | 2456161.6763 |  |  | 1642957.8246 |  |  | 70704435.3475 |  |  | 46299922.9288
| yA-A 2 | 1094948.0247 |  |  | 575539.951 |  |  | 25768005.9031 |  |  | 9772959.3569 |  |  | 1728193.5965 |  |  | 1191619.7756 |  |  | 57670316.735 |  |  | 31910147.1052
| yA-A 3 | 1742490.0502 |  |  | 971757.0508 |  |  | 33184847.9847 |  |  | 14945415.7593 |  |  | 2861640.3265 |  |  | 1901326.596 |  |  | 81700202.2967 |  |  | 52584728.864
| yA-A 4 | 1596298.728 |  |  | 928755.2102 |  |  | 34562927.2707 |  |  | 15683084.2794 |  |  | 2763964.007 |  |  | 1837849.9395 |  |  | 74801571.8533 |  |  | 51414484.5415
| yA-A 5 | 1580539.6811 |  |  | 911811.8886 |  |  | 30737850.463 |  |  | 15083923.2105 |  |  | 2771637.3675 |  |  | 1833127.2534 |  |  | 78224425.82 |  |  | 50707155.2225
| yA-A 6 | 1599409.9885 |  |  | 883500.8717 |  |  | 33248988.2573 |  |  | 15588524.2045 |  |  | 2720341.8725 |  |  | 1839825.983 |  |  | 73705801.6074 |  |  | 50651592.4931
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard. QCs have to be measured in one occasion only. The independent 6 replicates injected 3 times each
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
LLQC 1
LLQC 2
LLQC 3
LLQC 4
LLQC 5
LLQC 6
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
LQC 1
LQC 2
LQC 3
LQC 4
LQC 5
LQC 6
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
MQC 1
MQC 2
MQC 3
MQC 4
MQC 5
MQC 6
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
HQC 1
HQC 2
HQC 3
HQC 4
HQC 5
HQC 6
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
HLQC 1
HLQC 2
HLQC 3
HLQC 4
HLQC 5
HLQC 6
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Matrix Blank | 1863231.0687 |  |  | 713.435 |  |  | 1636287.8771 |  |  | 3345.8425 |  |  | 53247394.5073 |  |  | 22098.328 |  |  | 18245860.651 |  |  | 11454.3125
| Total Blank | 979391.3371 |  |  | 1288.1747 |  |  | 156752.4242 |  |  | 1032.5958 |  |  | 363656.7252 |  |  | 36805.272 |  |  | 211849.3977 |  |  | 10508.5697

## Raw Peak Areas
Sample_Name | Cer d18:1/16:0 [M>264] | Cer d18:1/18:0 [M>264] | Cer d18:1/24:0 [M>264] | Cer d18:1/24:1 [M>264] | Cer d18:1/16:0-d7 [M>264] | Cer d18:1/18:0-d7 [M>264] | Cer d18:1/24:0-d7 [M>264] | Cer d18:1/24:1-d7 [M>264]
Total Blank 1 | 681734.329 | 138894.5977 | 312100.5625 | 293004.7735 | 311.645 | 557.6375 | 38882.6024 | 10709.456
Matrix blank 1 | 1977594.0688 | 1256030.3114 | 57606555.9591 | 20084324.585 | 820.07 | 2509.4125 | 33651.1559 | 13056.8079
CalSTD6_3 | 877231.7188 | 347988.1 | 5358335.252 | 3749249.9543 | 2024245.6475 | 1573549.7305 | 100173018.3979 | 35799243.7354
CalSTD6_2 | 884248.8875 | 329630.1626 | 4501753.525 | 3097527.3784 | 2130077.8015 | 1645376.7764 | 102825464.1405 | 36679388.0059
CalSTD6_1 | 871208.6236 | 359179.439 | 6139538.3147 | 4170789.1623 | 2164719.661 | 1657848.0784 | 114648375.5575 | 42529825.2608
CalSTD5_3 | 1020505.1706 | 487995.471 | 7775961.2736 | 5487975.2274 | 2347798.475 | 1774281.2863 | 113888849.3155 | 42674364.9111
CalSTD5_2 | 1074337.9997 | 492557.211 | 7506033.1668 | 5263460.9994 | 2430448.68 | 1870345.1629 | 115401199.283 | 43394941.7796
CalSTD5_1 | 1153729.2976 | 548184.8041 | 8848834.1075 | 6382423.404 | 2606933.0995 | 2036249.674 | 124348154.0981 | 47138647.2232
CalSTD4_3 | 1278129.2092 | 862186.6795 | 15329266.2982 | 11869645.9274 | 2466967.709 | 1926091.8694 | 121416754.5949 | 47301546.7546
CalSTD4_2 | 1328675.9214 | 853877.7395 | 16377408.4722 | 11634844.9374 | 2461356.504 | 1943349.6891 | 122556685.3945 | 46156992.284
CalSTD4_1 | 1338196.639 | 831151.3955 | 15190505.67 | 11016488.4556 | 2581369.693 | 2025169.4946 | 125048388.4475 | 47289322.1396
CalSTD3_3 | 2917185.0445 | 3606167.4106 | 71184573.2789 | 59738001.29 | 2819963.5517 | 2195842.308 | 139021590.8775 | 60036170.7967
CalSTD3_2 | 2978283.724 | 3549614.0307 | 70986382.6915 | 60148167.2068 | 2777051.8885 | 2188816.8339 | 139064276.084 | 60164471.7921
CalSTD3_1 | 2794330.517 | 3378027.6892 | 69749542.527 | 57780677.324 | 2557652.5654 | 2076872.0945 | 130568125.259 | 54584623.4895
CalSTD2_3 | 19907304.1325 | 31147584.6809 | 243467876.9925 | 240152569.431 | 2812832.306 | 2139746.8575 | 121589690.621 | 58296116.25
CalSTD2_2 | 19112972.2358 | 30858019.5146 | 243120590.1745 | 234546339.0215 | 2789497.935 | 2197257.4705 | 120805055.2538 | 61366781.3867
CalSTD2_1 | 20486823.787 | 32137603.318 | 242597647.1175 | 237434493.0521 | 3054003.552 | 2349789.7983 | 125037729.377 | 65634854.563
CalSTD1_3 | 31801136.1458 | 52042504.8645 | 286288106.1333 | 282243301.3005 | 2447058.2345 | 1927792.4715 | 98128782.572 | 47586281.0205
CalSTD1_2 | 35675290.0833 | 56563062.6058 | 289373940.9009 | 289030745.65 | 2498446.8642 | 1915238.9739 | 99125908.1918 | 46036155.1834
CalSTD1_1 | 35263332.8877 | 55083110.728 | 287767445.301 | 288072439.8415 | 2695456.4775 | 2135790.2915 | 102117556.496 | 49810394.6865
Total Blank 2 | 782338.1918 | 139797.4503 | 454190.3169 | 306910.1785 | 561.75 | 426.455 | 31517.6065 | 10499.1873
Pooled QC 1 | 2172946.6171 | 1577101.2812 | 62263328.537 | 22083736.0831 | 2583689.801 | 1759847.9091 | 95716638.9298 | 46744368.0945
Pooled QC 2 | 2131171.9944 | 1557263.3484 | 55345223.1013 | 20708415.8667 | 2605343.1486 | 1890157.1213 | 91833705.3864 | 48467789.2642
Total Blank 3 | 811550.2041 | 137855.9387 | 339418.356 | 263640.8094 | 1262.905 | 606.825 | 36907.973 | 11484.0115
SRM 1950-1 | 2461217.4661 | 1876301.7043 | 79431901.4425 | 28185531.0313 | 2751164.409 | 1994338.8345 | 128411209.6252 | 58246517.5095
SRM 1950-2 | 2766672.199 | 2253190.2085 | 87444310.4985 | 30492366.6004 | 2709260.8045 | 2080110.5851 | 129804890.1778 | 62218461.8213
SRM 1950-3 | 2451570.158 | 1796453.7039 | 80629998.6189 | 27691320.5931 | 2869531.109 | 2089364.1455 | 137489613.3456 | 63251523.4629
SRM 1950-4 | 2750432.8923 | 2109803.224 | 86908170.3094 | 30317764.8068 | 2940945.737 | 2219282.5726 | 135700185.9958 | 61435110.2858
SRM 1950-5 | 2459074.8247 | 1811232.9592 | 79315164.8551 | 27586179.5326 | 2617233.635 | 1940061.5607 | 126079221.8243 | 56730132.84
SRM 1950-6 | 2609628.5289 | 2062995.5846 | 85191651.4411 | 29402678.1298 | 2898263.413 | 2256271.2807 | 135469185.954 | 62939449.5984
Total Blank 4 | 887422.9269 | 149692.4635 | 298452.9267 | 284675.3246 | 3272.16 | 1984.63 | 109718.8596 | 31268.6835
T1D-1 | 2371415.9945 | 2393692.8591 | 74629996.5588 | 27503793.6766 | 2837905.2861 | 2183161.086 | 120541755.2049 | 60359749.4545
T1D-2 | 2249328.4428 | 2217676.276 | 71808942.491 | 26409369.8428 | 2862913.401 | 2235329.7804 | 119957854.6045 | 59913963.0151
T1D-3 | 2463593.1655 | 2473923.211 | 74210899.6115 | 28631457.8781 | 2855829.12 | 2231282.686 | 121045090.001 | 59896705.6075
T1D-4 | 2219188.6711 | 2128792.3276 | 70807862.5512 | 26412860.4487 | 2782248.82 | 2157872.6302 | 116787600.9542 | 57997213.9801
T1D-5 | 2206371.0262 | 2142152.0991 | 67736492.2967 | 25017086.9242 | 2760986.7107 | 2088752.543 | 115071908.5676 | 56341295.468
T1D-6 | 2274577.8762 | 2396483.5316 | 70715995.8866 | 27956087.7988 | 2827949.4283 | 2262414.5223 | 117900800.6581 | 58594960.5893
Total Blank 5 | 943042.9093 | 193105.988 | 461319.1888 | 121436.3322 | 861.0875 | 721.645 | 29396.931 | 9064.2441
Pooled QC 3 | 2142593.7285 | 1744347.1546 | 60155041.4268 | 21450647.4097 | 2490023.2965 | 1880136.4682 | 92840312.4765 | 45145577.6266
Pooled QC 4 | 2073948.3514 | 1676551.1007 | 45246437.3708 | 18719931.2375 | 2547121.3895 | 2118171.2708 | 80793271.279 | 43192195.2423
Total Blank 6 | 1018091.126 | 188191.8427 | 480599.8861 | 142999.5649 | 377.2725 | 1959.98 | 29904.2409 | 6311.7317
Young AA-1 | 1554695.9584 | 901150.9201 | 35398687.6873 | 14773262.4217 | 2456161.6763 | 1642957.8246 | 70704435.3475 | 46299922.9288
Young AA-2 | 1094948.0247 | 575539.951 | 25768005.9031 | 9772959.3569 | 1728193.5965 | 1191619.7756 | 57670316.735 | 31910147.1052
Young AA-3 | 1742490.0502 | 971757.0508 | 33184847.9847 | 14945415.7593 | 2861640.3265 | 1901326.596 | 81700202.2967 | 52584728.864
Young AA-4 | 1596298.728 | 928755.2102 | 34562927.2707 | 15683084.2794 | 2763964.007 | 1837849.9395 | 74801571.8533 | 51414484.5415
Young AA-5 | 1580539.6811 | 911811.8886 | 30737850.463 | 15083923.2105 | 2771637.3675 | 1833127.2534 | 78224425.82 | 50707155.2225
Young AA-6 | 1599409.9885 | 883500.8717 | 33248988.2573 | 15588524.2045 | 2720341.8725 | 1839825.983 | 73705801.6074 | 50651592.4931
Total Blank 1 2 | 803795.2865 | 127654.2854 | 305608.825 | 239476.7488 | 155.815 | 1467.955 | 24776.1666 | 7152.8114
highTAG-1 | 2691426.1641 | 2573161.2672 | 104195296.6105 | 35804588.8135 | 2377088.944 | 2178202.5699 | 121294038.6996 | 54916928.5313
highTAG-2 | 2544433.9506 | 2205521.8726 | 95445813.4095 | 30748071.2298 | 2366355.711 | 2006158.78 | 113165241.4699 | 49372185.5485
highTAG-3 | 2552446.7546 | 2283421.3898 | 95395851.9122 | 32709715.1759 | 2238830.3675 | 1931561.426 | 110771287.1525 | 48194849.882
highTAG-4 | 2682489.1832 | 2348399.6645 | 98203024.321 | 31775060.0445 | 2496625.5457 | 2269703.6542 | 121261095.322 | 53742414.3422
highTAG-5 | 2431332.247 | 2033181.6489 | 93716383.694 | 29537006.3747 | 2221898.4159 | 1881701.7825 | 111464910.0915 | 47401566.603
highTAG-6 | 2553205.907 | 2213859.007 | 93420203.421 | 29604795.4464 | 2360591.031 | 2064821.7981 | 112569215.3577 | 48854182.1697
Total Blank 2 2 | 779881.6727 | 134473.6107 | 321387.4758 | 234431.1769 | 475.67 | 697.0475 | 27979.2858 | 7091.04
Pooled QC 5 | 2120964.4248 | 1567143.3782 | 54797907.9735 | 20524757.5484 | 2415015.0041 | 1775120.637 | 90035437.501 | 45559321.6155
Pooled QC 6 | 2063385.7498 | 1572354.1046 | 50005810.7399 | 19156513.3995 | 2333941.3915 | 1828169.7035 | 77148827.5141 | 42052749.4047
Total Blank 3 2 | 744019.923 | 125391.616 | 271882.4387 | 231952.0684 | 721.7025 | 266.5075 | 33674.6825 | 8080.7233
CalSTDb6_3 | 1184390.818 | 345187.8304 | 2668493.3806 | 2299433.1813 | 2511964.1914 | 1620972.3735 | 55260228.7527 | 23323085.1595
CalSTDb6_2 | 1183626.955 | 335791.6694 | 2386553.1114 | 2008456.0585 | 2786428.593 | 1769556.4105 | 59662499.2101 | 25270335.0967
CalSTDb6_1 | 1222443.9452 | 374009.3177 | 2712783.7275 | 2538288.0411 | 2897796.9864 | 1888107.2128 | 62194812.634 | 25331585.1135
CalSTDb5_3 | 1520742.0945 | 541381.6538 | 4037719.5552 | 3676348.0186 | 3348220.8044 | 2060724.5941 | 70030923.85 | 28757750.051
CalSTDb5_2 | 1504609.1984 | 540906.5361 | 3958573.484 | 3418765.4257 | 3122126.862 | 2014398.5755 | 66748273.4152 | 28858187.6939
CalSTDb5_1 | 1629321.1869 | 568618.5347 | 4485518.9738 | 4304575.0639 | 3286981.7275 | 2248422.4062 | 72779189.382 | 31157838.4097
CalSTDb4_3 | 2027284.5702 | 955066.0214 | 7918623.5597 | 7942398.1808 | 3286077.7094 | 2216100.865 | 68498289.025 | 30492299.7319
CalSTDb4_2 | 2251638.2398 | 1049597.9984 | 9378780.3366 | 8702100.5552 | 3729166.2492 | 2462678.1038 | 78899206.8664 | 34381964.1553
CalSTDb4_1 | 1824177.4419 | 841629.1867 | 7593317.3636 | 6848518.1338 | 3283971.9393 | 2090260.7375 | 69385216.2644 | 29497870.7371
CalSTDb3_3 | 3839962.8015 | 3432227.9001 | 33480971.0816 | 30695951.7611 | 3400843.4356 | 2192614.2175 | 70450100.3375 | 30820805.9845
CalSTDb3_2 | 3071609.1619 | 2783798.7205 | 29604422.069 | 27959117.7228 | 2838009.098 | 1888924.1643 | 61651728.2669 | 25774349.4264
CalSTDb3_1 | 3365340.7587 | 3018046.7518 | 31735382.6821 | 29615249.0128 | 3044184.9834 | 1967828.375 | 66233181.6917 | 28132298.9022
CalSTDb2_3 | 23180006.769 | 28415534.4484 | 175134784.5725 | 168511110.2992 | 3108800.3503 | 2041152.1492 | 64395471.3264 | 29670233.1442
CalSTDb2_2 | 27537255.3811 | 29918330.2418 | 109820381.3881 | 180715753.2895 | 3475090.322 | 2239290.7175 | 36215493.1272 | 33849760.8695
CalSTDb2_1 | 21537259.1577 | 26474304.1813 | 168219174.6089 | 167370405.535 | 2948453.7958 | 2040388.4716 | 66435072.4231 | 29516832.6481
CalSTDb1_3 | 41482673.375 | 51604546.4074 | 230252645.8749 | 230411680.147 | 3080647.7563 | 2052232.5317 | 62451948.1238 | 27849256.0145
CalSTDb1_2 | 45789798.071 | 53647003.3482 | 231908023.141 | 231786450.6335 | 3215136.038 | 2116013.0875 | 61359901.868 | 26345823.1369
CalSTDb1_1 | 41728790.2088 | 51384573.9531 | 225328162.7274 | 222034863.7696 | 3072061.1749 | 2054192.3215 | 61414835.568 | 28218987.4652
Total Blank 4 2 | 985003.6449 | 112721.3785 | 191216.8256 | 170522.6376 | 3763.5334 | 1861.4 | 57219.0907 | 16449.4525
Total Blank 5 2 | 1289750.4846 | 174817.1849 | 426271.7394 | 110165.7776 | 2640.7575 | 1160.3875 | 10688.905 | 4411.9175
Matrix blank 2 | 1748868.0687 | 2016545.4428 | 48888233.0555 | 16407396.717 | 606.8 | 4182.2725 | 10545.5 | 9851.8171
Total Blank 6 2 | 2026065.3466 | 258432.7335 | 501432.1605 | 142977.3797 | 1053.7975 | 680.68 | 10996.92 | 3579.5775

## Raw Peak Areas (2)
Sample_Name | Cer d18:1/16:0 [M>264] | Column1 | Column2 | Cer d18:1/16:0-d7 [M>264] | Column3 | Column4 | Cer d18:1/18:0 [M>264] | Column5 | Column6 | Cer d18:1/18:0-d7 [M>264] | Column7 | Column8 | Cer d18:1/24:0 [M>264] | Column9 | Column10 | Cer d18:1/24:0-d7 [M>264] | Column11 | Column12 | Cer d18:1/24:1 [M>264] | Column13 | Column14 | Cer d18:1/24:1-d7 [M>264]
CalSTD1_1 | 35263332.8877 |  |  | 2695456.4775 |  |  | 55083110.728 |  |  | 2135790.2915 |  |  | 287767445.301 |  |  | 102117556.496 |  |  | 288072439.8415 |  |  | 49810394.6865
CalSTD1_2 | 35675290.0833 |  |  | 2498446.8642 |  |  | 56563062.6058 |  |  | 1915238.9739 |  |  | 289373940.9009 |  |  | 99125908.1918 |  |  | 289030745.65 |  |  | 46036155.1834
CalSTD1_3 | 31801136.1458 |  |  | 2447058.2345 |  |  | 52042504.8645 |  |  | 1927792.4715 |  |  | 286288106.1333 |  |  | 98128782.572 |  |  | 282243301.3005 |  |  | 47586281.0205
CalSTD2_1 | 20486823.787 |  |  | 3054003.552 |  |  | 32137603.318 |  |  | 2349789.7983 |  |  | 242597647.1175 |  |  | 125037729.377 |  |  | 237434493.0521 |  |  | 65634854.563
CalSTD2_2 | 19112972.2358 |  |  | 2789497.935 |  |  | 30858019.5146 |  |  | 2197257.4705 |  |  | 243120590.1745 |  |  | 120805055.2538 |  |  | 234546339.0215 |  |  | 61366781.3867
CalSTD2_3 | 19907304.1325 |  |  | 2812832.306 |  |  | 31147584.6809 |  |  | 2139746.8575 |  |  | 243467876.9925 |  |  | 121589690.621 |  |  | 240152569.431 |  |  | 58296116.25
CalSTD3_1 | 2794330.517 |  |  | 2557652.5654 |  |  | 3378027.6892 |  |  | 2076872.0945 |  |  | 69749542.527 |  |  | 130568125.259 |  |  | 57780677.324 |  |  | 54584623.4895
CalSTD3_2 | 2978283.724 |  |  | 2777051.8885 |  |  | 3549614.0307 |  |  | 2188816.8339 |  |  | 70986382.6915 |  |  | 139064276.084 |  |  | 60148167.2068 |  |  | 60164471.7921
CalSTD3_3 | 2917185.0445 |  |  | 2819963.5517 |  |  | 3606167.4106 |  |  | 2195842.308 |  |  | 71184573.2789 |  |  | 139021590.8775 |  |  | 59738001.29 |  |  | 60036170.7967
CalSTD4_1 | 1338196.639 |  |  | 2581369.693 |  |  | 831151.3955 |  |  | 2025169.4946 |  |  | 15190505.67 |  |  | 125048388.4475 |  |  | 11016488.4556 |  |  | 47289322.1396
CalSTD4_2 | 1328675.9214 |  |  | 2461356.504 |  |  | 853877.7395 |  |  | 1943349.6891 |  |  | 16377408.4722 |  |  | 122556685.3945 |  |  | 11634844.9374 |  |  | 46156992.284
CalSTD4_3 | 1278129.2092 |  |  | 2466967.709 |  |  | 862186.6795 |  |  | 1926091.8694 |  |  | 15329266.2982 |  |  | 121416754.5949 |  |  | 11869645.9274 |  |  | 47301546.7546
CalSTD5_1 | 1153729.2976 |  |  | 2606933.0995 |  |  | 548184.8041 |  |  | 2036249.674 |  |  | 8848834.1075 |  |  | 124348154.0981 |  |  | 6382423.404 |  |  | 47138647.2232
CalSTD5_2 | 1074337.9997 |  |  | 2430448.68 |  |  | 492557.211 |  |  | 1870345.1629 |  |  | 7506033.1668 |  |  | 115401199.283 |  |  | 5263460.9994 |  |  | 43394941.7796
CalSTD5_3 | 1020505.1706 |  |  | 2347798.475 |  |  | 487995.471 |  |  | 1774281.2863 |  |  | 7775961.2736 |  |  | 113888849.3155 |  |  | 5487975.2274 |  |  | 42674364.9111
CalSTD6_1 | 871208.6236 |  |  | 2164719.661 |  |  | 359179.439 |  |  | 1657848.0784 |  |  | 6139538.3147 |  |  | 114648375.5575 |  |  | 4170789.1623 |  |  | 42529825.2608
CalSTD6_2 | 884248.8875 |  |  | 2130077.8015 |  |  | 329630.1626 |  |  | 1645376.7764 |  |  | 4501753.525 |  |  | 102825464.1405 |  |  | 3097527.3784 |  |  | 36679388.0059
CalSTD6_3 | 877231.7188 |  |  | 2024245.6475 |  |  | 347988.1 |  |  | 1573549.7305 |  |  | 5358335.252 |  |  | 100173018.3979 |  |  | 3749249.9543 |  |  | 35799243.7354
CalSTDb1_1 | 41728790.2088 |  |  | 3072061.1749 |  |  | 51384573.9531 |  |  | 2054192.3215 |  |  | 225328162.7274 |  |  | 61414835.568 |  |  | 222034863.7696 |  |  | 28218987.4652
CalSTDb1_2 | 45789798.071 |  |  | 3215136.038 |  |  | 53647003.3482 |  |  | 2116013.0875 |  |  | 231908023.141 |  |  | 61359901.868 |  |  | 231786450.6335 |  |  | 26345823.1369
CalSTDb1_3 | 41482673.375 |  |  | 3080647.7563 |  |  | 51604546.4074 |  |  | 2052232.5317 |  |  | 230252645.8749 |  |  | 62451948.1238 |  |  | 230411680.147 |  |  | 27849256.0145
CalSTDb2_1 | 21537259.1577 |  |  | 2948453.7958 |  |  | 26474304.1813 |  |  | 2040388.4716 |  |  | 168219174.6089 |  |  | 66435072.4231 |  |  | 167370405.535 |  |  | 29516832.6481
CalSTDb2_2 | 27537255.3811 |  |  | 3475090.322 |  |  | 29918330.2418 |  |  | 2239290.7175 |  |  | 109820381.3881 |  |  | 36215493.1272 |  |  | 180715753.2895 |  |  | 33849760.8695
CalSTDb2_3 | 23180006.769 |  |  | 3108800.3503 |  |  | 28415534.4484 |  |  | 2041152.1492 |  |  | 175134784.5725 |  |  | 64395471.3264 |  |  | 168511110.2992 |  |  | 29670233.1442
CalSTDb3_1 | 3365340.7587 |  |  | 3044184.9834 |  |  | 3018046.7518 |  |  | 1967828.375 |  |  | 31735382.6821 |  |  | 66233181.6917 |  |  | 29615249.0128 |  |  | 28132298.9022
CalSTDb3_2 | 3071609.1619 |  |  | 2838009.098 |  |  | 2783798.7205 |  |  | 1888924.1643 |  |  | 29604422.069 |  |  | 61651728.2669 |  |  | 27959117.7228 |  |  | 25774349.4264
CalSTDb3_3 | 3839962.8015 |  |  | 3400843.4356 |  |  | 3432227.9001 |  |  | 2192614.2175 |  |  | 33480971.0816 |  |  | 70450100.3375 |  |  | 30695951.7611 |  |  | 30820805.9845
CalSTDb4_1 | 1824177.4419 |  |  | 3283971.9393 |  |  | 841629.1867 |  |  | 2090260.7375 |  |  | 7593317.3636 |  |  | 69385216.2644 |  |  | 6848518.1338 |  |  | 29497870.7371
CalSTDb4_2 | 2251638.2398 |  |  | 3729166.2492 |  |  | 1049597.9984 |  |  | 2462678.1038 |  |  | 9378780.3366 |  |  | 78899206.8664 |  |  | 8702100.5552 |  |  | 34381964.1553
CalSTDb4_3 | 2027284.5702 |  |  | 3286077.7094 |  |  | 955066.0214 |  |  | 2216100.865 |  |  | 7918623.5597 |  |  | 68498289.025 |  |  | 7942398.1808 |  |  | 30492299.7319
CalSTDb5_1 | 1629321.1869 |  |  | 3286981.7275 |  |  | 568618.5347 |  |  | 2248422.4062 |  |  | 4485518.9738 |  |  | 72779189.382 |  |  | 4304575.0639 |  |  | 31157838.4097
CalSTDb5_2 | 1504609.1984 |  |  | 3122126.862 |  |  | 540906.5361 |  |  | 2014398.5755 |  |  | 3958573.484 |  |  | 66748273.4152 |  |  | 3418765.4257 |  |  | 28858187.6939
CalSTDb5_3 | 1520742.0945 |  |  | 3348220.8044 |  |  | 541381.6538 |  |  | 2060724.5941 |  |  | 4037719.5552 |  |  | 70030923.85 |  |  | 3676348.0186 |  |  | 28757750.051
CalSTDb6_1 | 1222443.9452 |  |  | 2897796.9864 |  |  | 374009.3177 |  |  | 1888107.2128 |  |  | 2712783.7275 |  |  | 62194812.634 |  |  | 2538288.0411 |  |  | 25331585.1135
CalSTDb6_2 | 1183626.955 |  |  | 2786428.593 |  |  | 335791.6694 |  |  | 1769556.4105 |  |  | 2386553.1114 |  |  | 59662499.2101 |  |  | 2008456.0585 |  |  | 25270335.0967
CalSTDb6_3 | 1184390.818 |  |  | 2511964.1914 |  |  | 345187.8304 |  |  | 1620972.3735 |  |  | 2668493.3806 |  |  | 55260228.7527 |  |  | 2299433.1813 |  |  | 23323085.1595
highTAG-1 | 2691426.1641 |  |  | 2377088.944 |  |  | 2573161.2672 |  |  | 2178202.5699 |  |  | 104195296.6105 |  |  | 121294038.6996 |  |  | 35804588.8135 |  |  | 54916928.5313
highTAG-2 | 2544433.9506 |  |  | 2366355.711 |  |  | 2205521.8726 |  |  | 2006158.78 |  |  | 95445813.4095 |  |  | 113165241.4699 |  |  | 30748071.2298 |  |  | 49372185.5485
highTAG-3 | 2552446.7546 |  |  | 2238830.3675 |  |  | 2283421.3898 |  |  | 1931561.426 |  |  | 95395851.9122 |  |  | 110771287.1525 |  |  | 32709715.1759 |  |  | 48194849.882
highTAG-4 | 2682489.1832 |  |  | 2496625.5457 |  |  | 2348399.6645 |  |  | 2269703.6542 |  |  | 98203024.321 |  |  | 121261095.322 |  |  | 31775060.0445 |  |  | 53742414.3422
highTAG-5 | 2431332.247 |  |  | 2221898.4159 |  |  | 2033181.6489 |  |  | 1881701.7825 |  |  | 93716383.694 |  |  | 111464910.0915 |  |  | 29537006.3747 |  |  | 47401566.603
highTAG-6 | 2553205.907 |  |  | 2360591.031 |  |  | 2213859.007 |  |  | 2064821.7981 |  |  | 93420203.421 |  |  | 112569215.3577 |  |  | 29604795.4464 |  |  | 48854182.1697
Matrix blank 1 | 1977594.0688 |  |  | 820.07 |  |  | 1256030.3114 |  |  | 2509.4125 |  |  | 57606555.9591 |  |  | 33651.1559 |  |  | 20084324.585 |  |  | 13056.8079
Matrix blank 2 | 1748868.0687 |  |  | 606.8 |  |  | 2016545.4428 |  |  | 4182.2725 |  |  | 48888233.0555 |  |  | 10545.5 |  |  | 16407396.717 |  |  | 9851.8171
Pooled QC 1 | 2172946.6171 |  |  | 2583689.801 |  |  | 1577101.2812 |  |  | 1759847.9091 |  |  | 62263328.537 |  |  | 95716638.9298 |  |  | 22083736.0831 |  |  | 46744368.0945
Pooled QC 2 | 2131171.9944 |  |  | 2605343.1486 |  |  | 1557263.3484 |  |  | 1890157.1213 |  |  | 55345223.1013 |  |  | 91833705.3864 |  |  | 20708415.8667 |  |  | 48467789.2642
Pooled QC 3 | 2142593.7285 |  |  | 2490023.2965 |  |  | 1744347.1546 |  |  | 1880136.4682 |  |  | 60155041.4268 |  |  | 92840312.4765 |  |  | 21450647.4097 |  |  | 45145577.6266
Pooled QC 4 | 2073948.3514 |  |  | 2547121.3895 |  |  | 1676551.1007 |  |  | 2118171.2708 |  |  | 45246437.3708 |  |  | 80793271.279 |  |  | 18719931.2375 |  |  | 43192195.2423
Pooled QC 5 | 2120964.4248 |  |  | 2415015.0041 |  |  | 1567143.3782 |  |  | 1775120.637 |  |  | 54797907.9735 |  |  | 90035437.501 |  |  | 20524757.5484 |  |  | 45559321.6155
Pooled QC 6 | 2063385.7498 |  |  | 2333941.3915 |  |  | 1572354.1046 |  |  | 1828169.7035 |  |  | 50005810.7399 |  |  | 77148827.5141 |  |  | 19156513.3995 |  |  | 42052749.4047
SRM 1950-1 | 2461217.4661 |  |  | 2751164.409 |  |  | 1876301.7043 |  |  | 1994338.8345 |  |  | 79431901.4425 |  |  | 128411209.6252 |  |  | 28185531.0313 |  |  | 58246517.5095
SRM 1950-2 | 2766672.199 |  |  | 2709260.8045 |  |  | 2253190.2085 |  |  | 2080110.5851 |  |  | 87444310.4985 |  |  | 129804890.1778 |  |  | 30492366.6004 |  |  | 62218461.8213
SRM 1950-3 | 2451570.158 |  |  | 2869531.109 |  |  | 1796453.7039 |  |  | 2089364.1455 |  |  | 80629998.6189 |  |  | 137489613.3456 |  |  | 27691320.5931 |  |  | 63251523.4629
SRM 1950-4 | 2750432.8923 |  |  | 2940945.737 |  |  | 2109803.224 |  |  | 2219282.5726 |  |  | 86908170.3094 |  |  | 135700185.9958 |  |  | 30317764.8068 |  |  | 61435110.2858
SRM 1950-5 | 2459074.8247 |  |  | 2617233.635 |  |  | 1811232.9592 |  |  | 1940061.5607 |  |  | 79315164.8551 |  |  | 126079221.8243 |  |  | 27586179.5326 |  |  | 56730132.84
SRM 1950-6 | 2609628.5289 |  |  | 2898263.413 |  |  | 2062995.5846 |  |  | 2256271.2807 |  |  | 85191651.4411 |  |  | 135469185.954 |  |  | 29402678.1298 |  |  | 62939449.5984
T1D-1 | 2371415.9945 |  |  | 2837905.2861 |  |  | 2393692.8591 |  |  | 2183161.086 |  |  | 74629996.5588 |  |  | 120541755.2049 |  |  | 27503793.6766 |  |  | 60359749.4545
T1D-2 | 2249328.4428 |  |  | 2862913.401 |  |  | 2217676.276 |  |  | 2235329.7804 |  |  | 71808942.491 |  |  | 119957854.6045 |  |  | 26409369.8428 |  |  | 59913963.0151
T1D-3 | 2463593.1655 |  |  | 2855829.12 |  |  | 2473923.211 |  |  | 2231282.686 |  |  | 74210899.6115 |  |  | 121045090.001 |  |  | 28631457.8781 |  |  | 59896705.6075
T1D-4 | 2219188.6711 |  |  | 2782248.82 |  |  | 2128792.3276 |  |  | 2157872.6302 |  |  | 70807862.5512 |  |  | 116787600.9542 |  |  | 26412860.4487 |  |  | 57997213.9801
T1D-5 | 2206371.0262 |  |  | 2760986.7107 |  |  | 2142152.0991 |  |  | 2088752.543 |  |  | 67736492.2967 |  |  | 115071908.5676 |  |  | 25017086.9242 |  |  | 56341295.468
T1D-6 | 2274577.8762 |  |  | 2827949.4283 |  |  | 2396483.5316 |  |  | 2262414.5223 |  |  | 70715995.8866 |  |  | 117900800.6581 |  |  | 27956087.7988 |  |  | 58594960.5893
Total Blank 1 | 681734.329 |  |  | 311.645 |  |  | 138894.5977 |  |  | 557.6375 |  |  | 312100.5625 |  |  | 38882.6024 |  |  | 293004.7735 |  |  | 10709.456
Total Blank 1 2 | 803795.2865 |  |  | 155.815 |  |  | 127654.2854 |  |  | 1467.955 |  |  | 305608.825 |  |  | 24776.1666 |  |  | 239476.7488 |  |  | 7152.8114
Total Blank 2 | 782338.1918 |  |  | 561.75 |  |  | 139797.4503 |  |  | 426.455 |  |  | 454190.3169 |  |  | 31517.6065 |  |  | 306910.1785 |  |  | 10499.1873
Total Blank 2 2 | 779881.6727 |  |  | 475.67 |  |  | 134473.6107 |  |  | 697.0475 |  |  | 321387.4758 |  |  | 27979.2858 |  |  | 234431.1769 |  |  | 7091.04
Total Blank 3 | 811550.2041 |  |  | 1262.905 |  |  | 137855.9387 |  |  | 606.825 |  |  | 339418.356 |  |  | 36907.973 |  |  | 263640.8094 |  |  | 11484.0115
Total Blank 3 2 | 744019.923 |  |  | 721.7025 |  |  | 125391.616 |  |  | 266.5075 |  |  | 271882.4387 |  |  | 33674.6825 |  |  | 231952.0684 |  |  | 8080.7233
Total Blank 4 | 887422.9269 |  |  | 3272.16 |  |  | 149692.4635 |  |  | 1984.63 |  |  | 298452.9267 |  |  | 109718.8596 |  |  | 284675.3246 |  |  | 31268.6835
Total Blank 4 2 | 985003.6449 |  |  | 3763.5334 |  |  | 112721.3785 |  |  | 1861.4 |  |  | 191216.8256 |  |  | 57219.0907 |  |  | 170522.6376 |  |  | 16449.4525
Total Blank 5 | 943042.9093 |  |  | 861.0875 |  |  | 193105.988 |  |  | 721.645 |  |  | 461319.1888 |  |  | 29396.931 |  |  | 121436.3322 |  |  | 9064.2441
Total Blank 5 2 | 1289750.4846 |  |  | 2640.7575 |  |  | 174817.1849 |  |  | 1160.3875 |  |  | 426271.7394 |  |  | 10688.905 |  |  | 110165.7776 |  |  | 4411.9175
Total Blank 6 | 1018091.126 |  |  | 377.2725 |  |  | 188191.8427 |  |  | 1959.98 |  |  | 480599.8861 |  |  | 29904.2409 |  |  | 142999.5649 |  |  | 6311.7317
Total Blank 6 2 | 2026065.3466 |  |  | 1053.7975 |  |  | 258432.7335 |  |  | 680.68 |  |  | 501432.1605 |  |  | 10996.92 |  |  | 142977.3797 |  |  | 3579.5775
Young AA-1 | 1554695.9584 |  |  | 2456161.6763 |  |  | 901150.9201 |  |  | 1642957.8246 |  |  | 35398687.6873 |  |  | 70704435.3475 |  |  | 14773262.4217 |  |  | 46299922.9288
Young AA-2 | 1094948.0247 |  |  | 1728193.5965 |  |  | 575539.951 |  |  | 1191619.7756 |  |  | 25768005.9031 |  |  | 57670316.735 |  |  | 9772959.3569 |  |  | 31910147.1052
Young AA-3 | 1742490.0502 |  |  | 2861640.3265 |  |  | 971757.0508 |  |  | 1901326.596 |  |  | 33184847.9847 |  |  | 81700202.2967 |  |  | 14945415.7593 |  |  | 52584728.864
Young AA-4 | 1596298.728 |  |  | 2763964.007 |  |  | 928755.2102 |  |  | 1837849.9395 |  |  | 34562927.2707 |  |  | 74801571.8533 |  |  | 15683084.2794 |  |  | 51414484.5415
Young AA-5 | 1580539.6811 |  |  | 2771637.3675 |  |  | 911811.8886 |  |  | 1833127.2534 |  |  | 30737850.463 |  |  | 78224425.82 |  |  | 15083923.2105 |  |  | 50707155.2225
Young AA-6 | 1599409.9885 |  |  | 2720341.8725 |  |  | 883500.8717 |  |  | 1839825.983 |  |  | 33248988.2573 |  |  | 73705801.6074 |  |  | 15588524.2045 |  |  | 50651592.4931
| 1863231.0687 |  |  | 713.435 |  |  | 1636287.8771 |  |  | 3345.8425 |  |  | 53247394.5073 |  |  | 22098.328 |  |  | 18245860.651 |  |  | 11454.3125
| 979391.3371 |  |  | 1288.1747 |  |  | 156752.4242 |  |  | 1032.5958 |  |  | 363656.7252 |  |  | 36805.272 |  |  | 211849.3977 |  |  | 10508.5697