## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary | This protocol describes the extraction and LC-MRM procedure for absolute quantification of Cer d18:1/16:0, Cer d18:1/18:0, Cer d18:1/24:0 and Cer d18:1/24:1 in human plasma according to Kauhanen et al, Anal Bioanal Chem (2016) 408:3475–3483.
A calibration curve is built by injecting several dilutions of the non-labelled standards mixed with a fixed concentration of labelled standards. Each calibration point is prepared and analysed in triplicates (n=3).
To establish the endogenous concentration of the four selected ceramides in the study samples (NIST SRM1950, NIST high TAG, NIST T1D, and NIST young A-A) each sample is extracted and analyzed in six replicates (n =6).
Prepare the pooled QC by mixing 100 mL each of NIST SRM1950, NIST high TAG, NIST T1D, and NIST young AA (total 400 mL).
We suggest proceeding first to measure the ceramides concentration in the four study samples and then continue with the intra-assay validation to avoid wasting material.

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Ethyl acetate (EtAc)
2-propanol (IPA)
5% Bovine Serum Albumin (BSA)
2 mL Eppendorf Safe Lock Tubes
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled QC |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8 (v/v)
| Matrix Blank (MB) | 10 µL Matrix (pooled QC) only |  |  | - |  | 590 µL EtAc:IPA 2:8
| Study Samples (S) | 10 µL Human plasma (NIST SRM1950, high TAG, T1D, young AA) |  |  | 20 µL Labelled IS |  | 570 µL EtAc:IPA 2:8
| Total Blank (TB) | 10 µL 5% BSA |  |  | - |  | 590 µL EtAc:IPA 2:8
| Calibration line standards (STD) | 10 µL 5% BSA + 20 µL non labelled STD mixture (Table 5) |  |  | 20 µL Labelled IS |  | 550 µL EtAc:IPA 2:8
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Extraction - Overview, Table 4) with EtAc:IPA 2:8 as suggested in table | Extraction - Overview'!B34
| 2 | Thaw plasma on ice (+4°C) and bring to room temperature prior to extraction. Mix by pipetting before use.
| 3 | Prepare samples in tubes manually according to specifications in column C of table | Extraction - Overview'!C14
| 4 | Add 20 µL of labelled internal standard mixture to samples according to column F of table | Extraction - Overview'!F14
| 5 | For the calibration line, add 20 µL of different dilutions of the non-labelled mixture (STD1-6).
| 6 | Add 590 µL of ethyl acetate:isopropanol (2:8, vol/vol) to Total Blank (TB) and Matrix Blank (MB); 550 µL to calibration line (STD); 570 µL to study samples and QCs according to column H of table | Extraction - Overview'!H14
| 7 | Mix samples 10 min by vortexing
| 8 | Centrifuge samples for 10 min at 3000 x gat room temperature
| 9 | Transfer 50 µL of the clear supernatant to MS-vials store samples at -20 °C prior to LC-MRM analysis.

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Ammonium formate (HPLC Grade)
Formic acid (ULC/SFC Grade)
Ultra-pure water (Resistance >= 18.2 MOhm
Isopropanol (ULC/SFC Grade); MeCN (ULC/SFC Grade)
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | Q-Orbitrap (Q-Exactive Plus) - PRM Mode
| LC | UPLC (Vanquish Focused+)
| Injection volume (indicative) | 5 µL
| Weak wash | x
| Strong wash | IPA/H2O (3:1, v/v) + 0.1 % Formic Acid
| Pre-column | x
| Column | Thermo Fisher Accucore C18, 2.1 x 150 mm id. 2.6 µm
| Column temperature | 50 °C
| Mobile phase A | MeCN/H2O (1:1, v/v) + 0.1% Formic Acid + 5 mM Ammonium Formate
| Mobile phase B | IPA/MeCN/H2O (85:10:5, v/v) + 0.1% Formic Acid + 5 mM Ammonium Formate
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0.00 | 25 | 75 |  | 375
| 3 | 5 | 95 |  | 375
| 6 | 5 | 95 |  | 375
| 6.1 | 25 | 75 |  | 375
| 8 | 25 | 75 |  | 375
Table 9 HESI conditions
| Polarity mode | Positive
| In-Source CID | 0.0 eV
| Default Charge State | 1
| sheath gas | 40
| auxiliary gas | 10
| sweep gas | 1
| spray voltage | 2.5 kV
| spray current | 10 µA
| capillary temperature | 300 °C
| S-lens RF level | 35
| aux gas heater temperature | 370 °C
Table 10 LC-PRM MS conditions (MS2)
| Microscans | 1
| Resolution | 17500
| AGC Target | 200000
| Maximum IT | 400 ms
| Loop Count | 1
| Isolation Window | 1.2 m/z
| Collision energy (CE) | 20 (normalized Collision Energy)
| Spectrum Type | Profile
Table 11 LC-PRM Mass transitions used for absolute quantification.
| Analyte | Mass transitions | IS | Mass transitions | RT (min) | CE
| Cer d18:1/16:0 | 538.51930 – 264.26858 | D7- Cer d18:1/16:0 | 545.56330 - 271.31251 | 2.2-2.8 | 20
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.55070 – 264.26858 | D7- Cer d18:1/18:0 | 573.59460 – 271.31251 | 2.5-3.2 | 20
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.64460 – 264.26858 | D7- Cer d18:1/24:0 | 657.68850 – 271.31251 | 3.65-4.5 | 20
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.62890 – 264.26858 | D7- Cer d18:1/24:1 | 655.67290 – 271.31251 | 3.3-4.0 | 20
C42H82NO3 – C18H34N
Table 12 Data processing
| Processing software | Tracefinder 4.1 (Thermo Fisher Scientific)
Table 13 Peak Integration Parameters
| mass tolerance | 5 ppm
| area noise factor | 5
| baseline window | 150
| S/N >= | 3
| Algorithm | ICIS

## LC-MRM - Sample Sequence
Sample Sequence (Example)
Sample Sequence (Example) | Sample Sequence 1
| Number | Sample Name | Remarks
| 1 | Total Blank 1
| 2 | Matrix Blank 1
| 3 | Cal_STD6_1
| 4 | Cal_STD6_2
| 5 | Cal_STD6_3
| 6 | Cal_STD5_1
| 7 | Cal_STD5_2
| 8 | Cal_STD5_3
| 9 | Cal_STD4_1
| 10 | Cal_STD4_2
| 11 | Cal_STD4_3
| 12 | Cal_STD3_1
| 13 | Cal_STD3_2
| 14 | Cal_STD3_3
| 15 | Cal_STD2_1
| 16 | Cal_STD2_2
| 17 | Cal_STD2_3
| 18 | Cal_STD1_1
| 19 | Cal_STD1_2
| 20 | Cal_STD1_3
| 21 | PooledQC_1
| 22 | PooledQC_2
| 23 | SRM 1950_R1_1
| 24 | SRM 1950_R1_2
| 25 | SRM 1950_R1_3
| 26 | SRM 1950_R1_4
| 27 | SRM 1950_R1_5
| 28 | SRM 1950_R1_6
| 29 | PooledQC_3
| 30 | PooledQC_4
| 31 | T1D_R1_1
| 32 | T1D_R1_2
| 33 | T1D_R1_3
| 34 | T1D_R1_4
| 35 | T1D_R1_5
| 36 | T1D_R1_6
| 37 | Total Blank 2
| 38 | PooledQC_5
| 39 | PooledQC_6
| 40 | Young AA_R1_1
| 41 | Young AA_R1_2
| 42 | Young AA_R1_3
| 43 | Young AA_R1_4
| 44 | Young AA_R1_5
| 45 | Young AA_R1_6
| 46 | PooledQC_7
| 47 | PooledQC_8
| 48 | highTAG_R1_1
| 49 | highTAG_R1_2
| 50 | highTAG_R1_3
| 51 | highTAG_R1_4
| 52 | highTAG_R1_5
| 53 | highTAG_R1_6
| 54 | PooledQC_9
| 55 | PooledQC_10
| 56 | SRM 1950_R2_1
| 57 | SRM 1950_R2_2
| 58 | SRM 1950_R2_3
| 59 | SRM 1950_R2_4
| 60 | SRM 1950_R2_5
| 61 | SRM 1950_R2_6
| 62 | PooledQC_11
| 63 | PooledQC_12
| 64 | T1D_R2_1
| 65 | T1D_R2_2
| 66 | T1D_R2_3
| 67 | T1D_R2_4
| 68 | T1D_R2_5
| 69 | T1D_R2_6
| 70 | Total Blank 3
| 71 | PooledQC_13
| 72 | PooledQC_14
| 73 | Young AA_R2_1
| 74 | Young AA_R2_2
| 75 | Young AA_R2_3
| 76 | Young AA_R2_4
| 77 | Young AA_R2_5
| 78 | Young AA_R2_6
| 79 | PooledQC_15
| 80 | PooledQC_16
| 81 | highTAG_R2_1
| 82 | highTAG_R2_2
| 83 | highTAG_R2_3
| 84 | highTAG_R2_4
| 85 | highTAG_R2_5
| 86 | highTAG_R2_6
| 87 | PooledQC_17
| 88 | PooledQC_18
| 89 | SRM 1950_R3_1
| 90 | SRM 1950_R3_2
| 91 | SRM 1950_R3_3
| 92 | SRM 1950_R3_4
| 93 | SRM 1950_R3_5
| 94 | SRM 1950_R3_6
| 95 | PooledQC_19
| 96 | PooledQC_20
| 97 | T1D_R3_1
| 98 | T1D_R3_2
| 99 | T1D_R3_3
| 100 | T1D_R3_4
| 101 | T1D_R3_5
| 102 | T1D_R3_6
| 103 | Total Blank 4
| 104 | PooledQC_21
| 105 | PooledQC_22
| 106 | Young AA_R3_1
| 107 | Young AA_R3_2
| 108 | Young AA_R3_3
| 109 | Young AA_R3_4
| 110 | Young AA_R3_5
| 111 | Young AA_R3_6
| 112 | PooledQC_23
| 113 | PooledQC_24
| 114 | highTAG_R3_1
| 115 | highTAG_R3_2
| 116 | highTAG_R3_3
| 117 | highTAG_R3_4
| 118 | highTAG_R3_5
| 119 | highTAG_R3_6
| 120 | PooledQC_25
| 121 | PooledQC_26
| 122 | Cal_STD6_1
| 123 | Cal_STD6_2
| 124 | Cal_STD6_3
| 125 | Cal_STD5_1
| 126 | Cal_STD5_2
| 127 | Cal_STD5_3
| 128 | Cal_STD4_1
| 129 | Cal_STD4_2
| 130 | Cal_STD4_3
| 131 | Cal_STD3_1
| 132 | Cal_STD3_2
| 133 | Cal_STD3_3
| 134 | Cal_STD2_1
| 135 | Cal_STD2_2
| 136 | Cal_STD2_3
| 137 | Cal_STD1_1
| 138 | Cal_STD1_2
| 139 | Cal_STD1_3
| 140 | Matrix Blank 2
| 141 | Total Blank 5
| 142 | Total Blank 6
| 143 | Matrix Blank 3
| 144 | LLQC_R1_1
| 145 | LLQC_R1_2
| 146 | LLQC_R1_3
| 147 | LLQC_R1_4
| 148 | LLQC_R1_5
| 149 | LLQC_R1_6
| 150 | LQC_R1_1
| 151 | LQC_R1_2
| 152 | LQC_R1_3
| 153 | LQC_R1_4
| 154 | LQC_R1_5
| 155 | LQC_R1_6
| 156 | Total Blank 7
| 157 | MQC_R1_1
| 158 | MQC_R1_2
| 159 | MQC_R1_3
| 160 | MQC_R1_4
| 161 | MQC_R1_5
| 162 | MQC_R1_6
| 163 | HQC_R1_1
| 164 | HQC_R1_2
| 165 | HQC_R1_3
| 166 | HQC_R1_4
| 167 | HQC_R1_5
| 168 | HQC_R1_6
| 169 | HLQC_R1_1
| 170 | HLQC_R1_2
| 171 | HLQC_R1_3
| 172 | HLQC_R1_4
| 173 | HLQC_R1_5
| 174 | HLQC_R1_6
| 175 | Total Blank 8
| 176 | Matrix Blank 4
| 177 | LLQC_R2_1
| 178 | LLQC_R2_2
| 179 | LLQC_R2_3
| 180 | LLQC_R2_4
| 181 | LLQC_R2_5
| 182 | LLQC_R2_6
| 183 | LQC_R2_1
| 184 | LQC_R2_2
| 185 | LQC_R2_3
| 186 | LQC_R2_4
| 187 | LQC_R2_5
| 188 | LQC_R2_6
| 189 | Total Blank 9
| 190 | MQC_R2_1
| 191 | MQC_R2_2
| 192 | MQC_R2_3
| 193 | MQC_R2_4
| 194 | MQC_R2_5
| 195 | MQC_R2_6
| 196 | HQC_R2_1
| 197 | HQC_R2_2
| 198 | HQC_R2_3
| 199 | HQC_R2_4
| 200 | HQC_R2_5
| 201 | HQC_R2_6
| 202 | HLQC_R2_1
| 203 | HLQC_R2_2
| 204 | HLQC_R2_3
| 205 | HLQC_R2_4
| 206 | HLQC_R2_5
| 207 | HLQC_R2_6
| 208 | Total Blank 10
| 209 | Matrix Blank 5
| 210 | LLQC_R3_1
| 211 | LLQC_R3_2
| 212 | LLQC_R3_3
| 213 | LLQC_R3_4
| 214 | LLQC_R3_5
| 215 | LLQC_R3_6
| 216 | LQC_R3_1
| 217 | LQC_R3_2
| 218 | LQC_R3_3
| 219 | LQC_R3_4
| 220 | LQC_R3_5
| 221 | LQC_R3_6
| 222 | Total Blank 11
| 223 | MQC_R3_1
| 224 | MQC_R3_2
| 225 | MQC_R3_3
| 226 | MQC_R3_4
| 227 | MQC_R3_5
| 228 | MQC_R3_6
| 229 | HQC_R3_1
| 230 | HQC_R3_2
| 231 | HQC_R3_3
| 232 | HQC_R3_4
| 233 | HQC_R3_5
| 234 | HQC_R3_6
| 235 | HLQC_R3_1
| 236 | HLQC_R3_2
| 237 | HLQC_R3_3
| 238 | HLQC_R3_4
| 239 | HLQC_R3_5
| 240 | HLQC_R3_6
| 241 | Total Blank 12
| 242 | Matrix Blank 6

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
| 4 | Internal standards are added to all QC samples.
Intra-Assay Variation
| 6 | The precision and accuracy of the assay is determined for each of the four ceramides measured in LLOQ, LQC, MQC, HQC, and HLOQ.
| 7 | Intra-assay variation, precision, and accuracy is calculated for each of the ceramide in replicates of six (n = 6) at each QC concentration independently on three separate occasions.
| 8 | The intra-assay precision (percentage coefficient variance, %CV) and accuracy (percentage accuracy, %Accuracy) are calculated from the nominal concentrations according to the formulas reported in corresponding sheets and tables of this document.
| 9 | Recovery estimation is not necessary for the published method but only for different ones. Stability estimation is not necessary for the published method but only for different ones. Calibration line is prepared in 5% BSA.

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 1443881 | 1401379 | 1420609 | 2573950 | 2444163 | 2554560 | 39169860 | 39254425 | 40055564 | 26342651 | 26446899 | 27251055 | 50980 | 52750 | 49842 | 83509 | 83060 | 78689 | 2663693 | 2473282 | 2579779 | 841805 | 829946 | 856604
| STD 2 | 659210 | 668090 | 649185 | 1148055 | 1200972 | 1183974 | 16999762 | 17495482 | 18256210 | 12087970 | 12121860 | 12413895 | 57985 | 56052 | 55576 | 94940 | 99991 | 92937 | 2677388 | 2783077 | 2839072 | 893949 | 900580 | 896776
| STD 3 | 62645 | 55920 | 55119 | 119457 | 115750 | 106540 | 1874785 | 1569556 | 1592917 | 1213794 | 1287945 | 1087592 | 53198 | 52343 | 57985 | 84427 | 91891 | 86563 | 2624249 | 2336310 | 2184376 | 840935 | 830769 | 762613
| STD 4 | 15427 | 17372 | 17706 | 23607 | 22674 | 30593 | 373638 | 406066 | 431989 | 288207 | 259097 | 281736 | 57808 | 54198 | 53796 | 85391 | 94094 | 81628 | 2423919 | 2413613 | 2755459 | 895162 | 865456 | 905957
| STD 5 | 4565 | 8148 | 6232 | 13495 | 9565 | 11667 | 211406 | 181677 | 192891 | 136482 | 138157 | 142450 | 58888 | 51663 | 60210 | 87586 | 94541 | 90353 | 2613957 | 2342712 | 2377588 | 826096 | 853853 | 852035
| STD 6 |  | 2574 | 3636 | 2448 | 4312 | 2628 | 79956 | 99711 | 86955 | 57686 | 69093 | 58791 | 54982 | 59407 | 57918 | 86751 | 92607 | 87788 | 2461642 | 2641094 | 2411863 | 854239 | 878381 | 875805
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 1526204 | 1469968 | 1470704 | 2630032 | 2637343 | 2511064 | 40308000 | 38991765 | 31415451 | 29149683 | 28730719 | 25156684 | 53327 | 58106 | 53139 | 86219 | 88941 | 83539 | 2610690 | 2477237 | 2076646 | 886064 | 853440 | 802950
| STD 2 | 1188864 | 1251177 | 725268 | 585493 | 602703 | 1223348 | 14132110 | 18517135 | 19759177 | 4376666 | 5177252 | 13134712 | 115590 | 112797 | 60008 | 40411 | 43677 | 95712 | 2096682 | 2766760 | 2893630 | 840234 | 955829 | 947344
| STD 3 | 120402 | 122181 | 119376 | 53603 | 57710 | 57253 | 1819988 | 1893913 | 1938714 | 393561 | 491187 | 467218 | 119392 | 111155 | 112826 | 45716 | 44182 | 45019 | 2652427 | 2606990 | 2756420 | 874997 | 922310 | 941789
| STD 4 | 26090 | 24221 | 26762 | 10274 | 9451 | 13096 | 342141 | 438787 | 397171 | 96576 | 110682 | 88358 | 109544 | 115781 | 110729 | 39753 | 42974 | 33542 | 2326098 | 2792580 | 2620433 | 808807 | 946449 | 830956
| STD 5 | 13593 | 13965 | 10939 | 4019 | 5139 | 3828 | 186271 | 235005 | 233815 | 46392 | 59997 | 53301 | 111191 | 116978 | 114677 | 37232 | 43899 | 43408 | 2362493 | 2832676 | 2810036 | 835084 | 946840 | 926021
| STD 6 | 5856 | 6202 | 4062 | 1993 |  | 1481 | 88226 | 100998 | 78699 | 21480 | 18328 | 20068 | 127165 | 120400 | 120296 | 41527 | 47459 | 45628 | 2616736 | 2767125 | 2367774 | 837917 | 825767 | 880572
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard.
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 180515 | 172857 | 306278 | 53095 | 52846 | 22162 | 2412599 | 2456003 | 2031968 | 585963 | 579291 | 196485 | 112450 | 110221 | 213826 | 91393 | 92787 | 36455 | 2685412 | 2723457 | 2215976 | 871114 | 858141 | 785280
| SRM 2 | 159123 | 145671 | 308858 | 49844 | 44011 | 20568 | 2322881 | 1918767 | 2345804 | 576756 | 499152 | 221725 | 112200 | 96085 | 223142 | 85002 | 83372 | 41554 | 2776863 | 2220530 | 2650622 | 885783 | 760795 | 889099
| SRM 3 | 149760 | 155561 | 295774 | 43501 | 46929 | 19100 | 2084170 | 2109210 | 2099727 | 490782 | 524938 | 197217 | 109031 | 126296 | 226643 | 92302 | 90684 | 47437 | 2819906 | 2942208 | 2749380 | 891930 | 928773 | 938881
| SRM 4 | 188988 | 187525 | 349912 | 52142 | 56252 | 25877 | 2578095 | 2260019 | 2098922 | 631535 | 545757 | 209097 | 110963 | 112870 | 233749 | 103233 | 84321 | 44599 | 2756559 | 2326377 | 2213326 | 921702 | 806084 | 863714
| SRM 5 | 193151 | 207376 | 374359 | 59582 | 59142 | 25064 | 2633835 | 2644764 | 2708790 | 634149 | 661280 | 261601 | 110105 | 129129 | 228459 | 95382 | 99361 | 44623 | 2620982 | 2768159 | 2725134 | 840716 | 915277 | 891298
| SRM 6 | 175279 | 181787 | 334148 | 51751 | 48233 | 22001 | 2226736 | 2434204 | 2406863 | 610639 | 599865 | 215475 | 119215 | 117705 | 242119 | 99728 | 111401 | 46158 | 2649982 | 2881835 | 2912739 | 978298 | 977172 | 964328
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 192784 | 209044 | 381715 | 46748 | 57238 | 22930 | 2890484 | 3376659 | 3092663 | 679561 | 780820 | 273497 | 110533 | 125416 | 243484 | 85135 | 102537 | 40788 | 2340433 | 2816724 | 2306159 | 796666 | 901786 | 908373
| hTAG 2 | 225831 | 437057 | 410687 | 60663 | 28963 | 29989 | 3914571 | 3595235 | 3925105 | 928013 | 350003 | 348436 | 118540 | 225018 | 239809 | 90077 | 43490 | 45816 | 2639424 | 2290867 | 2570702 | 870391 | 792797 | 860333
| hTAG 3 | 221645 | 394603 | 433764 | 61846 | 23424 | 34069 | 3244044 | 3826000 | 3814057 | 925402 | 338862 | 369671 | 130568 | 253254 | 254482 | 95288 | 43836 | 49780 | 2445726 | 2914474 | 2901078 | 968916 | 992802 | 1034823
| hTAG 4 | 159622 | 351926 | 358422 | 42113 | 24823 | 24641 | 2788752 | 2814491 | 3386025 | 619657 | 268123 | 322789 | 111256 | 248385 | 261875 | 91927 | 42404 | 51159 | 2452929 | 2536050 | 2941614 | 819918 | 875604 | 1040804
| hTAG 5 | 227053 | 404211 | 403404 | 64092 | 26958 | 29573 | 3459939 | 3612638 | 3326601 | 902137 | 353177 | 338863 | 126505 | 236099 | 252288 | 97476 | 52277 | 42381 | 2722059 | 2833668 | 2546548 | 948733 | 979685 | 907664
| hTAG 6 | 233995 | 424981 | 442494 | 66959 | 31646 | 33737 | 4015372 | 4069254 | 4010362 | 935933 | 370640 | 331461 | 123119 | 222815 | 231751 | 97038 | 43305 | 40025 | 2678816 | 2597286 | 2598685 | 899459 | 904607 | 782127
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 93359 | 103201 | 190991 | 38415 | 41558 | 16570 | 1490076 | 1693362 | 1496904 | 399505 | 444619 | 152902 | 104588 | 107330 | 203612 | 100770 | 96735 | 37699 | 2441353 | 2755823 | 2436930 | 902575 | 946652 | 918410
| T1D 2 | 148589 | 156346 | 302006 | 62068 | 63496 | 32618 | 2210040 | 2378231 | 2410817 | 577661 | 592928 | 236811 | 105652 | 112505 | 215065 | 88816 | 96593 | 42975 | 2458499 | 2537912 | 2733563 | 892990 | 843875 | 931699
| T1D 3 | 156630 | 158768 | 268823 | 60681 | 56684 | 28061 | 2395796 | 2213583 | 2125735 | 610079 | 538779 | 240551 | 117230 | 101642 | 220620 | 98641 | 88235 | 44525 | 2829276 | 2449307 | 2347449 | 910612 | 849080 | 949402
| T1D 4 | 148442 | 179282 | 339605 | 62034 | 70986 | 29794 | 2159417 | 2260353 | 2700473 | 530725 | 607327 | 251863 | 100450 | 113242 | 231995 | 91299 | 92492 | 43604 | 2315405 | 2410215 | 2745434 | 786663 | 832752 | 940548
| T1D 5 | 120092 | 127961 | 242978 | 40050 | 51945 | 25186 | 1718538 | 1669292 | 1775892 | 425922 | 475746 | 200269 | 96399 | 107318 | 215165 | 88423 | 97426 | 43664 | 2317764 | 2206274 | 2284115 | 795985 | 815331 | 946232
| T1D 6 | 156845 | 154133 | 308417 | 67109 | 65334 | 29371 | 2562215 | 2479712 | 2574616 | 618934 | 581728 | 252991 | 116183 | 119990 | 223441 | 99165 | 90025 | 42854 | 2881366 | 2770178 | 2769362 | 907518 | 851577 | 918872
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 90349 | 80534 | 159781 | 30245 | 21505 | 13681 | 1459550 | 1209576 | 1470322 | 323917 | 283459 | 132000 | 99806 | 83923 | 200710 | 91350 | 83792 | 40297 | 2677191 | 2213314 | 2570046 | 849053 | 722533 | 866246
| yA-A 2 | 83224 | 78200 | 148733 | 24229 | 30633 | 14608 | 1236585 | 1395345 | 1481493 | 305485 | 333007 | 139928 | 89986 | 97846 | 198366 | 91432 | 93729 | 42600 | 2146484 | 2575684 | 2652684 | 789791 | 866505 | 863139
| yA-A 3 | 79382 | 89771 | 160895 | 23371 | 25912 | 11207 | 1238474 | 1433443 | 1489179 | 296989 | 326328 | 135789 | 102862 | 111892 | 210070 | 99861 | 99591 | 44302 | 2456429 | 2738086 | 2788068 | 839262 | 951251 | 996060
| yA-A 4 | 82287 | 82091 | 154441 | 25120 | 26873 | 11992 | 1521885 | 1418157 | 1454902 | 359116 | 307285 | 139813 | 100803 | 101015 | 209453 | 93398 | 96954 | 45464 | 2737183 | 2639963 | 2702875 | 911099 | 806629 | 940644
| yA-A 5 | 100996 | 111055 | 186952 | 27237 | 27860 | 14532 | 1649041 | 1637604 | 1770024 | 356615 | 411479 | 164083 | 103122 | 109167 | 209935 | 92772 | 105738 | 40613 | 2734386 | 2828007 | 2894051 | 819931 | 962097 | 1006105
| yA-A 6 | 93311 | 104032 | 193437 | 27744 | 28678 | 14195 | 1618217 | 1333843 | 1702120 | 368308 | 327461 | 153338 | 103688 | 110076 | 212971 | 95332 | 94326 | 46848 | 2728797 | 2275760 | 2809649 | 919783 | 807294 | 934115
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard.
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LLQC 1 | 33465 | 158966 | 29624 | 10395 | 49513 | 12353 | 650570 | 2299208 | 703212 | 161368 | 601872 | 164922 | 72915 |  | 75871 | 82716 |  | 81810 | 2380180 |  | 2514806 | 804185 |  | 813486
| LLQC 2 | 38594 | 32735 | 48516 | 12351 | 12668 | 18276 | 549306 | 687105 | 829725 | 145305 | 165659 | 197533 | 76328 | 75172 | 85955 | 76468 | 94918 | 83445 | 1522994 | 2505649 | 2148788 | 537438 | 847877 | 746442
| LLQC 3 | 31036 | 43853 | 38185 | 11956 | 16892 | 15491 | 477834 | 881446 | 761379 | 133191 | 220479 | 191705 | 70354 | 89857 | 80612 | 67946 | 91904 | 84209 | 1510825 | 2496072 | 2453645 | 536270 | 858384 | 827317
| LLQC 4 | 30544 | 33383 | 32905 | 9741 | 14764 | 12498 | 527661 | 816184 | 691480 | 128472 | 195446 | 158929 | 78707 | 68890 | 74170 | 70354 | 87908 | 89297 | 1682109 | 2502704 | 2382618 | 608741 | 836651 | 828323
| LLQC 5 | 28573 | 35485 | 50669 | 10894 | 16578 | 25011 | 480207 | 669072 | 809011 | 132228 | 172099 | 186601 | 68158 | 82472 | 85571 | 80702 | 97342 | 88289 | 1643662 | 2463796 | 2350651 | 655237 | 852729 | 845883
| LLQC 6 | 31822 | 30980 | 40309 | 13224 | 11066 | 14411 | 475232 | 735358 | 793024 | 136437 | 163320 | 196307 | 72141 | 75618 | 83666 | 77595 | 83510 | 87284 | 1620014 | 2411136 | 2429971 | 647033 | 752158 | 834790
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LQC 1 | 35775 | 36719 | 42300 | 13380 | 14416 | 16802 | 500213 | 789621 | 752489 | 147752 | 191428 | 202307 | 81436 | 76751 | 91160 | 78228 | 88408 | 78849 | 1680113 | 2415362 | 2079026 | 685213 | 830889 | 727124
| LQC 2 | 44693 | 45776 | 88049 | 18980 | 14839 | 29800 | 883937 | 783815 | 1238700 | 220010 | 208164 | 333258 | 85827 | 73128 | 103512 | 86036 | 93643 | 95669 | 2502575 | 2195692 | 2257780 | 818163 | 786254 | 799755
| LQC 3 | 78481 | 89716 | 81141 | 25245 | 27761 | 25433 | 1005433 | 1481236 | 1335653 | 289963 | 353251 | 321278 | 95931 | 105128 | 96641 | 82629 | 93449 | 96955 | 1818853 | 2538910 | 2399392 | 700127 | 820778 | 858849
| LQC 4 | 68481 | 73687 | 63621 | 22284 | 25020 | 22213 | 894985 | 1203076 | 1164970 | 236238 | 297468 | 288086 | 94502 | 86863 | 91871 | 77866 | 92362 | 91233 | 1826457 | 2439964 | 2496548 | 624019 | 848051 | 864570
| LQC 5 | 58024 | 68407 | 77261 | 18367 | 20803 | 27309 | 738690 | 1151150 | 1319831 | 206299 | 251636 | 327332 | 88079 | 84226 | 100391 | 80767 | 82162 | 93718 | 1474915 | 2379504 | 2610537 | 590506 | 755933 | 858899
| LQC 6 | 75380 | 75525 | 65831 | 27047 | 27594 | 26664 | 1207001 | 1240439 | 1162460 | 317121 | 320006 | 285072 | 97477 | 97411 | 96766 | 85087 | 85605 | 89840 | 2328699 | 2470261 | 2479703 | 857185 | 889141 | 859791
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 |  |  | 190976 |  |  | 58165 | 1352 | 2452 | 2597814 |  |  | 691947 |  |  | 119111 |  |  | 94622 |  |  | 2624678 |  |  | 964202
| MQC 2 | 182429 | 176043 | 176778 | 55895 | 49920 | 48122 | 2650075 | 2369183 | 2268069 | 665550 | 578860 | 586066 | 113995 | 106130 | 117893 | 93347 | 88902 | 93360 | 2552027 | 2325654 | 2388280 | 940772 | 797241 | 862130
| MQC 3 | 165885 | 167330 | 209834 | 52694 | 50894 | 56094 | 2400862 | 2419768 | 2747719 | 631250 | 592102 | 661093 | 125148 | 121833 | 119092 | 100986 | 88712 | 94451 | 2617610 | 2538270 | 2465685 | 948650 | 875324 | 778647
| MQC 4 | 203201 | 182736 | 188603 | 63917 | 52590 | 51280 | 2690695 | 2360509 | 2272383 | 542247 | 629040 | 596563 | 115738 | 110572 | 127856 | 92754 | 81299 | 90646 | 2511181 | 2317471 | 2217982 | 727202 | 785983 | 813401
| MQC 5 | 187292 | 179866 | 192454 | 51300 | 53548 | 51444 | 2613557 | 2671128 | 2727253 | 656050 | 654461 | 628853 | 115938 | 112919 | 119286 | 89953 | 92197 | 90659 | 2528691 | 2454238 | 2580094 | 911321 | 875977 | 865687
| MQC 6 | 172232 | 185525 | 152430 | 49818 | 48792 | 47655 | 2494919 | 2423972 | 1801287 | 619814 | 634054 | 527719 | 107832 | 110625 | 116891 | 83629 | 88664 | 80084 | 2214846 | 2178638 | 2185715 | 786965 | 836984 | 878875
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HQC 1 | 137950 | 153447 | 245947 | 44380 | 42627 | 110431 | 2222717 | 2131957 | 3386223 | 501347 | 508753 | 1216148 | 110156 | 107352 | 114939 | 96297 | 95224 | 91774 | 2557537 | 2458530 | 2346646 | 832983 | 809396 | 788589
| HQC 2 | 242832 | 245052 | 263248 | 113097 | 110844 | 120590 | 3400860 | 3470021 | 3723493 | 1280187 | 1311662 | 1255072 | 105020 | 102948 | 124943 | 81322 | 83757 | 94362 | 2366704 | 2274892 | 2620226 | 789824 | 849380 | 794999
| HQC 3 | 260769 | 272200 | 258924 | 114202 | 125591 | 120121 | 3832246 | 3836249 | 3470078 | 1393391 | 1374162 | 1197357 | 108272 | 115679 | 124573 | 89920 | 89456 | 90272 | 2638371 | 2638724 | 2377621 | 859810 | 931105 | 806899
| HQC 4 | 272852 | 279861 | 279926 | 117112 | 121704 | 121885 | 3603646 | 3766574 | 3131262 | 1340474 | 1362343 | 1374165 | 114440 | 125760 | 120391 | 90194 | 101213 | 94119 | 2645187 | 2770156 | 2330863 | 924267 | 918527 | 916664
| HQC 5 | 256760 | 252930 | 270741 | 112966 | 115825 | 117788 | 3331784 | 3401594 | 3563825 | 1258271 | 1194908 | 1355529 | 117684 | 117113 | 118810 | 100111 | 96197 | 94707 | 2467623 | 2369080 | 2385642 | 873021 | 838248 | 881872
| HQC 6 | 262624 | 261668 | 277824 | 125705 | 112812 | 129482 | 3677537 | 3231845 | 3612828 | 1385352 | 1187094 | 1343939 | 118122 | 108974 | 125661 | 97574 | 91171 | 93074 | 2507368 | 2167737 | 2437621 | 878001 | 762298 | 833285
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HLQC 1 | 274102 | 268100 | 356598 | 119952 | 115569 | 189830 | 3588564 | 3899297 | 4089933 | 1384797 | 1337117 | 1993845 | 119164 | 118033 | 122328 | 97197 | 91221 | 101206 | 2509658 | 2519786 | 2301146 | 880191 | 873339 | 873508
| HLQC 2 | 312859 | 396251 | 373064 | 161949 | 212906 | 194382 | 4184255 | 4515908 | 4814962 | 1840970 | 2020479 | 2048269 | 115895 | 127454 | 124725 | 87012 | 97485 | 96700 | 2377926 | 2470665 | 2429919 | 838565 | 865168 | 876967
| HLQC 3 | 381766 | 318585 | 311168 | 196044 | 174584 | 171018 | 5316458 | 4275724 | 4408549 | 2309472 | 2003723 | 1911456 | 123548 | 129867 | 130764 | 98094 | 106101 | 100497 | 2703784 | 2723716 | 2730526 | 919551 | 961391 | 929830
| HLQC 4 | 298015 | 494971 | 496934 | 173022 | 303831 | 312158 | 4180742 | 5940028 | 6518286 | 1869662 | 3236970 | 3438717 | 120925 | 113035 | 119567 | 92874 | 97438 | 102052 | 2669897 | 2347273 | 2680959 | 955017 | 847121 | 933731
| HLQC 5 | 496379 | 534576 | 507581 | 307023 | 321207 | 324763 | 6399077 | 6611140 | 6593665 | 3407528 | 3637564 | 3486887 | 122197 | 123608 | 123369 | 95757 | 96805 | 90741 | 2625524 | 2559596 | 2673836 | 881432 | 941628 | 922599
| HLQC 6 | 491439 | 503613 | 515573 | 334855 | 332159 | 320256 | 6304593 | 6680776 | 6599097 | 3558055 | 3400848 | 3510821 | 121481 | 118127 | 118704 | 100529 | 95901 | 96742 | 2572722 | 2610779 | 2473079 | 914511 | 861466 | 895637
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Matrix Blank | 139677 | 167785 | 136608 | 47023 | 50337 | 44837 | 2211263 | 2597338 | 1720850 | 530767 | 617730 | 454524
| Total Blank |  |  | 1572 |  |  |  |  | 5018 | 1689 |  | 33 | 1323
| Total Blank | [8 empty] | 1633

## Raw Peak Areas
Sample_Name | Cer d18:1/16:0 [M>264] | Cer d18:1/16:0-d7 [M>271] | Cer d18:1/18:0 [M>264] | Cer d18:1/18:0-d7 [M>271] | Cer d18:1/24:0 [M>264] | Cer d18:1/24:0-d7 [M>271] | Cer d18:1/24:1 [M>264] | Cer d18:1/24:1-d7 [M>271]
Total Blank 1 | N/F | N/F | N/F | N/F | 4408 | N/F | N/F | N/F
Matrix Blank 1 | 139677 | N/F | 47023 | N/F | 2211263 | N/F | 530767 | N/F
Cal_STD6_1 | N/F | 57543 | 2448 | 86751 | 79956 | 2461642 | 57686 | 854239
Cal_STD6_2 | 2574 | 54982 | 4312 | 92607 | 99711 | 2641094 | 69093 | 878381
Cal_STD6_3 | 3636 | 59407 | 2628 | 87788 | 86955 | 2411863 | 58791 | 875805
Cal_STD5_1 | 4565 | 57918 | 13495 | 87586 | 211406 | 2613957 | 136482 | 826096
Cal_STD5_2 | 8148 | 58888 | 9565 | 94541 | 181677 | 2342712 | 138157 | 853853
Cal_STD5_3 | 6232 | 51663 | 11667 | 90353 | 192891 | 2377588 | 142450 | 852035
Cal_STD4_1 | 15427 | 60210 | 23607 | 85391 | 373638 | 2423919 | 288207 | 895162
Cal_STD4_2 | 17372 | 57808 | 22674 | 94094 | 406066 | 2413613 | 259097 | 865456
Cal_STD4_3 | 17706 | 54198 | 30593 | 81628 | 431989 | 2755459 | 281736 | 905957
Cal_STD3_1 | 62645 | 53796 | 119457 | 84427 | 1874785 | 2624249 | 1213794 | 840935
Cal_STD3_2 | 55920 | 53198 | 115750 | 91891 | 1569556 | 2336310 | 1287945 | 830769
Cal_STD3_3 | 55119 | 52343 | 106540 | 86563 | 1592917 | 2184376 | 1087592 | 762613
Cal_STD2_1 | 659210 | 57985 | 1148055 | 94940 | 16999762 | 2677388 | 12087970 | 893949
Cal_STD2_2 | 668090 | 56052 | 1200972 | 99991 | 17495482 | 2783077 | 12121860 | 900580
Cal_STD2_3 | 649185 | 55576 | 1183974 | 92937 | 18256210 | 2839072 | 12413895 | 896776
Cal_STD1_1 | 1443881 | 50980 | 2573950 | 83509 | 39169860 | 2663693 | 26342651 | 841805
Cal_STD1_2 | 1401379 | 52750 | 2444163 | 83060 | 39254425 | 2473282 | 26446899 | 829946
Cal_STD1_3 | 1420609 | 49842 | 2554560 | 78689 | 40055564 | 2579779 | 27251055 | 856604
PooledQC_1 | 165647 | 114011 | 51299 | 101658 | 2710940 | 2959798 | 615875 | 926780
PooledQC_2 | 169406 | 112600 | 53852 | 96959 | 2702436 | 2829979 | 625286 | 935850
SRM 1950_R1_1 | 180515 | 112450 | 53095 | 91393 | 2412599 | 2685412 | 585963 | 871114
SRM 1950_R1_2 | 159123 | 112200 | 49844 | 85002 | 2322881 | 2776863 | 576756 | 885783
SRM 1950_R1_3 | 149760 | 109031 | 43501 | 92302 | 2084170 | 2819906 | 490782 | 891930
SRM 1950_R1_4 | 188988 | 110963 | 52142 | 103233 | 2578095 | 2756559 | 631535 | 921702
SRM 1950_R1_5 | 193151 | 110105 | 59582 | 95382 | 2633835 | 2620982 | 634149 | 840716
SRM 1950_R1_6 | 175279 | 119215 | 51751 | 99728 | 2226736 | 2649982 | 610639 | 978298
PooledQC_3 | 163363 | 113615 | 52244 | 101535 | 2541650 | 2796665 | 598402 | 939521
PooledQC_4 | 164836 | 121493 | 51919 | 97673 | 2413007 | 2504678 | 587861 | 891015
T1D_R1_1 | 93359 | 104588 | 38415 | 100770 | 1490076 | 2441353 | 399505 | 902575
T1D_R1_2 | 148589 | 105652 | 62068 | 88816 | 2210040 | 2458499 | 577661 | 892990
T1D_R1_3 | 156630 | 117230 | 60681 | 98641 | 2395796 | 2829276 | 610079 | 910612
T1D_R1_4 | 148442 | 100450 | 62034 | 91299 | 2159417 | 2315405 | 530725 | 786663
T1D_R1_5 | 120092 | 96399 | 40050 | 88423 | 1718538 | 2317764 | 425922 | 795985
T1D_R1_6 | 156845 | 116183 | 67109 | 99165 | 2562215 | 2881366 | 618934 | 907518
Total Blank 2 | N/F | N/F | N/F | N/F | 5018 | N/F | 33 | N/F
PooledQC_5 | 155959 | 118535 | 51016 | 95940 | 2239477 | 2330967 | 645732 | 953909
PooledQC_6 | 165295 | 115387 | 51467 | 101302 | 2721190 | 2916073 | 640476 | 951404
Young AA_R1_1 | 90349 | 99806 | 30245 | 91350 | 1459550 | 2677191 | 323917 | 849053
Young AA_R1_2 | 83224 | 89986 | 24229 | 91432 | 1236585 | 2146484 | 305485 | 789791
Young AA_R1_3 | 79382 | 102862 | 23371 | 99861 | 1238474 | 2456429 | 296989 | 839262
Young AA_R1_4 | 82287 | 100803 | 25120 | 93398 | 1521885 | 2737183 | 359116 | 911099
Young AA_R1_5 | 100996 | 103122 | 27237 | 92772 | 1649041 | 2734386 | 356615 | 819931
Young AA_R1_6 | 93311 | 103688 | 27744 | 95332 | 1618217 | 2728797 | 368308 | 919783
PooledQC_7 | 174606 | 114355 | 49483 | 98629 | 2155576 | 2394369 | 604570 | 932798
PooledQC_8 | 173128 | 115865 | 49428 | 93069 | 2783006 | 2955625 | 650608 | 951673
highTAG_R1_1 | 192784 | 110533 | 46748 | 85135 | 2890484 | 2340433 | 679561 | 796666
highTAG_R1_2 | 225831 | 118540 | 60663 | 90077 | 3914571 | 2639424 | 928013 | 870391
highTAG_R1_3 | 221645 | 130568 | 61846 | 95288 | 3244044 | 2445726 | 925402 | 968916
highTAG_R1_4 | 159622 | 111256 | 42113 | 91927 | 2788752 | 2452929 | 619657 | 819918
highTAG_R1_5 | 227053 | 126505 | 64092 | 97476 | 3459939 | 2722059 | 902137 | 948733
highTAG_R1_6 | 233995 | 123119 | 66959 | 97038 | 4015372 | 2678816 | 935933 | 899459
PooledQC_9 | 163592 | 118337 | 55292 | 96817 | 2314083 | 2381785 | 559068 | 879044
PooledQC_10 | 172493 | 114559 | 58934 | 103263 | 2250748 | 2396296 | 607750 | 893082
SRM 1950_R2_1 | 172857 | 110221 | 52846 | 92787 | 2456003 | 2723457 | 579291 | 858141
SRM 1950_R2_2 | 145671 | 96085 | 44011 | 83372 | 1918767 | 2220530 | 499152 | 760795
SRM 1950_R2_3 | 155561 | 126296 | 46929 | 90684 | 2109210 | 2942208 | 524938 | 928773
SRM 1950_R2_4 | 187525 | 112870 | 56252 | 84321 | 2260019 | 2326377 | 545757 | 806084
SRM 1950_R2_5 | 207376 | 129129 | 59142 | 99361 | 2644764 | 2768159 | 661280 | 915277
SRM 1950_R2_6 | 181787 | 117705 | 48233 | 111401 | 2434204 | 2881835 | 599865 | 977172
PooledQC_11 | 177577 | 128633 | 52235 | 101952 | 2635101 | 2829409 | 636487 | 944052
PooledQC_12 | 169870 | 113988 | 55432 | 100569 | 2793043 | 2879118 | 669032 | 990591
T1D_R2_1 | 103201 | 107330 | 41558 | 96735 | 1693362 | 2755823 | 444619 | 946652
T1D_R2_2 | 156346 | 112505 | 63496 | 96593 | 2378231 | 2537912 | 592928 | 843875
T1D_R2_3 | 158768 | 101642 | 56684 | 88235 | 2213583 | 2449307 | 538779 | 849080
T1D_R2_4 | 179282 | 113242 | 70986 | 92492 | 2260353 | 2410215 | 607327 | 832752
T1D_R2_5 | 127961 | 107318 | 51945 | 97426 | 1669292 | 2206274 | 475746 | 815331
T1D_R2_6 | 154133 | 119990 | 65334 | 90025 | 2479712 | 2770178 | 581728 | 851577
Total Blank 3 | 1572 | N/F | N/F | N/F | 1689 | N/F | 1323 | N/F
PooledQC_13 | 165935 | 112010 | 51281 | 86804 | 2171968 | 2369294 | 539761 | 803348
PooledQC_14 | 177258 | 120791 | 55805 | 98328 | 2638507 | 2847391 | 670514 | 933605
Young AA_R2_1 | 80534 | 83923 | 21505 | 83792 | 1209576 | 2213314 | 283459 | 722533
Young AA_R2_2 | 78200 | 97846 | 30633 | 93729 | 1395345 | 2575684 | 333007 | 866505
Young AA_R2_3 | 89771 | 111892 | 25912 | 99591 | 1433443 | 2738086 | 326328 | 951251
Young AA_R2_4 | 82091 | 101015 | 26873 | 96954 | 1418157 | 2639963 | 307285 | 806629
Young AA_R2_5 | 111055 | 109167 | 27860 | 105738 | 1637604 | 2828007 | 411479 | 962097
Young AA_R2_6 | 104032 | 110076 | 28678 | 94326 | 1333843 | 2275760 | 327461 | 807294
PooledQC_15 | 172198 | 122206 | 54683 | 98426 | 2693291 | 2822037 | 649046 | 931282
PooledQC_16 | 168999 | 117555 | 50500 | 97542 | 2738460 | 2898107 | 658161 | 963097
highTAG_R2_1 | 209044 | 125416 | 57238 | 102537 | 3376659 | 2816724 | 780820 | 901786
highTAG_R2_2 | 437057 | 225018 | 28963 | 43490 | 3595235 | 2290867 | 350003 | 792797
highTAG_R2_3 | 394603 | 253254 | 23424 | 43836 | 3826000 | 2914474 | 338862 | 992802
highTAG_R2_4 | 351926 | 248385 | 24823 | 42404 | 2814491 | 2536050 | 268123 | 875604
highTAG_R2_5 | 404211 | 236099 | 26958 | 52277 | 3612638 | 2833668 | 353177 | 979685
highTAG_R2_6 | 424981 | 222815 | 31646 | 43305 | 4069254 | 2597286 | 370640 | 904607
PooledQC_17 | 312654 | 227879 | 20714 | 45469 | 2539260 | 2666712 | 246639 | 998642
PooledQC_18 | 313373 | 236474 | 24167 | 49732 | 2648581 | 2874278 | 254384 | 1027154
SRM 1950_R3_1 | 306278 | 213826 | 22162 | 36455 | 2031968 | 2215976 | 196485 | 785280
SRM 1950_R3_2 | 308858 | 223142 | 20568 | 41554 | 2345804 | 2650622 | 221725 | 889099
SRM 1950_R3_3 | 295774 | 226643 | 19100 | 47437 | 2099727 | 2749380 | 197217 | 938881
SRM 1950_R3_4 | 349912 | 233749 | 25877 | 44599 | 2098922 | 2213326 | 209097 | 863714
SRM 1950_R3_5 | 374359 | 228459 | 25064 | 44623 | 2708790 | 2725134 | 261601 | 891298
SRM 1950_R3_6 | 334148 | 242119 | 22001 | 46158 | 2406863 | 2912739 | 215475 | 964328
PooledQC_19 | 289190 | 234879 | 24588 | 36062 | 2226090 | 2416695 | 243763 | 945992
PooledQC_20 | 315097 | 232899 | 24157 | 47646 | 2635827 | 2881145 | 242294 | 982085
T1D_R3_1 | 190991 | 203612 | 16570 | 37699 | 1496904 | 2436930 | 152902 | 918410
T1D_R3_2 | 302006 | 215065 | 32618 | 42975 | 2410817 | 2733563 | 236811 | 931699
T1D_R3_3 | 268823 | 220620 | 28061 | 44525 | 2125735 | 2347449 | 240551 | 949402
T1D_R3_4 | 339605 | 231995 | 29794 | 43604 | 2700473 | 2745434 | 251863 | 940548
T1D_R3_5 | 242978 | 215165 | 25186 | 43664 | 1775892 | 2284115 | 200269 | 946232
T1D_R3_6 | 308417 | 223441 | 29371 | 42854 | 2574616 | 2769362 | 252991 | 918872
Total Blank 4 | N/F | N/F | N/F | N/F | 1365 | N/F | N/F | N/F
PooledQC_21 | 314455 | 252630 | 22999 | 45753 | 2560390 | 2814674 | 248945 | 960669
PooledQC_22 | 321237 | 241356 | 24791 | 47224 | 2399621 | 2485042 | 242199 | 961690
Young AA_R3_1 | 159781 | 200710 | 13681 | 40297 | 1470322 | 2570046 | 132000 | 866246
Young AA_R3_2 | 148733 | 198366 | 14608 | 42600 | 1481493 | 2652684 | 139928 | 863139
Young AA_R3_3 | 160895 | 210070 | 11207 | 44302 | 1489179 | 2788068 | 135789 | 996060
Young AA_R3_4 | 154441 | 209453 | 11992 | 45464 | 1454902 | 2702875 | 139813 | 940644
Young AA_R3_5 | 186952 | 209935 | 14532 | 40613 | 1770024 | 2894051 | 164083 | 1006105
Young AA_R3_6 | 193437 | 212971 | 14195 | 46848 | 1702120 | 2809649 | 153338 | 934115
PooledQC_23 | 305711 | 257065 | 21763 | 51340 | 2779396 | 2817946 | 258201 | 975125
PooledQC_24 | 336883 | 243811 | 26357 | 43332 | 2693561 | 2963160 | 251678 | 966399
highTAG_R3_1 | 381715 | 243484 | 22930 | 40788 | 3092663 | 2306159 | 273497 | 908373
highTAG_R3_2 | 410687 | 239809 | 29989 | 45816 | 3925105 | 2570702 | 348436 | 860333
highTAG_R3_3 | 433764 | 254482 | 34069 | 49780 | 3814057 | 2901078 | 369671 | 1034823
highTAG_R3_4 | 358422 | 261875 | 24641 | 51159 | 3386025 | 2941614 | 322789 | 1040804
highTAG_R3_5 | 403404 | 252288 | 29573 | 42381 | 3326601 | 2546548 | 338863 | 907664
highTAG_R3_6 | 442494 | 231751 | 33737 | 40025 | 4010362 | 2598685 | 331461 | 782127
PooledQC_25 | 323950 | 235197 | 25497 | 43247 | 2640112 | 2862324 | 257050 | 982979
PooledQC_26 | 319636 | 246139 | 24258 | 44800 | 2675683 | 3027745 | 258713 | 991802
Cal_STD6_1 | 5856 | 127165 | 1993 | 41527 | 88226 | 2616736 | 21480 | 837917
Cal_STD6_2 | 6202 | 120400 | N/F | 47459 | 100998 | 2767125 | 18328 | 825767
Cal_STD6_3 | 4062 | 120296 | 1481 | 45628 | 78699 | 2367774 | 20068 | 880572
Cal_STD5_1 | 13593 | 111191 | 4019 | 37232 | 186271 | 2362493 | 46392 | 835084
Cal_STD5_2 | 13965 | 116978 | 5139 | 43899 | 235005 | 2832676 | 59997 | 946840
Cal_STD5_3 | 10939 | 114677 | 3828 | 43408 | 233815 | 2810036 | 53301 | 926021
Cal_STD4_1 | 26090 | 109544 | 10274 | 39753 | 342141 | 2326098 | 96576 | 808807
Cal_STD4_2 | 24221 | 115781 | 9451 | 42974 | 438787 | 2792580 | 110682 | 946449
Cal_STD4_3 | 26762 | 110729 | 13096 | 33542 | 397171 | 2620433 | 88358 | 830956
Cal_STD3_1 | 120402 | 119392 | 53603 | 45716 | 1819988 | 2652427 | 393561 | 874997
Cal_STD3_2 | 122181 | 111155 | 57710 | 44182 | 1893913 | 2606990 | 491187 | 922310
Cal_STD3_3 | 119376 | 112826 | 57253 | 45019 | 1938714 | 2756420 | 467218 | 941789
Cal_STD2_1 | 1188864 | 115590 | 585493 | 40411 | 14132110 | 2096682 | 4376666 | 840234
Cal_STD2_2 | 1251177 | 112797 | 602703 | 43677 | 18517135 | 2766760 | 5177252 | 955829
Cal_STD2_3 | 725268 | 60008 | 1223348 | 95712 | 19759177 | 2893630 | 13134712 | 947344
Cal_STD1_1 | 1526204 | 53327 | 2630032 | 86219 | 40308000 | 2610690 | 29149683 | 886064
Cal_STD1_2 | 1469968 | 58106 | 2637343 | 88941 | 38991765 | 2477237 | 28730719 | 853440
Cal_STD1_3 | 1470704 | 53139 | 2511064 | 83539 | 31415451 | 2076646 | 25156684 | 802950
Matrix Blank 2 | 167785 | N/F | 50337 | N/F | 2597338 | N/F | 617730 | N/F
Total Blank 5 | N/F | N/F | N/F | N/F | N/F | N/F | N/F | N/F
Total Blank 6 | N/F | N/F | N/F | N/F | 1633 | N/F | N/F | N/F
Matrix Blank 3 | 136608 | N/F | 44837 | N/F | 1720850 | N/F | 454524 | N/F
LLQC_R1_1 | 33465 | 72915 | 10395 | 82716 | 650570 | 2380180 | 161368 | 804185
LLQC_R1_2 | 38594 | 76328 | 12351 | 76468 | 549306 | 1522994 | 145305 | 537438
LLQC_R1_3 | 31036 | 70354 | 11956 | 67946 | 477834 | 1510825 | 133191 | 536270
LLQC_R1_4 | 30544 | 78707 | 9741 | 70354 | 527661 | 1682109 | 128472 | 608741
LLQC_R1_5 | 28573 | 68158 | 10894 | 80702 | 480207 | 1643662 | 132228 | 655237
LLQC_R1_6 | 31822 | 72141 | 13224 | 77595 | 475232 | 1620014 | 136437 | 647033
LQC_R1_1 | 35775 | 81436 | 13380 | 78228 | 500213 | 1680113 | 147752 | 685213
LQC_R1_2 | 44693 | 85827 | 18980 | 86036 | 883937 | 2502575 | 220010 | 818163
LQC_R1_3 | 78481 | 95931 | 25245 | 82629 | 1005433 | 1818853 | 289963 | 700127
LQC_R1_4 | 68481 | 94502 | 22284 | 77866 | 894985 | 1826457 | 236238 | 624019
LQC_R1_5 | 58024 | 88079 | 18367 | 80767 | 738690 | 1474915 | 206299 | 590506
LQC_R1_6 | 75380 | 97477 | 27047 | 85087 | 1207001 | 2328699 | 317121 | 857185
Total Blank 7 | 67566 | 84308 | 22268 | 91539 | 1001413 | 2097661 | 267246 | 756609
MQC_R1_1 | N/F | N/F | N/F | N/F | 1352 | N/F | N/F | N/F
MQC_R1_2 | 182429 | 113995 | 55895 | 93347 | 2650075 | 2552027 | 665550 | 940772
MQC_R1_3 | 165885 | 125148 | 52694 | 100986 | 2400862 | 2617610 | 631250 | 948650
MQC_R1_4 | 203201 | 115738 | 63917 | 92754 | 2690695 | 2511181 | 542247 | 727202
MQC_R1_5 | 187292 | 115938 | 51300 | 89953 | 2613557 | 2528691 | 656050 | 911321
MQC_R1_6 | 172232 | 107832 | 49818 | 83629 | 2494919 | 2214846 | 619814 | 786965
HQC_R1_1 | 137950 | 110156 | 44380 | 96297 | 2222717 | 2557537 | 501347 | 832983
HQC_R1_2 | 242832 | 105020 | 113097 | 81322 | 3400860 | 2366704 | 1280187 | 789824
HQC_R1_3 | 260769 | 108272 | 114202 | 89920 | 3832246 | 2638371 | 1393391 | 859810
HQC_R1_4 | 272852 | 114440 | 117112 | 90194 | 3603646 | 2645187 | 1340474 | 924267
HQC_R1_5 | 256760 | 117684 | 112966 | 100111 | 3331784 | 2467623 | 1258271 | 873021
HQC_R1_6 | 262624 | 118122 | 125705 | 97574 | 3677537 | 2507368 | 1385352 | 878001
HLQC_R1_1 | 274102 | 119164 | 119952 | 97197 | 3588564 | 2509658 | 1384797 | 880191
HLQC_R1_2 | 312859 | 115895 | 161949 | 87012 | 4184255 | 2377926 | 1840970 | 838565
HLQC_R1_3 | 381766 | 123548 | 196044 | 98094 | 5316458 | 2703784 | 2309472 | 919551
HLQC_R1_4 | 298015 | 120925 | 173022 | 92874 | 4180742 | 2669897 | 1869662 | 955017
HLQC_R1_5 | 496379 | 122197 | 307023 | 95757 | 6399077 | 2625524 | 3407528 | 881432
HLQC_R1_6 | 491439 | 121481 | 334855 | 100529 | 6304593 | 2572722 | 3558055 | 914511
Total Blank 8 | 490224 | 111566 | 319870 | 85614 | 6342914 | 2482882 | 3292117 | 842583
Matrix Blank 4 | N/F | N/F | N/F | N/F | 3626 | N/F | N/F | N/F
LLQC_R2_1 | 158966 | N/F | 49513 | N/F | 2299208 | N/F | 601872 | N/F
LLQC_R2_2 | 32735 | 75172 | 12668 | 94918 | 687105 | 2505649 | 165659 | 847877
LLQC_R2_3 | 43853 | 89857 | 16892 | 91904 | 881446 | 2496072 | 220479 | 858384
LLQC_R2_4 | 33383 | 68890 | 14764 | 87908 | 816184 | 2502704 | 195446 | 836651
LLQC_R2_5 | 35485 | 82472 | 16578 | 97342 | 669072 | 2463796 | 172099 | 852729
LLQC_R2_6 | 30980 | 75618 | 11066 | 83510 | 735358 | 2411136 | 163320 | 752158
LQC_R2_1 | 36719 | 76751 | 14416 | 88408 | 789621 | 2415362 | 191428 | 830889
LQC_R2_2 | 45776 | 73128 | 14839 | 93643 | 783815 | 2195692 | 208164 | 786254
LQC_R2_3 | 89716 | 105128 | 27761 | 93449 | 1481236 | 2538910 | 353251 | 820778
LQC_R2_4 | 73687 | 86863 | 25020 | 92362 | 1203076 | 2439964 | 297468 | 848051
LQC_R2_5 | 68407 | 84226 | 20803 | 82162 | 1151150 | 2379504 | 251636 | 755933
LQC_R2_6 | 75525 | 97411 | 27594 | 85605 | 1240439 | 2470261 | 320006 | 889141
Total Blank 9 | 64193 | 90958 | 27686 | 87034 | 1182844 | 2406902 | 263680 | 766740
MQC_R2_1 | N/F | N/F | N/F | N/F | 2452 | N/F | N/F | N/F
MQC_R2_2 | 176043 | 106130 | 49920 | 88902 | 2369183 | 2325654 | 578860 | 797241
MQC_R2_3 | 167330 | 121833 | 50894 | 88712 | 2419768 | 2538270 | 592102 | 875324
MQC_R2_4 | 182736 | 110572 | 52590 | 81299 | 2360509 | 2317471 | 629040 | 785983
MQC_R2_5 | 179866 | 112919 | 53548 | 92197 | 2671128 | 2454238 | 654461 | 875977
MQC_R2_6 | 185525 | 110625 | 48792 | 88664 | 2423972 | 2178638 | 634054 | 836984
HQC_R2_1 | 153447 | 107352 | 42627 | 95224 | 2131957 | 2458530 | 508753 | 809396
HQC_R2_2 | 245052 | 102948 | 110844 | 83757 | 3470021 | 2274892 | 1311662 | 849380
HQC_R2_3 | 272200 | 115679 | 125591 | 89456 | 3836249 | 2638724 | 1374162 | 931105
HQC_R2_4 | 279861 | 125760 | 121704 | 101213 | 3766574 | 2770156 | 1362343 | 918527
HQC_R2_5 | 252930 | 117113 | 115825 | 96197 | 3401594 | 2369080 | 1194908 | 838248
HQC_R2_6 | 261668 | 108974 | 112812 | 91171 | 3231845 | 2167737 | 1187094 | 762298
HLQC_R2_1 | 268100 | 118033 | 115569 | 91221 | 3899297 | 2519786 | 1337117 | 873339
HLQC_R2_2 | 396251 | 127454 | 212906 | 97485 | 4515908 | 2470665 | 2020479 | 865168
HLQC_R2_3 | 318585 | 129867 | 174584 | 106101 | 4275724 | 2723716 | 2003723 | 961391
HLQC_R2_4 | 494971 | 113035 | 303831 | 97438 | 5940028 | 2347273 | 3236970 | 847121
HLQC_R2_5 | 534576 | 123608 | 321207 | 96805 | 6611140 | 2559596 | 3637564 | 941628
HLQC_R2_6 | 503613 | 118127 | 332159 | 95901 | 6680776 | 2610779 | 3400848 | 861466
Total Blank 10 | N/F | N/F | N/F | N/F | 2096 | N/F | 1466 | N/F
Matrix Blank 5 | 167027 | N/F | 49887 | N/F | 2048487 | N/F | 520122 | N/F
LLQC_R3_1 | 29624 | 75871 | 12353 | 81810 | 703212 | 2514806 | 164922 | 813486
LLQC_R3_2 | 48516 | 85955 | 18276 | 83445 | 829725 | 2148788 | 197533 | 746442
LLQC_R3_3 | 38185 | 80612 | 15491 | 84209 | 761379 | 2453645 | 191705 | 827317
LLQC_R3_4 | 32905 | 74170 | 12498 | 89297 | 691480 | 2382618 | 158929 | 828323
LLQC_R3_5 | 50669 | 85571 | 25011 | 88289 | 809011 | 2350651 | 186601 | 845883
LLQC_R3_6 | 40309 | 83666 | 14411 | 87284 | 793024 | 2429971 | 196307 | 834790
LQC_R3_1 | 42300 | 91160 | 16802 | 78849 | 752489 | 2079026 | 202307 | 727124
LQC_R3_2 | 88049 | 103512 | 29800 | 95669 | 1238700 | 2257780 | 333258 | 799755
LQC_R3_3 | 81141 | 96641 | 25433 | 96955 | 1335653 | 2399392 | 321278 | 858849
LQC_R3_4 | 63621 | 91871 | 22213 | 91233 | 1164970 | 2496548 | 288086 | 864570
LQC_R3_5 | 77261 | 100391 | 27309 | 93718 | 1319831 | 2610537 | 327332 | 858899
LQC_R3_6 | 65831 | 96766 | 26664 | 89840 | 1162460 | 2479703 | 285072 | 859791
Total Blank 11 | N/F | N/F | N/F | N/F | 1352 | N/F | N/F | N/F
MQC_R3_1 | 190976 | 119111 | 58165 | 94622 | 2597814 | 2624678 | 691947 | 964202
MQC_R3_2 | 176778 | 117893 | 48122 | 93360 | 2268069 | 2388280 | 586066 | 862130
MQC_R3_3 | 209834 | 119092 | 56094 | 94451 | 2747719 | 2465685 | 661093 | 778647
MQC_R3_4 | 188603 | 127856 | 51280 | 90646 | 2272383 | 2217982 | 596563 | 813401
MQC_R3_5 | 192454 | 119286 | 51444 | 90659 | 2727253 | 2580094 | 628853 | 865687
MQC_R3_6 | 152430 | 116891 | 47655 | 80084 | 1801287 | 2185715 | 527719 | 878875
HQC_R3_1 | 245947 | 114939 | 110431 | 91774 | 3386223 | 2346646 | 1216148 | 788589
HQC_R3_2 | 263248 | 124943 | 120590 | 94362 | 3723493 | 2620226 | 1255072 | 794999
HQC_R3_3 | 258924 | 124573 | 120121 | 90272 | 3470078 | 2377621 | 1197357 | 806899
HQC_R3_4 | 279926 | 120391 | 121885 | 94119 | 3131262 | 2330863 | 1374165 | 916664
HQC_R3_5 | 270741 | 118810 | 117788 | 94707 | 3563825 | 2385642 | 1355529 | 881872
HQC_R3_6 | 277824 | 125661 | 129482 | 93074 | 3612828 | 2437621 | 1343939 | 833285
HLQC_R3_1 | 356598 | 122328 | 189830 | 101206 | 4089933 | 2301146 | 1993845 | 873508
HLQC_R3_2 | 373064 | 124725 | 194382 | 96700 | 4814962 | 2429919 | 2048269 | 876967
HLQC_R3_3 | 311168 | 130764 | 171018 | 100497 | 4408549 | 2730526 | 1911456 | 929830
HLQC_R3_4 | 496934 | 119567 | 312158 | 102052 | 6518286 | 2680959 | 3438717 | 933731
HLQC_R3_5 | 507581 | 123369 | 324763 | 90741 | 6593665 | 2673836 | 3486887 | 922599
HLQC_R3_6 | 515573 | 118704 | 320256 | 96742 | 6599097 | 2473079 | 3510821 | 895637
Total Blank 12 | N/F | N/F | N/F | N/F | 4425 | N/F | N/F | N/F
Matrix Blank 6 | 159727 | N/F | 51190 | N/F | 2401090 | N/F | 580427 | N/F