## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Summary
Summary
Summary

## Extraction - Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled plasma
| Matrix Blank (MB) | 10 µL pooled plasma
| Study Samples (S) | 10 µL plasma
| Total Blank (TB) | 10 µL BSA
| Calibration line standards (STD) | 20 µL STD
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.10 | 0.02 | 0.01 | 0.008
| Cer d18:1/24:0 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08
| Cer d18:1/24:1 | 20.0 | 10.0 | 1.0 | 0.2 | 0.1 | 0.08

## Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 |  | Extraction - Overview'!B34
2
| 3 |  | Extraction - Overview'!C14
| 4 |  | Extraction - Overview'!F14
5
| 6 |  | Extraction - Overview'!H14
7
8
9

## Tls - Extraction - Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Extractions were done in triplicate
| 2 | 10µL of plasma or 20µL of STD or 10µL BSA + 20µL IS | Extraction - Overview'!B20
| 3 | 2.5mL MeOH 2% acetic acid + 2mL H2O + 2.5mL CH2Cl2
| 4 | Vortexing and centrifugation 6min 2500 Tr/min
| 5 | Aspirate the highest phase and recover the lower phase
| 6 | Evaporate under nitrogen flux
| 7 | Reconstitue thanks to twice 80µL of ethyl acetate to transfer it into vial with insert
| 8 | Evaporate the vials under nitrogen flux
| 9 | Reconstitue in 20µL ethyl acetate

## LC-MRM - Overview
LC-MRM Overview
LC-MRM Overview | Table 6 Chemicals and solvents
Table 7 LC-MRM LC-MS Details
| Property | Specifications
| Mass spectrometry | MS 6460 Agilent
| LC | UPLC Agilent
| Injection volume (indicative) | 5 µL
| Weak wash | Water
| Strong wash | Acetonitrile
| Pre-column | Waters Acquity BEH c18, 1.7µm VanGuard Pre-column
| Column | Waters Acquity BEH C18, 2.1 x 50 mm id 1.7 µm
| Column temperature | 60°C
| Mobile phase A | 10mM ammonium acetate in water with 0.1% formic acid
| Mobile phase B | 10mM ammonium acetate in acetonitrile:2-propanol (4:3, vol/vol) with 0.1% formic acid
Table 8 LC-MRM LC gradient
| Time (minutes) | A% | B% |  | Flow (µL/min)
| 0.0 | 15 | 85 |  | 500
| 0.5 | 15 | 85 |  | 500
| 1.5 | 0 | 100 |  | 500
| 4.0 | 0 | 100 |  | 500
| 4.1 | 15 | 85 |  | 500
| 5.0 | 15 | 85 |  | 500
Table 9 LC-MRM MS conditions (EXAMPLE: this only applies to Sciex QTRAP, please adapt)
| Polarity mode | >0
| Gaz temperature | 325°C
| Gaz Flow | 10l/min
| Nebulizer | 25Psi
| Sheath Gaz Temp | 400°C
| Sheath Gaz Flow | 12 l/min
| Fragmentor | 120
| <Cerlla accelarotor Voltage | 7
| Collision energy (CE) | 25
Table 10 LC-MRM Mass transitions used for absolute quantification. On different systems, RT and CE might be different!
| Analyte | Mass transitions | Mass transitions are different because ions are dehydrated by our system | IS | Mass transitions | RT (min) | CE | Mass transitions IS are different because ions are dehydrated by our system
| Cer d18:1/16:0 | 538.5 – 264.3 | 520.5 - 264.3 | D7- Cer d18:1/16:0 | 545.6 - 271.3 | 3.15 | 25 | 527.6 - 271.3
C34H68NO3 – C18H34N
| Cer d18:1/18:0 | 566.6 – 264.3 | 548.5 - 264.3 | D7- Cer d18:1/18:0 | 573.6 – 271.3 | 3.45 | 25 | 555.6 - 271.3
C36H72NO3 – C18H34N
| Cer d18:1/24:0 | 650.6 – 264.3 | 632.6 - 264.3 | D7- Cer d18:1/24:0 | 657.7 – 271.3 | 4.64 | 25 | 639.7 - 271.3
C42H84NO3 – C18H34N
| Cer d18:1/24:1 | 648.6 – 264.3 | 630.6 - 264.3 | D7- Cer d18:1/24:1 | 655.7 – 271.3 | 4.03 | 25 | 637.7 - 271.3
C42H82NO3 – C18H34N
Table 11 Data processing
| Processing software | MassHunter Workstation Software Quantitative Analysis Version B.09.00 for QQQ

## LC-MRM - Sample Sequence
Sample Sequence (Example)
Sample Sequence (Example) | Sample Sequence 1
| Number | Sample Name | Remarks
| 1 | Total Blank 1
| 2 | Matrix blank
| 3 | Calibration line 1 from STD6 to 1 (n=3) |  | Some samples have to be reinjected that's why we added Repl 4 inwhich there is the resuls for the reinjected samples.
| 4 | […]
| 5 | Pooled QC
| 6 | Pooled QC
| 7 | SRM 1950-1
| 8 | SRM 1950-2
| 9 | SRM 1950-3
| 10 | SRM 1950-4
| 11 | SRM 1950-5
| 12 | SRM 1950-6
| 13 | Pooled QC
| 14 | Pooled QC
| 15 | T1D-1
| 16 | T1D-2
| 17 | T1D-3
| 18 | T1D-4
| 19 | T1D-5
| 20 | T1D-6
| 21 | Total Blank 2
| 22 | Pooled QC
| 23 | Pooled QC
| 24 | Young AA-1
| 25 | Young AA-2
| 26 | Young AA-3
| 27 | Young AA-4
| 28 | Young AA-5
| 29 | Young AA-6
| 30 | Pooled QC
| 31 | Pooled QC
| 32 | hTAG-1
| 33 | hTAG-2
| 34 | hTAG-3
| 35 | hTAG-4
| 36 | hTAG-5
| 37 | hTAG-6
| 38 | Pooled QC
| 39 | Pooled QC
| 40 | Calibration line 2 from STD1 to 6 (n=3)
| 41 | […]
| 42 | Matrix blank
| 43 | Total Blank 3

## LC-MRM - Intra Assay QC Proc
Intra Assay Procedure
Intra Assay Procedure | Quality Controls for Intra-Assay Variation
| Step | Description | Reference Table
| 1 | Prepare the Pooled NIST QC sample containing equal volumes of the four NIST reference plasma you received.
| 2 | The pooled QC representing middle quality control (MQC), low QC (LQC), and lower limit of quantification QC (LLOQ) is prepared by diluting MQC (e.g. two- and three-fold) with water.
| 3 | High QC (HQC) and upper limit of quantification (ULOQ) QC are prepared by spiking in 10 µL and 20 µL respectively of STD3 endogenous standards from table | Extraction - Overview'!B34
| 4 | Internal standards are added to all QC samples.
Intra-Assay Variation
| 6 | The precision and accuracy of the assay is determined for each of the four ceramides measured in LLOQ, LQC, MQC, HQC, and HLOQ.
| 7 | Intra-assay variation, precision, and accuracy is calculated for each of the ceramide in replicates of six (n = 6) at each QC concentration independently on three separate occasions.
| 8 | The intra-assay precision (percentage coefficient variance, %CV) and accuracy (percentage accuracy, %Accuracy) are calculated from the nominal concentrations according to the formulas reported in corresponding sheets and tables of this document.
| 9 | Recovery estimation is not necessary for the published method but only for different ones. Stability estimation is not necessary for the published method but only for different ones. Calibration line is prepared in 5% BSA.

## #20a LC-MRM - Intra Assay QC
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 403305.619 | 446812.8853 | 466726.9907 | 214041.6792 | 247854.7381 | 269660.2106 | 2674176.2813 | 3091593.876 | 3043646.6103 | 2132161.9857 | 2544469.9049 | 2611729.4699 | 18455.0955 | 19733.0367 | 20778.3709 | 7238.0486 | 8534.0459 | 9143.3516 | 168923.8464 | 195125.4434 | 193072.5213 | 45528.9083 | 54081.6595 | 56707.5201
| STD 2 | 205300.3325 | 211459.4602 | 227469.1681 | 101948.6772 | 108497.9478 | 122978.7992 | 1287983.5902 | 1340789.1151 | 1474603.3308 | 1006165.2143 | 1053594.3391 | 1212984.152 | 19127.0711 | 18895.5574 | 20500.188 | 7005.7581 | 7334.4878 | 8256.9647 | 159638.1176 | 166951.0092 | 183869.162 | 42881.7711 | 45126.6917 | 52636.3684
| STD 3 | 23063.7472 | 23757.3229 | 25280.0941 | 11246.691 | 10668.4 | 11660.3459 | 144493.3274 | 134001.1285 | 137840.3723 | 110119.8587 | 107854.7935 | 115599.2554 | 23488.8731 | 21928.0754 | 23203.6109 | 8192.955 | 7676.1806 | 8501.5287 | 190850.6019 | 177015.3496 | 184172.3683 | 51397.1094 | 49670.9185 | 53612.6967
| STD 4 | 5196.617 | 5679.8173 | 5729.4014 | 2000.9166 | 2286.5409 | 2114.6515 | 25390.3922 | 27873.781 | 25533.6418 | 18340.0589 | 21035.6573 | 19735.359 | 22534.6523 | 23757.8788 | 24424.6953 | 7390.1471 | 8901.5184 | 8643.8145 | 181469.6556 | 199057.212 | 186490.3922 | 47978.9478 | 56188.0476 | 53813.1934
| STD 5 | 2932.0454 | 3153.1821 | 3403.5661 | 1108.9011 | 1312.3583 | 1384.353 | 15401.1602 | 12462.1121 | 16556.5786 | 9024.7375 | 8601.6661 | 10992.7347 | 21693.4475 | 21290.9286 | 24402.1063 | 7289.2134 | 7001.82 | 8579.7219 | 170160.2174 | 169251.7531 | 198735.9794 | 45579.1605 | 45889.2829 | 56435.8304
| STD 6 | 4271.8252 | 3781.1286 | 4888.6042 | 896.1426 | 868.1749 | 1031.8694 | 10533.1126 | 10780.5782 | 10893.8383 | 7178.2007 | 6587.3628 | 7455.4889 | 38290.0593 | 34357.3683 | 46066.4441 | 8189.4594 | 7370.8521 | 9280.681 | 192318.429 | 168228.1742 | 196996.1955 | 53302.3046 | 47726.1071 | 56880.7276
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 2563.1834 | 2928.3833 | 3249.4435 | 863.3731 | 1157.5268 | 1092.384 | 11842.8097 | 12733.5886 | 12826.2221 | 6725.9716 | 7162.4753 | 9011.8581 | 21622.2223 | 22543.9894 | 25289.8064 | 7727.0231 | 7983.1861 | 9954.0911 | 170029.8451 | 189031.4783 | 218364.2686 | 47726.4889 | 50438.7547 | 62725.7483
| STD 2 | 3048.3689 | 3550.5914 | 3542.2293 | 1119.0736 | 1554.7172 | 1350.775 | 15633.3833 | 17856.4977 | 15461.1941 | 8862.1461 | 10339.8674 | 10504.5388 | 22109.8263 | 25609.7566 | 24288.8821 | 7799.6407 | 9700.7954 | 9823.4449 | 179590.7376 | 212680.7055 | 199985.0151 | 49544.4941 | 58802.5077 | 58633.9705
| STD 3 | 5182.1793 | 5552.3704 | 6269.3719 | 1925.6302 | 2215.5093 | 2675.7268 | 24185.5293 | 29094.4797 | 31357.1442 | 16385.6209 | 19921.7418 | 22601.1086 | 21965.1099 | 23845.9786 | 25756.7731 | 7450.1282 | 9171.0307 | 10108.3866 | 164333.2884 | 202375.5071 | 214381.2332 | 46316.7839 | 56457.8596 | 61750.5159
| STD 4 | 22582.5938 | 24440.4489 | 24152.3536 | 10121.289 | 11993.9581 | 12936.3589 | 125079.0086 | 147300.5074 | 148508.0647 | 98550.9843 | 114375.8254 | 120368.6137 | 20423.4963 | 22985.1958 | 24294.9267 | 7407.5969 | 8633.9566 | 9533.1158 | 168074.0265 | 192089.0422 | 199246.8343 | 46177.861 | 54247.7045 | 57923.6687
| STD 5 | 216368.594 | 223262.3781 | 225931.6422 | 114595.4035 | 115607.4727 | 127592.1738 | 1350243.0408 | 1393077.6799 | 1460591.9662 | 1105218.659 | 1094320.5671 | 1221463.0038 | 19514.1203 | 19981.3453 | 20198.5352 | 7574.9196 | 7689.8951 | 8912.7007 | 165998.1775 | 170122.3012 | 178488.0199 | 46939.9965 | 46505.2222 | 52160.8405
| STD 6 | 616551.776 | 591118.2326 | 660579.597 | 213241.2242 | 216131.832 | 289033.5435 | 2696814.9846 | 2883309.6978 | 3420332.5943 | 2096718.4463 | 2198021.7148 | 2807652.799 | 31177.9062 | 30524.0878 | 33986.1913 | 7323.0179 | 7771.1552 | 10003.8268 | 168497.3638 | 180172.9288 | 217215.6136 | 46329.3179 | 48456.1779 | 62295.8635
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard.
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 9279.1786 | 11481.4331 | 12632.6874 | 3648.3461 | 4405.6045 | 4641.2918 | 145509.5121 | 157845.5871 | 163410.7764 | 37644.5325 | 44149.5581 | 48258.0531 | 8562.8394 | 9030.8073 | 10641.1684 | 8081.0011 | 8661.0567 | 9594.2669 | 184513.3422 | 201376.5717 | 210618.1704 | 50506.4848 | 55146.322 | 60167.8684
| SRM 2 | 9529.6662 | 12534.3542 | 11589.4916 | 3627.8701 | 4419.3614 | 4109.5354 | 149712.2083 | 146146.8723 | 134857.0604 | 36744.7578 | 44523.7059 | 39646.0703 | 8299.1867 | 9388.79 | 8621.9224 | 7809.5341 | 8691.3354 | 7736.8041 | 183997.1117 | 182867.0131 | 171328.5844 | 50662.4593 | 53766.0232 | 48464.5101
| SRM 3 | 12502.9712 | 11770.1298 | 12677.5288 | 4356.1291 | 4202.3728 | 4320.7429 | 171241.7492 | 160933.1383 | 160142.9242 | 46282.8132 | 43891.2861 | 46655.3983 | 8352.6573 | 7996.2744 | 8848.2376 | 8421.7515 | 7654.3542 | 8055.324 | 191863.7539 | 183029.3092 | 181434.9685 | 53351.1646 | 49839.9442 | 51551.6904
| SRM 4 | 11266.4711 | 10332.2747 | 13284.7345 | 3922.589 | 4192.155 | 4766.9216 | 142011.2214 | 151549.7766 | 167576.7583 | 39315.5736 | 39700.1938 | 48140.5293 | 7504.093 | 8453.7966 | 9407.169 | 6946.3189 | 7087.9773 | 8755.1736 | 165576.4697 | 176154.0681 | 196078.2151 | 45930.7675 | 48502.7687 | 55874.6996
| SRM 5 | 11727.732 | 11841.9746 | 12059.2985 | 3792.0701 | 4206.734 | 4119.0129 | 149684.3142 | 165822.8714 | 138307.5474 | 40783.6079 | 46144.1377 | 42239.1588 | 8283.2306 | 9185.9931 | 8811.931 | 7891.9191 | 8199.1426 | 8165.9658 | 185390.3077 | 199424.9846 | 169520.6624 | 49760.899 | 55665.6343 | 51237.5575
| SRM 6 | 12204.4469 | 8921.5016 | 10696.169 | 4467.3651 | 3920.5219 | 4456.0312 | 164445.6766 | 148213.9466 | 157296.993 | 46670.0378 | 37743.8196 | 46775.9961 | 8371.9398 | 7932.4505 | 9030.3752 | 8180.0575 | 7104.1732 | 8391.6089 | 190132.4573 | 165496.2375 | 183442.6184 | 52124.553 | 45660.7088 | 52896.4067
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 14747.1949 | 13557.8723 | 15280.6068 | 5725.0795 | 5105.3874 | 5949.5201 | 276257.7 | 235319.9727 | 273893.2038 | 73877.94 | 66870.8039 | 75220.1826 | 7909.6836 | 7489.9132 | 7961.4222 | 8485.5875 | 7825.9385 | 8413.3805 | 182840.7416 | 167229.1858 | 183805.8344 | 51610.6284 | 47514.8726 | 52128.2921
| hTAG 2 | 13254.7644 | 14306.0346 | 15858.1122 | 4743.4089 | 5185.1462 | 5836.8485 | 240529.5565 | 269928.0386 | 292626.3901 | 61559.2052 | 67836.6802 | 77528.8397 | 7388.7097 | 7738.1394 | 8543.4784 | 7103.9068 | 8175.1313 | 8935.6898 | 160443.8857 | 181320.9485 | 200839.1417 | 44276.6811 | 48642.7376 | 56147.5986
| hTAG 3 | 13493.6636 | 15014.1214 | 14485.5574 | 5006.6907 | 5652.1454 | 5275.1977 | 256676.1011 | 278876.8544 | 237011.7208 | 65778.7994 | 73200.5476 | 60018.619 | 7092.3425 | 7557.3814 | 7353.1351 | 6896.603 | 7931.5154 | 7289.8202 | 162322.8361 | 175475.8811 | 150856.3164 | 43430.4396 | 48456.1964 | 44862.3469
| hTAG 4 | 14460.1829 | 12414.5278 | 15675.539 | 5230.2723 | 4589.7886 | 5723.0115 | 257895.5276 | 226758.8288 | 271860.0774 | 71863.7853 | 57530.2998 | 71085.9891 | 8070.984 | 7211.1857 | 8588.853 | 8118.0149 | 6768.2661 | 8490.1785 | 182879.2042 | 157104.1632 | 189226.9154 | 51981.6511 | 42973.8376 | 52973.7441
| hTAG 5 | 12633.9773 | 12275.869 | 15783.1097 | 4757.3363 | 4505.2121 | 5825.1963 | 254193.9558 | 229725.1087 | 278427.9167 | 66066.8785 | 59897.01 | 74665.5694 | 7850.9028 | 7581.3873 | 8942.0197 | 7960.969 | 7269.1771 | 9117.0842 | 184632.6541 | 166277.4975 | 209936.1007 | 50530.8684 | 46956.5771 | 57829.2593
| hTAG 6 | 11594.4499 | 13947.1796 | 15282.3255 | 4715.8927 | 5273.1044 | 5438.0907 | 244092.2845 | 262235.3817 | 253309.2316 | 63834.7206 | 68295.3565 | 70480.098 | 7588.0709 | 7875.548 | 8827.3738 | 7347.9154 | 8151.272 | 8940.5355 | 173486.4169 | 185169.9342 | 180538.915 | 47123.5425 | 51009.6625 | 52763.7603
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 10621.6518 | 9696.8272 | 11277.6988 | 4285.7107 | 4327.7476 | 4910.1155 | 147929.7679 | 130167.1687 | 153529.8449 | 36595.7159 | 32018.4719 | 41860.2238 | 8932.8884 | 7963.7838 | 10362.826 | 7563.2249 | 7095.9956 | 8642.3036 | 179440.3495 | 157658.8758 | 193585.6252 | 49428.9466 | 44556.8739 | 55333.2935
| T1D 2 | 10693.5041 | 10730.9446 | 10824.7497 | 4884.7477 | 4549.2461 | 5378.2391 | 152975.5417 | 148917.3998 | 178988.2726 | 43111.8118 | 42538.218 | 50018.0388 | 9560.7702 | 9111.8029 | 10822.8595 | 8619.2144 | 7916.4391 | 10022.4375 | 193152.218 | 186589.4606 | 219381.7917 | 55116.372 | 51455.2484 | 62589.7496
| T1D 3 | 10899.1308 | 10841.124 | 11906.1499 | 4607.8503 | 4564.5852 | 5283.8626 | 147712.6611 | 151281.3338 | 162914.7157 | 42089.2922 | 40898.4066 | 47732.7377 | 8869.4466 | 9122.762 | 9948.3349 | 7794.85 | 7257.7167 | 9199.9032 | 182828.8114 | 180803.1221 | 201233.793 | 50833.6263 | 49694.2367 | 56444.009
| T1D 4 | 10128.0517 | 10997.642 | 10660.0945 | 4901.4458 | 4793.8122 | 5157.9916 | 168397.7868 | 155749.0824 | 162596.7962 | 44782.1353 | 45096.4888 | 41865.2668 | 8773.6402 | 8708.0742 | 9569.0036 | 8074.6783 | 8242.1713 | 8319.6711 | 197007.946 | 184156.3452 | 192119.5088 | 53217.1818 | 51257.3719 | 53835.7856
| T1D 5 | 10644.1414 | 11265.6258 | 12245.6791 | 4892.5936 | 4610.9374 | 5321.5236 | 159516.1272 | 152973.2628 | 157028.4778 | 42514.8062 | 43415.01 | 46497.6951 | 8705.1863 | 9468.4517 | 10389.1035 | 7903.155 | 8160.7772 | 8693.0904 | 187189.2976 | 180200.9397 | 189128.0896 | 50079.9058 | 51461.9996 | 55315.2587
| T1D 6 | 11078.8588 | 10673.9561 | 12552.6881 | 5347.0635 | 4845.6777 | 5624.1422 | 173362.9485 | 156420.4918 | 187290.3271 | 42242.9945 | 43630.4203 | 55150.4643 | 8571.9599 | 7898.0171 | 9564.126 | 8139.1738 | 7478.82 | 9315.5623 | 191195.1718 | 177495.3112 | 214464.5442 | 50839.2535 | 47576.5233 | 59984.5358
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 10082.814 | 9609.6162 | 7991.0525 | 2117.8787 | 2098.3368 | 2539.8337 | 99313.041 | 95763.9437 | 106585.2034 | 24795.799 | 25691.3361 | 28521.0062 | 13208.275 | 13218.4335 | 15273.4407 | 7854.7765 | 7461.8206 | 9082.3224 | 184182.8618 | 177499.0159 | 198270.3903 | 51387.7072 | 50353.1973 | 57222.0696
| yA-A 2 | 8819.9072 | 7519.0393 | 7761.1205 | 2486.8246 | 1845.5824 | 2686.8396 | 115571.1919 | 87161.8014 | 96399.3176 | 28856.051 | 23465.7824 | 23114.0553 | 10838.9374 | 10100.8764 | 11354.1418 | 8741.1803 | 7251.6216 | 7697.4598 | 206255.4699 | 154809.8647 | 172808.6419 | 57129.5893 | 44844.2118 | 48740.2799
| yA-A 3 | 8957.4583 | 8556.3845 | 9135.7841 | 2498.5827 | 2071.2431 | 2411.8958 | 104861.8548 | 91360.8587 | 107766.0924 | 27821.6907 | 23256.5876 | 28243.0486 | 11278.5618 | 11060.6696 | 12823.4776 | 8450.2291 | 6764.2416 | 8491.0987 | 184668.5649 | 158892.2555 | 191271.7079 | 53412.0509 | 43944.3736 | 55725.6304
| yA-A 4 | 8947.5291 | 8441.031 | 10410.4506 | 2420.2546 | 2498.1468 | 3006.9203 | 100631.0039 | 104382.8129 | 116777.6019 | 27800.2261 | 27899.3523 | 30994.6859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42.2104
| yA-A 5 | 9834.6109 | 5955.5788 | 9218.2133 | 2435.247 | 2230.1327 | 2698.7891 | 103745.0604 | 94671.5437 | 108658.2799 | 28776.5001 | 22798.8948 | 28450.7125 | 11444.1085 | 10380.6137 | 13006.753 | 7921.8336 | 7407.0433 | 8517.4653 | 192354.583 | 164796.1918 | 189187.1648 | 53628.0643 | 47200.0053 | 54409.987
| yA-A 6 | 9415.2439 | 6463.8974 | 9828.7269 | 2611.7693 | 2458.6373 | 2620.2477 | 102478.0982 | 105409.8731 | 108122.2515 | 26890.5639 | 27612.5106 | 27334.0382 | 10297.5469 | 10974.5355 | 11771.1324 | 8112.6682 | 7672.1881 | 8341.3841 | 174535.3116 | 176350.8451 | 185471.736 | 50447.8488 | 48262.8411 | 53592.4095
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard.
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LLQC 1 | 18382.7276 | 11982.841 | 14658.0411 | 6780.3708 | 5808.1751 | 2367.5566 | 190140.3975 | 193652.8725 | 66124.8671 | 66953.3049 | 53390.1306 | 18522.1846 | 32258.3089 | 25071.6775 | 25067.6359 | 33482.1184 | 25208.5443 | 11311.4472 | 512813.8772 | 526063.2419 | 192153.8276 | 193473.5703 | 149516.5332 | 61520.9057
| LLQC 2 | 12295.7866 | 12876.9974 | 13131.4622 | 4494.7259 | 4325.4159 | 3088.5427 | 165744.1903 | 163211.959 | 59141.8193 | 39407.9908 | 39773.0653 | 17065.7864 | 24660.9787 | 24257.8262 | 25266.17 | 21485.1144 | 21088.8748 | 11128.632 | 496265.5313 | 487597.4097 | 189639.9606 | 122637.0708 | 123933.76 | 61500.1139
| LLQC 3 | 12611.296 | 7118.2742 | 13371.7708 | 4652.9895 | 2246.7322 | 2134.1952 | 180278.715 | 90719.4205 | 52739.625 | 43852.5683 | 23266.0202 | 15137.7937 | 26814.4234 | 13671.7387 | 25969.4066 | 26543.5621 | 13221.7224 | 11364.7127 | 620680.1885 | 307121.0932 | 192673.1983 | 159104.4272 | 80671.9929 | 62229.2556
| LLQC 4 | 14463.126 | 13368.2825 | 13233.1454 | 5556.8317 | 4530.4314 | 2295.9626 | 210193.5797 | 184518.2197 | 61149.3082 | 53077.6253 | 45693.7945 | 17894.1989 | 27061.7326 | 25662.2012 | 25196.6477 | 26448.5228 | 22840.6064 | 11138.0062 | 612996.3783 | 532631.8576 | 190304.4643 | 159586.5501 | 137542.7578 | 60913.8225
| LLQC 5 | 11533.5067 | 9272.8831 | 12153.6834 | 4252.6697 | 3289.5062 | 2047.7163 | 168437.9398 | 148431.6884 | 52062.1542 | 42813.3445 | 36062.9236 | 15458.8318 | 25279.1317 | 20810.1608 | 24232.8041 | 25124.6946 | 20554.1952 | 11023.8618 | 556740.4312 | 496872.6137 | 184707.4085 | 147226.0008 | 127161.2879 | 61761.6114
| LLQC 6 | 12209.7708 | 13553.2279 | 10231.6645 | 4372.9557 | 5121.6297 | 2365.7936 | 184359.1138 | 201822.6343 | 58157.952 | 45909.8102 | 52885.3185 | 16614.5803 | 23960.8714 | 28513.0525 | 25138.4811 | 23486.3078 | 27254.2307 | 11053.0486 | 550605.5086 | 609765.1022 | 186092.4687 | 143512.3177 | 162652.9918 | 60846.9996
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| LQC 1 | 21462.786 | 11951.9854 | 6212.6275 | 9461.429 | 3556.5649 | 1574.6065 | 283341.9422 | 155310.1181 | 34086.4642 | 94405.7531 | 37126.6871 | 12256.4281 | 21987.8606 | 11180.4996 | 6688.9816 | 21875.8921 | 9578.2312 | 3889.868 | 433794.4569 | 234408.0814 | 55423.3615 | 141355.8021 | 58135.318 | 22370.6835
| LQC 2 | 17800.4239 | 13348.4998 | 7872.2277 | 5931.0191 | 4890.6194 | 2076.2201 | 236841.8193 | 196291.3575 | 49719.8606 | 71003.0387 | 48102.9649 | 16815.891 | 30923.0623 | 21750.2713 | 13167.9815 | 25640.6599 | 21214.3078 | 9260.9625 | 600791.7063 | 492714.3173 | 160303.058 | 184181.8611 | 126929.2959 | 50391.171
| LQC 3 | 18118.179 | 15182.5158 | 12861.2534 | 7046.2196 | 5786.2646 | 3214.0021 | 261935.3623 | 238269.9603 | 74506.2381 | 70587.2987 | 58646.6276 | 20770.5785 | 29292.8334 | 24029.8673 | 19521.7207 | 29730.0533 | 24699.2075 | 11409.8173 | 607113.4558 | 549043.79 | 185014.1771 | 162324.5154 | 140913.2001 | 56212.8563
| LQC 4 | 28691.6658 | 19968.9627 | 14899.8729 | 13351.1466 | 8898.9295 | 4463.2879 | 287029.8975 | 347146.4219 | 111877.5025 | 147106.5449 | 91708.667 | 32165.6099 | 30263.4331 | 20389.3269 | 16175.8796 | 34415.0612 | 24713.355 | 11097.9552 | 427458.9211 | 517723.5625 | 181043.3509 | 227073.5099 | 139468.6769 | 57508.9467
| LQC 5 | 23862.9417 | 16100.3106 | 14254.4617 | 10262.1342 | 6237.1616 | 3736.0754 | 277175.8244 | 250906.0092 | 92594.7148 | 91536.8041 | 64397.0006 | 26202.7843 | 28735.8274 | 18737.6137 | 19696.9288 | 30898.7137 | 21741.2769 | 10679.4658 | 566196.1922 | 463566.4792 | 183437.9107 | 171966.4326 | 120599.8327 | 57414.3873
| LQC 6 | 22022.4861 | 16023.8027 | 15896.1364 | 9199.3511 | 6444.8786 | 3767.9913 | 305656.8244 | 256380.4122 | 89033.2802 | 82984.0624 | 63506.567 | 25843.4978 | 29745.5223 | 20917.2837 | 22318.7752 | 31510.7941 | 22651.2401 | 10886.1228 | 611574.0028 | 510075.577 | 192221.6231 | 169263.8817 | 130902.9849 | 61531.7181
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 9591.9503 | 7847.798 | 7045.1696 | 3510.4049 | 3262.9495 | 3071.1603 | 148448.8146 | 135220.8143 | 115930.0261 | 37093.9741 | 36176.569 | 31525.9 | 8289.3725 | 8179.2625 | 6916.1746 | 8031.0061 | 8135.0834 | 6597.8259 | 193538.2308 | 179495.1543 | 150850.0006 | 51745.2256 | 49259.8962 | 42837.1673
| MQC 2 | 9858.9979 | 11008.1277 | 10759.2948 | 3830.3347 | 3990.8169 | 3829.3481 | 152244.7562 | 164965.6316 | 159937.0948 | 41841.156 | 44747.5989 | 42998.6963 | 7690.8801 | 8161.5469 | 8406.3699 | 7316.1584 | 7915.1756 | 7622.7964 | 169102.798 | 179904.2462 | 175667.4712 | 46829.0866 | 50988.9428 | 48775.2554
| MQC 3 | 10774.8475 | 8934.2818 | 11668.7356 | 3702.5035 | 4091.6779 | 4262.627 | 155475.7118 | 156159.7819 | 166713.0355 | 40620.5167 | 41851.2878 | 46366.3113 | 6205.6079 | 6499.789 | 7281.1185 | 5711.2398 | 5971.5273 | 6374.4633 | 132636.3269 | 132692.2302 | 141026.4892 | 35726.993 | 37370.2432 | 40678.7731
| MQC 4 | 8841.1379 | 12107.7356 | 12362.4914 | 3453.491 | 4312.4799 | 4664.5748 | 157311.7281 | 169065.8958 | 165921.9846 | 41040.9878 | 47693.8811 | 46744.4474 | 8607.8337 | 9286.6289 | 9955.8805 | 7329.0315 | 8501.3156 | 8846.1388 | 170232.3675 | 191471.3466 | 187315.8327 | 47906.4861 | 53859.8581 | 53668.2393
| MQC 5 | 8181.5502 | 8984.5648 | 10394.2309 | 3814.5874 | 3248.4438 | 3723.6303 | 143161.2216 | 131796.0188 | 149702.5971 | 37634.1854 | 34034.4481 | 40669.6679 | 8077.3594 | 7677.6532 | 8699.9001 | 8185.1372 | 7438.0289 | 8610.0724 | 187270.076 | 170758.4247 | 194427.4766 | 50916.7646 | 47140.7074 | 54297.2728
| MQC 6 | 9532.653 | 10804.7966 | 12485.2093 | 4070.9785 | 3978.7985 | 4911.7348 | 163054.896 | 161987.1204 | 185079.1894 | 41855.9006 | 43948.3394 | 50343.7442 | 7763.0164 | 7623.3208 | 9136.7047 | 7134.8718 | 7500.4108 | 8814.4663 | 176902.2402 | 172228.8073 | 201033.8122 | 46917.19 | 48243.8526 | 56554.3125
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HQC 1 | 39580.8912 | 21516.0085 | 21307.1748 | 31298.63 | 13202.6963 | 12216.991 | 802664.1863 | 312901.5641 | 205662.8981 | 313203.4232 | 123927.2054 | 96977.1617 | 19672.3895 | 10826.4598 | 13211.294 | 27621.4504 | 10782.3586 | 10449.4363 | 631796.528 | 241851.2782 | 178609.3786 | 164984.7635 | 65264.3419 | 57951.8347
| HQC 2 | 30265.0665 | 28461.838 | 26197.0338 | 30173.3682 | 29423.283 | 12266.4165 | 757311.3678 | 725507.0184 | 222865.8051 | 298033.3395 | 275479.3574 | 96932.6163 | 14933.7376 | 14077.1102 | 13834.7974 | 26628.4907 | 25152.2364 | 10488.5216 | 575816.5457 | 555435.5241 | 186610.4257 | 154311.309 | 141577.7202 | 56923.4447
| HQC 3 | 38369.1429 | 37158.7241 | 28526.2703 | 31918.8911 | 30737.0841 | 12967.5504 | 782846.4481 | 716664.027 | 220851.4046 | 306897.1759 | 292762.0814 | 98737.6822 | 19163.9946 | 18894.871 | 16151.5119 | 28892.0856 | 27105.262 | 11247.0756 | 626277.2322 | 585929.76 | 193677.6093 | 167159.4551 | 158864.0956 | 61536.4958
| HQC 4 | 39224.0674 | 30367.8062 | 26794.8035 | 32840.209 | 21078.0152 | 12692.9216 | 768830.1833 | 498899.3103 | 221445.9527 | 317944.2459 | 208417.5986 | 95642.2754 | 19976.059 | 15457.1416 | 14945.9751 | 30011.1584 | 19056.9474 | 10991.9404 | 627229.4929 | 413824.8892 | 193616.8415 | 171505.5564 | 111553.1348 | 58817.7249
| HQC 5 | 38252.4779 | 38598.4833 | 25602.2235 | 32437.5435 | 31426.4167 | 12786.2828 | 745632.5083 | 727841.9663 | 222439.5337 | 306028.0117 | 304566.3064 | 99388.7273 | 20146.007 | 19161.9247 | 13905.4332 | 28343.6643 | 27645.1339 | 10715.3582 | 599647.4313 | 566354.7263 | 191250.5126 | 162524.7151 | 158992.415 | 58967.3343
| HQC 6 | 39195.6743 | 32766.6533 | 27219.2106 | 31610.7467 | 25145.7152 | 12075.8216 | 766485.5872 | 555888.9802 | 221372.6196 | 300556.8647 | 227562.8081 | 95435.5129 | 19686.2873 | 16249.3229 | 14704.3377 | 27915.4291 | 21179.1108 | 10715.3865 | 595715.0645 | 436260.9189 | 186089.5738 | 156779.7188 | 117319.447 | 57770.7157
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| HLQC 1 | 36317.0332 | 31594.5981 | 32258.8676 | 44129.3206 | 45179.4979 | 19259.5683 | 849029.3461 | 899710.135 | 285410.7689 | 398998.2254 | 425067.9148 | 149795.2002 | 14311.4124 | 13983.1989 | 13540.989 | 24939.2903 | 25659.8584 | 10897.3019 | 524968.2854 | 554262.0897 | 192061.109 | 139015.6703 | 146998.9684 | 58591.2212
| HLQC 2 | 47044.288 | 47611.8187 | 31102.6596 | 47585.1352 | 45494.7572 | 19654.5196 | 974687.8694 | 827912.5825 | 286765.0382 | 450108.6143 | 412119.2752 | 152779.2993 | 17689.1536 | 18285.7353 | 13201.0601 | 26928.0977 | 25949.5236 | 10515.3867 | 590314.8737 | 508054.9756 | 186610.083 | 151487.3358 | 137904.8923 | 57439.362
| HLQC 3 | 54191.9477 | 0 | 32945.5979 | 56304.558 | 0 | 20306.5775 | 1104956.2096 | 6004.236 | 289922.1779 | 560429.7512 | 0 | 155955.6955 | 20090.3097 | 0 | 12871.9867 | 30215.3181 | 0 | 10139.206 | 640067.9043 | 576.4775 | 182494.3951 | 178490.9898 | 0 | 55792.1813
| HLQC 4 | 53042.4972 | 24476.6354 | 32636.0258 | 52774.4289 | 20880.4042 | 19730.316 | 995345.8898 | 469932.4285 | 286677.1044 | 505626.7861 | 220860.4532 | 153298.6893 | 19698.3738 | 11158.2679 | 13428.569 | 28078.9561 | 12440.4598 | 10476.0654 | 602146.6641 | 279193.845 | 185490.4329 | 167804.3311 | 72440.9211 | 56301.7001
| HLQC 5 | 64724.3477 | 66119.6471 | 30395.5913 | 53566.1364 | 50142.4449 | 19697.5789 | 946928.7017 | 904155.8054 | 286718.3187 | 472128.4189 | 446597.0662 | 153222.0527 | 18551.8023 | 18223.9098 | 13555.1062 | 28186.0067 | 25526.7476 | 10533.6492 | 581287.8506 | 541263.6001 | 188123.9945 | 160631.8208 | 149160.2751 | 57787.7494
| HLQC 6 | 51228.1355 | 46582.5112 | 27965.3862 | 51526.2722 | 46224.1558 | 19157.6607 | 1031720.4088 | 857263.695 | 286722.1678 | 503162.9441 | 418793.4516 | 154291.1072 | 18960.1274 | 17338.3598 | 12863.3117 | 28582.7531 | 25300.7794 | 10213.7536 | 620779.6674 | 508702.1735 | 183358.8469 | 166323.5848 | 137750.406 | 56435.967
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Total Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 346.7911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.5792
| Total Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127.1139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.732
| Total Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105.6294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100.4743
| Matrix Blank | 9709.3958 | 9586.7613 | 10082.8311 | 3799.5374 | 4627.6658 | 4376.768 | 162960.7166 | 172295.9165 | 168844.6795 | 41242.5991 | 47501.2959 | 46948.2195 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.79
| Matrix Blank | 8243.9172 | 9336.068 | 13028.4159 | 3713.9609 | 4105.2309 | 4953.0108 | 154369.1634 | 164804.2109 | 171894.1738 | 41974.0504 | 43100.7157 | 53225.3722 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56.4842

## Orig 20b LC-MRM - Intra Assay
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 443432.0273 | 433269.0958 | 445135.6858 | 447902.6754 | 432587.2824 | 431058.6278 | 5317345.0006 | 5279514.7357 | 5142048.5408 | 4172921.2224 | 4000373.7412 | 4180361.6246 | 19955.3788 | 19005.4888 | 19808.1686 | 17116.8957 | 16406.9593 | 16598.016 | 368897.7271 | 366835.9469 | 355205.3508 | 98478.4769 | 94440.9339 | 96704.7981
| STD 2 | 213107.7795 | 184374.205 | 215612.5576 | 211348.6358 | 202274.3064 | 215893.6675 | 2651763.6613 | 2369822.2453 | 2851007.4969 | 2013188.6857 | 1819472.1887 | 2174547.4597 | 19878.644 | 18531.2779 | 19457.4979 | 16350.6114 | 15389.8163 | 16756.4759 | 379682.6965 | 338748.7374 | 404558.1461 | 98288.2012 | 87195.8547 | 105612.9665
| STD 3 | 24065.5146 | 20500.2535 | 24383.0541 | 22710.0716 | 19857.9555 | 23245.7983 | 309485.0989 | 273184.3314 | 317588.2927 | 223856.8557 | 191499.4841 | 228599.8659 | 21968.989 | 19222.9297 | 22150.7017 | 18907.7317 | 15638.8981 | 18851.6934 | 429415.737 | 379600.4275 | 438491.9556 | 112075.3804 | 95533.0838 | 112227.1944
| STD 4 | 5745.9427 | 5840.8952 | 5386.5071 | 4918.3169 | 4695.4782 | 2005.232 | 60692.9452 | 62178.2274 | 14112.2269 | 40805.9226 | 40644.3964 | 11344.6475 | 22814.2716 | 22190.9915 | 15259.6623 | 18916.9814 | 19101.104 | 7053.5547 | 434074.433 | 449675.1021 | 88536.4571 | 112671.2176 | 113457.5395 | 35108.2437
| STD 5 | 3474.4228 | 3893.8517 | 3969.8955 | 2623.7133 | 2956.9842 | 2841.2245 | 32991.8817 | 31834.7588 | 33150.9101 | 19758.3198 | 20085.5807 | 20394.8907 | 18482.1092 | 19114.1721 | 19891.2503 | 15513.2547 | 16098.5637 | 15957.4985 | 371594.283 | 364220.537 | 370808.7906 | 89469.1518 | 90824.152 | 93947.6941
| STD 6 | 3291.2989 | 2910.7773 | 2449.8092 | 2554.94 | 1976.4572 | 1473.5741 | 27174.8735 | 23315.8459 | 15518.9682 | 15918.4679 | 14063.3273 | 8418.1082 | 20991.8878 | 17635.7151 | 10746.7567 | 17353.0988 | 14855.7275 | 8745.82 | 400642.7699 | 352334.5849 | 204001.1187 | 100901.9032 | 87562.2501 | 50738.5713
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard.
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 16397.25 | 16230.2439 | 9210.5205 | 9593.8418 | 8207.3259 | 3847.8036 | 308248.5742 | 283306.3678 | 143179.6476 | 85290.4444 | 77063.3783 | 39766.28 | 12440.0321 | 11404.4929 | 7029.2813 | 17427.3834 | 15991.0091 | 7037.7304 | 361393.8333 | 334664.3531 | 168476.1517 | 95299.1332 | 85485.8713 | 45075.6833
| SRM 2 | 20786.9408 | 21596.9186 | 8578.3842 | 8568.7831 | 9555.2311 | 2455.4968 | 299482.5289 | 320706.6072 | 95509.7762 | 85169.7609 | 88390.7749 | 25917.4416 | 13237.2475 | 14362.2463 | 5735.0203 | 16513.1915 | 17102.3129 | 4709.2482 | 361996.6018 | 374167.8231 | 109879.535 | 93621.8872 | 98189.9314 | 29016.1273
| SRM 3 | 21766.2025 | 19905.0868 | 7287.6103 | 8582.0417 | 8557.8229 | 1831.5997 | 300298.4392 | 287550.5032 | 64539.3199 | 84497.8945 | 78424.4513 | 15553.436 | 15113.4015 | 14499.3293 | 5832.5354 | 18256.0624 | 16645.7359 | 4240.2148 | 381651.0702 | 361644.7076 | 85156.3522 | 103628.8428 | 95417.5071 | 21832.476
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 21169.8457 | 20331.3117 | 15049.5061 | 9676.2258 | 10492.3412 | 5209.9154 | 468773.9019 | 446209.6114 | 219425.9108 | 118614.6854 | 111807.8819 | 55679.7431 | 13025.9144 | 12322.0391 | 9420.0817 | 17401.1558 | 17335.4798 | 7843.6251 | 387925.5621 | 368101.2749 | 178188.0302 | 96953.081 | 93035.8897 | 45220.796
| hTAG 2 | 18328.7885 | 16964.0466 | 9201.9809 | 10491.5467 | 10160.7734 | 3551.0829 | 421186.6978 | 401280.3338 | 172826.4726 | 106181.8416 | 104661.293 | 44797.1494 | 10499.0238 | 10518.9757 | 6213.0565 | 17368.9388 | 16553.6154 | 6240.7539 | 371343.138 | 336614.6556 | 142182.1236 | 94973.0405 | 88812.0477 | 38729.0656
| hTAG 3 | 24889.4702 | 20578.8815 | 11446.2239 | 10444.5565 | 9281.818 | 4148.8623 | 499340.973 | 434546.5578 | 213564.9681 | 135529.3642 | 112657.1136 | 54171.0153 | 14562.1577 | 12563.6041 | 7104.7005 | 19042.849 | 16181.9952 | 6996.5304 | 402105.3306 | 344164.0202 | 168245.0083 | 110202.1902 | 90960.7048 | 44196.2116
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 20106.7772 | 14554.6202 | 16581.5326 | 10345.9989 | 9224.6961 | 10321.0775 | 306626.355 | 284793.8236 | 314321.7078 | 85113.1291 | 77303.4502 | 87277.4069 | 14955.7961 | 13906.8587 | 15945.2065 | 17861.7163 | 16497.0654 | 18814.6237 | 380688.5352 | 349683.7493 | 390075.653 | 101039.1438 | 91969.5237 | 102112.0607
| T1D 2 | 19087.2759 | 18669.6134 | 17820.0902 | 10051.9931 | 9973.8784 | 9679.5934 | 307480.0633 | 303128.0518 | 283536.9116 | 82230.6787 | 82935.8159 | 75211.6561 | 14920.3846 | 15037.4186 | 14208.9554 | 17503.9745 | 17743.7604 | 16359.9082 | 385416.9061 | 376090.8643 | 352148.6421 | 98294.5017 | 97542.815 | 87981.2815
| T1D 3 | 17857.2833 | 18425.6857 | 15921.5824 | 9543.5565 | 8901.8083 | 6852.8395 | 298290.0747 | 257587.3064 | 211399.3696 | 83208.9676 | 71524.3923 | 57444.6545 | 14659.6388 | 13392.8448 | 12601.7162 | 16338.8151 | 15044.7864 | 11697.5617 | 354316.7259 | 304230.4937 | 247989.5731 | 94134.5927 | 83488.7537 | 65140.3802
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 12379.1614 | 13507.2063 | 4103.2817 | 4785.9691 | 4637.7459 | 811.1441 | 199442.1718 | 200588.265 | 33276.7824 | 52160.603 | 49808.4153 | 7695.2211 | 16294.0516 | 15946.0521 | 4663.1884 | 16383.6126 | 15787.5952 | 2710.1958 | 340205.8156 | 343910.4983 | 57943.4483 | 94069.5254 | 91545.2176 | 16114.7341
| yA-A 2 | 10966.9448 | 13888.3149 | 7239.7404 | 4057.4867 | 4525.1178 | 1721.8101 | 152725.036 | 153995.3308 | 70466.0293 | 35736.8067 | 40979.9485 | 17502.5193 | 15135.0964 | 17006.4729 | 8172.1836 | 13421.3801 | 14834.3545 | 6033.2246 | 280375.2774 | 283560.4122 | 126652.1388 | 73609.7604 | 78694.8418 | 35717.1511
| yA-A 3 | 11633.642 | 11700.5697 | 7512.1422 | 3951.2642 | 3906.1017 | 2153.6902 | 161559.645 | 155060.5978 | 80269.576 | 41452.4825 | 40848.6412 | 20588.5977 | 14379.4931 | 13750.6458 | 8155.0311 | 13440.8369 | 13115.6927 | 6228.4707 | 281504.3275 | 267827.8364 | 136757.7024 | 76535.3865 | 72848.7682 | 36413.5085
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard.
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 17090.2159 | 14588.9183 | 16505.3911 | 8466.2064 | 8115.2489 | 7742.6615 | 304325.6466 | 285881.772 | 263904.5324 | 83422.2354 | 75723.4517 | 72827.3222 | 11636.2958 | 10734.52 | 11824.8474 | 17702.3931 | 17018.1579 | 16406.4666 | 348917.2672 | 330792.1631 | 304166.8847 | 94988.6451 | 87490.4116 | 83738.3972
| MQC 2 | 24405.3086 | 20925.8085 | 17818.0979 | 10800.7253 | 9091.3911 | 8714.9459 | 344470.0861 | 321334.2544 | 304175.2752 | 90315.6911 | 84521.7054 | 79052.8481 | 15944.5053 | 14958.0922 | 13971.076 | 18277.8427 | 17375.2327 | 17240.2663 | 403092.9136 | 377914.3082 | 357949.6564 | 106171.245 | 100596.5598 | 92970.8894
| MQC 3 | 19952.7687 | 16450.9943 | 16921.065 | 8936.4972 | 7932.1335 | 8460.8326 | 335916.791 | 296552.2418 | 322673.7301 | 88229.9035 | 80509.9961 | 85663.0422 | 15891.5005 | 14822.4134 | 15570.9703 | 18611.6723 | 16922.9629 | 18407.2165 | 397491.3226 | 351143.1225 | 382273.6695 | 103906.6598 | 94619.0327 | 99700.1032
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Total Blank | 0 | 0 | 0 | 0 | 0 | 0 | 6552.6593 | 5897.0223 | 4251.4346 | 0 | 0 | 417.8025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.6036
| Matrix Blank | 15685.5847 | 14433.9404 | 15057.6032 | 7511.6479 | 8018.5834 | 7628.1262 | 297709.8365 | 263766.6739 | 270822.1659 | 78171.5759 | 68884.5217 | 71669.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 232.5828 | 0 | 0 | 0 | 68.1247

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 443432.0273 | 433269.0958 | 445135.6858 | 447902.6754 | 432587.2824 | 431058.6278 | 5317345.0006 | 5279514.7357 | 5142048.5408 | 4172921.2224 | 4000373.7412 | 4180361.6246 | 19955.3788 | 19005.4888 | 19808.1686 | 17116.8957 | 16406.9593 | 16598.016 | 368897.7271 | 366835.9469 | 355205.3508 | 98478.4769 | 94440.9339 | 96704.7981
| STD 2 | 213107.7795 | 184374.205 | 215612.5576 | 211348.6358 | 202274.3064 | 215893.6675 | 2651763.6613 | 2369822.2453 | 2851007.4969 | 2013188.6857 | 1819472.1887 | 2174547.4597 | 19878.644 | 18531.2779 | 19457.4979 | 16350.6114 | 15389.8163 | 16756.4759 | 379682.6965 | 338748.7374 | 404558.1461 | 98288.2012 | 87195.8547 | 105612.9665
| STD 3 | 24065.5146 | 20500.2535 | 24383.0541 | 22710.0716 | 19857.9555 | 23245.7983 | 309485.0989 | 273184.3314 | 317588.2927 | 223856.8557 | 191499.4841 | 228599.8659 | 21968.989 | 19222.9297 | 22150.7017 | 18907.7317 | 15638.8981 | 18851.6934 | 429415.737 | 379600.4275 | 438491.9556 | 112075.3804 | 95533.0838 | 112227.1944
| STD 4 | 5745.9427 | 5840.8952 | 5386.5071 | 4918.3169 | 4695.4782 | 2005.232 | 60692.9452 | 62178.2274 | 14112.2269 | 40805.9226 | 40644.3964 | 11344.6475 | 22814.2716 | 22190.9915 | 15259.6623 | 18916.9814 | 19101.104 | 7053.5547 | 434074.433 | 449675.1021 | 88536.4571 | 112671.2176 | 113457.5395 | 35108.2437
| STD 5 | 3474.4228 | 3893.8517 | 3969.8955 | 2623.7133 | 2956.9842 | 2841.2245 | 32991.8817 | 31834.7588 | 33150.9101 | 19758.3198 | 20085.5807 | 20394.8907 | 18482.1092 | 19114.1721 | 19891.2503 | 15513.2547 | 16098.5637 | 15957.4985 | 371594.283 | 364220.537 | 370808.7906 | 89469.1518 | 90824.152 | 93947.6941
| STD 6 | 3291.2989 | 2910.7773 | 2449.8092 | 2554.94 | 1976.4572 | 1473.5741 | 27174.8735 | 23315.8459 | 15518.9682 | 15918.4679 | 14063.3273 | 8418.1082 | 20991.8878 | 17635.7151 | 10746.7567 | 17353.0988 | 14855.7275 | 8745.82 | 400642.7699 | 352334.5849 | 204001.1187 | 100901.9032 | 87562.2501 | 50738.5713
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard.
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
STD 1
STD 2
STD 3
STD 4
STD 5
STD 6
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard.
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 16397.25 | 16230.2439 | 9210.5205 | 9593.8418 | 8207.3259 | 3847.8036 | 308248.5742 | 283306.3678 | 143179.6476 | 85290.4444 | 77063.3783 | 39766.28 | 12440.0321 | 11404.4929 | 7029.2813 | 17427.3834 | 15991.0091 | 7037.7304 | 361393.8333 | 334664.3531 | 168476.1517 | 95299.1332 | 85485.8713 | 45075.6833
| SRM 2 | 20786.9408 | 21596.9186 | 8578.3842 | 8568.7831 | 9555.2311 | 2455.4968 | 299482.5289 | 320706.6072 | 95509.7762 | 85169.7609 | 88390.7749 | 25917.4416 | 13237.2475 | 14362.2463 | 5735.0203 | 16513.1915 | 17102.3129 | 4709.2482 | 361996.6018 | 374167.8231 | 109879.535 | 93621.8872 | 98189.9314 | 29016.1273
| SRM 3 | 21766.2025 | 19905.0868 | 7287.6103 | 8582.0417 | 8557.8229 | 1831.5997 | 300298.4392 | 287550.5032 | 64539.3199 | 84497.8945 | 78424.4513 | 15553.436 | 15113.4015 | 14499.3293 | 5832.5354 | 18256.0624 | 16645.7359 | 4240.2148 | 381651.0702 | 361644.7076 | 85156.3522 | 103628.8428 | 95417.5071 | 21832.476
SRM 4
SRM 5
SRM 6
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 21169.8457 | 20331.3117 | 15049.5061 | 9676.2258 | 10492.3412 | 5209.9154 | 468773.9019 | 446209.6114 | 219425.9108 | 118614.6854 | 111807.8819 | 55679.7431 | 13025.9144 | 12322.0391 | 9420.0817 | 17401.1558 | 17335.4798 | 7843.6251 | 387925.5621 | 368101.2749 | 178188.0302 | 96953.081 | 93035.8897 | 45220.796
| hTAG 2 | 18328.7885 | 16964.0466 | 9201.9809 | 10491.5467 | 10160.7734 | 3551.0829 | 421186.6978 | 401280.3338 | 172826.4726 | 106181.8416 | 104661.293 | 44797.1494 | 10499.0238 | 10518.9757 | 6213.0565 | 17368.9388 | 16553.6154 | 6240.7539 | 371343.138 | 336614.6556 | 142182.1236 | 94973.0405 | 88812.0477 | 38729.0656
| hTAG 3 | 24889.4702 | 20578.8815 | 11446.2239 | 10444.5565 | 9281.818 | 4148.8623 | 499340.973 | 434546.5578 | 213564.9681 | 135529.3642 | 112657.1136 | 54171.0153 | 14562.1577 | 12563.6041 | 7104.7005 | 19042.849 | 16181.9952 | 6996.5304 | 402105.3306 | 344164.0202 | 168245.0083 | 110202.1902 | 90960.7048 | 44196.2116
hTAG 4
hTAG 5
hTAG 6
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 20106.7772 | 14554.6202 | 16581.5326 | 10345.9989 | 9224.6961 | 10321.0775 | 306626.355 | 284793.8236 | 314321.7078 | 85113.1291 | 77303.4502 | 87277.4069 | 14955.7961 | 13906.8587 | 15945.2065 | 17861.7163 | 16497.0654 | 18814.6237 | 380688.5352 | 349683.7493 | 390075.653 | 101039.1438 | 91969.5237 | 102112.0607
| T1D 2 | 19087.2759 | 18669.6134 | 17820.0902 | 10051.9931 | 9973.8784 | 9679.5934 | 307480.0633 | 303128.0518 | 283536.9116 | 82230.6787 | 82935.8159 | 75211.6561 | 14920.3846 | 15037.4186 | 14208.9554 | 17503.9745 | 17743.7604 | 16359.9082 | 385416.9061 | 376090.8643 | 352148.6421 | 98294.5017 | 97542.815 | 87981.2815
| T1D 3 | 17857.2833 | 18425.6857 | 15921.5824 | 9543.5565 | 8901.8083 | 6852.8395 | 298290.0747 | 257587.3064 | 211399.3696 | 83208.9676 | 71524.3923 | 57444.6545 | 14659.6388 | 13392.8448 | 12601.7162 | 16338.8151 | 15044.7864 | 11697.5617 | 354316.7259 | 304230.4937 | 247989.5731 | 94134.5927 | 83488.7537 | 65140.3802
T1D 4
T1D 5
T1D 6
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 12379.1614 | 13507.2063 | 4103.2817 | 4785.9691 | 4637.7459 | 811.1441 | 199442.1718 | 200588.265 | 33276.7824 | 52160.603 | 49808.4153 | 7695.2211 | 16294.0516 | 15946.0521 | 4663.1884 | 16383.6126 | 15787.5952 | 2710.1958 | 340205.8156 | 343910.4983 | 57943.4483 | 94069.5254 | 91545.2176 | 16114.7341
| yA-A 2 | 10966.9448 | 13888.3149 | 7239.7404 | 4057.4867 | 4525.1178 | 1721.8101 | 152725.036 | 153995.3308 | 70466.0293 | 35736.8067 | 40979.9485 | 17502.5193 | 15135.0964 | 17006.4729 | 8172.1836 | 13421.3801 | 14834.3545 | 6033.2246 | 280375.2774 | 283560.4122 | 126652.1388 | 73609.7604 | 78694.8418 | 35717.1511
| yA-A 3 | 11633.642 | 11700.5697 | 7512.1422 | 3951.2642 | 3906.1017 | 2153.6902 | 161559.645 | 155060.5978 | 80269.576 | 41452.4825 | 40848.6412 | 20588.5977 | 14379.4931 | 13750.6458 | 8155.0311 | 13440.8369 | 13115.6927 | 6228.4707 | 281504.3275 | 267827.8364 | 136757.7024 | 76535.3865 | 72848.7682 | 36413.5085
yA-A 4
yA-A 5
yA-A 6
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard.
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
LLQC 1
LLQC 2
LLQC 3
LLQC 4
LLQC 5
LLQC 6
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
LQC 1
LQC 2
LQC 3
LQC 4
LQC 5
LQC 6
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| MQC 1 | 17090.2159 | 14588.9183 | 16505.3911 | 8466.2064 | 8115.2489 | 7742.6615 | 304325.6466 | 285881.772 | 263904.5324 | 83422.2354 | 75723.4517 | 72827.3222 | 11636.2958 | 10734.52 | 11824.8474 | 17702.3931 | 17018.1579 | 16406.4666 | 348917.2672 | 330792.1631 | 304166.8847 | 94988.6451 | 87490.4116 | 83738.3972
| MQC 2 | 24405.3086 | 20925.8085 | 17818.0979 | 10800.7253 | 9091.3911 | 8714.9459 | 344470.0861 | 321334.2544 | 304175.2752 | 90315.6911 | 84521.7054 | 79052.8481 | 15944.5053 | 14958.0922 | 13971.076 | 18277.8427 | 17375.2327 | 17240.2663 | 403092.9136 | 377914.3082 | 357949.6564 | 106171.245 | 100596.5598 | 92970.8894
| MQC 3 | 19952.7687 | 16450.9943 | 16921.065 | 8936.4972 | 7932.1335 | 8460.8326 | 335916.791 | 296552.2418 | 322673.7301 | 88229.9035 | 80509.9961 | 85663.0422 | 15891.5005 | 14822.4134 | 15570.9703 | 18611.6723 | 16922.9629 | 18407.2165 | 397491.3226 | 351143.1225 | 382273.6695 | 103906.6598 | 94619.0327 | 99700.1032
MQC 4
MQC 5
MQC 6
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
HQC 1
HQC 2
HQC 3
HQC 4
HQC 5
HQC 6
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
HLQC 1
HLQC 2
HLQC 3
HLQC 4
HLQC 5
HLQC 6
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Total Blank | 0 | 0 | 0 | 0 | 0 | 0 | 6552.6593 | 5897.0223 | 4251.4346 | 0 | 0 | 417.8025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.6036
Total Blank
Total Blank
| Matrix Blank | 15685.5847 | 14433.9404 | 15057.6032 | 7511.6479 | 8018.5834 | 7628.1262 | 297709.8365 | 263766.6739 | 270822.1659 | 78171.5759 | 68884.5217 | 71669.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 232.5828 | 0 | 0 | 0 | 68.1247
Matrix Blank

## Raw Peak Areas
Sample_Name | Cer d18:1/16:0 [M>264] | Cer d18:1/16:0-d7 [M>264] | Cer d18:1/18:0 [M>264] | Cer d18:1/18:0-d7 [M>264] | Cer d18:1/24:0 [M>264] | Cer d18:1/24:0-d7 [M>264] | Cer d18:1/24:1 [M>264] | Cer d18:1/24:1-d7 [M>264]
Total Blank 1
Matrix blank
Calibration line 1 from STD6 to 1 (n=3)
[…]
Pooled QC
Pooled QC
SRM 1950-1
SRM 1950-2
SRM 1950-3
SRM 1950-4
SRM 1950-5
SRM 1950-6
Pooled QC
Pooled QC
T1D-1
T1D-2
T1D-3
T1D-4
T1D-5
T1D-6
Total Blank 2
Pooled QC
Pooled QC
Young AA-1
Young AA-2
Young AA-3
Young AA-4
Young AA-5
Young AA-6
Pooled QC
Pooled QC
hTAG-1
hTAG-2
hTAG-3
hTAG-4
hTAG-5
hTAG-6
Pooled QC
Pooled QC
Calibration line 2 from STD1 to 6 (n=3)
[…]
Matrix blank
Total Blank 3