## Participant Information
Participant Information
Participant Information |  | Group Name
Lab code
| Institution | Institution name
Street
City
Postal code
Country
| Contact person | Name
Address
Email
Phone

## Extraction Overview
Extraction Overview
Extraction Overview | Table 1 - Extraction - Materials
Chemicals, solvents and materials
Chloroform (CHCl3)
2-propanol (IPA; C3H8O)
Methanol (MeOH; CH3OH)
Ethyl acetate (EtAc; C4H8O2)
Ammonium acetate (AmAc; C2H7NO2)
Ammonium formate (AmFo; CH5NO2)
Methylamine (MA; CH5N)
5% Bovine Serum Albumin (BSA)
Table 2 - Extraction - Sample Types
| Sample type | Components
| Pooled Quality Control samples (QC) | 10 µL pooled plasma QC |  |  | 60 µL Labelled-IS
| Matrix Blank (MB) | 10 µL 5% BSA |  |  | 60 µL Labelled-IS
| Study Samples (S) | 10 µL human plasma (NIST SRM1950, high TAG, T1D, young AA) |  |  | 60 µL Labelled-IS
| Internal Standard Blank (ISB) | - |  |  | 60 µL Labelled-IS
| Solvent Blank (SB) | - |  |  | -
| Calibration line standards (STD) | 10 µL 5% BSA + 20 µL non-labelled STDx mixture (Table 5) |  |  | 60 µL Labelled-IS
Table 3 - Extraction - Labelled Internal Standard Mixture Solution (provided)
| Labelled IS mixture in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| D7-Cer d18:1/16:0 | 0.125 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| D7-Cer d18:1/18:0 | 0.050
| D7-Cer d18:1/24:0 | 1500
| D7-Cer d18:1/24:1 | 0.500
Table 4 - Extraction - Non-Labelled Standards - for STD1 Mixture Solution (provided)
| Non-labelled standards in EtAc:IPA 2:8 (v/v) | Concentration |  |  |  |  | Unit | Vendor
| Cer d18:1/16:0 | 2.0 |  |  |  |  | pmol/µL [µM] | Avanti Polar Lipids
| Cer d18:1/18:0 | 2.0
| Cer d18:1/24:0 | 20.0
| Cer d18:1/24:1 | 20.0
Table 5 - Serial dilutions of Non-Labelled Standards from STD1 Mixture Solution for calibration line
| Add 20 µL of | STD1 Conc. | STD2 Conc. | STD3 Conc. | STD4 Conc. | STD5 Conc. | STD6 Conc. | Unit
| Cer d18:1/16:0 | 2.0 | 1.0 | 0.4 | 0.2 | 0.04 | 0.01 | pmol/µL [µM]
| Cer d18:1/18:0 | 2.0 | 1.0 | 0.4 | 0.2 | 0.04 | 0.01
| Cer d18:1/24:0 | 20.0 | 10.0 | 4 | 2 | 0.4 | 0.1
| Cer d18:1/24:1 | 20.0 | 10.0 | 4 | 2 | 0.4 | 0.1

## Extraction Procedure
Extraction Procedure
Extraction Procedure | Extraction Procedure
| Step | Description | Reference Table
| 1 | Prepare different dilutions of STD1 by diluting the provided mixture (Table 4) with EtAc:IPA 2:8 as suggested in Table 5.
| 2 | Thaw plasma samples on ice (+4°C) and bring them to room temperature prior to extraction.
| 3 | Prepare samples in glass centrifuge tubes. Addition of 60 µL of the labelled internal standard mixture (Table 3) and for the calibration line 20 µL of the provided non-labelled STD mixture (Table 5) prior to sample addition. Solvent of standards was removed by vacuum centrifugation.
| 4 | A volume of 10 µL plasma or 10 µL 5% BSA was added. Extraction according to the procedure described by Bligh and Dyer. Addition of 790 µL (800 µL for samples without matrix) H2O and 3 mL of B&D solution (MeOH/CHCl3 2:1; v/v). Vortex 10 sec and incubate for 1 h at room temperature.
| 5 | Addition of 1 mL H2O and 1 mL CHCl3, vortex and centrifuge for 10 min at 17,800 g.
| 6 | An amount of 600 µL (for QQQ analysis) and 500 µL (for FTMS analysis) of the separated chloroform phase was transferred into a 1.5 mL glass sample vial by a pipetting robot (Tecan Genesis RSP) and vacuum dried.
| 7 | The residues were dissolved in 600 µL MeOH/CHCl3 (3:1; v/v) with 7.5 mM AmAc or 500 µL CHCl3/MeOH/IPA (1:2:4; v/v/v) with 7.5 mM AmFo.
8
9

## Sample Sequence
Sample Sequence
Sample Sequence | Sample Sequence
| Number | Sample Name | Abbreviation | Matrix | non-labelled STD mixture (Table 5) | Labelled Internal Standard Mixture (Table 3)
| 1 | Solvent Blank-1 | SB | x | x | x
| 2 | ISTD Blank-1 | ISB | x | x | 60 µL Label-IS
| 3 | Matrix Blank-1 | MB | 10 µL 5% Bovine Serume Albumin | x | 60 µL Label-IS
| 4 | Calibration line 1 from STD6 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD6 unlabeled IS-Mix | 60 µL Label-IS
| 5 | Calibration line 1 from STD5 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD5 unlabeled IS-Mix | 60 µL Label-IS
| 6 | Calibration line 1 from STD4 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD4 unlabeled IS-Mix | 60 µL Label-IS
| 7 | Calibration line 1 from STD3 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD3 unlabeled IS-Mix | 60 µL Label-IS
| 8 | Calibration line 1 from STD2 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD2 unlabeled IS-Mix | 60 µL Label-IS
| 9 | Calibration line 1 from STD1 | STD | 10 µL 5% Bovine Serume Albumin | 20 µL STD1 unlabeled IS-Mix | 60 µL Label-IS
| 10 | Pooled QC-1 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 11 | Pooled QC-2 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 12 | SRM 1950-1 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 13 | SRM 1950-2 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 14 | SRM 1950-3 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 15 | SRM 1950-4 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 16 | SRM 1950-5 | S | 10 µL SRM 1959 Plasma | x | 60 µL Label-IS
| 17 | Pooled QC-3 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 18 | T1D-1 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 19 | T1D-2 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 20 | T1D-3 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 21 | T1D-4 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 22 | T1D-5 | S | 10 µL T1D Plasma | x | 60 µL Label-IS
| 23 | ISTD Blank-2 | ISB | x | x | 60 µL Label-IS
| 24 | Pooled QC-4 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 25 | Young AA-1 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 26 | Young AA-2 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 27 | Young AA-3 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 28 | Young AA-4 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 29 | Young AA-5 | S | 10 µL young AA Plasma | x | 60 µL Label-IS
| 30 | Pooled QC-5 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 31 | highTAG-1 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 32 | highTAG-2 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 33 | highTAG-3 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 34 | highTAG-4 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 35 | highTAG-5 | S | 10 µL high TAG Plasma | x | 60 µL Label-IS
| 36 | Pooled QC-6 | QC | 10 µL Pooled Plasma Quality Control | x | 60 µL Label-IS
| 37 | ISTD Blank-3 | ISB | x | x | 60 µL Label-IS
| 38 | Solvent Blank-2 | SB | x | x | x

## FIA-FTMSMSX - Overview
FIA-FTMS/MSX Overview
FIA-FTMS/MSX Overview | Table 6 Chemicals and solvents
Chloroform (CHCl3)
2-propanol (IPA; C3H8O)
Methanol (MeOH; CH3OH)
Methylamine (MA; CH5N)
Ammonium formate (AmFo; CH5NO2)
Table 7 FIA-FTMS/MSX Details
| Property | Specifications
| Mass spectrometry | QExactive Orbitrap (Thermo Fisher Scientific)
| Approach | Flow injection analysis
| Injection volume (indicative) | 50 µL
| Wash solvent 1 | MeOH/CHCl3 (2:1; v/v)
| Wash solvent 2 | MeOH/IPA (1:1; v/v)
| Spray Solvent | CHCl3/MeOH/IPA (1:2:4; v/v)
Table 8 FIA-FTMS/MSX gradient
| Time (minutes) | Solvent | Flow (µL/min)
| 0 | CHCl3/MeOH/IPA (1:2:4; v/v) | 100
| 0.25 | CHCl3/MeOH/IPA (1:2:4; v/v) | 10
| 2.5 | CHCl3/MeOH/IPA (1:2:4; v/v) | 300
| 3.1 | next sample
Table 9 FIA-FTMS/MSX conditions
| Polarity mode | Positive
| Ion spray | ESI
| Spray voltage | 3.5 kV
| S-lens RF level | 50
| Source temperature | 100 °C
| Sheath gas | 15
| Aux gas | 5
| MSX Count | 2
| Isolation window | 1.0 m/z
| AGC | 100000
| Max IT | 100 ms
| Resolution | 35000
| Normalized collision energy (NCE) | 27%
Table 10 FIA-FTMS/MSX inclusion list
| Analyte | First included m/z | IS | Second included m/z | NCE [%]
| Cer d18:1/16:0 | 538.5194 | D7- Cer d18:1/16:0 | 545.5633 | 27
| Cer d18:1/18:0 | 566.5507 | D7- Cer d18:1/18:0 | 573.5946 | 27
| Cer d18:1/24:0 | 650.6446 | D7- Cer d18:1/24:0 | 657.6885 | 27
| Cer d18:1/24:1 | 648.6289 | D7- Cer d18:1/24:1 | 655.6729 | 27
Table 11 Data processing
| Processing software | (Add here name and version of the software used)
| Microsoft Excel 2016 | Self-programmed Macros
| ALEX | Analysis of Lipid Experiments (ALEX) software (Husen, Tarasov et al. PLoS One, 2013)

## FIA-FTMSMSX - Cal & Results
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 Calibration Line Data of Cer d18:1/16:0 and Cer d18:1/18:0.
|  | Spike amount (Table 5) | Intensity ratio | Intensity ratio
|  | [nmol] | Cer d18:1/16:0 / D7-Cer d18:1/16:0 | Cer d18:1/18:0 / D7-Cer d18:1/18:0
| STD 1 | 0.04 | 7.6962 | 8.4269
| STD 2 | 0.02 | 4.0262 | 4.4762
| STD 3 | 0.008 | 1.5099 | 1.6428
| STD 4 | 0.004 | 0.8224 | 0.85301
| STD 5 | 0.0008 | 0.16304 | 0.16895
| STD 6 | 0.0002 | 0.020975 | 0.013574
Table 13 Calibration Line Data of Cer d18:1/24:0 and Cer d18:1/24:1.
|  | Spike amount (Table 5) | Intensity ratio | Intensity ratio
|  | [nmol] | Cer d18:1/24:0 / D7-Cer d18:1/24:0 | Cer d18:1/24:1 / D7-Cer d18:1/24:1
| STD 1 | 0.4 | 4.8164 | 13.9179
| STD 2 | 0.2 | 2.5413 | 7.3032
| STD 3 | 0.08 | 0.96577 | 2.7457
| STD 4 | 0.04 | 0.5319 | 1.4435
| STD 5 | 0.008 | 0.10476 | 0.29456
| STD 6 | 0.002 | 0.034107 | 0.075801
Table 14 FTMS/MSX Sample Data. Concentration of Cer d18:1/16:0 determined by direct quantification and calibration line.
| Cer d18:1/16:0 | Direct Quantification |  | Calibration Line (Table 12)
|  | Mean | Standard Deviation | Mean | Standard Deviation
|  | [µM] | [µM] | [µM] | [µM]
| Pooled QC (n=6) | 0.31077 | 0.029484 | 0.21425 | 0.020327
| SRM (n=5) | 0.32247 | 0.019381 | 0.22231 | 0.013361
| T1D (n=5) | 0.29281 | 0.018159 | 0.20187 | 0.012519
| yA-A (n=5) | 0.20599 | 0.012418 | 0.14201 | 0.0085613
| hTAG (n=5) | 0.38832 | 0.032611 | 0.26771 | 0.022482
Table 15 FTMS/MSX Sample Data. Concentration of Cer d18:1/18:0 determined by direct quantification and calibration line.
| Cer d18:1/18:0 | Direct Quantification |  | Calibration Line (Table 12)
|  | Mean | Standard Deviation | Mean | Standard Deviation
|  | [µM] | [µM] | [µM] | [µM]
| Pooled QC (n=6) | 0.029879 | 0.0051069 | 0.046812 | 0.0080011
| SRM (n=5) | 0.037615 | 0.0066109 | 0.058933 | 0.010357
| T1D (n=5) | 0.041965 | 0.0070068 | 0.065748 | 0.010978
| yA-A (n=5) | 0.012375 | 0.001531 | 0.019389 | 0.0023987
| hTAG (n=5) | 0.032505 | 0.0053071 | 0.050926 | 0.0083148
Table 16 FTMS/MSX Sample Data. Concentration of Cer Cer d18:1/24:0 determined by direct quantification and calibration line.
| Cer d18:1/24:0 | Direct Quantification |  | Calibration Line (Table 13)
|  | Mean | Standard Deviation | Mean | Standard Deviation
|  | [µM] | [µM] | [µM] | [µM]
| Pooled QC (n=6) | 2.9633 | 0.1074 | 2.7277 | 0.09937
| SRM (n=5) | 2.7859 | 0.14465 | 2.563 | 0.13327
| T1D (n=5) | 2.75 | 0.085392 | 2.5296 | 0.078277
| yA-A (n=5) | 1.9422 | 0.056279 | 1.7884 | 0.051884
| hTAG (n=5) | 4.2983 | 0.29746 | 3.9562 | 0.27305
Table 17 FTMS/MSX Sample Data. Concentration of Cer d18:1/24:1 determined by direct quantification and calibration line.
| Cer d18:1/24:1 | Direct Quantification |  | Calibration Line (Table 13)
|  | Mean | Standard Deviation | Mean | Standard Deviation
|  | [µM] | [µM] | [µM] | [µM]
| Pooled QC (n=6) | 0.96402 | 0.034006 | 0.91872 | 0.032408
| SRM (n=5) | 0.94251 | 0.045402 | 0.89822 | 0.043269
| T1D (n=5) | 0.93795 | 0.039544 | 0.89387 | 0.037685
| yA-A (n=5) | 0.61417 | 0.023583 | 0.58531 | 0.022475
| hTAG (n=5) | 1.406 | 0.13212 | 1.3399 | 0.12591

## FIA-FTMSMSX - Summary
Summary
Summary | Data processing using the ALEX software and self-programmed Macros includes correction of type-I effect as well as consideration of isobaric overlap resulting from 13C-isotope peaks (type-II effect)
The species were analyzed by multiplexing analyte and internal standard (Table 10) in the positive ion mode. The abundant product ions of analyte (m/z 264.2686) and IS (m/z 271.3125) following collisional activation of [M+H]+were evaluated (cleavage of the amide bond and loss of water).
The quantification was performed by multiplication of the spiked IS amount with the analyte-to-IS ratio of the intensities (direct quantification) or with calibration lines (Table 12,13)
Internal Std concentrations for Cer d18:1/16:0 and Cer d18:1/16:0 were too low for accurate quantification.

## FTMS - Intensities
Compound | Cer d18:1/16:0 | Cer d18:1/18:0 | Cer d18:1/24:0 | Cer d18:1/24:1 | D7-Cer d18:1/16:0 | D7-Cer d18:1/18:0 | D7-Cer d18:1/24:0 | D7-Cer d18:1/24:1
Formula | Analyte | Analyte | Analyte | Analyte | IS-D7 | IS-D7 | IS-D7 | IS-D7
Adduct
Target m/z | 264.2686 | 264.2686 | 264.2686 | 264.2686 | 271.3125 | 271.3125 | 271.3125 | 271.3125
Isotope Configuration
Isotope Probability
Sample Type | Intensity | Intensity | Intensity | Intensity | Intensity | Intensity | Intensity | Intensity
Solvent Blank_1_Label-IS | 0 | 0 | 3880.8863 | 625.4074 | 0 | 0 | 3503.9886 | 34.8837
ISTD Blank_1_Label-IS | 36.79 | 198.1059 | 3028.8694 | 495.3313 | 49050.1744 | 38994.7081 | 729215.3043 | 209886.0608
Matrix Blank_1_Label-IS | 0 | 0 | 1544.3497 | 474.3303 | 47642.9517 | 36300.4994 | 721734.8296 | 214929.9501
Calibration line 1 from STD6_Label-IS | 1084.1292 | 531.2566 | 27974.6747 | 17573.0353 | 51686.1073 | 39138.6549 | 808184.1481 | 231831.6722
Calibration line 1 from STD5_Label-IS | 8675.2307 | 6527.5916 | 83978.1038 | 66431.8583 | 53209.5969 | 38635.1206 | 784286.6695 | 225525.8084
Calibration line 1 from STD4_Label-IS | 37588.3417 | 29534.6652 | 372035.0937 | 295117.6472 | 45705.9135 | 34623.9545 | 684585.9942 | 204452.1593
Calibration line 1 from STD3_Label-IS | 77805.9075 | 63552.0272 | 788836.159 | 681010.7695 | 51529.2722 | 38685.2212 | 797410.1757 | 248025.4391
Calibration line 1 from STD2_Label-IS | 174320.6827 | 151820.4548 | 1876428.3058 | 1678793.2979 | 43297.0856 | 33916.9121 | 720105.3065 | 229870.1741
Calibration line 1 from STD1_Label-IS | 401805.071 | 339410.5464 | 4242879.1669 | 3799403.5816 | 52208.416 | 40277.0686 | 859049.7573 | 272986.7252
Pooled QC_1_Label-IS | 11073.4249 | 2861.2519 | 135238.4195 | 53310.7915 | 25740.8237 | 18683.9776 | 347714.0524 | 121889.1737
Pooled QC_2_Label-IS | 10407.4064 | 2228.6153 | 115107.5607 | 37158.1313 | 22734.8291 | 17224.5087 | 332067.4245 | 110093.0929
SRM 1950_1_Label-IS | 10655.9043 | 2362.8566 | 105194.1478 | 35791.5427 | 26655.2388 | 17848.7477 | 358240.9361 | 117794.3371
SRM 1950_2_Label-IS | 10558.1081 | 2319.0585 | 109397.8444 | 36796.7736 | 25677.8753 | 19687.0021 | 373461.2507 | 123422.243
SRM 1950_3_Label-IS | 10586.9045 | 2325.7239 | 100096.2719 | 33772.9942 | 24454.7685 | 17039.537 | 313955.9913 | 104592.1907
SRM 1950_4_Label-IS | 10414.9147 | 2392.9605 | 98678.2494 | 35455.0196 | 22350.2015 | 16069.4109 | 299232.7963 | 105630.2899
SRM 1950_5_Label-IS | 9206.364 | 1413.1 | 93908.02 | 32447.6754 | 20925.6092 | 15470.3476 | 300448.5704 | 104563.4063
Pooled QC_3_Label-IS | 8250.8325 | 1625.3053 | 100487.4243 | 32857.0024 | 21968.0871 | 16632.7935 | 319584.2085 | 101858.0554
T1D_1_Label-IS | 9731.9385 | 2552.411 | 103857.4986 | 35722.9761 | 27335.7273 | 18905.9455 | 357113.1006 | 122047.6761
T1D_2_Label-IS | 9992.8322 | 3149.8553 | 106193.8036 | 34822.1321 | 23766.5734 | 17930.7984 | 337580.699 | 109579.828
T1D_3_Label-IS | 7602.8222 | 2077.6328 | 84346.2556 | 29503.9009 | 19921.3383 | 14223.7593 | 272732.5554 | 90585.4306
T1D_4_Label-IS | 8294.5677 | 2117.169 | 88202.5088 | 30256.6274 | 21264.2437 | 16279.0605 | 292295.5849 | 98711.6495
T1D_5_Label-IS | 7468.3669 | 1491.6665 | 79586.7717 | 27398.2989 | 18490.3182 | 13244.1829 | 255615.5425 | 85470.5134
ISTD Blank_2_Label-IS | 0 | 0 | 106.7109 | 66.8954 | 35247.5536 | 25192.7179 | 485520.2981 | 138524.3663
Pooled QC_4_Label-IS | 8717.4111 | 1389.2923 | 93293.8332 | 30574.9978 | 19136.5904 | 15130.5386 | 286950.809 | 96998.2802
Young AA_1_Label-IS | 5772.2384 | 594.3059 | 68016.4984 | 21589.4574 | 21658.7934 | 15967.4726 | 317706.2051 | 103573.7874
Young AA_2_Label-IS | 6904.4835 | 790.8948 | 73171.2647 | 20166.8541 | 23383.5152 | 17420.8097 | 347861.933 | 102217.1844
Young AA_3_Label-IS | 6393.0324 | 578.9229 | 71699.8184 | 22500.66 | 23980.6355 | 16667.6872 | 341747.8776 | 114000.2948
Young AA_4_Label-IS | 6166.1742 | 719.0548 | 71200.7639 | 21325.4672 | 21355.6571 | 16926.1309 | 319010.4471 | 104206.8006
Young AA_5_Label-IS | 5759.3939 | 693.5525 | 64720.3561 | 20505.514 | 22483.2208 | 14940.6444 | 292119.3494 | 94992.5866
Pooled QC_5_Label-IS | 7203.7787 | 1177.7417 | 80674.8345 | 27260.0389 | 18639.2052 | 13390.6129 | 241635.5656 | 84045.0724
highTAG_1_Label-IS | 7734.6618 | 1025.1919 | 90441.8666 | 28816.592 | 16849.4464 | 11801.2682 | 210448.1783 | 68215.7549
highTAG_2_Label-IS | 8898.5788 | 1288.8288 | 106031.8904 | 35072.8352 | 16057.3705 | 11357.6594 | 205917.0638 | 66445.3841
highTAG_3_Label-IS | 7446.2293 | 1258.8076 | 96794.9647 | 30884.0063 | 15051.0429 | 10215.4946 | 208581.0551 | 72065.9223
highTAG_4_Label-IS | 7901.3672 | 975.0377 | 97468.8225 | 31419.7909 | 15324.7773 | 10526.5063 | 203413.1608 | 64041.9618
highTAG_5_Label-IS | 7706.1787 | 1267.0047 | 94583.2456 | 29274.1266 | 13633.4614 | 10091.9453 | 189165.3117 | 61769.6546
Pooled QC_6_Label-IS | 6972.43 | 1147.3948 | 73595.5334 | 24506.0541 | 17587.3703 | 12594.3274 | 225613.2773 | 79810.9436
ISTD Blank 4_Label-IS | 0 | 0 | 31.9272 | 0 | 35710.1932 | 26218.438 | 495331.8952 | 150782.5103
Solvent Blank_2_Label-IS | 0 | 0 | 39.9967 | 0 | 0 | 0 | 637.3338 | 92.679
Pooled QC (n=5)
SRM (n=5)
T1D (n=5)
young AA (n=5)
High-TG (n=5)

## LC-MRM - Intra Assay QC Res
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 12 LC-MRM Calibration Line 1 Data (Beginning). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 1 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| STD 1 | 401805 |  |  | 339411 |  |  | 4242879 |  |  | 3799404 |  |  | 52208 |  |  | 40277 |  |  | 859050 |  |  | 272987
| STD 2 | 174321 |  |  | 151820 |  |  | 1876428 |  |  | 1678793 |  |  | 43297 |  |  | 33917 |  |  | 720105 |  |  | 229870
| STD 3 | 77806 |  |  | 63552 |  |  | 788836 |  |  | 681011 |  |  | 51529 |  |  | 38685 |  |  | 797410 |  |  | 248025
| STD 4 | 37588 |  |  | 29535 |  |  | 372035 |  |  | 295118 |  |  | 45706 |  |  | 34624 |  |  | 684586 |  |  | 204452
| STD 5 | 8675 |  |  | 6528 |  |  | 83978 |  |  | 66432 |  |  | 53210 |  |  | 38635 |  |  | 784287 |  |  | 225526
| STD 6 | 1084 |  |  | 531 |  |  | 27975 |  |  | 17573 |  |  | 51686 |  |  | 39139 |  |  | 808184 |  |  | 231832
Table 13 LC-MRM Calibration Line 2 Data (End). Please report the values of each of the three replicates separately for each compound and standard. Each STD prepared in triplicate, injected once from each vial
| Calibration Line 2 | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
STD 1
STD 2
STD 3
STD 4
STD 5
STD 6
Table 14 LC-MRM Sample Data. Please report the values of each of the three replicates separately for each compound and standard. Each vial injected 3 times
| NIST SRM | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| SRM 1 | 10655.9043 |  |  | 2362.8566 |  |  | 105194.1478 |  |  | 35791.5427 |  |  | 26655.2388 |  |  | 17848.7477 |  |  | 358240.9361 |  |  | 117794.3371
| SRM 2 | 10558.1081 |  |  | 2319.0585 |  |  | 109397.8444 |  |  | 36796.7736 |  |  | 25677.8753 |  |  | 19687.0021 |  |  | 373461.2507 |  |  | 123422.243
| SRM 3 | 10586.9045 |  |  | 2325.7239 |  |  | 100096.2719 |  |  | 33772.9942 |  |  | 24454.7685 |  |  | 17039.537 |  |  | 313955.9913 |  |  | 104592.1907
| SRM 4 | 10414.9147 |  |  | 2392.9605 |  |  | 98678.2494 |  |  | 35455.0196 |  |  | 22350.2015 |  |  | 16069.4109 |  |  | 299232.7963 |  |  | 105630.2899
| SRM 5 | 9206.364 |  |  | 1413.1 |  |  | 93908.02 |  |  | 32447.6754 |  |  | 20925.6092 |  |  | 15470.3476 |  |  | 300448.5704 |  |  | 104563.4063
SRM 6
| NIST hTAG | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| hTAG 1 | 7734.6618 |  |  | 1025.1919 |  |  | 90441.8666 |  |  | 28816.592 |  |  | 16849.4464 |  |  | 11801.2682 |  |  | 210448.1783 |  |  | 68215.7549
| hTAG 2 | 8898.5788 |  |  | 1288.8288 |  |  | 106031.8904 |  |  | 35072.8352 |  |  | 16057.3705 |  |  | 11357.6594 |  |  | 205917.0638 |  |  | 66445.3841
| hTAG 3 | 7446.2293 |  |  | 1258.8076 |  |  | 96794.9647 |  |  | 30884.0063 |  |  | 15051.0429 |  |  | 10215.4946 |  |  | 208581.0551 |  |  | 72065.9223
| hTAG 4 | 7901.3672 |  |  | 975.0377 |  |  | 97468.8225 |  |  | 31419.7909 |  |  | 15324.7773 |  |  | 10526.5063 |  |  | 203413.1608 |  |  | 64041.9618
| hTAG 5 | 7706.1787 |  |  | 1267.0047 |  |  | 94583.2456 |  |  | 29274.1266 |  |  | 13633.4614 |  |  | 10091.9453 |  |  | 189165.3117 |  |  | 61769.6546
hTAG 6
| NIST T1D | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| T1D 1 | 9731.9385 |  |  | 2552.411 |  |  | 103857.4986 |  |  | 35722.9761 |  |  | 27335.7273 |  |  | 18905.9455 |  |  | 357113.1006 |  |  | 122047.6761
| T1D 2 | 9992.8322 |  |  | 3149.8553 |  |  | 106193.8036 |  |  | 34822.1321 |  |  | 23766.5734 |  |  | 17930.7984 |  |  | 337580.699 |  |  | 109579.828
| T1D 3 | 7602.8222 |  |  | 2077.6328 |  |  | 84346.2556 |  |  | 29503.9009 |  |  | 19921.3383 |  |  | 14223.7593 |  |  | 272732.5554 |  |  | 90585.4306
| T1D 4 | 8294.5677 |  |  | 2117.169 |  |  | 88202.5088 |  |  | 30256.6274 |  |  | 21264.2437 |  |  | 16279.0605 |  |  | 292295.5849 |  |  | 98711.6495
| T1D 5 | 7468.3669 |  |  | 1491.6665 |  |  | 79586.7717 |  |  | 27398.2989 |  |  | 18490.3182 |  |  | 13244.1829 |  |  | 255615.5425 |  |  | 85470.5134
T1D 6
| NIST Young AA | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| yA-A 1 | 5772.2384 |  |  | 594.3059 |  |  | 68016.4984 |  |  | 21589.4574 |  |  | 21658.7934 |  |  | 15967.4726 |  |  | 317706.2051 |  |  | 103573.7874
| yA-A 2 | 6904.4835 |  |  | 790.8948 |  |  | 73171.2647 |  |  | 20166.8541 |  |  | 23383.5152 |  |  | 17420.8097 |  |  | 347861.933 |  |  | 102217.1844
| yA-A 3 | 6393.0324 |  |  | 578.9229 |  |  | 71699.8184 |  |  | 22500.66 |  |  | 23980.6355 |  |  | 16667.6872 |  |  | 341747.8776 |  |  | 114000.2948
| yA-A 4 | 6166.1742 |  |  | 719.0548 |  |  | 71200.7639 |  |  | 21325.4672 |  |  | 21355.6571 |  |  | 16926.1309 |  |  | 319010.4471 |  |  | 104206.8006
| yA-A 5 | 5759.3939 |  |  | 693.5525 |  |  | 64720.3561 |  |  | 20505.514 |  |  | 22483.2208 |  |  | 14940.6444 |  |  | 292119.3494 |  |  | 94992.5866
yA-A 6
Table 15 LC-MRM Intra Assay QC Data. Please report the values of each of the three replicates separately for each compound and standard. QCs have to be measured in one occasion only. The independent 6 replicates injected 3 times each
| Lowest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
LLQC 1
LLQC 2
LLQC 3
LLQC 4
LLQC 5
LLQC 6
| Low QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
LQC 1
LQC 2
LQC 3
LQC 4
LQC 5
LQC 6
| Middle QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
MQC 1
MQC 2
MQC 3
MQC 4
MQC 5
MQC 6
| High QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
HQC 1
HQC 2
HQC 3
HQC 4
HQC 5
HQC 6
| Highest Level QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
HLQC 1
HLQC 2
HLQC 3
HLQC 4
HLQC 5
HLQC 6
| Blank QC | Area endogenous Cer | [11 empty] | Labelled IS Area
|  | Cer d18:1/16:0 |  |  | Cer d18:1/18:0 |  |  | Cer d18:1/24:0 |  |  | Cer d18:1/24:1 |  |  | d7-Cer d18:1/16:0 |  |  | d7-Cer d18:1/18:0 |  |  | d7-Cer d18:1/24:0 |  |  | d7-Cer d18:1/24:1
|  | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3 | Repl 1 | Repl 2 | Repl 3
| Matrix Blank | 0 |  |  | 0 |  |  | 1544.3497 |  |  | 474.3303 |  |  | 47642.9517 |  |  | 36300.4994 |  |  | 721734.8296 |  |  | 214929.9501
| Total Blank | 0 |  |  | 0 |  |  | 3880.8863 |  |  | 625.4074 |  |  | 0 |  |  | 0 |  |  | 3503.9886 |  |  | 34.8837
| Total Blank | 0 |  |  | 0 |  |  | 39.9967 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 637.3338 |  |  | 92.679

## QQQ - Overview
QQQ - Overview
Table 18 Chemicals and solvents
Chloroform (CHCl3)
Methanol (MeOH; CH3OH)
Ammonium acetate (AmAc; C2H7NO2)
Table 19 QQQ Details
| Property | Specifications
| Mass spectrometry | Micromass Quattro Ultima (Waters)
| Approach | Flow injection analysis
| Injection volume (indicative) | 20
| Wash solvent 1 | MeOH/CHCl3 (1:1; v/v)
Wash solvent 2
| Spray Solvent | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc
Table 20 QQQ gradient
| Time (minutes) | Solvent | Flow (µL/min)
| 0 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 50
| 0.1 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 50
| 0.11 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 25
| 1.05 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 25
| 1.1 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 300
| 1.28 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 300
| 1.29 | MeOH/CHCl3 (3:1; v/v), 7.5mM AmAc | 50
Table 21 QQQ conditions
| Polarity mode | Positive
| Ion spray | ESI
| Spray voltage | 3.5 kV
| Cone Voltage | 50 V
| Source temperature | 100 °C
| Desolvation temperature | 250 °C
| Mass resolution Q1 and Q3 | unit
| Collision energy | 25 eV
Table 22 FIA-QQQ MRM
| Analyte | MRM | IS | Second included m/z | CE [eV]
| Cer d18:1/16:0 | 538.5 > 264.2; 520.5 > 264.2 | D7- Cer d18:1/16:0 | 545.6 > 271.3; 527.6 > 271.3 | 25
| Cer d18:1/18:0 | 566.5 > 264.2; 548.5 > 264.2 | D7- Cer d18:1/18:0 | 573.6 > 271.3; 555.6 > 271.3 | 25
| Cer d18:1/24:0 | 650.6 > 264.2; 632.6 > 264.2 | D7- Cer d18:1/24:0 | 657.7 > 271.3; 649.7 > 271.3 | 25
| Cer d18:1/24:1 | 648.6 > 264.2, 630.6 > 264.2 | D7- Cer d18:1/24:1 | 655.7 > 271.3; 647.7 > 271.3 | 25
Table 23 Data processing
| Processing software | Masslynx 4.0; Neolynx Tool
| Microsoft Excel 2016 | Self-programmed Macros, Correction of Type-II overlap; both [M+H]+ and [M+H-H2O]+ were used for quantification.
QQQ - Overview

## QQQ - Cal & Results
INTRA ASSAY - QC RESULTS
INTRA ASSAY - QC RESULTS | Table 24 QQQ Calibration Line Data of Cer d18:1/16:0 and Cer d18:1/18:0.
|  | Spike amount (Table 5) |  | Intensity ratio |  | Intensity ratio
|  | [nmol] |  | Cer d18:1/16:0 / D7-Cer d18:1/16:0 |  | Cer d18:1/18:0 / D7-Cer d18:1/18:0
| STD 1 | 0.04 |  |  | 8.1316 | 8.0971
| STD 2 | 0.02 |  |  | 5.0065 | 4.2918
| STD 3 | 0.008 |  |  | 1.743 | 1.637
| STD 4 | 0.004 |  |  | 1.3326 | 1.0769
| STD 5 | 0.0008 |  |  | 0.26334 | 0.20106
| STD 6 | 0.0002 |  |  | 0.11525 | 0.060443
Table 25 QQQ Calibration Line Data of Cer d18:1/24:0 and Cer d18:1/24:1.
|  | Spike amount (Table 5) |  | Intensity ratio |  | Intensity ratio
|  | [nmol] |  | Cer d18:1/24:0 / D7-Cer d18:1/24:0 |  | Cer d18:1/24:1 / D7-Cer d18:1/24:1
| STD 1 | 0.4 |  |  | 4.7497 | 13.6871
| STD 2 | 0.2 |  |  | 2.6193 | 7.3139
| STD 3 | 0.08 |  |  | 0.96105 | 2.7729
| STD 4 | 0.04 |  |  | 0.51487 | 1.4178
| STD 5 | 0.008 |  |  | 0.099862 | 0.3033
| STD 6 | 0.002 |  |  | 0.030394 | 0.072261
Table 26 QQQ Sample Data. Concentration of Cer d18:1/16:0 determined by direct quantification and calibration line.
| Cer d18:1/16:0 | Direct Quantification |  |  |  | Calibration Line
|  | Mean |  | Standard Deviation |  | Mean | Standard Deviation
|  | [µM] |  | [µM] |  | [µM] | [µM] |  | 0
| Pooled QC (n=6) |  | 0.57159 |  | 0.12827 | 0.35289 |  | 0.079188
| SRM (n=5) |  | 0.73424 |  | 0.067144 | 0.4533 |  | 0.041453
| T1D (n=5) |  | 0.59466 |  | 0.14415 | 0.36713 |  | 0.088996
| yA-A (n=5) |  | 0.3934 |  | 0.026126 | 0.24287 |  | 0.01613
| hTAG (n=5) |  | 0.55652 |  | 0.068473 | 0.34358 |  | 0.042274
Table 27 QQQ Sample Data. Concentration of Cer d18:1/18:0 determined by direct quantification and calibration line.
| Cer d18:1/18:0 | Direct Quantification |  |  |  | Calibration Line
|  | Mean |  | Standard Deviation |  | Mean | Standard Deviation
|  | [µM] |  | [µM] |  | [µM] | [µM]
| Pooled QC (n=6) |  | 0.094014 |  | 0.028245 | 0.1524 |  | 0.045785
| SRM (n=5) |  | 0.1139 |  | 0.021906 | 0.18463 |  | 0.035509
| T1D (n=5) |  | 0.099459 |  | 0.018927 | 0.16122 |  | 0.030681
| yA-A (n=5) |  | 0.055644 |  | 0.0076876 | 0.090199 |  | 0.012462
| hTAG (n=5) |  | 0.077952 |  | 0.0068013 | 0.12636 |  | 0.011025
Table 28 QQQ Sample Data. Concentration of Cer Cer d18:1/24:0 determined by direct quantification and calibration line.
| Cer d18:1/24:0 | Direct Quantification |  |  |  | Calibration Line
|  | Mean |  | Standard Deviation |  | Mean | Standard Deviation
|  | [µM] |  | [µM] |  | [µM] | [µM]
| Pooled QC (n=6) |  | 3.0928 |  | 0.12413 | 2.8305 |  | 0.11361
| SRM (n=5) |  | 2.9024 |  | 0.21536 | 2.6562 |  | 0.19709
| T1D (n=5) |  | 2.9282 |  | 0.16868 | 2.6798 |  | 0.15437
| yA-A (n=5) |  | 2.0913 |  | 0.12669 | 1.9139 |  | 0.11595
| hTAG (n=5) |  | 4.3586 |  | 0.30726 | 3.9889 |  | 0.2812
Table 29 QQQ Sample Data. Concentration of Cer d18:1/24:1 determined by direct quantification and calibration line.
| Cer d18:1/24:1 | Direct Quantification |  |  |  | Calibration Line
|  | Mean |  | Standard Deviation |  | Mean | Standard Deviation
|  | [µM] |  | [µM] |  | [µM] | [µM]
| Pooled QC (n=6) |  | 1.1084 |  | 0.07676 | 1.0642 |  | 0.073697
| SRM (n=5) |  | 1.1265 |  | 0.10638 | 1.0815 |  | 0.10214
| T1D (n=5) |  | 1.1 |  | 0.053934 | 1.0561 |  | 0.051782
| yA-A (n=5) |  | 0.72867 |  | 0.042745 | 0.69959 |  | 0.04104
| hTAG (n=5) |  | 1.5094 |  | 0.080654 | 1.4492 |  | 0.077436

## QQQ - Summary
Summary
Summary | Data processing using the ALEX software and self-programmed Macros includes correction of type-II effect resulting from 13C-isotope peaks. Moreover, the sum of [M+H]+ and [M+H-H2O]+ were used for quantification.
The quantification was performed by multiplication of the spiked IS amount with the analyte-to-IS ratio of the intensities (direct quantification) or with calibration lines (Table 24,25).
Internal Std concentrations for Cer d18:1/16:0 and Cer d18:1/16:0 were too low for accurate quantification.

## QQQ - Intensities
Sample Name | Cer d18:1/16:0 | D7-Cer d18:1/16:0 | Cer d18:1/18:0 | D7-Cer d18:1/18:0 | Cer d18:1/24:0 | D7-Cer d18:1/24:0 | Cer d18:1/24:1 | D7-Cer d18:1/24:1
Solvent Blank_1_Label-IS | 513.9638 | 0 | 0 | 691 | 502.802 | 555.9668 | 547 | 0
ISTD Blank_1_Label-IS | 543 | 41510 | 604 | 28668.1356 | 869.8174 | 428955.2689 | 0 | 124103.5773
Matrix Blank_1_Label-IS | 1528.9796 | 44250 | 0 | 28924.9539 | 600.1837 | 437252.9713 | 538 | 113309.6054
Calibration line 1 from STD6_Label-IS | 4489.9744 | 38960 | 1664 | 27530.1427 | 13002.4983 | 427795.989 | 8404 | 116300.2091
Calibration line 1 from STD5_Label-IS | 11499.9575 | 43670 | 5898.2159 | 29335.6069 | 46265.4664 | 463293.0943 | 37007 | 122013.5834
Calibration line 1 from STD4_Label-IS | 53409.898 | 40080 | 24154.2879 | 22428.6768 | 208151.5221 | 404276.0443 | 151410 | 106790.8927
Calibration line 1 from STD3_Label-IS | 66409.9509 | 38100 | 40126.4102 | 24512.8539 | 392308.4569 | 408206.9569 | 290240 | 104669.6637
Calibration line 1 from STD2_Label-IS | 178279.8804 | 35610 | 112859.9299 | 26296.5221 | 1027307.3313 | 392202.8052 | 766600 | 104813.9343
Calibration line 1 from STD1_Label-IS | 260779.8439 | 32070 | 186763.4867 | 23065.3486 | 1739961.6214 | 366334.187 | 1414700 | 103360.2287
Pooled QC_1_Label-IS | 25317.9104 | 19073 | 8311.8427 | 15236.3681 | 94026.1125 | 243052.3924 | 32032 | 76575.5764
Pooled QC_2_Label-IS | 16644.9548 | 21093 | 6493.2444 | 15243.9948 | 84389.6402 | 237627.3294 | 29599 | 77823.4554
SRM 1950_1_Label-IS | 20525.9097 | 20113 | 5882.2881 | 16159.1241 | 81958.1839 | 251118.8217 | 28653 | 75686.2911
SRM 1950_2_Label-IS | 17926.9426 | 20292 | 5315.7379 | 15964.8607 | 74907.1689 | 248755.73 | 25800 | 77911.0258
SRM 1950_3_Label-IS | 22361.9367 | 21952 | 6122.6527 | 14576.9918 | 82482.5597 | 248229.9387 | 29774 | 74863.6825
SRM 1950_4_Label-IS | 19193.944 | 17691 | 7203.3558 | 14915.4522 | 82424.9758 | 231901.3304 | 30941 | 73755.9025
SRM 1950_5_Label-IS | 15852.948 | 17866 | 4450.4737 | 14914.9881 | 65566.2388 | 220587.8345 | 25352 | 72324.9545
Pooled QC_3_Label-IS | 17251.9513 | 19139 | 4956.978 | 15851.4298 | 81261.2165 | 232447.5897 | 26652 | 70254.0775
T1D_1_Label-IS | 11374.9573 | 18854 | 3775.8798 | 13938.2868 | 72016.7706 | 240380.1826 | 26350 | 78655.3417
T1D_2_Label-IS | 14780.9584 | 20544 | 4395.7575 | 15607.0036 | 80775.8351 | 235171.577 | 28008 | 75816.1349
T1D_3_Label-IS | 16029.9479 | 18085 | 6019.3907 | 15021.6269 | 77719.6474 | 229156.1743 | 27682 | 73389.1207
T1D_4_Label-IS | 18390.9442 | 17001 | 5729.4562 | 14411.3346 | 72847.0413 | 233351.256 | 27262 | 72790.6458
T1D_5_Label-IS | 11582.9759 | 17199 | 4578.9453 | 14924.0831 | 74057.3378 | 222825.1159 | 27850 | 73840.2484
ISTD Blank_2_Label-IS | 6740.9085 | 38230 | 2220 | 26332.377 | 5030.4436 | 397434.3537 | 1973 | 100251.6914
Pooled QC_4_Label-IS | 19228.9598 | 20275 | 5983.4671 | 15445.7598 | 83862.7553 | 239482.43 | 29527 | 73608.811
Young AA_1_Label-IS | 11363.9597 | 20528 | 3133.3055 | 16302.1672 | 57652.3554 | 259442.3711 | 20230 | 82686.3842
Young AA_2_Label-IS | 12213.9486 | 22338 | 3215.144 | 17856.4273 | 61079.9188 | 276504.308 | 19533 | 89356.6211
Young AA_3_Label-IS | 12232.9707 | 22322 | 2924.1265 | 15973.4819 | 60265.0944 | 269606.5301 | 20885 | 83479.0087
Young AA_4_Label-IS | 9526.9667 | 19200 | 2485.1134 | 16527.3378 | 64224.9197 | 256422.6553 | 19694 | 80213.7046
Young AA_5_Label-IS | 9181.9712 | 19207 | 3473.8405 | 15668.0027 | 62371.4836 | 254872.674 | 20238 | 79213.9785
Pooled QC_5_Label-IS | 12000.9689 | 20388 | 3295.1331 | 14716.3312 | 75705.0265 | 236445.0982 | 24447 | 71998.2905
highTAG_1_Label-IS | 12354.9753 | 17299 | 3163.9824 | 13589.5465 | 94930.4408 | 215509.5383 | 30065 | 65728.6311
highTAG_2_Label-IS | 14901.9732 | 16860 | 3535.2401 | 13455.4376 | 101882.7611 | 201176.2148 | 33630 | 63602.0901
highTAG_3_Label-IS | 11926.9798 | 18876 | 3603.0414 | 12632.3711 | 98920.563 | 213540.6232 | 33190 | 65410.7448
highTAG_4_Label-IS | 12321.973 | 16931 | 3487.5938 | 14479.2603 | 100706.2777 | 207888.8622 | 32087 | 62826.2081
highTAG_5_Label-IS | 13270.9779 | 17637 | 3738.668 | 13470.5351 | 107112.6799 | 203311.711 | 34800 | 68050.0967
Pooled QC_6_Label-IS | 11090.9733 | 19022 | 3237.4693 | 14923.9074 | 76836.3012 | 223926.2347 | 24664 | 71077.7896
ISTD Blank 4_Label-IS | 1695.9728 | 44370 | 823 | 27337.8501 | 2082.3625 | 423808.0432 | 746 | 95036.2225
Solvent Blank_2_Label-IS | 2025.9627 | 621 | 835 | 587 | 1995.1518 | 4293.7949 | 749 | 529
20525.9097
17926.9426
22361.9367
19193.944
15852.948
| 513.9638 | 0 | 0 | 691 | 502.802 | 555.9668 | 547 | 0
| 2025.9627 | 621 | 835 | 587 | 1995.1518 | 4293.7949 | 749 | 529